SECTION 08 62 23

TUBULAR DAYLIGHTING DEVICES

Display hidden notes to specifier. (Don't know how? Click Here)

Copyright 2014 - 2014 ARCAT, Inc. - All rights reserved

** NOTE TO SPECIFIER ** VELUX  Canada Inc.; SUN TUNNELcommercial sun tunnel skylight products.
.
This section is based on the products of VELUX  Canada Inc., which is located at:
2740 Sherwood Heights Dr.
Oakville, ON, Canada L6J 7V5
Toll Free Tel: 800-888-3589
Tel: 905-829-0280
Fax: 800-898-3589
Email: request info (Commercial-cdn@velux.com)
Web: www.velux.ca  
 [ Click Here ] for additional information.
Established in 1975, VELUX Canada Inc is a branch of the VELUX Group charged with marketing and selling VELUX roof windows and skylights in the US. VELUX has been providing daylight and fresh air into spaces where people live, work and play world wide for over 70 years.
VELUX Commercial SUN TUNNEL skylights are designed for commercial flat and sloped roofing applications that will benefit from daylight to reduce energy loads and improve performance and comfort. Ideal applications for commercial SUN TUNNEL skylights include schools, retail spaces, and warehouses that require a cost effective daylight solution. VELUX SUN TUNNEL skylights provide a cost effective method to transfer daylight through the roof for an open ceiling application and greater cost savings can be achieved as run lengths increase for suspended ceiling application. 
VELUX Residential SUN TUNNEL skylights provide a low cost method of transferring daylight through sloped roofing applications to interior spaces that benefit from daylight to reduce energy loads and enhance the visual quality of residential spaces. VELUX SUN TUNNEL skylights add value and increase the quality of life while maintaining privacy. The round highly reflective SUN TUNNEL light shaft requires no structural framing and can be assembled within minutes.
The SUN TUNNEL skylight is a configurable system that allows the specifier to select only the components required for specific project application, with adjustable flashing heights, straight and adjustable angle tunnel components, and diffuser options. 
SUN TUNNEL skylights are frequently a crucial element in energy saving daylighting strategies for LEED-certified or other green building projects.
VELUX test facilities ensure that new products comply with regulations and market demands for technical performance. They ensure that our products are able to withstand the most different climatic conditions in the markets where they are sold. Our test procedures include load capacity, air and water tightness in a test chamber and a weather simulator, mechanical tests, impact test results, durability tests, U-factor and solar heat gain tests, burn brand resistance and visual inspection of the surface quality.

- GENERAL

  - SECTION INCLUDES

    - Tubular Daylighting Devices, a configurable system comprised of a flashing component, reflective tunnel components, and diffuser components.

  - RELATED SECTIONS

** NOTE TO SPECIFIER ** Delete any sections below not relevant to this project; add others as required.

    - Section 06 11 16 - Mechanically Graded Lumber.

    - Section 07 31 13 - Asphalt Shingles.

    - Section 07 32 26 - Plastic Roof Tiles.

    - Section 07 40 00 - Roofing and Siding Panels.

    - Section 07 50 00 - Membrane Roofing.

    - Section 07 51 16 - Built-Up Coal Tar Roofing.

    - Section 07 53 29 - Polyisobutylene Roofing.

    - Section 07 52 00 - Modified Bituminous Membrane Roofing.

    - Section 07 70 00 - Roof and Wall Specialties and Accessories.

    - Section 08 62 19 - Vaulted Unit Skylights.

    - Section 08 63 19 - Vaulted Metal-Framed Skylights.

    - Section 26 05 00 - Common Work Results for Electrical.

  - REFERENCES

** NOTE TO SPECIFIER ** Delete references from the list below that are not actually required by the text of the edited section.

    - American Architectural Manufacturers Association, Window & Door Manufacturers Association, Canadian Standards Association:

      - AAMA/WDMA/CSA 101/I.S.2/A440 - North American Fenestration Standard/ Specification for Windows, Doors, and Skylights (NAFS).

      - AAMA 501.2 - Quality Assurance and Diagnostic Water Leakage Field Check of Installed Storefronts, Curtain Walls, and Sloped Glazing Systems.

      - AAMA 2603 - Voluntary Specification, Performance Requirements and Test Procedures for Pigmented Organic Coatings on Aluminum and Panels.

    - ASTM International:

      - ASTM A 653/A 653M - Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process

      - ASTM B 209 - Standard Specification for Aluminum and Aluminum-Alloy Sheet and Plate

      - ASTM D 635 - Test Method for Rate of Burning and/or Extent of Time of Burning of Self-supporting plastics in a Horizontal Position

      - ASTM A 641 - Standard Specification for Zinc-Coated (Galvanized) Carbon Steel Wire

      - ASTM D 635 - Test Method for Rate of Burning and/or Extent of Time of Burning of Self-supporting plastics in a Horizontal Position.

      - ASTM A 641 - Standard Specification for Zinc-Coated (Galvanized) Carbon Steel Wire.

      - ASTM D 1929 - Standard Test Method for Determining Ignition Temperature of Plastics

      - ASTM D 2843 - Standard Test Method for Density of Smoke from the Burning or Decomposition of Plastics

      - ASTM D 4586 - Standard Specification for Asphalt Roof Cement, Asbestos-Free

      - ASTM E 84 - Standard Test Method for Surface Burning Characteristics of Building Materials

      - ASTM E 108 - Standard Test Methods for Fire Tests of Roof Coverings

      - ASTM E 283 - Standard Test Method for Determining Rate of Air Leakage Through Exterior Windows, Curtain Walls, and Doors Under Specified Pressure Differences Across the Specimen

      - ASTM E 331 - Standard Test Method for Water Penetration of Exterior Windows, Skylights, Doors, and Curtain Walls by Uniform Static Air Pressure Difference

      - ASTM E 408 - Standard Test Methods for Total Normal Emittance of Surfaces Using Inspection-Meter Techniques

      - ASTM E 1651-94(2004) - Standard Test Method for Total Luminous Reflectance Factor by Use of 30/t Integrating-Sphere Geometry

      - ASTM E 1886 - Standard Test Method for Performance of Exterior Windows, Curtain Walls, Doors, and Impact Protective Systems Impacted by Missile(s) and Exposed to Cyclic Pressure Differentials

      - ASTM E 1996 - Standard Specification for Performance of Exterior Windows, Curtain Walls, Doors, and Impact Protective Systems Impacted by Windborne Debris in Hurricanes

    - Code of Federal Regulations:

      - 29 CFR 1910.23 (e) (8) - Occupational Safety and Health Standards for Walking-Working Surfaces to Guard Floor and Wall Openings and Hole.

    - Illuminating Engineering Society of North America:

      - IESNA - The Lighting Handbook.

    - ASTM E 108 - Standard Test Methods for Fire Tests of Roof Coverings

    - National Fenestration Rating Council:

      - NFRC 100 - Procedure for Determining Fenestration Product U-factors.

      - NFRC 200 - Procedure for Determining Fenestration Product Solar Heat Gain Coefficient and Visible Transmittance at Normal Incidence.

    - National Fire Protection Association:

      - NFPA 70 - National Electrical Code

** NOTE TO SPECIFIER ** Select the Commercial or Residential VELUX Sun Tunnels Performance Requirements required from the following paragraphs. Delete the paragraph not required.

  - PERFORMANCE REQUIREMENTS COMMERCIAL DEVICES

** NOTE TO SPECIFIER ** The following paragraphs apply to Model TCC, Model TGC and Model TMC. Select the commercial VELUX Sun Tunnels size(s) required from the following paragraphs. Delete the size not required.

    - Unit Skylight Standard, 14 inch (356 mm) Unit: AAMA/WDMA/CSA 101/I.S.2/A440 (NAFS-11 or previous):

** NOTE TO SPECIFIER ** Include the following four paragraphs for IBC 2012 and 2015 code requirements; verify requirements of authorities having jurisdiction. Delete if not applicable.

      - Performance Grade (Primary Designator): TDDCC/TDDOC-PG145.

      - Design Pressure (DP): +300/-145 psf (+14.4/-6.94 kPa).

      - Water Test Pressure: 15 psf (0.72 kPa) with no leakage at 5 gallons per minute spray rate.

      - Air Leakage Rate: 0.28 cfm/ft2 maximum.

* NOTE TO SPECIFIER ** Include the following four paragraphs for IBC 2009 and NBC code requirements; verify requirements of authorities having jurisdiction. Delete if not applicable.

      - Performance Class and Grade (Primary Designator) CW-PG110.

      - Design Pressure (DP): +200/-110 psf (+9.58/-5.27 kPa).

      - Water Test Pressure: 15 psf (0.72 kPa) with no leakage at 5 gallons per minute spray rate.

      - Canadian Air Infiltration/Exfiltration Rating: A2. (1.5 L/s/m2 maximum).

      - Daylighting: Provide daylighting photometric performance comparable to basis of design product at layout indicated, based upon daylighting profile of March 21, 9:00 am local time, at Project location by simulation in accordance with IESNA guidelines.

      - Air Infiltration: Maximum air leakage through unit of 0.30 cfm/sq. ft. (1.5 L/s/sq. m)of fixed area as determined according to ASTM E 283 at a static-air-pressure differential of 1.57 lbf/sq. ft. (75Pa.)

      - Water Penetration under Static Pressure: No evidence of water penetration through unit when tested according to ASTM E 331 at a static-air-pressure differential of 15 lbf/sq. ft. (720 Pa).

** NOTE TO SPECIFIER ** Select the following paragraph for Windborne Debris Resistance if required by authorities having jurisdiction. Select optional polycarbonate glazing when retaining this Paragraph. Delete if not applicable.

      - Windborne-Debris Resistance: Provide tubular unit skylights capable of resisting impact from windborne debris, based on the pass/fail criteria as determined from testing glazed representative of those specified, according to ASTM E 1886 and ASTM E 1996.

        - Large Missile Level C, Wind Zone 3 requirements, and +50/-50 psf cycle pressure minimum.

      - Surface-Burning Characteristics of Plastic Glazing: Provide plastic glazing meeting NAFS in accordance with test methods specified below by a testing and inspecting agency acceptable to authorities having jurisdiction. Identify materials with appropriate markings of applicable testing and inspecting agency.

        - Self-Ignition Temperature: 650 deg F (345 deg. C) or more for plastic glazing in thickness indicated when tested per ASTM D 1929.

        - Smoke-Production Characteristics: Comply with either requirement below:

          - Smoke-Developed Index: 450 or less when tested per ASTM E 84 on plastic glazing in manner indicated for application.

          - Smoke Density: 75 or less when tested per ASTM D 2843 on plastic glazing in thickness indicated for application.

        - Burning Characteristics: Tested and labeled in accordance with ASTM D 635.

* NOTE TO SPECIFIER ** Select the paragraphs for the type of dome specified. Delete if not applicable.

          - Plastic Glazing for Domes: Polycarbonate Class CC1.

          - Plastic Glazing for Domes: Acrylic Class CC2.

      - Fire Ratings for Roof Assemblies with Fire Classifications: Tubular unit skylight with dome edge protection band passing ASTM E 108 Class B Burning Brand test.

* NOTE TO SPECIFIER ** Include the following paragraphs if thermal break kit is specified specified. Edit to include the size specified. Delete the paragraphs not applicable.

      - Energy Performance with Thermal Break Kit Installed:

        - Thermal Transmittance: NFRC 100 maximum U-factor:

          - 14 inch (356 mm) Units with TOC diffuser: 0.55 Btu/hr*ft2*deg F (3.12 W/m2*deg C).

        - Solar Heat-Gain Coefficient (SHGC): NFRC 200 maximum SHGC:

          - 14 inch (356 mm) Units with TOC diffuser: 0.28.

* NOTE TO SPECIFIER ** Include the following paragraph if daylight control is specified. Delete if not applicable.

        - Electrical Components: Listed and labeled as defined in NFPA 70, by a qualified testing agency, and marked for intended location and application.

      - Fall Protection Standard Compliance: 29 CFR 1910.23: Passed.

* NOTE TO SPECIFIER ** Include the following paragraph if project includes compliance with Federal Buy American provisions. VELUX SUN TUNNEL complies with requirement. Delete if not applicable.

      - Buy American Act Certification: Submit documentation certifying that products comply with provisions of the Buy American Act 41 U.S.C 10a - 10d.

    - Unit Skylight Standard, 22 inch (559 mm) Unit: AAMA/WDMA/CSA 101/I.S.2/A440 (NAFS-11 or previous):

** NOTE TO SPECIFIER ** Include the following four paragraphs for IBC 2012 and 2015 code requirements; verify requirements of authorities having jurisdiction. Delete if not applicable.

      - Performance Grade (Primary Designator): TDDCC/TDDOC-PG130.

      - Design Pressure (DP): +300/-130 psf (+14.4/-6.22 kPa).

      - Water Test Pressure: 15 psf (0.72 kPa) with no leakage at 5 gallons per minute spray rate.

      - Air Leakage Rate: 0.30 cfm/ft2 maximum.

* NOTE TO SPECIFIER ** Include the following four paragraphs for IBC 2009 and NBC code requirements; verify requirements of authorities having jurisdiction. Delete if not applicable.

      - Performance Class and Grade (Primary Designator) CW-PG100.

      - Design Pressure (DP): +200/-100 psf (+9.58/-4.79 kPa).

      - Water Test Pressure: 15 psf (0.72 kPa) with no leakage at 5 gallons per minute spray rate.

      - Canadian Air Infiltration/Exfiltration Rating: A2. (1.5 L/s/m2 maximum).

      - Daylighting: Provide daylighting photometric performance comparable to basis of design product at layout indicated, based upon daylighting profile of March 21, 9:00 am local time, at Project location by simulation in accordance with IESNA guidelines.

      - Air Infiltration: Maximum air leakage through unit of 0.30 cfm/sq. ft. (1.5 L/s/sq. m)of fixed area as determined according to ASTM E 283 at a static-air-pressure differential of 1.57 lbf/sq. ft. (75Pa.)

      - Water Penetration under Static Pressure: No evidence of water penetration through unit when tested according to ASTM E 331 at a static-air-pressure differential of 15 lbf/sq. ft. (720 Pa).

** NOTE TO SPECIFIER ** Select the following paragraph for Windborne Debris Resistance if required by authorities having jurisdiction. Select optional polycarbonate glazing when retaining this Paragraph. Delete if not applicable.

      - Windborne-Debris Resistance: Provide tubular unit skylights capable of resisting impact from windborne debris, based on the pass/fail criteria as determined from testing glazed representative of those specified, according to ASTM E 1886 and ASTM E 1996.

        - Large Missile Level C, Wind Zone 3 requirements, and +50/-50 psf cycle pressure minimum.

      - Surface-Burning Characteristics of Plastic Glazing: Provide plastic glazing meeting NAFS in accordance with test methods specified below by a testing and inspecting agency acceptable to authorities having jurisdiction. Identify materials with appropriate markings of applicable testing and inspecting agency.

        - Self-Ignition Temperature: 650 deg F (345 deg. C) or more for plastic glazing in thickness indicated when tested per ASTM D 1929.

        - Smoke-Production Characteristics: Comply with either requirement below:

          - Smoke-Developed Index: 450 or less when tested per ASTM E 84 on plastic glazing in manner indicated for application.

          - Smoke Density: 75 or less when tested per ASTM D 2843 on plastic glazing in thickness indicated for application.

        - Burning Characteristics: Tested and labeled in accordance with ASTM D 635.

* NOTE TO SPECIFIER ** Select the paragraphs for the type of dome specified. Delete if not applicable.

          - Plastic Glazing for Domes: Polycarbonate Class CC1.

          - Plastic Glazing for Domes: Acrylic Class CC2.

      - Fire Ratings for Roof Assemblies with Fire Classifications: Tubular unit skylight with dome edge protection band passing ASTM E 108 Class B Burning Brand test.

* NOTE TO SPECIFIER ** Include the following paragraphs if thermal break kit is specified specified. Edit to include the size specified. Delete the paragraphs not applicable.

      - Energy Performance with Thermal Break Kit Installed:

        - Thermal Transmittance: NFRC 100 maximum U-factor:

          - 22 inch (559 mm) Units with TTC diffuser:

            - TCC - 0.43 Btu/hr*ft2*deg F (2.44 W/m2*deg C).

            - TGC - 0.41 Btu/hr*ft2*deg F (2.33 W/m2*deg C).

        - Solar Heat-Gain Coefficient (SHGC): NFRC 200 maximum SHGC:

          - 22 inch (559 mm) Units with TTC diffuser:.

            - TCC - 0.22

            - TGC - 0.26

* NOTE TO SPECIFIER ** Include the following paragraph if daylight control is specified. Delete if not applicable.

        - Electrical Components: Listed and labeled as defined in NFPA 70, by a qualified testing agency, and marked for intended location and application.

      - Fall Protection Standard Compliance: 29 CFR 1910.23: Passed.

* NOTE TO SPECIFIER ** Include the following paragraph if project includes compliance with Federal Buy American provisions. VELUX SUN TUNNEL complies with requirement. Delete if not applicable.

      - Buy American Act Certification: Submit documentation certifying that products comply with provisions of the Buy American Act 41 U.S.C 10a - 10d.

  - PERFORMANCE REQUIREMENTS RESIDENTIAL DEVICES

** NOTE TO SPECIFIER ** Select one of the following Residential product specific Performance paragraphs as required for the project and delete the paragraphs not required. Coordinate with the products specified under Products in this specification.

    - VELUX Sun Tunnel glass pan flashed tubular daylighting device: Models TLR skylight provides the ultimate low profile appearance. Tunnel sections quickly clip together with the Flexi-Loc tunnel connection system. This unit is only available in 14 inch (356 mm) diameter. The interior ceiling ring assembly includes thermal pane frosted lower diffuser and a highly transmissive engineered upper acrylic pane to maximize light transmission and diffusion.

** NOTE TO SPECIFIER ** Select the diffuser paragraph matching the products specified for the project and delete those not required.

      - AAMA/WDMA/CSA 101/I.S.2/A440-11 or previous:

        - Performance Grade (Primary Designator): CW-PG125 TDD.

        - Design Pressure (DP): +200/-125 psf (+9.58/-5.98 kPa).

        - Air Infiltration: Maximum air leakage through unit of 0.09 cfm/sq. ft. (0.5 L/s/sq. m) of fixed area as determined according to ASTM E 283 at a static-air-pressure differential of 1.57 lbf/sq. ft. (75 Pa.)

        - Canadian Air Infiltration/Exfiltration Rating: A2

        - Water Penetration under Static Pressure: No evidence of water penetration through complete unit when tested according to ASTM E 331 at a static-air-pressure differential of 15 lbf/sq. ft. (720 Pa).

** NOTE TO SPECIFIER ** Select the standard dual diffuser system or the energy improved quad diffusers system and delete the one not required.

      - Thermal Performance

        - Tested in accordance with NFRC Procedure 100 shall have a U-factor no greater than 0.61 Btu/hr*ft*deg.F (3.12 W/m2*deg K) with the standard dual diffuser system.

        - Tested in accordance with NFRC Procedure 200 shall have a Solar Heat Gain Coefficient (SHGC) no greater than 0.44.

      - Burning Characteristics of Plastic Glazing and other components:

        - Self-Ignition Temperature: 650 deg F (345 deg. C) or more for plastic glazing in thickness indicated when tested per ASTM D 1929.

        - Smoke-Production Characteristics: Comply with either requirement below:

          - Smoke-Developed Index: 450 or less when tested per ASTM E 84 on plastic glazing in manner indicated for application.

          - Smoke Density: 75 or less when tested per ASTM D 2843 on plastic glazing in thickness indicated for application.

        - Fire Ratings for Roof Assemblies with fire classifications: Tubular unit skylight with dome edge protection band and pass testing in accordance with the Class B Burn Brand portion of ASTM E 108 for use on fire roofs with Class A, B, or C roof assemblies.

      - Daylighting: Provide daylighting photometric performance comparable to basis of design product at layout indicated, based upon daylighting profile of March 21, 9:00 am local time, at project location by simulation in accordance with IESNA guidelines.

      - Fall Protection Standard Compliance: 29 CFR 1910.23: Passed.

    - VELUX Sun Tunnel pitched pan flashed tubular daylighting device with a rigid tunnel for wall board type ceiling coverings: Models TMR with an acrylic or polycarbonate dome and a dual round ceiling ring assembly for wall board type ceiling coverings, tunnel sections quickly clip together with the Flexi-Loc tunnel connection system. This unit is available in 10 inch (254 mm) and 14 inch (356 mm) diameters. The interior ceiling ring assembly includes thermal pane frosted lower diffuser and a highly transmissive engineered upper acrylic pane to maximize light transmission and diffusion:

** NOTE TO SPECIFIER ** Select the diffuser paragraph matching the products specified for the project and delete those not required.

      - AAMA/WDMA/CSA 101/I.S.2/A440-11 or previous:

        - Performance Grade (Primary Designator): TDDCC PG125.

        - Design Pressure (DP) +300/-125 (14.4/-5.98 kPA).

        - Air Infiltration: Maximum air leakage through unit of 0.09 cfm/sq. ft (0.5 L/s/sq. m) of fixed area as determined according to ASTM E 283 at a static air presser differential of 1.57 lbf/sq. ft. (75 Pa)

        - Canadian Air Infiltration/Exfiltration Rating: A2

        - Water Penetration under Static Pressure: No evidence of water penetration through complete unit when tested according to ASTM E 331 at a static-air-pressure differential of 15 lbf/sq. ft. (720 Pa).

        - Polycarbonate dome option wind zone 3, large missile (C) Cycle pressure +/- 50 psf as determined by ASTM E 1996 and ASTME E 1886.

** NOTE TO SPECIFIER ** Select the standard dual diffuser system or the energy improved quad diffusers system and delete the one not required.

      - Thermal Performance

        - Tested in accordance with NFRC Procedure 100 shall have a U-factor no greater than:

          - TMR with Energy kit: 0.38 Btu/hr*ft.*deg. F (2.16 W/m2*deg K). Quad diffusers system and diffusing disc.

          - TMR: 0.55 Btu/hr*ft.*deg. F (3.12 W/m2*deg K).Dual diffuser system

        - Tested in accordance with NFRC Procedure 200 shall have a Solar Heat Gain Coefficient (SHGC) no greater than:

          - TMR with Energy Kit: 0.25 Quad diffusers system and diffusing disc.

          - TMR: 0.37 Standard dual diffuser system.

      - Burning Characteristics of Plastic Glazing and other components:

        - Self-Ignition Temperature: 650 deg F (345 deg. C) or more for plastic glazing in thickness indicated when tested per ASTM D 1929.

        - Smoke-Production Characteristics: Comply with either requirement below:

          - Smoke-Developed Index: 450 or less when tested per ASTM E 84 on plastic glazing in manner indicated for application.

          - Smoke Density: 75 or less when tested per ASTM D 2843 on plastic glazing in thickness indicated for application.

        - Fire Ratings for Roof Assemblies with fire classifications: Tubular unit skylight with dome edge protection band and pass testing in accordance with the Class B Burn Brand portion of ASTM E 108 for use on fire roofs with Class A, B, or C roof assemblies.

      - Daylighting: Provide daylighting photometric performance comparable to basis of design product at layout indicated, based upon daylighting profile of March 21, 9:00 am local time, at project location by simulation in accordance with IESNA guidelines.

      - Fall Protection Standard Compliance: 29 CFR 1910.23: Passed

    - VELUX Sun Tunnel curb mount domed tubular daylighting device a rigid tunnel for wall board type ceiling coverings: Model TCR 014, tunnel sections quickly clip together with the Flexi-Loc tunnel connection system. This unit is only available in 14 inch (356 mm) diameter. The interior ceiling ring assembly includes thermal pane frosted lower diffuser and a highly transmissive engineered upper acrylic pane to maximize light transmission and diffusion.

      - AAMA/WDMA/CSA 101/I.S.2/A440-11 or previous:

        - Performance Grade (Primary Designator): TDDCC PG165.

        - Design Pressure (DP) +300/-165wnward design pressure = 300 psf.

        - Air Infiltration: Maximum air leakage through unit of 0.09 cfm/sq. ft (0.5 L/s/sq. m) of fixed area as determined according to ASTM E 283 at a static air presser differential of 1.57 lbf/sq. ft. (75 Pa)

        - Canadian Air Infiltration/Exfiltration Rating: A2

        - Water Penetration under Static Pressure: No evidence of water penetration through complete unit when tested according to ASTM E 331 at a static-air-pressure differential of 15 lbf/sq. ft. (720 Pa).

        - Polycarbonate dome option wind zone 3, large missile (C) Cycle pressure +/- 50psf as determined by ASTM E 1996 and ASTME E 1886.

** NOTE TO SPECIFIER ** Select the standard dual diffuser system or the energy improved quad diffusers system and delete the one not required.

      - Thermal Performance

        - Tested in accordance with NFRC Procedure 100 shall have a U-factor no greater than:

          - TCR with Energy kit: 0.38 Btu/hr*ft.*deg. F (2.16 W/m2*deg K). Quad diffusers system and diffusing disc.

          - TCR: 0.55 Btu/hr*ft.*deg. F (3.12 W/m2*deg K).Dual diffuser system

        - Tested in accordance with NFRC Procedure 200 shall have a Solar Heat Gain Coefficient (SHGC) no greater than:

          - TCR with Energy Kit: 0.36 Quad diffusers system and diffusing disc.

          - TCR: 0.37 Standard dual diffuser system.

      - Burning Characteristics of Plastic Glazing and other components:

        - Self-Ignition Temperature: 650 deg F (345 deg. C) or more for plastic glazing in thickness indicated when tested per ASTM D 1929.

        - Smoke-Production Characteristics: Comply with either requirement below:

          - Smoke-Developed Index: 450 or less when tested per ASTM E 84 on plastic glazing in manner indicated for application.

          - Smoke Density: 75 or less when tested per ASTM D 2843 on plastic glazing in thickness indicated for application.

        - Fire Ratings for Roof Assemblies with fire classifications: Tubular unit skylight with dome edge protection band and pass testing in accordance with the Class B Burn Brand portion of ASTM E 108 for use on fire roofs with Class A, B, or C roof assemblies.

      - Daylighting: Provide daylighting photometric performance comparable to basis of design product at layout indicated, based upon daylighting profile of March 21, 9:00 am local time, at project location by simulation in accordance with IESNA guidelines.

      - Fall Protection Standard Compliance: 29 CFR 1910.23: Passed

    - VELUX Sun Tunnel low profile pan flashed tubular daylighting device with a rigid tunnel for wall board type ceiling coverings: Model TGR with an acrylic or polycarbonate dome and a dual round ceiling ring assembly for wall board type ceiling coverings, tunnel sections quickly clip together with the Flexi-Loc tunnel connection system. This unit is available in 10 inch (254 mm) and 14 inch (356 mm) diameters. The interior ceiling ring assembly includes thermal pane frosted lower diffuser and a highly transmissive engineered upper acrylic pane to maximize light transmission and diffusion:

** NOTE TO SPECIFIER ** Select the diffuser paragraph matching the products specified for the project and delete those not required.

      - AAMA/WDMA/CSA 101/I.S.2/A440-11 or previous:

        - Performance Grade (Primary Designator): TDDCC PG125.

        - Design Pressure (DP) +300/-125 (14.4/-5.98 kPA).

        - Air Infiltration: Maximum air leakage through unit of 0.09 cfm/sq. ft (0.5 L/s/sq. m) of fixed area as determined according to ASTM E 283 at a static air presser differential of 1.57 lbf/sq. ft. (75 Pa).

        - Canadian Air Infiltration/Exfiltration Rating: A2.

        - Water Penetration under Static Pressure: No evidence of water penetration through complete unit when tested according to ASTM E 331 at a static-air-pressure differential of 15 lbf/sq. ft. (720 Pa).

        - Polycarbonate dome option wind zone 3, large missile (C) Cycle pressure +/- 50 psf as determined by ASTM E 1996 and ASTME E 1886.

** NOTE TO SPECIFIER ** Select the standard dual diffuser system or the energy improved quad diffusers system and delete the one not required.

      - Thermal Performance

        - Tested in accordance with NFRC Procedure 100 shall have a U-factor no greater than:

          - TGR with Energy kit: 0.38 Btu/hr*ft.*deg. F (2.16 W/m2*deg K). Quad diffusers system and diffusing disc.

          - TGR: 0.55 Btu/hr*ft.*deg. F (3.12 W/m2*deg K).Dual diffuser system

        - Tested in accordance with NFRC Procedure 200 shall have a Solar Heat Gain Coefficient (SHGC) no greater than:

          - TGR with Energy Kit: 0.25 Quad diffusers system and diffusing disc.

          - TGR: 0.37 Standard dual diffuser system.

      - Burning Characteristics of Plastic Glazing and other components:

        - Self-Ignition Temperature: 650 deg F (345 deg. C) or more for plastic glazing in thickness indicated when tested per ASTM D 1929.

        - Smoke-Production Characteristics: Comply with either requirement below:

          - Smoke-Developed Index: 450 or less when tested per ASTM E 84 on plastic glazing in manner indicated for application.

          - Smoke Density: 75 or less when tested per ASTM D 2843 on plastic glazing in thickness indicated for application.

        - Fire Ratings for Roof Assemblies with fire classifications: Tubular unit skylight with dome edge protection band and pass testing in accordance with the Class B Burn Brand portion of ASTM E 108 for use on fire roofs with Class A, B, or C roof assemblies.

      - Daylighting: Provide daylighting photometric performance comparable to basis of design product at layout indicated, based upon daylighting profile of March 21, 9:00 am local time, at project location by simulation in accordance with IESNA guidelines.

      - Fall Protection Standard Compliance: 29 CFR 1910.23: Passed

    - VELUX Sun Tunnel pitched pan flashed tubular daylighting device with a flexible tunnel for wall board type ceiling coverings: Models TMF with an acrylic or polycarbonate dome and a dual round ceiling ring assembly for wall board type ceiling coverings, tunnel sections quickly clip together with the Flexi-Loc tunnel connection system. This unit is available in 10 inch (254 mm) and 14 inch (356 mm) diameters. The interior ceiling ring assembly includes thermal pane frosted lower diffuser and a highly transmissive engineered upper acrylic pane to maximize light transmission and diffusion:

** NOTE TO SPECIFIER ** Select the diffuser paragraph matching the products specified for the project and delete those not required.

      - AAMA/WDMA/CSA 101/I.S.2/A440-11 or previous:

        - Performance Grade (Primary Designator): TDDCC PG125.

        - Design Pressure (DP) +300/-125 (14.4/-5.98 kPA).

        - Air Infiltration: Maximum air leakage through unit of 0.09 cfm/sq. ft (0.5 L/s/sq. m) of fixed area as determined according to ASTM E 283 at a static air presser differential of 1.57 lbf/sq. ft. (75 Pa)

        - Canadian Air Infiltration/Exfiltration Rating: A2

        - Water Penetration under Static Pressure: No evidence of water penetration through complete unit when tested according to ASTM E 331 at a static-air-pressure differential of 15 lbf/sq. ft. (720 Pa).

        - Polycarbonate dome option wind zone 3, large missile (C) Cycle pressure +/- 50 psf as determined by ASTM E 1996 and ASTME E 1886.

** NOTE TO SPECIFIER ** Select the standard dual diffuser system or the energy improved quad diffusers system and delete the one not required.

      - Thermal Performance

        - Tested in accordance with NFRC Procedure 100 shall have a U-factor no greater than:

          - TMF with Energy kit: 0.37 Btu/hr*ft.*deg. F (2.16 W/m2*deg K). Quad diffusers system and diffusing disc.

          - TMF: 0.50 Btu/hr*ft.*deg. F (3.12 W/m2*deg K).Dual diffuser system

        - Tested in accordance with NFRC Procedure 200 shall have a Solar Heat Gain Coefficient (SHGC) no greater than:

          - TMF with Energy Kit: 0.21 Quad diffusers system and diffusing disc.

          - TMF: 0.21 Standard dual diffuser system.

      - Burning Characteristics of Plastic Glazing and other components:

        - Self-Ignition Temperature: 650 deg F (345 deg. C) or more for plastic glazing in thickness indicated when tested per ASTM D 1929.

        - Smoke-Production Characteristics: Comply with either requirement below:

          - Smoke-Developed Index: 450 or less when tested per ASTM E 84 on plastic glazing in manner indicated for application.

          - Smoke Density: 75 or less when tested per ASTM D 2843 on plastic glazing in thickness indicated for application.

        - Fire Ratings for Roof Assemblies with fire classifications: Tubular unit skylight with dome edge protection band and pass testing in accordance with the Class B Burn Brand portion of ASTM E 108 for use on fire roofs with Class A, B, or C roof assemblies.

      - Daylighting: Provide daylighting photometric performance comparable to basis of design product at layout indicated, based upon daylighting profile of March 21, 9:00 am local time, at project location by simulation in accordance with IESNA guidelines.

      - Fall Protection Standard Compliance: 29 CFR 1910.23: Passed

** NOTE TO SPECIFIER ** Select the diffuser paragraph matching the products specified for the project and delete those not required.

    - VELUX Sun Tunnel low profile pan flashed tubular daylighting device with a flexible tunnel for wall board type ceiling coverings: Model TGF with an acrylic or polycarbonate dome and a dual round ceiling ring assembly for wall board type ceiling coverings, tunnel sections quickly clip together with the Flexi-Loc tunnel connection system. This unit is available in 14 inch (356 mm) and 22 inch (559 mm) diameters. The interior ceiling ring assembly includes thermal pane frosted lower diffuser and a highly transmissive engineered upper acrylic pane to maximize light transmission and diffusion.

      - AAMA/WDMA/CSA 101/I.S.2/A440-11 or previous:

        - Performance Grade (Primary Designator): TDDCC PG125.

        - Design Pressure (DP) +300/-125 (14.4/-5.98 kPA).

        - Air Infiltration: Maximum air leakage through unit of 0.09 cfm/sq. ft (0.5 L/s/sq. m) of fixed area as determined according to ASTM E 283 at a static air presser differential of 1.57 lbf/sq. ft. (75 Pa)

        - Canadian Air Infiltration/Exfiltration Rating: A2

        - Water Penetration under Static Pressure: No evidence of water penetration through complete unit when tested according to ASTM E 331 at a static-air-pressure differential of 15 lbf/sq. ft. (720 Pa).

        - Polycarbonate dome option wind zone 3, large missile (C) Cycle pressure +/- 50 psf as determined by ASTM E 1996 and ASTME E 1886.

** NOTE TO SPECIFIER ** Select the standard dual diffuser system or the energy improved quad diffusers system and delete the one not required.

      - Thermal Performance

        - Tested in accordance with NFRC Procedure 100 shall have a U-factor no greater than:

          - TGF with Energy kit: 0.37 Btu/hr*ft.*deg. F (2.16 W/m2*deg K). Quad diffusers system and diffusing disc.

          - TGF: 0.50 Btu/hr*ft.*deg. F (3.12 W/m2*deg K).Dual diffuser system

        - Tested in accordance with NFRC Procedure 200 shall have a Solar Heat Gain Coefficient (SHGC) no greater than:

          - TGF with Energy Kit: 0.21 Quad diffusers system and diffusing disc.

          - TGF: 0.21 Standard dual diffuser system.

      - Burning Characteristics of Plastic Glazing and other components:

        - Self-Ignition Temperature: 650 deg F (345 deg. C) or more for plastic glazing in thickness indicated when tested per ASTM D 1929.

        - Smoke-Production Characteristics: Comply with either requirement below:

          - Smoke-Developed Index: 450 or less when tested per ASTM E 84 on plastic glazing in manner indicated for application.

          - Smoke Density: 75 or less when tested per ASTM D 2843 on plastic glazing in thickness indicated for application.

        - Fire Ratings for Roof Assemblies with fire classifications: Tubular unit skylight with dome edge protection band and pass testing in accordance with the Class B Burn Brand portion of ASTM E 108 for use on fire roofs with Class A, B, or C roof assemblies.

      - Daylighting: Provide daylighting photometric performance comparable to basis of design product at layout indicated, based upon daylighting profile of March 21, 9:00 am local time, at project location by simulation in accordance with IESNA guidelines.

      - Fall Protection Standard Compliance: 29 CFR 1910.23: Passed

  - SUBMITTALS

    - Submit under provisions of Section 01 30 00 - Administrative Requirements.

    - Product Data: Manufacturer's data sheets on each product to be used, including:

      - Product dimensions, rough opening and finished framing dimensions.

      - Preparation instructions and recommendations.

      - Storage and handling requirements and recommendations.

      - Installation methods.

    - Shop Drawings: Include plans, elevations, sections, details, and connections to supporting structure and other adjoining work. Include flashing type, diffuser type and accessories provided.

* NOTE TO SPECIFIER ** Include the following paragraph if required. Delete if not applicable.

      - Lighting photometric study indicating compliance with performance requirements in accordance with IESNA. Include layout, spacing criteria and foot-candle report.

* NOTE TO SPECIFIER ** Include the following paragraph if daylight control is specified. Delete if not applicable.

      - Wiring Diagrams: For power and control wiring for daylight control.

** NOTE TO SPECIFIER ** Delete the following paragraphs if LEED is not applicable. Review design-phase credits available related to tubular unit skylights, including contribution to IEQ Cr 6.1 Controllability of Systems, IEQ Cr 8.1. Daylighting, EA Cr 1 Energy Optimization, and ID Cr 1 Innovation in Design credits. Consult VELUX representative for detailed support data.

    - LEED Submittals: Provide documentation of how the requirements of Credit will be met:

      - Credit MR 4 Recycled Content: Include the following:

        - Percentages by weight of post-consumer and pre-consumer recycled content.

        - Total weight of products provided.

        - Include statement indicating costs for each product having recycled content.

    - Verification Samples: As requested by Architect.

    - Manufacturer's Warranty.

    - Manufacturer's Certificates: Certify products meet or exceed all specified requirements.

  - QUALITY ASSURANCE

    - Manufacturer Qualifications: Engaged in manufacture of tubular skylights for minimum 30 years.

    - Tubular Daylighting Device shall be manufactured to the highest standards of quality, environmental stewardship and craftsmanship in accordance with VELUX Manufacturing Standards, in ISO 9001 and ISO 14001-certified facilities.

  - DELIVERY, STORAGE, AND HANDLING

    - Deliver products in manufacturer's original containers, dry, undamaged, seals and labels intact.

    - Store products in manufacturer's unopened packaging until ready for installation.

  - PROJECT CONDITIONS

    - Maintain environmental conditions within limits recommended by manufacturer for optimum results. Do not install products under environmental conditions outside manufacturer's absolute limits.

  - WARRANTY

    - Tubular Daylighting Devices: Manufacturer's standard 10 year material warranty for non-electric components, 20 year for rigid tunnel reflectivity, and 5 years for electric components.

- PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturer: VELUX  Canada Inc., which is located at: 2740 Sherwood Heights Dr.; Oakville, ON, Canada L6J 7V5; Toll Free Tel: 800-888-3589; Tel: 905-829-0280; Fax: 800-898-3589; Email: request info (Commercial-cdn@velux.com); Web: www.velux.ca

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

    - Substitutions: Not permitted.

    - Requests for substitutions will be considered in accordance with provisions of Section 01 60 00 - Product Requirements.

** NOTE TO SPECIFIER ** The following paragraphs include Commercial and Residential VELUX Sun Tunnel devices. Select the type of device and the model(s) required and delete those not required. SUN TUNNEL skylights are configurable systems that allow the specifier to select only the components required for specific project applications, with adjustable flashing heights, straight and adjustable angle tunnel components, and diffuser options for most applications.

  - COMMERCIAL TUBULAR DAYLIGHTING DEVICES

** NOTE TO SPECIFIER ** Model TCC is suitable for curb mounted installation on flat roofs with a pitch of 0 - 60 degrees.

    - Curb Mount Sun Tunnel Skylight for Flat Roofs: Model TCC tubular unit skylight daylighting devices with exterior glazed dome, glazing retainers and gaskets, exterior curb counterflashing assembly with integral adjustable pivot device, reflective tunnel, interior diffuser assemblies, and accessories.

      - Roof Dome Assembly: Transparent, UV-resistant dome with flashing base supporting dome, and top of tunnel.

        - Unit Sizes:

** NOTE TO SPECIFIER ** Select the size required and delete the one not required. The 14 inch diameter dome uses low profile geometry and the 22 inch diameter dome uses high profile geometry optimized to capture daylight at low solar angles to provide bright evenly distributed lighting levels through peak sun hours.

          - 14 inch (356 mm) diameter.

          - 22 inch (559 mm) diameter.

          - As indicated on Drawings.

        - Dome Glazing: 0.125 inch (3.18 mm) minimum thickness, injection molded transparent material with UV-absorbing additive as follows:

** NOTE TO SPECIFIER ** Select one of the following paragraphs and delete the one not required. Use polycarbonate for high impact resistant applications.

          - Impact modified acrylic.

          - Polycarbonate.

        - Dome Seal: Adhesive-backed foam weatherstrip.

** NOTE TO SPECIFIER ** Select the following paragraph for use with the 22 inch diameter dome assembly only. Delete if not applicable.

        - Daylight Directing Device: VELUX SunCurve Daylight Directing acrylic prism array for 22 inch (559 mm) diameter assembly to direct low-angle sunlight into tunnel and reject solar heat gain.

      - Roof Curb Counterflashing: One-piece, formed low slope curb counterflashing suitable for installation on roof curb up to 60 deg. from horizontal.

        - Material: Galvanized steel sheet, 0.023 inch, (0.58 mm) thick.

          - Size: Curb-mounted, with 3 inch (76.2 mm) vertical counterflashing lip.

            - 21 inches (533 mm) square for 14 inch (356 mm) diameter unit.

            - 31 inches (787 mm) square for 22 inch (356 mm) diameter unit.

          - Finish: Powder coat, gray.

        - Flashing Insulator: Closed-cell thermal isolation material affixed to underside of flashing.

        - Intermediate Ring: High-impact plastic reflective tunnel receiver attached to top of roof curb counterflashing base. Serves as mounting base for dome assembly and provides a thermal break between counterflashing base and reflective tunnel. Configured to channel condensed moisture out of assembly.

          - Intermediate Ring Seal: Santoprene O-ring.

          - Pivot Ring and Reflective Tunnel Collar: High-impact plastic pivoting socket; adjustable to allow increased adjustability for alignment of tunnel sections.

** NOTE TO SPECIFIER ** Select the following paragraph as applicable for the project. Delete if not required.

      - Flashing Accessories:

        - Turret Risers: Sections 12 inches (305 mm) high and or 36 inch (914 mm) high as indicated on Drawings. Match counterflashing metal and finish.

        - Fire Band: Dome edge protection band, for use in fire-resistance-rated roof assemblies. Match counterflashing metal and finish.

** NOTE TO SPECIFIER ** Include reflective tunnels section extensions of roof mounted devices required for installation based on configuration of roof, ceiling, and structural member and skylight and diffuser locations indicated on Drawings.

      - Reflective Tunnel:

        - Tunnel Assembly: TTK or ZTR skylight light shaft sections formed from Class II anodized aluminum sheet, 0.023 inch (0.58 mm) thick, with silver specular interior finish surface coated with vacuum-evaporated silicone oxide and titanium oxide protective surface.

          - Diameter: As required for skylight unit sizes.

          - Reflectance: 99 percent reflectance when measured in accordance with ASTM E 1651 at 30 degrees from vertical. Total reflectance greater than 98 percent when measured in accordance with ASTM E 1651.

          - Color Rendition, ASTM E 408: As defined by CIE L*a*b* color model, L equal to 99-100, values a* and b* shall not exceed plus 1 or be less than minus 1.

        - Tunnel Components: Provide components required for installation based on configuration of roof, ceiling, structural member and skylight and diffuser locations indicated on Drawings, and manufacturer's recommendations:

          - Rigid Tunnel Extensions: Reflective extension tube, lengths as required for application.

          - Universal Reflective Elbows: Reflective angle adaptors adjustable to 45 degrees and mounted at the top, middle, or bottom of reflective tunnel assemblies as required for application.

          - Reflective Tunnel Fastening System: Flexi-Loc fastening devices consisting of spring tempered stainless steel pull clip mechanical fasteners allowing tunnel vertical and horizontal joints to be secured without the use of screws or tools, used in conjunction with pre-located punched holes in tunnel sections that allow for a tight naturally-occurring tapered mating of interconnecting tunnel sections and elbows.

** NOTE TO SPECIFIER ** Include accessories required for installation based on configuration of roof, ceiling, and structural member and skylight and diffuser locations indicated on Drawings.

      - Reflective Tunnel Accessories: Provide as required for the installations indicated on the Drawings.

        - Rotating Couplers: Rotating adaptors for coupling of two elbows to create 90 degree transition of tunnels with rotating joint enabling alignment of tunnel section

** NOTE TO SPECIFIER ** Include the following optional Energy Kit if required and delete if not required. Energy kit increases skylight energy efficiency while reducing potential for condensation within tubular unit skylights. The 14 inch Energy Kit includes a standard heat shield plate attached to the inside of the dome to reduce solar heat intensity of high sun angles.

        - Energy Kit: ZTC kit includes two clear diffusers mounted in airtight Santoprene gasket system inserted in a round polymer housing that provides a thermal break. Installs in line with building envelope insulation to isolate tunnel from exterior temperatures. Attached to tunnel with spring lock fasteners.

** NOTE TO SPECIFIER ** Select optional daylight control if required from the following paragraphs and delete if not required.

      - Daylight Controller and Switch: ZTP local daylight controller with a rigid injection-molded frame and reflective variable positioning damper. 120/277 V AC plenum rated power supply and 15 amp DP/DT AC switch capable of operating up to ten daylight controllers Provide for units for where dimmers are indicated on the Drawings.

        - Housing:

** NOTE TO SPECIFIER ** Select housing type required from the following paragraphs and delete the one not required. Use plenum rated for use with fire rated ceilings.

          - White reflective injection-molded copolymer.

          - White reflective plenum-rated Kynar PVDF thermoplastic.

        - Power Supply and Control Switch:

          - 120/277 V AC plenum rated power supply and 15 amp 120/277 DP/DT AC quiet switch capable of operating up to ten ZTP daylight controller.

** NOTE TO SPECIFIER ** Select one or more diffuser assemblies as required from the following paragraphs and delete those not required.

      - Diffuser Assemblies: Provide as required for the installations indicated on the Drawings.

        - Round Diffuser Assemblies for Exposed Structure Applications: TOC round diffuser attaches directly to bottom of tunnel, with high visible light transmittance lens, airtight seals, and white polycarbonate trim ring.

          - Size: As required for skylight sizes indicated.

          - Lens Type:

** NOTE TO SPECIFIER ** Select lens type required from the following paragraphs and delete those not required.

            - Prismatic lens, industry standard diffuser, minimum 92 percent visible light transmittance.

            - Frosted lens, a frosted medium with infused diffusing spheres to increase light diffusion, minimum 92 percent visible light transmittance.

            - Fresnel lens with concentric honeycomb parabolic light-diffusing prisms for maximum light diffusion.

        - Square Diffuser Assemblies for Suspended and Hard Ceiling Applications: TTC round-to-square transition box with white diffuse internal coating attaches directly to bottom of tunnel and fitted to standard suspended ceiling grid or hard ceiling, with hinged, white painted extruded aluminum diffuser frame with high visible light transmittance lens, seals, and white metal ceiling trim.

          - Size: As required for skylight sizes indicated and coordinated with nominal 24 by 24 inch (610 by 610 mm) ceiling grid size.

** NOTE TO SPECIFIER ** Include the following paragraph as required and delete if not required.

          - Round-to-Round Adapter: Provide where required to adapt 14 inch tunnel to square diffuser assembly.

          - Lens Type:

** NOTE TO SPECIFIER ** Select lens type required from the following paragraphs and delete those not required.

            - Prismatic lens, industry standard diffuser, minimum 92 percent visible light transmittance.

            - Frosted lens, a frosted medium with infused diffusing spheres to increase light diffusion, minimum 92 percent visible light transmittance.

            - Fresnel lens with concentric honeycomb parabolic light-diffusing prisms for maximum light diffusion.

** NOTE TO SPECIFIER ** Include the one of the two following optional Curvilinear Ceiling Adapter Assemblies as required for fire-rated ceiling assembly requirements. Delete if not applicable.

          - Curvilinear Ceiling Adapter Assembly:

            - White reflective injection-molded copolymer.

            - White reflective plenum-rated Kynar PVDF thermoplastic.

        - Round Diffuser Assemblies for Finished Ceiling Applications: THC round ceiling diffuser assembly attached directly to bottom of tunnel, dual high visible light transmittance lenses with insulating airspace, airtight seals, and paintable white acrylic trim ring.

          - Size: As required for skylight sizes indicated.

          - Lens Type:

** NOTE TO SPECIFIER ** Select lens type required from the following paragraphs and delete those not required.

            - Prismatic lens, industry standard diffuser, minimum 92 percent visible light transmittance.

            - Frosted lens, a frosted medium with infused diffusing spheres to increase light diffusion, minimum 92 percent visible light transmittance.

            - Fresnel lens with concentric honeycomb parabolic light-diffusing prisms for maximum light diffusion.

** NOTE TO SPECIFIER ** Select the accessories as required from the following paragraphs and delete those not required.

      - Accessories: Provide as required for the installations indicated on the Drawings.

        - Tie Wire: ASTM A 641/A 641M, Class 1 zinc coating, soft temper, 0.062 inch (1.59 mm ) diameter wire, or double strand of 0.048 inch (1.21mm) diameter wire.

        - Security Bar: Single 304 stainless steel bar installed across diameter of tunnel collar section, and security fasteners for fastening dome to assembly.

        - High Security Bars: Double 304 stainless steel bars installed perpendicular to each other across diameter of tunnel collar section, and security fasteners for fastening dome to assembly and flashing to curb.

        - Diffusion Enhancer: Light scattering highly reflective diffusing band.

** NOTE TO SPECIFIER ** Model TGC is suitable for pan flashed installation on flat roofs with a pitch of 0 - 60 degrees.

    - Pan Flashed Sun Tunnel Skylight for Flat Roofs: Model TGC tubular unit skylight daylighting devices with exterior glazed dome, glazing retainers and gaskets, pan flashing assembly with integral adjustable pivot device, reflective tunnel, interior diffuser assemblies, and accessories.

      - Roof Dome Assembly: Transparent, UV-resistant dome with flashing base supporting dome, and top of tunnel.

        - Unit Sizes:

** NOTE TO SPECIFIER ** Select the size required and delete the one not required. The 14 inch diameter dome uses low profile geometry and the 22 inch diameter dome uses high profile geometry optimized to capture daylight at low solar angles to provide bright evenly distributed lighting levels through peak sun hours.

          - 14 inch (356 mm) diameter.

          - 22 inch (559 mm) diameter.

          - As indicated on Drawings.

        - Dome Glazing: 0.125 inch (3.18 mm) minimum thickness, injection molded transparent material with UV-absorbing additive as follows:

** NOTE TO SPECIFIER ** Select one of the following paragraphs and delete the one not required. Use polycarbonate for high impact resistant applications.

          - Impact modified acrylic.

          - Polycarbonate.

        - Dome Seal: Adhesive-backed foam weatherstrip.

** NOTE TO SPECIFIER ** Select the following paragraph for use with the 22 inch diameter dome assembly only. Delete if not applicable.

        - Daylight Directing Device: SunCurve Daylight Directing acrylic prism array for 22 inch (559 mm) diameter assembly to direct low-angle sunlight into tunnel and reject solar heat gain.

      - Roof Pan Flashing: One-piece, formed self-flashing type pan flashing suitable for installation on roof curb up to 60 deg. from horizontal.

        - Material: Galvanized steel sheet, 0.023 inch, (0.58 mm) thick.

          - Finish: Powder coat, gray.

        - Intermediate Ring: High-impact plastic reflective tunnel receiver attached to top of roof curb flashing base. Serves as mounting base for dome assembly and provides a thermal break between flashing base and reflective tunnel. Configured to channel condensed moisture out of assembly.

          - Intermediate Ring Seal: Santoprene O-ring.

          - Pivot Ring and Reflective Tunnel Collar: High-impact plastic pivoting socket; adjustable to allow increased adjustability for alignment of tunnel sections.

** NOTE TO SPECIFIER ** Select the following paragraph as applicable for the project. Delete if not required.

      - Flashing Accessories:

        - Turret Risers: Sections 12 inches (305 mm) high and or 36 inch (914 mm) high as indicated on Drawings. Match flashing metal and finish.

        - Fire Band: Dome edge protection band, for use in fire-resistance-rated roof assemblies. Match flashing metal and finish.

** NOTE TO SPECIFIER ** Include reflective tunnels section extensions of roof mounted devices required for installation based on configuration of roof, ceiling, and structural member and skylight and diffuser locations indicated on Drawings.

      - Reflective Tunnel:

        - Tunnel Assembly: TTK or ZTR skylight light shaft sections formed from Class II anodized aluminum sheet, 0.023 inch (0.58 mm) thick, with silver specular interior finish surface coated with vacuum-evaporated silicone oxide and titanium oxide protective surface.

          - Diameter: As required for skylight unit sizes.

          - Reflectance: 99 percent reflectance when measured in accordance with ASTM E 1651 at 30 degrees from vertical. Total reflectance greater than 98 percent when measured in accordance with ASTM E 1651.

          - Color Rendition, ASTM E 408: As defined by CIE L*a*b* color model, L equal to 99-100, values a* and b* shall not exceed plus 1 or be less than minus 1.

        - Tunnel Components: Provide components required for installation based on configuration of roof, ceiling, structural member and skylight and diffuser locations indicated on Drawings, and manufacturer's recommendations:

          - Rigid Tunnel Extensions: Reflective extension tube, lengths as required for application.

          - Universal Reflective Elbows: Reflective angle adaptors adjustable to 45 degrees and mounted at the top, middle, or bottom of reflective tunnel assemblies as required for application.

          - Reflective Tunnel Fastening System: Flexi-Loc fastening devices consisting of spring tempered stainless steel pull clip mechanical fasteners allowing tunnel vertical and horizontal joints to be secured without the use of screws or tools, used in conjunction with pre-located punched holes in tunnel sections that allow for a tight naturally-occurring tapered mating of interconnecting tunnel sections and elbows.

** NOTE TO SPECIFIER ** Include accessories required for installation based on configuration of roof, ceiling, and structural member and skylight and diffuser locations indicated on Drawings.

      - Reflective Tunnel Accessories: Provide as required for the installations indicated on the Drawings.

        - Rotating Couplers: Rotating adaptors for coupling of two elbows to create 90 degree transition of tunnels with rotating joint enabling alignment of tunnel section

** NOTE TO SPECIFIER ** Include the following optional Energy Kit if required and delete if not required. Energy kit increases skylight energy efficiency while reducing potential for condensation within tubular unit skylights. The 14 inch Energy Kit includes a standard heat shield plate attached to the inside of the dome to reduce solar heat intensity of high sun angles.

        - Energy Kit: ZTC kit includes two clear diffusers mounted in airtight Santoprene gasket system inserted in a round polymer housing that provides a thermal break. Installs in line with building envelope insulation to isolate tunnel from exterior temperatures. Attached to tunnel with spring lock fasteners.

** NOTE TO SPECIFIER ** Select optional daylight control if required from the following paragraphs and delete if not required.

      - Daylight Controller and Switch: ZTP local daylight controller with a rigid injection-molded frame and a reflective variable positioning damper. 120/277 V AC plenum rated power supply and 15 amp DP/DT AC switch capable of operating up to ten daylight controllers Provide for units for where dimmers are indicated on the Drawings.

        - Housing:

** NOTE TO SPECIFIER ** Select housing type required from the following paragraphs and delete the one not required. Use plenum rated for use with fire rated ceilings.

          - White reflective injection-molded copolymer.

          - White reflective plenum-rated Kynar PVDF thermoplastic.

        - Power Supply and Control Switch:

          - 120/277 V AC plenum rated power supply and 15 amp 120/277 DP/DT AC quiet switch capable of operating up to ten ZTP daylight controller.

** NOTE TO SPECIFIER ** Select one or more diffuser assemblies as required from the following paragraphs and delete those not required.

      - Diffuser Assemblies: Provide as required for the installations indicated on the Drawings.

        - Round Diffuser Assemblies for Exposed Structure Applications: TOC round diffuser attaches directly to bottom of tunnel, with high visible light transmittance lens, airtight seals, and white polycarbonate trim ring.

          - Size: As required for skylight sizes indicated.

          - Lens Type:

** NOTE TO SPECIFIER ** Select lens type required from the following paragraphs and delete those not required.

            - Prismatic lens, industry standard diffuser, minimum 92 percent visible light transmittance.

            - Frosted lens, a frosted medium with infused diffusing spheres to increase light diffusion, minimum 92 percent visible light transmittance.

            - Fresnel lens with concentric honeycomb parabolic light-diffusing prisms for maximum light diffusion.

        - Square Diffuser Assemblies for Suspended and Hard Ceiling Applications: TTC round-to-square transition box with white diffuse internal coating attaches directly to bottom of tunnel and fitted to standard suspended ceiling grid or hard ceiling, with hinged, white painted extruded aluminum diffuser frame with high visible light transmittance lens, seals, and white metal ceiling trim.

          - Size: As required for skylight sizes indicated and coordinated with nominal 24 by 24 inch (610 by 610 mm) ceiling grid size.

** NOTE TO SPECIFIER ** Include the following paragraph as required and delete if not required.

          - Round-to-Round Adapter: Provide where required to adapt 14 inch tunnel to square diffuser assembly.

          - Lens Type:

** NOTE TO SPECIFIER ** Select lens type required from the following paragraphs and delete those not required.

            - Prismatic lens, industry standard diffuser, minimum 92 percent visible light transmittance.

            - Frosted lens, a frosted medium with infused diffusing spheres to increase light diffusion, minimum 92 percent visible light transmittance.

            - Fresnel lens with concentric honeycomb parabolic light-diffusing prisms for maximum light diffusion.

** NOTE TO SPECIFIER ** Include the one of the two following optional Curvilinear Ceiling Adapter Assemblies as required for fire-rated ceiling assembly requirements. Delete if not applicable.

          - Curvilinear Ceiling Adapter Assembly:

            - White reflective injection-molded copolymer.

            - White reflective plenum-rated Kynar PVDF thermoplastic.

        - Round Diffuser Assemblies for Finished Ceiling Applications: THC round ceiling diffuser assembly attached directly to bottom of tunnel, dual high visible light transmittance lenses with insulating airspace, airtight seals, and paintable white acrylic trim ring.

          - Size: As required for skylight sizes indicated.

          - Lens Type:

** NOTE TO SPECIFIER ** Select lens type required from the following paragraphs and delete those not required.

            - Prismatic lens, industry standard diffuser, minimum 92 percent visible light transmittance.

            - Frosted lens, a frosted medium with infused diffusing spheres to increase light diffusion, minimum 92 percent visible light transmittance.

            - Fresnel lens with concentric honeycomb parabolic light-diffusing prisms for maximum light diffusion.

** NOTE TO SPECIFIER ** Select the accessories as required from the following paragraphs and delete those not required.

      - Accessories: Provide as required for the installations indicated on the Drawings.

        - Tie Wire: ASTM A 641/A 641M, Class 1 zinc coating, soft temper, 0.062 inch (1.59 mm) diameter wire, or double strand of 0.048 inch (1.21mm) diameter wire.

        - Security Bar: Single 304 stainless steel bar installed across diameter of tunnel collar section, and security fasteners for fastening dome to assembly.

        - High Security Bars: Double 304 stainless steel bars installed perpendicular to each other across diameter of tunnel collar section, and security fasteners for fastening dome to assembly and flashing to curb.

        - Diffusion Enhancer: Light scattering highly reflective diffusing band.

** NOTE TO SPECIFIER ** Model TMC is suitable for pan flashed installation on sloped roofs with a pitch of 14 - 60 degrees.

    - Pan Flashed Sun Tunnel Skylight for Sloped Roofs: Model TMC tubular unit skylight daylighting devices with exterior glazed dome, glazing retainers and gaskets, pan flashing assembly with integral adjustable pivot device, reflective tunnel, interior diffuser assemblies, and accessories.

      - Roof Dome Assembly: Transparent, UV-resistant dome with flashing base supporting dome, and top of tunnel.

        - Unit Size: 14 inch (356 mm) diameter.

        - Dome Glazing: 0.125 inch (3.18 mm) minimum thickness, injection molded transparent material with UV-absorbing additive as follows:

** NOTE TO SPECIFIER ** Select one of the following paragraphs and delete the one not required. Use polycarbonate for high impact resistant applications.

          - Impact modified acrylic.

          - Polycarbonate.

        - Dome Seal: Adhesive-backed foam weatherstrip.

      - Roof Pan Flashing: One-piece, formed self-flashing type pan flashing suitable for installation on roof curb from 14 deg. to 60 deg. from horizontal.

        - Material: Galvanized steel sheet, 0.023 inch, (0.58 mm) thick.

          - Finish: Powder coat, gray.

        - Intermediate Ring: High-impact plastic reflective tunnel receiver attached to top of roof curb flashing base. Serves as mounting base for dome assembly and provides a thermal break between flashing base and reflective tunnel. Configured to channel condensed moisture out of assembly.

          - Intermediate Ring Seal: Santoprene O-ring.

          - Pivot Ring and Reflective Tunnel Collar: High-impact plastic pivoting socket; adjustable to allow increased adjustability for alignment of tunnel sections.

** NOTE TO SPECIFIER ** Include reflective tunnels section extensions of roof mounted devices required for installation based on configuration of roof, ceiling, and structural member and skylight and diffuser locations indicated on Drawings.

      - Reflective Tunnel:

        - Tunnel Assembly: TTK or ZTR skylight light shaft sections formed from Class II anodized aluminum sheet, 0.023 inch (0.58 mm) thick, with silver specular interior finish surface coated with vacuum-evaporated silicone oxide and titanium oxide protective surface.

          - Diameter: As required for skylight unit sizes.

          - Reflectance: 99 percent reflectance when measured in accordance with ASTM E 1651 at 30 degrees from vertical. Total reflectance greater than 98 percent when measured in accordance with ASTM E 1651.

          - Color Rendition, ASTM E 408: As defined by CIE L*a*b* color model, L equal to 99-100, values a* and b* shall not exceed plus 1 or be less than minus 1.

        - Tunnel Components: Provide components required for installation based on configuration of roof, ceiling, structural member and skylight and diffuser locations indicated on Drawings, and manufacturer's recommendations:

          - Rigid Tunnel Extensions: Reflective extension tube, lengths as required for application.

          - Universal Reflective Elbows: Reflective angle adaptors adjustable to 45 degrees and mounted at the top, middle, or bottom of reflective tunnel assemblies as required for application.

          - Reflective Tunnel Fastening System: Flexi-Loc fastening devices consisting of spring tempered stainless steel pull clip mechanical fasteners allowing tunnel vertical and horizontal joints to be secured without the use of screws or tools, used in conjunction with pre-located punched holes in tunnel sections that allow for a tight naturally-occurring tapered mating of interconnecting tunnel sections and elbows.

** NOTE TO SPECIFIER ** Include accessories required for installation based on configuration of roof, ceiling, and structural member and skylight and diffuser locations indicated on Drawings.

      - Reflective Tunnel Accessories: Provide as required for the installations indicated on the Drawings.

        - Rotating Couplers: Rotating adaptors for coupling of two elbows to create 90 degree transition of tunnels with rotating joint enabling alignment of tunnel section

** NOTE TO SPECIFIER ** Include the following optional Energy Kit if required and delete if not required. Energy kit increases skylight energy efficiency while reducing potential for condensation within tubular unit skylights. The 14 inch Energy Kit includes a standard heat shield plate attached to the inside of the dome to reduce solar heat intensity of high sun angles.

        - Energy Kit: ZTC kit includes two clear diffusers mounted in airtight Santoprene gasket system inserted in a round polymer housing that provides a thermal break. Installs in line with building envelope insulation to isolate tunnel from exterior temperatures. Attached to tunnel with spring lock fasteners.

** NOTE TO SPECIFIER ** Select optional daylight control if required from the following paragraphs and delete if not required.

      - Daylight Controller and Switch: ZTP local daylight controller with a rigid injection-molded frame and reflective variable positioning damper. 120/277 V AC plenum rated power supply and 15 amp DP/DT AC switch capable of operating up to ten daylight controllers Provide for units for where dimmers are indicated on the Drawings.

        - Housing:

** NOTE TO SPECIFIER ** Select housing type required from the following paragraphs and delete the one not required. Use plenum rated for use with fire rated ceilings.

          - White reflective injection-molded copolymer.

          - White reflective plenum-rated Kynar PVDF thermoplastic.

        - Power Supply and Control Switch:

          - 120/277 V AC plenum rated power supply and 15 amp 120/277 DP/DT AC quiet switch capable of operating up to ten ZTP daylight controller.

** NOTE TO SPECIFIER ** Select one or more diffuser assemblies as required from the following paragraphs and delete those not required.

      - Diffuser Assemblies: Provide as required for the installations indicated on the Drawings.

        - Round Diffuser Assemblies for Exposed Structure Applications: TOC round diffuser attaches directly to bottom of tunnel, with high visible light transmittance lens, airtight seals, and white polycarbonate trim ring.

          - Size: As required for skylight sizes indicated.

          - Lens Type:

** NOTE TO SPECIFIER ** Select lens type required from the following paragraphs and delete those not required.

            - Prismatic lens, industry standard diffuser, minimum 92 percent visible light transmittance.

            - Frosted lens, a frosted medium with infused diffusing spheres to increase light diffusion, minimum 92 percent visible light transmittance.

            - Fresnel lens with concentric honeycomb parabolic light-diffusing prisms for maximum light diffusion.

        - Square Diffuser Assemblies for Suspended and Hard Ceiling Applications: TTC round-to-square transition box with white diffuse internal coating attaches directly to bottom of tunnel and fitted to standard suspended ceiling grid or hard ceiling, with hinged, white painted extruded aluminum diffuser frame with high visible light transmittance lens, seals, and white metal ceiling trim.

          - Size: As required for skylight sizes indicated and coordinated with nominal 24 by 24 inch (610 by 610 mm) ceiling grid size.

** NOTE TO SPECIFIER ** Include the following paragraph as required and delete if not required.

          - Round-to-Round Adapter: Provide where required to adapt 14 inch tunnel to square diffuser assembly.

          - Lens Type:

** NOTE TO SPECIFIER ** Select lens type required from the following paragraphs and delete those not required.

            - Prismatic lens, industry standard diffuser, minimum 92 percent visible light transmittance.

            - Frosted lens, a frosted medium with infused diffusing spheres to increase light diffusion, minimum 92 percent visible light transmittance.

            - Fresnel lens with concentric honeycomb parabolic light-diffusing prisms for maximum light diffusion.

** NOTE TO SPECIFIER ** Include the one of the two following optional Curvilinear Ceiling Adapter Assemblies as required for fire-rated ceiling assembly requirements. Delete if not applicable.

          - Curvilinear Ceiling Adapter Assembly:

            - White reflective injection-molded copolymer.

            - White reflective plenum-rated Kynar PVDF thermoplastic.

        - Round Diffuser Assemblies for Finished Ceiling Applications: THC round ceiling diffuser assembly attached directly to bottom of tunnel, dual high visible light transmittance lenses with insulating airspace, airtight seals, and paintable white acrylic trim ring.

          - Size: As required for skylight sizes indicated.

          - Lens Type:

** NOTE TO SPECIFIER ** Select lens type required from the following paragraphs and delete those not required.

            - Prismatic lens, industry standard diffuser, minimum 92 percent visible light transmittance.

            - Frosted lens, a frosted medium with infused diffusing spheres to increase light diffusion, minimum 92 percent visible light transmittance.

            - Fresnel lens with concentric honeycomb parabolic light-diffusing prisms for maximum light diffusion.

** NOTE TO SPECIFIER ** Select the accessories as required from the following paragraphs and delete those not required.

      - Accessories: Provide as required for the installations indicated on the Drawings.

        - Tie Wire: ASTM A 641/A 641M, Class 1 zinc coating, soft temper, 0.062 inch (1.59 mm ) diameter wire, or double strand of 0.048 inch (1.21mm) diameter wire.

        - Security Bar: Single 304 stainless steel bar installed across diameter of tunnel collar section, and security fasteners for fastening dome to assembly.

        - High Security Bars: Double 304 stainless steel bars installed perpendicular to each other across diameter of tunnel collar section, and security fasteners for fastening dome to assembly and flashing to curb.

        - Diffusion Enhancer: Light scattering highly reflective diffusing band

  - RESIDENTIAL TUBULAR DAYLIGHTING DEVICES

** NOTE TO SPECIFIER ** Model TLR is suitable for pan flashed installation on sloped roofs with a pitch of 14 - 60 degrees.

    - Pan Flashed Ultra low profile Sun Tunnel for Sloped Roofs: Model TLR tubular unit skylight daylighting devices with flat glass exterior glazing, glazing retainers, sealant, and gaskets, pan flashing assembly with reflective tunnel, interior diffuser assemblies, and accessories.

      - Roof Dome Assembly: Transparent, flat glass glazing layer with a supporting one piece metal flashing base providing the support for the reflective tunnel.

        - Unit Sizes: 14 inch (356 mm) diameter.

** NOTE TO SPECIFIER ** Select one of the following paragraphs and delete the one not required. Use polycarbonate for high impact resistant applications.

        - Glazing Seal: foam and butyl weatherstrip.

      - Roof Pan Flashing: One-piece, formed self-flashing type pan flashing suitable for installation on roof curb up to 60 deg. from horizontal.

        - Material: Galvanized steel sheet, 0.023 inch, (0.58 mm) thick.

          - Finish: Powder coat, gray.

** NOTE TO SPECIFIER ** Include reflective tunnels section extensions of roof mounted devices required for installation based on configuration of roof, ceiling, and structural member and skylight and diffuser locations indicated on Drawings.

      - Reflective Tunnel: Reflective skylight light shaft sections formed from Class II anodized aluminum sheet, 0.023 inch (0.58 mm) thick, with silver specular interior finish surface coated with vacuum-evaporated silicone oxide and titanium oxide protective surface.

        - Diameter: As required for skylight unit sizes.

        - Reflectance: 99 percent reflectance when measured in accordance with ASTM E 1651 at 30 degrees from vertical. Total reflectance greater than 98 percent when measured in accordance with ASTM E 1651.

        - Color Rendition, ASTM E 408: As defined by CIE L*a*b* color model, L equal to 99-100, values a* and b* shall not exceed plus 1 or be less than minus 1.

      - Tunnel Components: Provide components required for installation based on configuration of roof, ceiling, structural member and skylight and diffuser locations indicated on Drawings, and manufacturer's recommendations:

        - Rigid Tunnel Extensions: Reflective extension tube, lengths as required for application.

        - Universal Reflective Elbows: Reflective angle adaptors adjustable to 45 degrees and mounted at the top, middle, or bottom of reflective tunnel assemblies as required for application.

        - Reflective Tunnel Fastening System: Flexi-Loc fastening devices consisting of spring tempered stainless steel pull clip mechanical fasteners allowing tunnel vertical and horizontal joints to be secured without the use of screws or tools, used in conjunction with pre-located punched holes in tunnel sections that allow for a tight naturally-occurring tapered mating of interconnecting tunnel sections and elbows.

** NOTE TO SPECIFIER ** Include accessories required for installation based on configuration of roof, ceiling, and structural member and skylight and diffuser locations indicated on Drawings.

      - Reflective Tunnel Accessories: Provide as required for the installations indicated on the Drawings.

      - Rotating Couplers: Rotating adaptors for coupling of two elbows to create 90 degree transition of tunnels with rotating joint enabling alignment of tunnel section

** NOTE TO SPECIFIER ** Select one or more diffuser assemblies as required from the following paragraphs and delete those not required.

      - Diffuser Assemblies: Provide as required for the installations indicated on the Drawings.

      - Round Diffuser Assemblies for Finished Ceiling Applications: THC round ceiling diffuser assembly attached directly to bottom of tunnel, dual high visible light transmittance lenses with insulating airspace, airtight seals, and paintable white acrylic trim ring.

        - Size: As required for skylight sizes indicated.

        - Lens Type:

** NOTE TO SPECIFIER ** Select lens type required from the following paragraphs and delete those not required.

          - Standard Frosted lens, minimum 92 percent visible light transmittance.

          - Optional Prismatic lens, minimum 92 percent visible light transmittance.

          - Optional Fresnel lens with concentric honeycomb parabolic light-diffusing prisms.

** NOTE TO SPECIFIER ** Select the accessories as required from the following paragraphs and delete those not required.

      - Accessories: Provide as required for the installations indicated on the Drawings.

** NOTE TO SPECIFIER ** Include the following optional Energy Kit if required and delete if not required. Energy kit increases skylight energy efficiency while reducing potential for condensation within tubular unit skylights.

      - Energy Kit: ZTC kit includes two clear diffusers mounted in airtight Santoprene gasket system that is inserted into the round diffuser assembly to provide a thermal break. Installs in line with the building envelope insulation to isolate tunnel from exterior temperatures.

* NOTE TO SPECIFIER ** Select optional daylight control if required from the following paragraphs and delete if not required.

      - Daylight Controller and Switch: ZTP local daylight controller with a rigid injection-molded frame and a reflective variable positioning damper.  120/277 V AC plenum rated power supply and 15 amp DP/DT AC switch capable of operating up to ten daylight controllers Provide for units for where dimmers are indicated on the Drawings.

        - Housing:

** NOTE TO SPECIFIER ** Select housing type required from the following paragraphs and delete the one not required. Use plenum rated for use with fire rated ceilings.

          - White reflective injection-molded copolymer.

          - White reflective plenum-rated Kynar PVDF thermoplastic.

        - Power Supply and Control Switch:

          - 120/277 V AC plenum rated power supply and 15 amp 120/277 DP/DT AC quiet switch capable of operating up to ten ZTP daylight controller.

      - Tie Wire: ASTM A 641/A 641M, Class 1 zinc coating, soft temper, 0.062 inch (1.59 mm) diameter wire, or double strand of 0.048 inch (1.21mm) diameter wire.

** NOTE TO SPECIFIER ** The following paragraphs are optional, delete if not required,

      - Manual LightBlock Shade (ZTK 014): Manually operated light blocking accessory for 13 inch (255 mm) nominal diameter.

      - Light Kit: UL listed components.

        - ZTL 014 for 10 inch (254 mm) and 14 inch (355 mm) nominal diameters.

      - Diffusion Enhancer: Light scattering highly reflective diffusing band.

** NOTE TO SPECIFIER ** Model TMR is suitable for pan flashed installation on sloped roofs with a pitch of 14 - 60 degrees.

    - Pan Flashed Sun Tunnel Skylight for Sloped Roofs: Model TMR tubular unit skylight daylighting devices with exterior glazed dome, glazing retainers and gaskets, pan flashing assembly with integral adjustable pivot device, reflective tunnel, interior diffuser assemblies, and accessories.

      - Roof Dome Assembly: Transparent, UV-resistant dome with flashing base supporting dome, and top of tunnel

        - Unit size:.

** NOTE TO SPECIFIER ** Select one of the following paragraphs and delete the one not required.

          - 10 inch (254 mm) diameter.

          - 14 inch (356 mm) diameter.

          - As indicated on Drawings.

        - Dome Glazing: 0.125 inch (3.18 mm) minimum thickness, injection molded transparent material with UV-absorbing additive as follows:

** NOTE TO SPECIFIER ** Select one of the following paragraphs and delete the one not required. Use polycarbonate for high impact resistant applications.

          - Impact modified acrylic.

          - Polycarbonate.

        - Dome Seal: Adhesive-backed foam weatherstrip.

      - Roof Pan Flashing: One-piece, formed self-flashing type pan flashing suitable for installation on roof curb from 14 deg. to 60 deg. from horizontal.

        - Material: Galvanized steel sheet, 0.023 inch, (0.58 mm) thick.

          - Finish: Powder coat, gray.

        - Intermediate Ring: High-impact plastic reflective tunnel receiver attached to top of roof curb flashing base. Serves as mounting base for dome assembly and provides a thermal break between flashing base and reflective tunnel. Configured to channel condensed moisture out of assembly.

          - Intermediate Ring Seal: Santoprene O-ring.

          - Pivot Ring and Reflective Tunnel Collar: High-impact plastic pivoting socket; adjustable to allow increased adjustability for alignment of tunnel sections.

** NOTE TO SPECIFIER ** Include reflective tunnels section extensions of roof mounted devices required for installation based on configuration of roof, ceiling, and structural member and skylight and diffuser locations indicated on Drawings.

      - Reflective Tunnel: Reflective skylight light shaft sections formed from Class II anodized aluminum sheet, 0.023 inch (0.58 mm) thick, with silver specular interior finish surface coated with vacuum-evaporated silicone oxide and titanium oxide protective surface.

        - Diameter: As required for skylight unit sizes.

        - Reflectance: 99 percent reflectance when measured in accordance with ASTM E 1651 at 30 degrees from vertical. Total reflectance greater than 98 percent when measured in accordance with ASTM E 1651.

        - Color Rendition, ASTM E 408: As defined by CIE L*a*b* color model, L equal to 99-100, values a* and b* shall not exceed plus 1 or be less than minus 1.

      - Tunnel Components: Provide components required for installation based on configuration of roof, ceiling, structural member and skylight and diffuser locations indicated on Drawings, and manufacturer's recommendations:

        - Rigid Tunnel Extensions: Reflective extension tube, lengths as required for application.

        - Universal Reflective Elbows: Reflective angle adaptors adjustable to 45 degrees and mounted at the top, middle, or bottom of reflective tunnel assemblies as required for application.

        - Reflective Tunnel Fastening System: Flexi-Loc fastening devices consisting of spring tempered stainless steel pull clip mechanical fasteners allowing tunnel vertical and horizontal joints to be secured without the use of screws or tools, used in conjunction with pre-located punched holes in tunnel sections that allow for a tight naturally-occurring tapered mating of interconnecting tunnel sections and elbows.

** NOTE TO SPECIFIER ** Include accessories required for installation based on configuration of roof, ceiling, and structural member and skylight and diffuser locations indicated on Drawings.

      - Reflective Tunnel Accessories: Provide as required for the installations indicated on the Drawings.

      - Rotating Couplers: Rotating adaptors for coupling of two elbows to create 90 degree transition of tunnels with rotating joint enabling alignment of tunnel section

** NOTE TO SPECIFIER ** Include the following optional Energy Kit if required and delete if not required. Energy kit increases skylight energy efficiency while reducing potential for condensation within tubular unit skylights. The 14 inch Energy Kit includes a standard heat shield plate attached to the inside of the dome to reduce solar heat intensity of high sun angles.

      - Energy Kit: ZTC kit includes an upper diffusing disk and two clear diffusers mounted in airtight Santoprene gasket system that is inserted into the round diffuser assembly. Installs in line with the building envelope insulation to isolate tunnel from exterior temperatures.

** NOTE TO SPECIFIER ** Select one or more diffuser assemblies as required from the following paragraphs and delete those not required.

      - Diffuser Assemblies: Provide as required for the installations indicated on the Drawings.

      - Round Diffuser Assemblies for Finished Ceiling Applications: THC round ceiling diffuser assembly attached directly to bottom of tunnel, dual high visible light transmittance lenses with insulating airspace, airtight seals, and paintable white acrylic trim ring.

        - Size: As required for skylight sizes indicated.

        - Lens Type:

** NOTE TO SPECIFIER ** Select lens type required from the following paragraphs and delete those not required.

          - Standard Frosted lens, minimum 92 percent visible light transmittance.

          - Optional Prismatic lens, minimum 92 percent visible light transmittance.

          - Optional Fresnel lens with concentric honeycomb parabolic light-diffusing prisms.

** NOTE TO SPECIFIER ** Select the accessories as required from the following paragraphs and delete those not required.

      - Accessories: Provide as required for the installations indicated on the Drawings.

* NOTE TO SPECIFIER ** Select optional daylight control if required from the following paragraphs and delete if not required.

      - Daylight Controller and Switch: ZTP local daylight controller with a rigid injection-molded frame and a reflective variable positioning damper.  120/277 V AC plenum rated power supply and 15 amp DP/DT AC switch capable of operating up to ten daylight controllers Provide for units for where dimmers are indicated on the Drawings.

        - Housing:

** NOTE TO SPECIFIER ** Select housing type required from the following paragraphs and delete the one not required. Use plenum rated for use with fire rated ceilings.

          - White reflective injection-molded copolymer.

          - White reflective plenum-rated Kynar PVDF thermoplastic.

        - Power Supply and Control Switch:

          - 120/277 V AC plenum rated power supply and 15 amp 120/277 DP/DT AC quiet switch capable of operating up to ten ZTP daylight controller.

      - Tie Wire: ASTM A 641/A 641M, Class 1 zinc coating, soft temper, 0.062 inch (1.59 mm ) diameter wire, or double strand of 0.048 inch (1.21mm) diameter wire.

** NOTE TO SPECIFIER ** The following paragraphs are optional, delete if not required,

      - Manual LightBlock Shade (ZTK 014): Manually operated light blocking accessory for 13 inch (255 mm) nominal diameter.

      - Light Kit: UL listed components.

        - ZTL 014 for 10 inch (254 mm) and 14 inch (355 mm) nominal diameters.

      - Diffusion Enhancer: Light scattering highly reflective diffusing band.

** NOTE TO SPECIFIER ** Model TCR is suitable for curb mounted installation on flat roofs with a pitch of 0 - 60 degrees.

    - Curb Mount Sun Tunnel Skylight for Flat Roofs: Model TCR tubular unit skylight daylighting devices with exterior glazed dome, glazing retainers and gaskets, exterior curb counter flashing assembly with integral adjustable pivot device, reflective tunnel, interior diffuser assemblies, and accessories.

      - Roof Dome Assembly: Transparent, UV-resistant dome with flashing base supporting dome, and top of tunnel.

        - 14 inch (356 mm) diameter Unit Sizes:

        - Dome Glazing: 0.125 inch (3.18 mm) minimum thickness, injection molded transparent material with UV-absorbing additive as follows:

** NOTE TO SPECIFIER ** Select one of the following paragraphs and delete the one not required. Use polycarbonate for high impact resistant applications.

          - Impact modified acrylic.

          - Polycarbonate.

        - Dome Seal: Adhesive-backed foam weatherstrip.

      - Roof Curb Counter flashing: One-piece, formed low slope curb counterflashing suitable for installation on roof curb up to 60 deg. from horizontal.

        - Material: Galvanized steel sheet, 0.023 inch, (0.58 mm) thick.

          - Size: Curb-mounted, with 3 inch (76.2 mm) vertical counterflashing lip. 21 inches (533 mm) square for 14 inch (356 mm) diameter unit.

          - Finish: Powder coat, gray.

        - Flashing Insulator: Closed-cell thermal isolation material affixed to underside of flashing.

        - Intermediate Ring: High-impact plastic reflective tunnel receiver attached to top of roof curb counterflashing base. Serves as mounting base for dome assembly and provides a thermal break between counterflashing base and reflective tunnel. Configured to channel condensed moisture out of assembly.

          - Intermediate Ring Seal: Santoprene O-ring.

          - Pivot Ring and Reflective Tunnel Collar: High-impact plastic pivoting socket; adjustable to allow increased adjustability for alignment of tunnel sections.

** NOTE TO SPECIFIER ** Select the following paragraph as applicable for the project. Delete if not required.

      - Flashing Accessories:

        - Turret Risers: Sections 12 inches (305 mm) high and or 36 inch (914 mm) high as indicated on Drawings. Match counterflashing metal and finish.

        - Fire Band: Dome edge protection band, for use in fire-resistance-rated roof assemblies. Match counterflashing metal and finish.

** NOTE TO SPECIFIER ** Include reflective tunnels section extensions of roof mounted devices required for installation based on configuration of roof, ceiling, and structural member and skylight and diffuser locations indicated on Drawings.

      - Reflective Tunnel: Reflective skylight light shaft sections formed from Class II anodized aluminum sheet, 0.023 inch (0.58 mm) thick, with silver specular interior finish surface coated with vacuum-evaporated silicone oxide and titanium oxide protective surface.

        - Diameter: As required for skylight unit sizes.

        - Reflectance: 99 percent reflectance when measured in accordance with ASTM E 1651 at 30 degrees from vertical. Total reflectance greater than 98 percent when measured in accordance with ASTM E 1651.

        - Color Rendition, ASTM E 408: As defined by CIE L*a*b* color model, L equal to 99-100, values a* and b* shall not exceed plus 1 or be less than minus 1.

      - Tunnel Components: Provide components required for installation based on configuration of roof, ceiling, structural member and skylight and diffuser locations indicated on Drawings, and manufacturer's recommendations:

        - Rigid Tunnel Extensions: Reflective extension tube, lengths as required for application.

        - Universal Reflective Elbows: Reflective angle adaptors adjustable to 45 degrees and mounted at the top, middle, or bottom of reflective tunnel assemblies as required for application.

        - Reflective Tunnel Fastening System: Flexi-Loc fastening devices consisting of spring tempered stainless steel pull clip mechanical fasteners allowing tunnel vertical and horizontal joints to be secured without the use of screws or tools, used in conjunction with pre-located punched holes in tunnel sections that allow for a tight naturally-occurring tapered mating of interconnecting tunnel sections and elbows.

** NOTE TO SPECIFIER ** Include accessories required for installation based on configuration of roof, ceiling, and structural member and skylight and diffuser locations indicated on Drawings.

      - Reflective Tunnel Accessories: Provide as required for the installations indicated on the Drawings.

      - Rotating Couplers: Rotating adaptors for coupling of two elbows to create 90 degree transition of tunnels with rotating joint enabling alignment of tunnel section

** NOTE TO SPECIFIER ** Include the following optional Energy Kit if required and delete if not required. Energy kit increases skylight energy efficiency while reducing potential for condensation within tubular unit skylights. The 14 inch Energy Kit includes a standard heat shield plate attached to the inside of the dome to reduce solar heat intensity of high sun angles.

      - Energy Kit: ZTC kit includes an upper diffusing disk and two clear diffusers mounted in airtight Santoprene gasket system that is inserted into the round diffuser assembly. Installs in line with the building envelope insulation to isolate tunnel from exterior temperatures.

** NOTE TO SPECIFIER ** Select one or more diffuser assemblies as required from the following paragraphs and delete those not required.

      - Diffuser Assemblies: Provide as required for the installations indicated on the Drawings.

      - Round Diffuser Assemblies for Finished Ceiling Applications: THC round ceiling diffuser assembly attached directly to bottom of tunnel, dual high visible light transmittance lenses with insulating airspace, airtight seals, and paintable white acrylic trim ring.

        - Size: As required for skylight sizes indicated.

        - Lens Type:

** NOTE TO SPECIFIER ** Select lens type required from the following paragraphs and delete those not required.

          - Standard Frosted lens, minimum 92 percent visible light transmittance.

          - Optional Prismatic lens, minimum 92 percent visible light transmittance.

          - Optional Fresnel lens with concentric honeycomb parabolic light-diffusing prisms.

** NOTE TO SPECIFIER ** Select the accessories as required from the following paragraphs and delete those not required.

      - Accessories: Provide as required for the installations indicated on the Drawings.

* NOTE TO SPECIFIER ** Select optional daylight control if required from the following paragraphs and delete if not required.

      - Daylight Controller and Switch: ZTP local daylight controller with a rigid injection-molded frame and a reflective variable positioning damper. 120/277 V AC plenum rated power supply and 15 amp DP/DT AC switch capable of operating up to ten daylight controllers Provide for units for where dimmers are indicated on the Drawings.

        - Housing:

** NOTE TO SPECIFIER ** Select housing type required from the following paragraphs and delete the one not required. Use plenum rated for use with fire rated ceilings.

          - White reflective injection-molded copolymer.

          - White reflective plenum-rated Kynar PVDF thermoplastic.

        - Power Supply and Control Switch:

          - 120/277 V AC plenum rated power supply and 15 amp 120/277 DP/DT AC quiet switch capable of operating up to ten ZTP daylight controller.

      - Tie Wire: ASTM A 641/A 641M, Class 1 zinc coating, soft temper, 0.062 inch (1.59 mm ) diameter wire, or double strand of 0.048 inch (1.21mm) diameter wire.

** NOTE TO SPECIFIER ** The following paragraphs are optional, delete if not required,

      - Manual LightBlock Shade (ZTK 014): Manually operated light blocking accessory for 13 inch (255 mm) nominal diameter.

      - Light Kit: UL listed components.

        - ZTL 014 for 10 inch (254 mm) and 14 inch (355 mm) nominal diameters.

      - Diffusion Enhancer: Light scattering highly reflective diffusing band.

** NOTE TO SPECIFIER ** Model TGR is suitable for pan flashed installation on flat roofs with a pitch of 14 - 60 degrees.

    - Pan Flashed Sun Tunnel Skylight for Flat Roofs: Model TGR tubular unit skylight daylighting devices with exterior glazed dome, glazing retainers and gaskets, pan flashing assembly with integral adjustable pivot device, reflective tunnel, interior diffuser assemblies, and accessories.

      - Roof Dome Assembly: Transparent, UV-resistant dome with flashing base supporting dome, and top of tunnel.

        - Unit Sizes:

** NOTE TO SPECIFIER ** Select the size required and delete the one not required. The 14 inch diameter dome uses low profile geometry and the 22 inch diameter dome uses high profile geometry optimized to capture daylight at low solar angles to provide bright evenly distributed lighting levels through peak sun hours.

          - 10 inch (254 mm) diameter

          - 14 inch (356 mm) diameter.

          - As indicated on Drawings.

        - Dome Glazing: 0.125 inch (3.18 mm) minimum thickness, injection molded transparent material with UV-absorbing additive as follows:

** NOTE TO SPECIFIER ** Select one of the following paragraphs and delete the one not required. Use polycarbonate for high impact resistant applications.

          - Impact modified acrylic.

          - Polycarbonate.

        - Dome Seal: Adhesive-backed foam weatherstrip.

      - Roof Pan Flashing: One-piece, formed self-flashing type pan flashing suitable for installation on roof curb up to 60 deg. from horizontal.

        - Material: Galvanized steel sheet, 0.023 inch, (0.58 mm) thick.

          - Finish: Powder coat, gray.

        - Intermediate Ring: High-impact plastic reflective tunnel receiver attached to top of roof curb flashing base. Serves as mounting base for dome assembly and provides a thermal break between flashing base and reflective tunnel. Configured to channel condensed moisture out of assembly.

          - Intermediate Ring Seal: Santoprene O-ring.

          - Pivot Ring and Reflective Tunnel Collar: High-impact plastic pivoting socket; adjustable to allow increased adjustability for alignment of tunnel sections.

** NOTE TO SPECIFIER ** Select the following paragraph as applicable for the project. Delete if not required.

      - Flashing Accessories:

        - Turret Risers: Sections 12 inches (305 mm) high and or 36 inch (914 mm) high as indicated on Drawings. Match flashing metal and finish.

        - Fire Band: Dome edge protection band, for use in fire-resistance-rated roof assemblies. Match flashing metal and finish.

** NOTE TO SPECIFIER ** Include reflective tunnels section extensions of roof mounted devices required for installation based on configuration of roof, ceiling, and structural member and skylight and diffuser locations indicated on Drawings.

      - Reflective Tunnel: Reflective skylight light shaft sections formed from Class II anodized aluminum sheet, 0.023 inch (0.58 mm) thick, with silver specular interior finish surface coated with vacuum-evaporated silicone oxide and titanium oxide protective surface.

        - Diameter: As required for skylight unit sizes.

        - Reflectance: 99 percent reflectance when measured in accordance with ASTM E 1651 at 30 degrees from vertical. Total reflectance greater than 98 percent when measured in accordance with ASTM E 1651.

        - Color Rendition, ASTM E 408: As defined by CIE L*a*b* color model, L equal to 99-100, values a* and b* shall not exceed plus 1 or be less than minus 1.

      - Tunnel Components: Provide components required for installation based on configuration of roof, ceiling, structural member and skylight and diffuser locations indicated on Drawings, and manufacturer's recommendations:

        - Rigid Tunnel Extensions: Reflective extension tube, lengths as required for application.

        - Universal Reflective Elbows: Reflective angle adaptors adjustable to 45 degrees and mounted at the top, middle, or bottom of reflective tunnel assemblies as required for application.

        - Reflective Tunnel Fastening System: Flexi-Loc fastening devices consisting of spring tempered stainless steel pull clip mechanical fasteners allowing tunnel vertical and horizontal joints to be secured without the use of screws or tools, used in conjunction with pre-located punched holes in tunnel sections that allow for a tight naturally-occurring tapered mating of interconnecting tunnel sections and elbows.

** NOTE TO SPECIFIER ** Include accessories required for installation based on configuration of roof, ceiling, and structural member and skylight and diffuser locations indicated on Drawings.

      - Reflective Tunnel Accessories: Provide as required for the installations indicated on the Drawings.

      - Rotating Couplers: Rotating adaptors for coupling of two elbows to create 90 degree transition of tunnels with rotating joint enabling alignment of tunnel section

** NOTE TO SPECIFIER ** Include the following optional Energy Kit if required and delete if not required. Energy kit increases skylight energy efficiency while reducing potential for condensation within tubular unit skylights. The 14 inch Energy Kit includes a standard heat shield plate attached to the inside of the dome to reduce solar heat intensity of high sun angles.

      - Energy Kit: ZTC kit includes an upper diffusing disk and two clear diffusers mounted in airtight Santoprene gasket system that is inserted into the round diffuser assembly. Installs in line with the building envelope insulation to isolate tunnel from exterior temperatures.

** NOTE TO SPECIFIER ** Select one or more diffuser assemblies as required from the following paragraphs and delete those not required.

      - Diffuser Assemblies: Provide as required for the installations indicated on the Drawings.

      - Round Diffuser Assemblies for Finished Ceiling Applications: THC round ceiling diffuser assembly attached directly to bottom of tunnel, dual high visible light transmittance lenses with insulating airspace, airtight seals, and paintable white acrylic trim ring.

        - Size: As required for skylight sizes indicated.

        - Lens Type:

** NOTE TO SPECIFIER ** Select lens type required from the following paragraphs and delete those not required.

          - Standard Frosted lens, minimum 92 percent visible light transmittance.

          - Optional Prismatic lens, minimum 92 percent visible light transmittance.

          - Optional Fresnel lens with concentric honeycomb parabolic light-diffusing prisms.

** NOTE TO SPECIFIER ** Select the accessories as required from the following paragraphs and delete those not required.

      - Accessories: Provide as required for the installations indicated on the Drawings.

* NOTE TO SPECIFIER ** Select optional daylight control if required from the following paragraphs and delete if not required.

      - Daylight Controller and Switch: ZTP local daylight controller with a rigid injection-molded frame and a reflective variable positioning damper.  120/277 V AC plenum rated power supply and 15 amp DP/DT AC switch capable of operating up to ten daylight controllers Provide for units for where dimmers are indicated on the Drawings.

        - Housing:

** NOTE TO SPECIFIER ** Select housing type required from the following paragraphs and delete the one not required. Use plenum rated for use with fire rated ceilings.

          - White reflective injection-molded copolymer.

          - White reflective plenum-rated Kynar PVDF thermoplastic.

        - Power Supply and Control Switch:

          - 120/277 V AC plenum rated power supply and 15 amp 120/277 DP/DT AC quiet switch capable of operating up to ten ZTP daylight controller.

      - Tie Wire: ASTM A 641/A 641M, Class 1 zinc coating, soft temper, 0.062 inch (1.59 mm ) diameter wire, or double strand of 0.048 inch (1.21mm) diameter wire.

** NOTE TO SPECIFIER ** The following paragraphs are optional, delete if not required,

      - Manual LightBlock Shade ZTK:

        - ZTK 010 Manually operated light blocking accessory for 10 inch (254 mm) nominal diameter.

        - ZTK 014 Manually operated light blocking accessory for 14 inch (356 mm) nominal diameter.

      - Light Kit: UL listed components.

        - ZTL 014 for 10 inch (254 mm) and 14 inch (356 mm) nominal diameters.

        - ZTL 022 for 22 inch (559 mm) nominal diameter.

      - Diffusion Enhancer: Light scattering highly reflective diffusing band.

** NOTE TO SPECIFIER ** Model TMF is suitable for pan flashed installation on sloped roofs with a pitch of 14 - 60 degrees.

    - Pan Flashed Sun Tunnel Skylight for Sloped Roofs: Model TMF tubular unit skylight daylighting devices with exterior glazed dome, glazing retainers and gaskets, pan flashing assembly with integral adjustable pivot device, reflective tunnel, interior diffuser assemblies, and accessories.

      - Roof Dome Assembly: Transparent, UV-resistant dome with flashing base supporting dome, and top of tunnel.

        - Unit size: 14 inch (356 mm) diameter.

        - Dome Glazing: 0.125 inch (3.18 mm) minimum thickness, injection molded transparent material with UV-absorbing additive as follows:

** NOTE TO SPECIFIER ** Select one of the following paragraphs and delete the one not required. Use polycarbonate for high impact resistant applications.

          - Impact modified acrylic.

          - Polycarbonate.

        - Dome Seal: Adhesive-backed foam weatherstrip.

      - Roof Pan Flashing: One-piece, formed self-flashing type pan flashing suitable for installation on roof curb from 14 deg. to 60 deg. from horizontal.

        - Material: Galvanized steel sheet, 0.023 inch, (0.58 mm) thick.

          - Finish: Powder coat, gray.

        - Intermediate Ring: High-impact plastic reflective tunnel receiver attached to top of roof curb flashing base. Serves as mounting base for dome assembly and provides a thermal break between flashing base and reflective tunnel. Configured to channel condensed moisture out of assembly.

          - Intermediate Ring Seal: Santoprene O-ring.

          - Pivot Ring and Reflective Tunnel Collar: High-impact plastic pivoting socket; adjustable to allow increased adjustability for alignment of tunnel sections.

** NOTE TO SPECIFIER ** Select the following paragraph as applicable for the project. Delete if not required.

      - Flashing Accessories:

        - Turret Risers: Sections 12 inches (305 mm) high and or 36 inch (914 mm) high as indicated on Drawings. Match flashing metal and finish.

        - Fire Band: Dome edge protection band, for use in fire-resistance-rated roof assemblies. Match flashing metal and finish.

** NOTE TO SPECIFIER ** Model TGF is suitable for pan flashed installation on flat roofs with a pitch of 14 - 60 degrees.

    - Pan Flashed Sun Tunnel Skylight for Flat Roofs: Model TGF tubular unit skylight daylighting devices with exterior glazed dome, glazing retainers and gaskets, pan flashing assembly with integral adjustable pivot device, reflective tunnel, interior diffuser assemblies, and accessories.

      - Roof Dome Assembly: Transparent, UV-resistant dome with flashing base supporting dome, and top of tunnel.

        - Unit Sizes:

** NOTE TO SPECIFIER ** Select the size required and delete the one not required. The 14 inch diameter dome uses low profile geometry and the 22 inch diameter dome uses high profile geometry optimized to capture daylight at low solar angles to provide bright evenly distributed lighting levels through peak sun hours.

          - 14 inch (356 mm) diameter.

          - 22 inch (559 mm) diameter.

          - As indicated on the Drawings.

        - Dome Glazing: 0.125 inch (3.18 mm) minimum thickness, injection molded transparent material with UV-absorbing additive as follows:

** NOTE TO SPECIFIER ** Select one of the following paragraphs and delete the one not required. Use polycarbonate for high impact resistant applications.

          - Impact modified acrylic.

          - Polycarbonate.

        - Dome Seal: Adhesive-backed foam weatherstrip.

      - Flexible Tunnel: Fabricated with metalized polyester, fiberglass scrim and spring steel wire.

** NOTE TO SPECIFIER ** Select one or more diffuser assemblies as required from the following paragraphs and delete those not required.

      - Diffuser Assemblies: Provide as required for the installations indicated on the Drawings.

      - Round Diffuser Assemblies for Finished Ceiling Applications: THC round ceiling diffuser assembly attached directly to bottom of tunnel, dual high visible light transmittance lenses with insulating airspace, airtight seals, and paintable white acrylic trim ring.

        - Size: As required for skylight sizes indicated.

        - Lens Type:

** NOTE TO SPECIFIER ** Select lens type required from the following paragraphs and delete those not required.

          - Standard Frosted lens, minimum 92 percent visible light transmittance.

          - Optional Prismatic lens, minimum 92 percent visible light transmittance.

          - Optional Fresnel lens with concentric honeycomb parabolic light-diffusing prisms.

      - Manual LightBlock Shade ZTK:

        - ZTK 014 Manually operated light blocking accessory for 14 inch (356 mm) nominal diameter.

      - Light Kit: UL listed components.

        - ZTL 014 for 10 inch (254 mm) and 14 inch (356 mm) nominal diameters.

  - MATERIAL

    - Galvanized-Steel Sheet: ASTM A 653/A 653M, G90 (Z275) coating, either commercial steel or forming steel.

    - Aluminum Sheet: Flat sheet complying with ASTM B 209/B 209M.

    - Bituminous Coating: SSPC-Paint 12, solvent-type, bituminous mastic, nominally free of sulfur and containing no asbestos fibers, formulated for 15 mil dry film thickness per coating.

    - Joint Sealants: As specified in Section 07 90 00 - Joint Protection Joint Sealants.

    - Mastic Sealants: Polyisobutylene; nonhardening, nonskinning, nondrying, nonmigrating sealant.

    - Roofing Cement: ASTM D 4586, asbestos free, designed for trowel application or other adhesive compatible with roofing system.

  - FlNlSHES

    - Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

    - Appearance of Finished Work: Noticeable variations in same piece are not acceptable. Variations in appearance of adjoining components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

    - Galvanized Steel Sheet:

      - Baked-Enamel or Powder-Coat Finish: AAMA 2603 except with a minimum dry film thickness of 1.5 mils (0.04 mm). Comply with coating manufacturer's written instructions for cleaning, conversion coating, and applying and baking finish.

        - Color and Gloss: Neutral gray.

  - ACCESSORIES

    - Fasteners: Same material as metals being fastened, non-magnetic steel, non-corrosive metal of type recommended by manufacturer, or injection molded nylon.

    - Sealant: Polyurethane or copolymer based elastomeric sealant as provided or recommended by manufacturer.

    - Suspension wire: Steel 12 gauge sized for application and ceiling systems requirements.

  - FABRlCATlON

    - Finish, fabricate and shop prepare all assemblies under responsibility of the manufacturer.

    - Fabricate to allow for thermal movement of materials where subject to a temperature differential.

    - Fabricate with Integral internal condensation collection gutter and drainage slots.

    - Provisions shall be made to insure against accumulated water in contact with system components.

- EXECUTION

  - EXAMINATION

    - Do not begin installation until substrates and rough openings have been properly prepared.

    - Examine openings, substrates, structural support, anchorage, and conditions, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of the Work.

    - If substrate and rough opening preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

  - PREPARATION

    - Clean surfaces thoroughly prior to installation.

    - Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

  - INSTALLATION

    - Install in accordance with manufacturer's instructions. Coordinate installation of units with substrates, air and vapor retarders, roof insulation, roofing membrane, and flashing as required to ensure that each element of the Work performs properly and that finished installation is weather tight.

** NOTE TO SPECIFIER ** The following paragraph is required for curb mounted Model TCC. Delete if not required.

    - For sloped roof installation, install tubular unit skylights on curbs specified in another sections with tops of curbs parallel to finished roof slope.

    - Where metal surfaces of tubular unit skylights will contact incompatible metal or corrosive substrates, including preservative-treated wood, apply bituminous coating on concealed metal surfaces, or provide other permanent separation recommended in writing by tubular unit skylight manufacturer.

    - Install tubular unit skylight curb counter flashing to produce weatherproof seal with curb and overlap with roofing system termination at top of curb.

    - Provide thermal isolation when components penetrate or disrupt building insulation. Pack fibrous insulation in rough opening to maintain continuity of thermal barriers.

    - Coordinate attachment and seal of perimeter air and vapor barrier material.

    - Align tubular daylighting device free of warp or twist, maintain dimensional tolerances.

** NOTE TO SPECIFIER ** The following paragraph is required for Residential Model TCR. Delete if not required.

    - Attach tubular daylighting system to site built roof curb with manufacturer's screws to accommodate construction tolerances and other irregularities.

** NOTE TO SPECIFIER ** The following paragraph is required for self flashed Residential Models TMR, TMF, and TGR and TLR. Delete if not required.

    - Attach tubular daylighting system to the roof deck with manufacturer's screws to accommodate construction tolerances and other irregularities.

    - Provide thermal isolation when components penetrate or disrupt building insulation. Pack fibrous insulation in rough opening to maintain continuity of thermal barriers.

    - Coordinate attachment and seal of perimeter air and vapor barrier material.

    - After installation of first unit, field test to determine adequacy of installation. Conduct water test in presence of the Architect, or designated representative. Correct if needed before proceeding with installation of subsequent units.

  - FIELD QUALITY CONTROL

    - After installation of first unit, field test to determine adequacy of installation. Conduct water test in presence of the Architect, or designated representative. Correct if needed before proceeding with installation of subsequent units.

  - CLEANING AND PROTECTION

    - Clean exposed tubular unit skylight surfaces according to manufacturer's written instructions. Touch up damaged metal coatings and finishes. Remove excess sealants, glazing materials, dirt, and other substances.

    - Replace glazing that has been damaged during construction period.

    - Daylight Control Assemblies: Test and adjust daylight control assemblies for proper operation.

    - Protect tubular unit skylight surfaces from contact with contaminating substances resulting from construction operations.

    - Touch-up, repair or replace damaged products before Substantial Completion.

END OF SECTION