SECTION 09 90 00

INTERIOR AND EXTERIOR PAINTS AND COATINGS

Display hidden notes to specifier. (Don't know how? [Click Here](http://www.arcat.com/sd/display_hidden_notes.shtml))

*Copyright 2010 - 2018 ARCAT, Inc. - All rights reserved*

\*\* NOTE TO SPECIFIER \*\* Rust-Oleum®; interior and exterior paints and coatings.  
  
This section is based on the products of Rust-Oleum®, which is located at:  
11 Hawthorn Pkwy.  
Vernon Hills, IL 60061  
Toll Free Tel: 800-323-3584  
Tel: 847-367-7700  
Fax: 847-816-2330  
Email: [technicalservice@rustoleum.com](mailto:technicalservice@rustoleum.com?subject=RE:ARCAT%20Spec%20Question%20(09900rus):%20%20)  
Web: <https://www.rustoleum.com>   
 [ [Click Here](http://www.arcat.com/arcatcos/cos35/arc35301.html) ] for additional information.  
  
This section also includes the products of Modern Masters, which is located at:  
  
11 Hawthorne Pkwy.  
Vernon Hills, IL 60061  
Toll Free: 800-323-3584  
Phone: 847-367-7700  
Fax: 847-816-2330  
Email: \_\_\_\_\_\_\_\_.  
www.modernmasters.com  
 [ Click Here ] for additional information.  
  
Rust-Oleum offers a full line of high-performance industrial coatings formulated to protect the roof and floor as well as beautify and protect everything in-between. Our selection of industrial coatings includes alkyds, epoxies, urethanes, acrylics as well as our Concrete Protection Systems heavy-duty floor toppings. Our architectural paints provide products to enhance and protect both interior and exterior needs of your space Choose Rust-Oleum Brands for all of your painting and flooring needs.  
Modern Masters is the world's number one supplier of high-end, specialty water base paint products in  
Metallic Paints, Oxidizing Finishes, Architectural Textures, Theme Paints, Blacklight Paints, Glazes,  
Varnishes, Crackles, and Theming products for Architects, Designers, DIY, Contractors, and Decorative  
Painters. The products are currently available in over 4,000 retail stores in the United States, Canada,  
Portugal, Spain, Germany, South Korea, and China.  
  
See our SpecWizard: [Click Here](http://www.arcat.com/specwizard/09900rus/index.htm)

1. GENERAL
   1. SECTION INCLUDES
      1. Paints and coatings including the following:
         1. Surface preparation cleaners.
         2. Interior paint and coatings systems including surface preparation.
         3. Exterior paint and coatings systems including surface preparation.
      2. Exterior and interior water-based high-end, non-tarnishing metallic paints, oxidizing finishes, theme and architectural paints, blacklight paints, glazes, varnishes, crackles, and theming products of the following types:
         1. Water-based acrylic non-tarnishing metallic decorative painting.
         2. Water-based acrylic theming and architectural exterior painting.
         3. Water-based metallic paints for oxidizing and patina finishes.
         4. Luminescent fluorescent painting for use under black light.
   2. RELATED SECTIONS

\*\* NOTE TO SPECIFIER \*\* Delete any sections below not relevant to this project; add others as required.

* + 1. Section 03 30 00 - Cast-in-Place Concrete.
    2. Section 04 20 00 - Unit Masonry.
    3. Section 05 12 13 - Architecturally-Exposed Structural Steel Framing.
    4. Section 05 50 00 - Metal Fabrications.
    5. Section 06 20 00 - Finish Carpentry.
    6. Section 06 40 00 - Architectural Woodwork.
    7. Section 08 11 13.13 - Standard Hollow Metal Doors and Frames.
    8. Section 09 21 16.33 - Gypsum Board Area Separation Wall Assemblies.
  1. REFERENCES

\*\* NOTE TO SPECIFIER \*\* Delete references from the list below that are not actually required by the text of the edited section.

* + 1. ASTM International (ASTM):
       1. ASTM B117 - Standard Practice for Operating Salt Spray (Fog) Apparatus.
       2. ASTM D358 - Standard Specification for Wood to Be Used as Panels in Weathering Tests of Coatings.
       3. ASTM D522 - Standard Test Methods for Mandrel Bend Test of Attached Organic Coatings.
       4. ASTM D659 - Method of Evaluating Degree of Chalking of Exterior Paints.
       5. ASTM D660 - Standard Test Method for Evaluating Degree of Checking of Exterior Paints.
       6. ASTM D661 - Standard Test Method for Evaluating Degree of Cracking of Exterior Paints.
       7. ASTM D714 - Standard Test Method for Evaluating Degree of Blistering of Paints.
       8. ASTM D1640 - Standard Test Methods for Drying, Curing, or Film Formation of Organic Coatings.
       9. ASTM D2243 - Standard Test Method for Freeze-Thaw Resistance of Water-Borne Coatings.
       10. ASTM D2805 - Standard Test Method for Hiding Power of Paints by Reflectometry.
       11. ASTM D2373 - Standard Test Method for Determination of Cobalt in Paint Driers by EDTA Method.
       12. ASTM D2374 - Standard Test Method for Lead in Paint Driers by EDTA Method.
       13. ASTM D4587 - Standard Practice for Fluorescent UV-Condensation Exposures of Paint and Related Coatings.
       14. ASTM D4946 - Standard Test Method for Blocking Resistance of Architectural Paints.
    2. Steel Structures Painting Council (SSPC):
       1. SSPC-SP 1 - Solvent Cleaning.
       2. SSPC-SP 2 - Hand Tool Cleaning.
       3. SSPC-SP 3 - Power Tool Cleaning.
       4. SSPC-SP5/NACE No. 1, White Metal Blast Cleaning.
       5. SSPC-SP6/NACE No. 3, Commercial Blast Cleaning.
       6. SSPC-SP7/NACE No. 4, Brush-Off Blast Cleaning.
       7. SSPC-SP10/NACE No. 2, Near-White Blast Cleaning.
       8. SSPC-SP11, Power Tool Cleaning to Bare Metal.
       9. SSPC-SP12/NACE No. 5, Surface Preparation and Cleaning of Metals by Waterjetting Prior to Recoating.
       10. SSPC-SP 13 / NACE No. 6 Surface Preparation for Concrete.
    3. California Air Resource Board (CARB):
    4. Green Seal, Inc.:
       1. GS-11 Standard for Paints and Coatings.(1st Edition, May 20,1993)
       2. GC-03 - Environmental Criteria for Anti-Corrosive Paints.
    5. South Coast Air Quality Management District (SCAQMD).
       1. SCAQMD 1113 - Volatile Organic Compound (VOC) Limits.
    6. United States Environmental Protection Agency (USEPA).
    7. United States Green Building Council (USGBC): LEED-09 NC/CI/CS.
  1. SUBMITTALS
     1. Submit under provisions of Section 01 30 00 - Administrative Requirements.
     2. Product Data: For each paint system indicated, including.
        1. Product characteristics.
        2. Surface preparation instructions and recommendations.
        3. Primer requirements and finish specification.
        4. Storage and handling requirements and recommendations.
        5. Application methods.
        6. Cautions for storage, handling and installation.

\*\* NOTE TO SPECIFIER \*\* Delete selection samples if colors have already been selected.

* + 1. Selection Samples: Submit a complete set of color chips that represent the full range of manufacturer's products, colors and sheens available.
    2. Verification Samples: For each finish product specified, submit samples that represent actual product, color, and sheen.
    3. Only submit complying products based on project requirements (i.e. LEED). One must also comply with the regulations regarding VOCs (CARB, OTC, SCAQMD, LADCO). To ensure compliance with district regulations and other rules, businesses that perform coating activities should contact the local district in each area where the coating will be used.
  1. QUALITY ASSURANCE
     1. Installer Qualifications: A firm or individual experienced in applying paints and coatings similar in material, design, and extent to those indicated for this Project, whose work has resulted in applications with a record of successful in-service performance.
     2. Paint exposed surfaces. If a color of finish, or a surface is not specifically mentioned, Architect will select from standard products, colors and sheens available.
     3. Do not paint prefinished items, concealed surfaces, finished metal surfaces, operating parts, and labels unless indicated.

\*\* NOTE TO SPECIFIER \*\* Include a mock-up if the project size and/or quality warrant taking such a precaution. The following is one example of how a mock-up on a large project might be specified. When deciding on the extent of the mock-up, consider all the major different types of work on the project.

* + 1. Mock-Up: Provide a mock-up for evaluation of surface preparation techniques and application workmanship.
       1. Finish surfaces for verification of products, colors and sheens.
       2. Finish area designated by Architect.
       3. Provide samples that designate primer and finish coats.
       4. Do not proceed with remaining work until the Architect approves the mock-up.
  1. DELIVERY, STORAGE, AND HANDLING
     1. Delivery: Deliver manufacturer's unopened containers to the work site. Packaging shall bear the manufacturer's name, label, and the following list of information.
        1. Product name, and type (description).
        2. Application and use instructions.
        3. Surface preparation.
        4. VOC content.
        5. Environmental handling.
        6. Batch date.
        7. Color number.
     2. Storage: Store and dispose of solvent-based materials, and materials used with solvent-based materials, in accordance with requirements of local authorities having jurisdiction.
     3. Store materials in an area that is within the acceptable temperature range, per manufacturer's instructions. Protect from freezing.
     4. Handling: Maintain a clean, dry storage area, to prevent contamination or damage to the coatings.
  2. PROJECT CONDITIONS
     1. Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results. Do not install products under environmental conditions outside manufacturer's absolute limits.

\*\* NOTE TO SPECIFIER \*\* Extra materials may not be allowed for publicly funded projects. Delete if not required and revise quantity based on project requirements.

* 1. EXTRA MATERIALS
     1. Furnish extra paint materials from the same production run as the materials applied and in the quantities described below. Package with protective covering for storage and identify with labels describing contents. Deliver extra materials to Owner.
     2. Furnish Owner with an additional one percent of each material and color, but not less than 1 gal (3.8 L) or 1 case, as appropriate.

1. PRODUCTS
   1. MANUFACTURERS
      1. Acceptable Manufacturer: Rust-Oleum®, which is located at: 11 Hawthorn Pkwy.; Vernon Hills, IL 60061; Toll Free Tel: 800-323-3584; Tel: 847-367-7700; Fax: 847-816-2330; Email: [technicalservice@rustoleum.com](mailto:technicalservice@rustoleum.com?subject=RE:ARCAT%20Spec%20Question%20(09900rus):%20%20); Web: <https://www.rustoleum.com>
      2. Acceptable Manufacturer: Modern Masters which is located at: 11 Hawthorne Parkway;  
         Vernon Hills, IL 60061; ASD Toll Free: 800-323-3584; Phone: 847-367-7700; Fax: 847-816-2330;  
         Email: technicalservice@rustoleum.com; Web: www.modernmasters.com

\*\* NOTE TO SPECIFIER \*\* Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

* + 1. Substitutions: Not permitted.
    2. Requests for substitutions will be considered in accordance with provisions of Section 01 60 00 - Product Requirements.

\*\* NOTE TO SPECIFIER \*\* Use this article to define the scope of painting if not fully defined in a Finish Schedule or on the drawings. This article must be carefully edited to reflect the surfaces actually found on the project. In some cases, it may be enough to use the first paragraph that says, in effect, "paint everything" along with a list of items not to paint, without exhaustively defining all the different surfaces and items that must be painted. If the project involves repainting some but not all existing painted surfaces, be sure to indicate the extent of the repainting. The descriptions of each system can also be used to further refine the definition of what is to be painted, stained, or clear finished.

* 1. APPLICATIONS/SCOPE

\*\* NOTE TO SPECIFIER \*\* Delete items not required.

* + 1. Interior Paints and Coatings:
       1. Concrete: Poured, precast, tilt-up, cast-in-place, cement board, plaster.
       2. Concrete: Floors (Non-Vehicular).
       3. Masonry: Concrete masonry units, including split-face, scored, and smooth block.
       4. Metal: Aluminum, galvanized steel.
       5. Metal: Structural steel, joists, trusses, beams, partitions and similar items.
       6. Wood: Walls, ceilings, doors, trim and similar items.
       7. Wood: Floors (non-vehicular), painted.
       8. Drywall: Drywall board, Gypsum board.

\*\* NOTE TO SPECIFIER \*\* Delete items not required.

* + 1. Interior High Performance Paints and Coatings:
       1. Concrete: Poured, precast, tilt-up, cast-in-place, cement board.
       2. Concrete: Ceilings.
       3. Masonry: CMU - concrete, split face, scored, smooth, stucco.
       4. Non-Ferrous Metal: Galvanized steel and aluminum.
       5. Metal Ferrous: Ceilings, structural steel, joists, trusses, beams, and similar items including dryfall coatings.
       6. Wood: Walls, ceilings, doors, trim, cabinet work, and similar items.
       7. Drywall: Drywall board, Gypsum board
       8. Plaster: Walls, ceilings.

\*\* NOTE TO SPECIFIER \*\* Delete items not required.

* + 1. Exterior Paints and Coatings:
       1. Concrete: Cementitious siding, flexboard, transite, and shingles (non-roof).
       2. Masonry: Concrete masonry units, cinder or concrete block.
       3. Concrete: Concrete floors, patios, porches, steps and platforms,( Non-Vehicular)
       4. Metal: Aluminum, galvanized steel.
       5. Metal: Miscellaneous iron, ornamental iron, ferrous metal.
       6. Wood: Floors(non-vehicular), and platforms.
       7. Wood: Siding, trim, shutters, sash, and miscellaneous hardboard.
       8. Architectural PVC, plastic, fiberglass.
       9. Drywall: Gypsum board, and exterior drywall.
       10. Vinyl: Siding, EIFS, synthetic stucco.
    2. Exterior and interior water-based high-end, non-tarnishing metallic paints, oxidizing finishes, theme and architectural paints, blacklight paints, glazes, varnishes, crackles, and theming products of the following types:
       1. Water-based acrylic non-tarnishing metallic decorative painting.
       2. Water-based acrylic theming and architectural exterior painting.
       3. Water-based metallic paints for oxidizing and patina finishes.
       4. Luminescent fluorescent painting for use under black light.
  1. PAINT MATERlALS - GENERAL
     1. Paints and Coatings.
        1. Unless otherwise indicated, provide factory-mixed coatings. When required, mix coatings to correct consistency in accordance with manufacturer's instructions before application. Do not reduce, thin, or dilute coatings or add materials to coatings unless such procedure is specifically described in manufacturer's product instructions.
        2. For opaque finishes, tint each coat including primer coat and intermediate coats, one-half shade lighter than succeeding coat, with final finish coat as base color. Or follow manufactures product instructions for optimal color conformance.
     2. Primers: Where the manufacturer offers options on primers for a particular substrate, use primer categorized as "best" by the manufacturer.
     3. Coating Application Accessories: Provide all primers, sealers, cleaning agents, cleaning cloths, sanding materials, and clean-up materials required, per manufacturer's specifications.
     4. Color: Refer to Finish Schedule for paint colors, and as selected.

\*\* NOTE TO SPECIFIER \*\* LEED Requirements: Products in compliance with requirements of IEQ Credit 4.2 USGBC LEED-09 NC/CI/CS.

* 1. SURFACE PREPARATION CLEANERS

\*\* NOTE TO SPECIFIER \*\* Delete items not required.

* + 1. Interior Cleaners:
       1. Krud Kutter Original.
       2. Zinsser JOMAX Virus and Mold Killer.
       3. Krud Kutter Pre Paint Cleaner.
       4. Krud Kutter Must for Rust.
       5. Krud Kutter Metal Etch.
       6. Krud Kutter Mold & Mildew Stain Remover.
       7. Krud Kutter Rustex.
       8. Krud Kutter Gloss Off.

\*\* NOTE TO SPECIFIER \*\* Delete items not required.

* + 1. Exterior Cleaners:
       1. Krud Kutter Original.
       2. Krud Kutter Multi Purpose Wash.
       3. Krud Kutter Concrete Clean & Etch.
       4. Krud Kutter House Wash.
       5. Krud Kutter Deck & Fence Wash.
       6. Zinsser JOMAX - House Cleaner and Mildew Killer.
       7. Krud Kutter Concrete & Driveway Cleaner.
       8. Krud Kutter Metal Etch.
       9. Krud Kutter Must for Rust.
       10. Krud Kutter Rustex.
       11. Krud Kutter Pre Paint Cleaner.
       12. Krud Kutter Gloss Off.
       13. Restore Deck Stripper.

\*\* NOTE TO SPECIFIER \*\* Edit this schedule to select products, finishes, and VOC requirements. Refer to MSDS/EDS for specific VOCs (calculated per 40 CFR 59.406). VOCs may vary by base and sheen. Refer to Article Industrial Paint Systems, Exterior and LEED09-NC/CI/CS. Delete article if not required.

* 1. INTERIOR PAINT SYSTEMS

\*\* NOTE TO SPECIFIER \*\* Delete systems not required.

* + 1. Concrete - (Walls and Ceilings, Poured Concrete, Precast Concrete, Unglazed Brick, Cement Board, Tilt-Up, Cast-In-Place) including PLASTER - (Walls, Ceilings).
       1. Latex Systems:
          1. Gloss Finish High Performance:

1st Coat: R-O Zinsser Bulls Eye Zero Acrylic Primer (1-3 mils dry).

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss.

3rd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss (1-3 mils dry per coat).

* + - * 1. Semi-Gloss Finish:

1st Coat: R-O Zinsser Bulls Eye 123 Acrylic Primer (1-3 mils dry).

2nd Coat: R-O Zinsser Perma White Interior Semi-Gloss Acrylic.

3rd Coat: R-O Zinsser Perma White Interior Semi-Gloss Acrylic (1-3 mils dry per coat).

* + - * 1. Satin Finish High Performance:

1st Coat: R-O Zinsser Bulls Eye Zero Acrylic Primer (1-3 mils dry).

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Satin.

3rd Coat: R-O Sierra Performance Beyond No VOC UMA Satin (1-3 mils dry per coat).

* + - * 1. Satin Finish:

1st Coat: R-O Zinsser Bulls Eye 123 Acrylic Primer (1-3 mils dry).

2nd Coat: R-O Zinsser Perma White Interior Satin Acrylic.

3rd Coat: R-O Zinsser Perma White Interior Satin Acrylic (1-3 mils dry per coat).

* + - * 1. Low Sheen Finish:

1st Coat: R-O Zinsser Bulls Eye 123 Acrylic Primer (1-3 mils dry).

2nd Coat: R-O Zinsser Perma White Interior Eggshell Acrylic.

3rd Coat: R-O Zinsser Perma White Interior Eggshell Acrylic (1-3 mils dry per coat).

* + - 1. Alkyd System:
         1. Gloss Finish:

1st Coat: R-O Zinsser Cover Stain 100 Alkyd Primer (1-3 mils dry).

2nd Coat: R-O CV740 Alkyd Enamel Gloss.

3rd Coat: R-O CV740 Alkyd Enamel Gloss (1-3 mils dry per coat).

* + - * 1. Satin Finish:

R-O Zinsser Cover Stain 100 Alkyd Primer (1-3 mils dry).

2nd Coat: R-O CV740 Alkyd Enamel Satin.

3rd Coat: R-O CV740 Alkyd Enamel Satin (1-3 mils dry per coat).

* + - 1. Epoxy Systems (Water Base):
         1. Gloss Finish High Performance:

1st Coat: Sierra Performance S60 No VOC WB Epoxy.

2nd Coat: Sierra Performance S60 No VOC WB Epoxy (2-3 mils dry per coat).

* + - * 1. Satin Finish High Performance:

1st Coat: Sierra Performance S62 No VOC WB Epoxy.

2nd Coat: Sierra Performance S62 No VOC WB Epoxy (2-3 mils dry per coat).

* + - 1. Epoxy Systems (Solvent Based):
         1. Gloss Finish High Performance:

1st Coat: R-O 9100 Series Epoxy Mastic.

2nd Coat: R-O 9100 Series Epoxy Mastic (5-8 mils dry per coat)

* + 1. Concrete: Ceilings.
       1. Dryfall Waterborne Systems:
          1. Flat Finish:

1st Coat: R-O Zinsser Commercial Dryfall Coating.

2nd Coat: R-O Zinsser Commercial Dryfall Coating (2 mils dry per coat).

* + 1. Masonry: CMU - Concrete, Split Face, Scored, Smooth, High Density, Low Density, Fluted.
       1. Latex Systems:
          1. Gloss Finish High Performance:

1st Coat: R-O Zinsser High Build Block Filler (7 mils dry).

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss.

3rd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss (1-3 mils dry per coat).

* + - * 1. Semi-Gloss Finish:

1st Coat: R-O Zinsser High Build Block Filler (7 mils dry).

2nd Coat: R-O Zinsser Perma White Interior Acrylic Semi Gloss.

3rd Coat: R-O Zinsser Perma White Interior Acrylic Semi Gloss (1-3 mils dry per coat).

* + - * 1. Satin Finish High Performance:

1st Coat: R-O Zinsser High Build Block Filler (7 mils dry).

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Satin.

3rd Coat: R-O Sierra Performance Beyond No VOC UMA Satin (1-3 mils dry per coat).

* + - * 1. Satin Finish:

1st Coat: R-O Zinsser High Build Block Filler (7 mils dry).

2nd Coat: R-O Zinsser Perma White Interior Acrylic Satin.

3rd Coat: R-O Zinsser Perma White Interior Acrylic Satin (1-3 mils dry per coat).

* + - * 1. Low Sheen Finish:

1st Coat: R-O Zinsser High Build Block Filler (7 mils dry).

2nd Coat: R-O Zinsser Perma White Interior Acrylic Egg Shell.

3rd Coat: R-O Zinsser Perma White Interior Acrylic Egg Shell (1-3 mils dry per coat).

* + - 1. Alkyd System:
         1. Gloss Finish:

1st Coat: R-O Zinsser High Build Block Filler (7 mils dry).

2nd Coat: R-O CV740 Alkyd Enamel Gloss.

3rd Coat: R-O CV740 Alkyd Enamel Gloss (1-3 mils dry per coat).

* + - * 1. Satin Finish:

1st Coat: R-O Zinsser High Build Block Filler (7 mils dry).

2nd Coat: R-O CV740 Alkyd Enamel Gloss.

3rd Coat: R-O CV740 Alkyd Enamel Gloss (1-3 mils dry per coat).

* + - 1. Epoxy System (Water Based):
         1. Gloss Finish High Performance:

1st Coat: R-O Zinsser High Build Block Filler (7 mils dry).

2nd Coat: Sierra Performance S60 No VOC WB Epoxy.

3rd Coat: Sierra Performance S60 No VOC WB Epoxy (2-3 mils dry per coat).

* + - * 1. Satin Finish High Performance:

1st Coat: R-O Zinsser High Build Block Filler (7 mils dry).

2nd Coat: Sierra Performance S62 No VOC WB Epoxy.

3rd Coat: Sierra Performance S62 No VOC WB Epoxy (2-3 mils dry per coat).

* + - 1. Epoxy Systems (Solvent Based):
         1. Gloss Finish High Performance:

1st Coat: R-O 9100 Series Epoxy Mastic.

2nd Coat: R-O 9100 Series Epoxy Mastic (5-8 mils dry per coat)

* + 1. Metal: Aluminum, Galvanized.
       1. Latex Systems:
          1. Gloss Finish High Performance:

1st Coat: R-O Sierra Performance Acrylic Primer (2 mils dry).

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss.

3rd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss (1-3 mils dry per coat).

* + - * 1. Semi-Gloss Finish:

1st Coat: R-O Universal Acrylic Primer (2 mils dry).

2nd Coat: R-O Zinsser Perma White Interior Semi-Gloss Acrylic.

3rd Coat: R-O Zinsser Perma White Interior Semi-Gloss Acrylic (1-3 mils dry per coat).

* + - * 1. Semi-Gloss Finish High Performance:

1st Coat: R-O Sierra Performance Acrylic Primer (2 mils dry).

2nd Coat: R-O Sierra Performance Metal Max No VOC UMA Semi.

3rd Coat: R-O Sierra Performance Metal Max No VOC UMA Semi (1-3 mils dry per coat).

* + - * 1. Satin Finish High Performance:

1st Coat: R-O Sierra Performance Acrylic Primer (2.0 mils dry).

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Satin.

3rd Coat: R-O Sierra Performance Beyond No VOC UMA Satin (1-3 mils dry per coat).

* + - * 1. Satin Finish:

1st Coat: R-O Universal Acrylic Primer (2 mils dry).

2nd Coat: R-O Zinsser Perma White Interior Satin Acrylic.

3rd Coat: R-O Zinsser Perma White Interior Satin Acrylic (1-3 mils dry per coat Flat Finish:

* + - * 1. Low Sheen Finish:

1st Coat: R-O Universal Acrylic Primer (2 mils dry).

2nd Coat: R-O Zinsser Perma White Interior Eggshell Acrylic.

3rd Coat: R-O Zinsser Perma White Interior Eggshell Acrylic (1-3 mils dry per coat Flat Finish:

* + - 1. Alkyd System:
         1. Gloss Finish:

1st Coat: R-O Universal Acrylic Primer (2 mils dry).

2nd Coat: R-O CV740 Alkyd Enamel Gloss.

3rd Coat: R-O CV740 Alkyd Enamel Gloss (1-3 mils dry per coat).

* + - * 1. Satin Finish:

1st Coat: R-O Universal Acrylic Primer (2 mils dry).

2nd Coat: R-O CV740 Alkyd Enamel Satin.

3rd Coat: R-O CV740 Alkyd Enamel Satin (1-3 mils dry per coat).

* + - 1. Epoxy System (Water Base):
         1. Gloss Finish High Performance:

1st Coat: R-O Sierra Performance Acrylic Primer (2 mils dry).

2nd Coat: Sierra Performance S60 No VOC WB Epoxy.

3rd Coat: Sierra Performance S60 No VOC WB Epoxy (2-3 mils dry per coat).

* + - * 1. Satin Finish High Performance:

1st Coat: R-O Sierra Performance Acrylic Primer (2 mils dry).

2nd Coat: Sierra Performance S62 No VOC WB Epoxy.

3rd Coat: Sierra Performance S62 No VOC WB Epoxy (2-3 mils dry per coat).

* + - 1. Epoxy Systems (Solvent Based):
         1. Gloss Finish High Performance:

1st Coat: R-O 9100 Series Epoxy Mastic.

2nd Coat: R-O 9100 Series Epoxy Mastic (5-8 mils dry per coat)

* + - 1. Urethane System (Solvent Base):
         1. Gloss Finish High Performance:

1st Coat: R-O XIM UMA Acrylic Primer (2 mils dry).

2nd Coat R-O 3300 Series Urethane.

3rd Coat: R-O 3300 Series Urethane ( 1 to 2 mils dry per coat).

* + 1. Metal: Galvanized; Ceilings, Duct work.
       1. Multi-Surface Acrylic Coating System:
          1. Gloss Finish High Performance:

1st Coat: R-O Sierra Performance Beyond No VOC UMA Gloss.

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss (1-3 mils dry per coat).

* + - * 1. Satin Finish High Performance:

1st Coat: R-O Sierra Performance Beyond No VOC UMA Satin.

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Satin (1-3 mils dry per coat).

* + - 1. Dryfall Waterborne Topcoats:
         1. Flat Finish:

1st Coat: R-O Zinsser Commercial Dryfall Coating.

2nd Coat: R-O Zinsser Commercial Dryfall Coating (2 mils dry per coat).

\*\* NOTE TO SPECIFIER \*\* Primers in this case are optional if the Ceilings - Structural Steel, Joists, Trusses, Beams are already primed. Check for adhesion and compatibility prior to painting. Spot prime any bare areas with Rust-Oleum Universal Acrylic Primer .

* + 1. Metal: Structural Steel Columns, Joists, Trusses, Beams, Miscellaneous and Ornamental Iron, Structural Iron, Ferrous Metal.
       1. Latex Systems:
          1. Gloss Finish High Performance:

1st Coat: R-O Sierra Performance Acrylic Primer (2 mils dry).

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss.

3rd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss (1-3 mils dry per coat).

* + - * 1. Semi-Gloss Finish:

1st Coat: R-O Universal Acrylic Primer (2 mils dry).

2nd Coat: R-O Zinsser Perma White Interior Semi-Gloss Acrylic.

3rd Coat: R-O Zinsser Perma White Interior Semi-Gloss Acrylic (1-3 mils dry per coat).

* + - * 1. Semi-Gloss Finish High Performance:

1st Coat: R-O Sierra Performance Acrylic Primer (2 mils dry).

2nd Coat: R-O Sierra Performance Metal Max No VOC UMA Semi.

3rd Coat: R-O Sierra Performance Metal Max No VOC UMA Semi (1-3 mils dry per coat).

* + - * 1. Satin Finish:

1st Coat: R-O Universal Acrylic Primer (2 mils dry).

2nd Coat: R-O Zinsser Perma White Interior Satin Acrylic.

3rd Coat: R-O Zinsser Perma White Interior Satin Acrylic (1-3 mils dry per coat Flat Finish:

* + - * 1. Satin Finish High Performance:

1st Coat: R-O Sierra Performance Acrylic Primer (2.0 mils dry).

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Satin.

3rd Coat: R-O Sierra Performance Beyond No VOC UMA Satin (1-3 mils dry per coat).

* + - * 1. Eggshell Finish:

1st Coat: R-O Universal Acrylic Primer (2 mils dry).

2nd Coat: R-O Zinsser Perma White Interior Eggshell Acrylic.

3rd Coat: R-O Zinsser Perma White Interior Eggshell Acrylic (1-3 mils dry per coat Flat Finish:

* + - 1. Alkyd System:
         1. Gloss Finish:

1st Coat: R-O CV740 Alkyd Primer (2 mils dry).

2nd Coat: R-O CV740 Alkyd Enamel Gloss.

3rd Coat: R-O CV740 Alkyd Enamel Gloss (1-3 mils dry per coat).

* + - * 1. Satin Finish (Water Base):

1st Coat: R-O CV740 Alkyd Primer (2 mils dry).

2nd Coat: R-O CV740 Alkyd Enamel Satin.

3rd Coat: R-O CV740 Alkyd Enamel Satin (1-3 mils dry per coat).

* + - 1. Epoxy System (Water Base):
         1. Gloss Finish High Performance:

1st Coat: R-O Sierra Performance Acrylic Primer (2 mils dry).

2nd Coat: Sierra Performance S60 No VOC WB Epoxy.

3rd Coat: Sierra Performance S60 No VOC WB Epoxy (2-3 mils dry per coat).

* + - * 1. Satin Finish High Performance:

1st Coat: R-O Sierra Performance Acrylic Primer (2 mils dry).

2nd Coat: Sierra Performance S62 No VOC WB Epoxy.

3rd Coat: Sierra Performance S62 No VOC WB Epoxy (2-3 mils dry per coat).

* + - 1. Epoxy Systems (Solvent Based):
         1. Gloss Finish High Performance:

1st Coat: R-O 9100 Series Epoxy Mastic.

2nd Coat: R-O 9100 Series Epoxy Mastic (5-8 mils dry per coat)

* + - 1. Urethane System (Solvent Base):
         1. Gloss Finish High Performance:

1st Coat: R-O XIM UMA Acrylic Primer (2 mils dry).

2nd Coat R-O 3300 Series Urethane.

3rd Coat: R-O 3300 Series Urethane ( 1-2 mils dry per coat).

* + - * 1. Dryfall Waterborne Topcoats:

Flat Finish:

1st Coat: R-O Universal Acrylic Primer (2 mils dry).

2nd Coat: R-O Zinsser Commercial Dryfall Coating.

3rd Coat: R-O Zinsser Commercial Dryfall Coating (2 mils dry per coat).

* + 1. Wood: Walls, Ceilings, Doors, Trim:
       1. Latex Systems:
          1. Gloss Finish High Performance:

1st Coat: R-O Zinsser Bulls Eye Water Based Primer (1.8 mils dry).

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss.

3rd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss (1-3 mils dry per coat).

* + - * 1. Semi - Gloss Finish:

1st Coat: R-O Zinsser Bulls Eye Water Based Primer (1.8 mils dry).

2nd Coat: R-O Zinsser Perma White Interior Semi-Gloss Acrylic.

3rd Coat: R-O Zinsser Perma White Interior Semi-Gloss Acrylic (1-3 mils dry per coat).

* + - * 1. Satin Finish High Performance:

1st Coat: R-O Zinsser Bulls Eye Water Based Primer (1.8 mils dry).

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Satin.

3rd Coat: R-O Sierra Performance Beyond No VOC UMA Satin (1-3 mils dry per coat).

* + - * 1. Satin Finish:

1st Coat: R-O Zinsser Bulls Eye Water Based Primer (1.8 mils dry).

2nd Coat: R-O Zinsser Perma White Interior Satin Acrylic.

3rd Coat: R-O Zinsser Perma White Interior Satin Acrylic (1-3 mils dry per coat).

* + - * 1. Low Sheen Finish:

1st Coat: R-O Zinsser Bulls Eye Water Based Primer (1.8 mils dry).

2nd Coat: R-O Zinsser Perma White Interior Eggshell Acrylic.

3rd Coat: R-O Zinsser Perma White Interior Eggshell Acrylic (1-3 mils dry per coat).

* + - 1. Alkyd System:
         1. Gloss Finish:

1st Coat: R-O Zinsser Cover Stain 100 Alkyd Primer (1.8 mils dry).

2nd Coat: R-O CV740 Alkyd Enamel Gloss.

3rd Coat: R-O CV740 Alkyd Enamel Gloss (1-3 mils dry per coat).

* + - * 1. Satin Finish:

1st Coat: R-O Cover Stain 100 Alkyd Primer (1.8 mils dry).

2nd Coat: R-O CV740 Alkyd Enamel Satin.

3rd Coat: R-O CV740 Alkyd Enamel Satin (1-3 mils dry per coat).

* + - 1. Stain and Varnish System:
         1. Gloss Finish:

1st Coat: R-O Varathane Oil Stain.

2nd Coat: R-O Varathane WB Polyurethane.

3rd Coat: R-O Varathane WB Polyurethane. (1.0 mil dry per coat).

* + - * 1. Satin Finish:

1st Coat: R-O Varathane Oil Stain.

2nd Coat: R-O Varathane WB Polyurethane.

3rd Coat: R-O Varathane WB Polyurethane. (1.0 mil dry per coat).

* + 1. Drywall: Walls, Ceilings, Gypsum Board, and similar items:
       1. Latex Systems:
          1. Gloss Finish High Performance:

1st Coat: R-O Sierra Performance Acrylic Primer (2 mils dry).

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss.

3rd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss (1-3 mils dry per coat).

* + - * 1. Semi-Gloss Finish:

1st Coat: R-O Zinsser Latex Drywall Primer 1.5 mils dry).

2nd Coat: R-O Zinsser Perma White Interior Semi-Gloss Acrylic.

3rd Coat: R-O Zinsser Perma White Interior Semi-Gloss Acrylic (1-3 mils dry per coat).

* + - * 1. Satin Finish High Performance:

1st Coat: R-O Sierra Performance Acrylic Primer (2 mils dry).

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Satin.

3rd Coat: R-O Sierra Performance Beyond No VOC UMA Satin (1-3 mils dry per coat).

* + - * 1. Satin Finish:

1st Coat: R-O Zinsser Latex Drywall Primer 1.5 mils dry).

2nd Coat: R-O Zinsser Perma White Interior Satin Acrylic.

3rd Coat: R-O Zinsser Perma White Interior Satin Acrylic (1-3 mils dry per coat).

* + - * 1. Low Sheen Finish:

1st Coat: R-O Zinsser Latex Drywall Primer 1.5 mils dry).

2nd Coat: R-O Zinsser Perma White Interior Eggshell Acrylic.

3rd Coat: R-O Zinsser Perma White Interior Eggshell Acrylic (1-3 mils dry per coat).

* + - 1. Epoxy System (Water Base):
         1. Gloss Finish:

1st Coat: R-O Sierra Performance Acrylic Primer (2 mils dry).

2nd Coat: Sierra Performance S60 No VOC WB Epoxy.

3rd Coat: Sierra Performance S60 No VOC WB Epoxy (2-3 mils dry per coat).

* + - * 1. Satin Finish:

1st Coat: R-O Sierra Performance Acrylic Primer (2 mils dry).

2nd Coat: Sierra Performance S62 No VOC WB Epoxy.

3rd Coat: Sierra Performance S62 No VOC WB Epoxy (2-3 mils dry per coat).

* + - 1. Epoxy Systems (Solvent Based):
         1. Gloss Finish High Performance:

1st Coat: R-O 9100 Series Epoxy Mastic.

2nd Coat: R-O 9100 Series Epoxy Mastic (5-8 mils dry per coat)

* + 1. Concrete: Floors, non-vehicular:
       1. Latex Systems:
          1. Gloss Finish:

1st Coat: R-O Porch and Floor Enamel.

2nd Coat: R-O Porch and Floor Enamel (1.5 mils dry per coat).

* + - * 1. Semi Gloss Finish:

1st Coat: R-O Porch and Floor Enamel.

2nd Coat: R-O Porch and Floor Enamel (1.5 mils dry per coat).

\*\* NOTE TO SPECIFIER \*\* 3rd coat is optional. Delete if not required.

* + - * 1. Satin Finish:

1st Coat: R-O Porch and Floor Enamel.

2nd Coat: R-O Porch and Floor Enamel (1.5 mils dry per coat).

* + 1. Concrete: Floors, Anti Slip:
       1. Latex Systems:
          1. Semi Gloss Finish

R-O AS5600 Anti Slip WB Coating (12-15 mils dry)

\*\* NOTE TO SPECIFIER \*\* Delete article if not required.

* 1. EXTERIOR PAINT SYSTEMS

\*\* NOTE TO SPECIFIER \*\* Delete systems not required.

* + 1. Concrete: Cementitious Siding, Flexboard, Transite Board, Shingles (Non-Roof), Common Brick, Stucco, Tilt-up, Precast, and Poured-in-place Cement.
       1. Latex Systems:
          1. Gloss Finish High Performance:

1st Coat: R-O Zinsser Bulls Eye Zero Acrylic Primer (1-3 mils dry).

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss.

3rd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss (1-3 mils dry per coat).

* + - * 1. Semi-Gloss Finish:

1st Coat: R-O Zinsser Bulls Eye 123 Acrylic Primer (1.8 mils dry).

2nd Coat: R-O Zinsser Perma White Exterior Semi-Gloss Acrylic.

3rd Coat: R-O Zinsser Perma White Exterior Semi-Gloss Acrylic (1-3 mils dry per coat).

* + - * 1. Satin Finish High Performance:

1st Coat: R-O Zinsser Bulls Eye Zero Acrylic Primer (1-3 mils dry).

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Satin.

3rd Coat: R-O Sierra Performance Beyond No VOC UMA Satin (1-3 mils dry per coat).

* + - * 1. Satin Finish:

1st Coat: R-O Zinsser Bulls Eye 123 Acrylic Primer (1.8 mils dry).

2nd Coat: R-O Zinsser Perma White Exterior Satin Acrylic.

3rd Coat: R-O Zinsser Perma White Exterior Satin Acrylic (1-3 mils dry per coat).

* + - * 1. Flat Finish, High Build Waterproofing Acrylic Coating:

1st Coat: R-O Zinsser Water-Tite Flexible Primer & Finish.

2nd Coat: R-O Zinsser Water-Tite Flexible Primer & Finish (5-6 mils dry per coat).

* + - 1. Clear Water Repellant (See Section 07 19 00):
         1. Clear:

1st Coat: R-O Okon S-20 Siloxane Water Repellant.

2nd Coat: R-O Okon S-20 Siloxane Water Repellant, A10T7 (50-200 sq ft/ gal).

* + 1. Masonry: Concrete Masonry Units (CMU) - Cinder or Concrete Block.
       1. Latex Systems:
          1. Gloss Finish High Performance:

1st Coat: R-O Zinsser High Build Block Filler (7 mils dry).

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss.

3rd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss (1-3 mils dry per coat).

* + - * 1. Semi-Gloss Finish:

1st Coat: R-O Zinsser High Build Block Filler (7 mils dry).

2nd Coat: R-O Zinsser Perma White Exterior Semi-Gloss Acrylic.

3rd Coat: R-O Zinsser Perma White Exterior Semi-Gloss Acrylic (1-3 mils dry per coat).

* + - * 1. Satin Finish High Performance:

1st Coat: R-O Zinsser High Build Block Filler (7 mils dry).

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Satin.

3rd Coat: R-O Sierra Performance Beyond No VOC UMA Satin (1-3 mils dry per coat).

* + - * 1. Satin Finish:

1st Coat: R-O Zinsser High Build Block Filler (7 mils dry).

2nd Coat: R-O Zinsser Perma White Exterior Satin Acrylic.

3rd Coat: R-O Zinsser Perma White Exterior Satin Acrylic (1-3 mils dry per coat).

* + - * 1. Flat Finish, High Build Waterproofing Acrylic Coating:

1st Coat: R-O Zinsser Water-Tite Flexible Primer & Finish.

2nd Coat: R-O Zinsser Water-Tite Flexible Primer & Finish (5-6 mils dry per coat).

* + - 1. Clear Water Repellant (See Section 07 19 00):
         1. Clear:

1st Coat: R-O Okon S-20 Siloxane Water Repellant.

2nd Coat: R-O Okon S-20 Siloxane Water Repellant, A10T7 (50-200 sq ft/ gal).

* + 1. Concrete: Concrete Floors (non-vehicular), Patios, Porches, Steps and Platforms.
       1. Acrylic System Water-Based:
          1. Gloss Finish:

1st Coat: R-O Porch and Floor Enamel.

2nd Coat: R-O Porch and Floor Enamel (1.5 mils dry per coat).

* + - * 1. Semi Gloss Finish:

1st Coat: R-O Porch and Floor Enamel.

2nd Coat: R-O Porch and Floor Enamel (1.5 mils dry per coat).

* + - * 1. Satin Finish:

1st Coat: R-O Porch and Floor Enamel.

2nd Coat: R-O Porch and Floor Enamel (1.5 mils dry per coat).

* + 1. Concrete: Floors, Anti Slip:
       1. Latex Systems:
          1. Semi Gloss Finish

R-O AS5600 Anti Slip WB Coating (12-15 mils dry)

* + 1. Metal: Aluminum, Galvanized.
       1. Latex Systems:
          1. Gloss Finish High Performance:

1st Coat: R-O Sierra Performance Beyond No VOC UMA Gloss.

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss (1-3 mils dry per coat).

* + - * 1. Semi-Gloss Finish High Performance:

1st Coat: R-O Sierra Performance Metal Max No VOC UMA Semi-Gloss.

2nd Coat: R-O Sierra Performance Metal Max No VOC UMA Semi-Gloss (1-3 mils dry per coat).

* + - * 1. Semi-Gloss Finish:

1st Coat: R-O Zinsser Perma White Exterior Semi-Gloss Acrylic.

2nd Coat: R-O Zinsser Perma White Exterior Semi-Gloss Acrylic (1-3 mils dry per coat).

* + - * 1. Satin Finish High Performance:

1st Coat: R-O Sierra Performance Beyond No VOC UMA Satin.

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Satin (1-3 mils dry per coat).

* + - * 1. Satin Finish:

1st Coat: R-O Zinsser Perma White Exterior Satin Acrylic.

2nd Coat: R-O Zinsser Perma White Exterior Satin Acrylic (1-3 mils dry per coat).

* + - 1. Alkyd System:
         1. Gloss Finish:

1st Coat: R-O Universal Acrylic Primer (2 mils dry).

2nd Coat: R-O CV740 Alkyd Enamel Gloss.

3rd Coat: R-O CV740 Alkyd Enamel Gloss (1-3 mils dry per coat).

* + - * 1. Satin Finish:

1st Coat: R-O Universal Acrylic Primer (2 mils dry).

2nd Coat: R-O CV740 Alkyd Enamel Satin.

3rd Coat: R-O CV740 Alkyd Enamel Satin (1-3 mils dry per coat).

\*\* NOTE TO SPECIFIER \*\* For Higher Performance Metal Systems refer to 09960

* + 1. Metal: Misc. Iron, Ornamental Iron, Structural Iron and Steel, Ferrous Metal.
       1. Latex Systems:
          1. Gloss Finish High Performance:

1st Coat: R-O Sierra Performance Acrylic Primer (2 mils dry).

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss.

3rd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss (1-3 mils dry per coat).

* + - * 1. Semi-Gloss Finish High Performance:

1st Coat: R-O Sierra Performance Acrylic Primer (2 mils dry).

2nd Coat: R-O Sierra Performance Metal Max No VOC UMA Semi-Gloss.

3rd Coat: R-O Sierra Performance Metal Max No VOC UMA Semi-Gloss (1-3 mils dry per coat).

* + - * 1. Semi-Gloss Finish:

1st Coat: R-O Universal Acrylic Primer (1.8 mils dry).

2nd Coat: R-O Zinsser Perma White Exterior Semi-Gloss Acrylic.

3rd Coat: R-O Zinsser Perma White Exterior Semi-Gloss Acrylic (1-3 mils dry per coat).

* + - * 1. Satin Finish High Performance:

1st Coat: R-O Sierra Performance Acrylic Primer (2 mils dry).

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Satin.

3rd Coat: R-O Sierra Performance Beyond No VOC UMA Satin (1-3 mils dry per coat).

* + - * 1. Satin Finish:

1st Coat: R-O Universal Acrylic Primer (1.8 mils dry).

2nd Coat: R-O Zinsser Perma White Exterior Satin Acrylic.

3rd Coat: R-O Zinsser Perma White Exterior Satin Acrylic (1-3 mils dry per coat).

* + - 1. Alkyd System:
         1. Gloss Finish:

1st Coat: R-O CV740 Alkyd Primer (2 mils dry).

2nd Coat: R-O CV740 Alkyd Enamel Gloss.

3rd Coat: R-O CV740 Alkyd Enamel Gloss (1-3 mils dry per coat).

* + - * 1. Satin Finish:

1st Coat: R-O CV740 Alkyd Primer (2 mils dry).

2nd Coat: R-O CV740 Alkyd Enamel Satin.

3rd Coat: R-O CV740 Alkyd Enamel Satin (1-3 mils dry per coat).

\*\* NOTE TO SPECIFIER \*\* For Higher Performance Metal Systems refer to 09960

* + 1. Wood: Decks, Exterior including pressure treated lumber, Floors (non-Vehicular), Platforms.
       1. Acrylic Water-Based Floor System:
          1. Gloss Finish:

1st Coat: R-O Porch and Floor Enamel.

2nd Coat: R-O Porch and Floor Enamel (1.5 mils dry per coat).

* + - * 1. Semi Gloss Finish:

1st Coat: R-O Porch and Floor Enamel.

2nd Coat: R-O Porch and Floor Enamel (1.5 mils dry per coat).

\*\* NOTE TO SPECIFIER \*\* 3rd coat is optional. Delete if not required.

* + - * 1. Satin Finish:

1st Coat: R-O Porch and Floor Enamel.

2nd Coat: R-O Porch and Floor Enamel (1.5 mils dry per coat).

* + - 1. Stain Systems:
         1. Solid Color Acrylic Latex:

1st Coat: R-O Wolman Dura Stain Exterior Acrylic Solid Color Deck Stain.

2nd Coat: R-O Wolman Dura Stain Exterior Acrylic Solid Color Deck Stain, (250 s/f per gal).

* + - * 1. Semi-Transparent Stain:

1st Coat: R-O Wolman Dura Stain Exterior Waterborne Deck Stain.

2nd Coat: R-O Wolman Dura Stain Exterior Waterborne Deck Stain, (250 s/f per gal).

* + - * 1. Transparent Stain:

1st Coat: R-O Wolman Rain Coat Exterior Waterborne Stain.

2nd Coat: R-O Wolman Rain Coat Exterior Waterborne Stain (250 sq/ft gal).

* + - 1. Clear System:
         1. Clear Sealers:

1st Coat: R-O Wolman Rain Coat Exterior Waterborne Clear.

2nd Coat: R-O Wolman Rain Coat Exterior Waterborne Clear (250 sq/ft gal).

* + - * 1. Clear Sealers:

1st Coat: R-O Seal-Krete Multi-Surface All-Purpose Water Repellent.

2nd Coat: R-O Seal-Krete Multi-Surface All-Purpose Water Repellent (200 sq/ft gal).

* + 1. Wood: Siding, Trim, Shutters, Sashes, Fences, Hardboard-Bare/Primed.
       1. Latex Systems:
          1. Gloss Finish High Performance:

1st Coat: R-O Zinsser Bulls Eye Zero Acrylic Primer (1-3 mils dry).

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss.

3rd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss (1-3 mils dry per coat).

* + - * 1. Semi-Gloss Finish:

1st Coat: R-O Zinsser Bulls Eye 123 Acrylic Primer (1.8 mils dry).

2nd Coat: R-O Zinsser Perma White Exterior Semi-Gloss Acrylic.

3rd Coat: R-O Zinsser Perma White Exterior Semi-Gloss Acrylic (1-3 mils dry per coat).

* + - * 1. Satin Finish High Performance:

1st Coat: R-O Zinsser Bulls Eye Zero Acrylic Primer (1-3 mils dry).

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Satin.

3rd Coat: R-O Sierra Performance Beyond No VOC UMA Satin (1-3 mils dry per coat).

* + - * 1. Satin Finish:

1st Coat: R-O Zinsser Bulls Eye 123 Acrylic Primer (1.8 mils dry).

2nd Coat: R-O Zinsser Perma White Exterior Satin Acrylic.

3rd Coat: R-O Zinsser Perma White Exterior Satin Acrylic (1-3 mils dry per coat).

* + - 1. Stain - Water Reducible Systems:
         1. Semi-Transparent:

1st Coat: R-O Wolman Dura Stain Exterior Waterborne Deck Stain.

2nd Coat: R-O Wolman Dura Stain Exterior Waterborne Deck Stain, (250 s/f per gal).

* + - * 1. Solid Color:

1st Coat: R-O Wolman Dura Stain Exterior Acrylic Solid Color Deck Stain.

2nd Coat: R-O Wolman Dura Stain Exterior Acrylic Solid Color Deck Stain, (250 s/f per gal).

* + 1. Architectural PVC, Plastic, Fiberglass:

\*\* NOTE TO SPECIFIER \*\* Due to the variety of substrate, check with manufacturer for compatibility.

* + - 1. Latex Systems:
         1. Gloss Finish High Performance:

1st Coat: R-O Zinsser Bulls Eye Zero Acrylic Primer (1-3 mils dry).

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss.

3rd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss (1-3 mils dry per coat).

* + - * 1. Semi-Gloss:

1st Coat: R-O Zinsser Bulls Eye Zero Acrylic Primer (1.8 mils dry).

2nd Coat: R-O Zinsser Perma White Exterior Semi-Gloss Acrylic.

3rd Coat: R-O Zinsser Perma White Exterior Semi-Gloss Acrylic (1-3 mils dry per coat).

* + - * 1. Satin Finish High Performance:

1st Coat: R-O Zinsser Bulls Eye Zero Acrylic Primer (1-3 mils dry).

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Satin.

3rd Coat: R-O Sierra Performance Beyond No VOC UMA Satin (1-3 mils dry per coat).

* + - * 1. Satin Finish:

1st Coat: R-O Zinsser Bulls Eye Zero Acrylic Primer (1.8 mils dry).

2nd Coat: R-O Zinsser Perma White Exterior Satin Acrylic.

3rd Coat: R-O Zinsser Perma White Exterior Satin Acrylic (1-3 mils dry per coat).

* + 1. Drywall: Gypsum Board, Exterior Drywall.
       1. Latex Systems:
          1. Gloss Finish High Performance:

1st Coat: R-O Zinsser Bulls Eye Zero Acrylic Primer (1-3 mils dry).

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss.

3rd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss (1-3 mils dry per coat).

* + - * 1. Semi-Gloss Finish:

1st Coat: R-O Zinsser Bulls Eye 123 Acrylic Primer (1.8 mils dry).

2nd Coat: R-O Zinsser Perma White Exterior Semi-Gloss Acrylic.

3rd Coat: R-O Zinsser Perma White Exterior Semi-Gloss Acrylic (1-3 mils dry per coat).

* + - * 1. Satin Finish High Performance:

1st Coat: R-O Zinsser Bulls Eye Zero Acrylic Primer (1-3 mils dry).

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Satin.

3rd Coat: R-O Sierra Performance Beyond No VOC UMA Satin (1-3 mils dry per coat).

* + - * 1. Satin Finish:

1st Coat: R-O Zinsser Bulls Eye Zero Acrylic Primer (1.8 mils dry).

2nd Coat: R-O Zinsser Perma White Exterior Satin Acrylic.

3rd Coat: R-O Zinsser Perma White Exterior Satin Acrylic (1-3 mils dry per coat).

* + 1. Vinyl Siding, EIFS, Synthetic Stucco:
       1. Latex Systems:
          1. Gloss Finish High Performance:

1st Coat: R-O Sierra Performance Beyond No VOC UMA Gloss.

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Gloss (1-3 mils dry per coat).

* + - * 1. Semi-Gloss Finish:

1st Coat: R-O Zinsser Perma White Exterior Semi-Gloss Acrylic.

2nd Coat: R-O Zinsser Perma White Exterior Semi-Gloss Acrylic (1-3 mils dry per coat).

* + - * 1. Satin Finish:

1st Coat: R-O Sierra Performance Beyond No VOC UMA Satin.

2nd Coat: R-O Sierra Performance Beyond No VOC UMA Satin (1-3 mils dry per coat).

* + - * 1. Satin Finish:

1st Coat: R-O Zinsser Perma White Exterior Satin Acrylic.

2nd Coat: R-O Zinsser Perma White Exterior Satin Acrylic (1-3 mils dry per coat).

* + - 1. Clear Sealer:
         1. Satin Clear Finish:

1st Coat: R-O Seal-Krete Original Waterproofing Primer Sealer.

2nd Coat: R-O Seal-Krete Original Waterproofing Primer Sealer (300 sq/ft gal).

\*\* NOTE TO SPECIFIER \*\* Delete article if not required.

* 1. WATER BASE METALLIC PAINT
     1. Basis of Design: The Metallic Paint Collection as manufactured by Modern Masters

\*\* NOTE TO SPECIFIER \*\* Delete product options not required.

* + - 1. Metallic Paint Collection; Exterior Satin Finish: Complete water-based acrylic polyurethane system including two multi-surface primers, cool and warm tone and 12 pre-mixed metallic paint colors.

\*\* NOTE TO SPECIFIER \*\* Available exterior satin finish metallic paint colors are as follows; Aged Nickel (337176), Brass Monkey (337179), Cafe Bronze (337183), Chocolate Shimmer (337177), Cinnamon Sparkle (337181), Dome Gold (337178), Excalibur (337172), Fawn Bronze (337182), Gray Velvet (337175), Restoration Nickel (337174), Stainless Steel (337173), and Treasure Gold (337180). Delete product number options not required.

* + - * 1. Product Number: \_\_\_\_\_\_\_\_.
        2. Product Number: As stated in the Finish Schedule on the Drawings.
        3. Product Number: As determined by the Architect from Manufacturer's standard range.
        4. General Properties:

No additional protective top coat is needed. Water, mold, mildew, chemical, stain, mar, impact and UV resistant.

Reduces overall time and numbers of coats required to beautify and protect your project.

Tinting: Exterior Metallic Paint Collection Colors can be intermixed to create custom colors.

Dry Times: Recorded at 70 degrees F (21.1 degrees C) and 50 percent relative humidity. Lower temperature and/or higher humidity will lengthen the dry and cure times.

Dry to Touch: 1/2 hour.

Dry to Handle: 1 hour.

Recoat: 1 hour.

Full Cure: 3 to 4 hours.

Application: Brushed, rolled, or spray applied onto any paintable, properly primed, interior surface, such as walls, ceilings, columns, trim, doors, furniture, and paintable wallcoverings.

Test product in a small, inconspicuous area before beginning a project to see if desired results are attained.

Prepare a sample board prior to beginning a project to check color and technique.

Mix thoroughly before using.

Temperature Range: 58 to 85 degrees F (14 to 29 degrees C).

Coverage: 320 to 400 sq ft per gal (7.85 to 9.82 sq m per L).

Approximately 1.5 mils (0.038 mm) dry film thickness per coat.

A minimum of 3 mils (0.076 mm) dry film thickness is required for full color development.

Physical Properties:

Weight: 9.11 to 9.52 lbs per gal (1.09 to 1.12 kg per L)

Solids by Weight: 39.62 to 49.84 percent.

Solids by Volume: 33.21 to 35.84 percent.

Volatile Organic Compounds: 114 to 125 ppm (114 to 123 grams per L).

Recommended Dry Film Thickness (DFT) per Coat: 1.5 mils (0.038 mm).

Wet Film to Achieve DFT (Unthinned material): 4 to 4.5 mils (0.102 to 0.114 mm).

Shelf Life: 5 years.

Flash Point: 201 degrees F (94 degrees C).

* + - 1. Metallic Paint Collection Paints. Water-based, non-hazardous and paint combining real metallic particles, mica, and traditional pigments to create the fifty-color palette of beautiful, shimmering colors. This unique approach enables the creation of non-fading, non-tarnishing colors.

\*\* NOTE TO SPECIFIER \*\* Available metallic paint colors are as follows; Amethyst (ME798), Antique Bronze (ME204), Antique Copper (ME205), Black Cherry (ME704), Black Pearl (ME700), Black Sapphire (ME792), Blackened Bronze (ME238), Brass (ME289), Burnt Orange (ME702), Champagne (ME206), Copper (ME195), Copper Penny (ME579), Cool Mint (ME793), Emerald (ME796), English Brown (ME525), Flash Blue (ME657), Flash Copper (ME656), Flash Gold (ME164), Glacier Blue (ME791), Gold Rush (ME658), Green Apple (ME706), Iridescent Gold (ME194), Lilac (ME427), Mystical Green (ME434), Nickel (ME708), Olympic Gold (ME659), Oyster (ME705), Pale Gold (ME200), Pearl White (ME196), Pewter (ME209), Pharaoh's Gold (ME660), Pink Topaz (ME797), Platinum (ME591), Rich Gold (ME701), Rose (ME246), Rose Gold (ME790), Rose Quartz (ME794), Ruby (ME795), Sapphire (ME655), Sashay Red (ME513), Shimmering Sky (ME514), Silver (ME150), Smoke (ME243), Snowflake (ME707), Statuary Bronze (ME190), Steel Gray(ME244), Teal (ME249), Tequila Gold (ME661), Venetian Blue (ME429), and Warm Silver(ME221). Delete product number options not required.

* + - * 1. Product Number: \_\_\_\_\_\_\_\_.
        2. Product Number: As stated in the Finish Schedule on the Drawings.
        3. Product Number: As determined by the Architect from Manufacturer's standard range.
        4. General Properties:

No hazardous air pollutants.

Dry Times: Recorded at 70 degrees F (21.1 degrees C) and 50 percent relative humidity. Lower temperature and/or higher humidity will lengthen the dry and cure times.

Recoat Time: 1/2 hour.

Dry to Touch: 1 hour.

Application: Brushed, rolled, or spray applied onto any paintable, properly primed, interior or exterior surface, such as walls, ceilings, columns, trim, doors, furniture, and paintable wallcoverings.

Check the side of Metallic Paint Collection label for hide and coverage characteristics.

Opaque colors have excellent hide; two coats are recommended for best results.

Semi-opaque colors have good hide; three coats are recommended for best results.

Sheer colors are meant as translucent overcoats that impart a luster to existing under coats.

Test the product in a small, inconspicuous area before beginning a project to see if the desired results are attained.

Prepare a sample board prior to beginning a project to check color and technique.

Mix thoroughly before using.

Temperature Range: 58 to 85 degrees F (14 to 29 degrees C).

Coverage: 320 to 400 sq ft per gal (7.85 to 9.82 sq m per L).

Approximately 1.5 mils (0.038 mm) dry film thickness per coat.

A minimum of 3 mils (0.076 mm) dry film thickness is required for full color development.

Check label for additional information on color specific hiding and coverage characteristics.

Material VOC: Less than 350 ppm (350 grams per L) Compliant under SCAQMD Rule 1113. VOC content for each color is available upon request.

* + - 1. Metallic Paint Collection; Matte Metallic Paint. Water based, non-hazardous paints combining real metallic particles, mica, and traditional pigments to create a fifteen-color palette of beautiful, matte colors. Non-fading, non-tarnishing colors.

\*\* NOTE TO SPECIFIER \*\* Available exterior matte finish metallic paint colors are as follows;, Blackened Bronze (MM238), Brass (MM289), Champagne, Gold Rush (MM658), Olympic Gold (MM659), Oyster (MM705), Pale Gold (MM200), Pewter (MM209), Platinum/Silver (MM591), and Warm Silver(MM221). Delete product number options not required.

* + - * 1. Product Number: \_\_\_\_\_\_\_\_.
        2. Product Number: As stated in the Finish Schedule on the Drawings.
        3. Product Number: As determined by the Architect from Manufacturer's standard range.
        4. General Properties:

No hazardous air pollutants.

Tinting: All Matte Metallic Colors can be intermixed to create custom colors.

Dry Times: Recorded at 70 degrees F (21.1 degrees C) and 50 percent relative humidity. Lower temperature and/or higher humidity will lengthen the dry and cure times.

Dry to Touch: 1 hour.

Recoat time is approximately 1/2 hour.

Application: Brushed, rolled, or spray applied onto any paintable, properly primed, interior surface, such as walls, ceilings, columns, trim, doors, furniture, and paintable wallcoverings.

Test product in a small, inconspicuous area before beginning a project to see if desired results are attained.

Prepare a sample board prior to beginning a project to check color and technique.

Mix thoroughly before using.

Temperature Range: 58 to 85 degrees F (14 to 29 degrees C).

Coverage: 320 to 400 sq ft per gal (7.85 to 9.82 sq m per L). Minimum of two coats are recommended. Some colors require three coats.

Material VOC: Less than 350 ppm (350 grams per L) Compliant under SCAQMD Rule 1113. VOC content for each color is available upon request.

* + - 1. Metallic Paint Collection; Cool Tone Primers: Product Number 337184. Interior and exterior applications. An ideal primer and foundation color for Metallic Paints. Use under Silver and Pewter Metallic colors.
         1. Promotes adhesion on smooth surfaces.
         2. Dries fast and is immediately sandable when dry.
         3. Excellent stain-blocking power.
         4. Tolerates pH levels up to 13.
         5. Suitable for concrete, masonry, non-ferrous metal, galvanized steel, plastic, wallboard, wood, plaster, stucco, and previously coated surfaces.
         6. General Properties:

Tinting: To improve hide and coverage with darker and deeper colors, primer can be tinted to even darker tones with up to 2 oz. of universal colorant per gallon (19 grams per L). Tinting may increase dry times.

Dry Times: Recorded at 77 degrees F (25 degrees C) and 50 percent relative humidity. Lower temperature and/or higher humidity will lengthen the dry and cure times.

Dry to Touch: 30 minutes.

Dry to Handle: 1 hour.

Recoat: 1 hour.

Full cure: 7 days.

Application: Brushed, rolled, or spray applied.

Product is formulated to be used as is.

Temperature Range: 50 to 90 degrees F (10 to 32 degrees C).

Relative Humidity: No greater than 85 percent.

Surface Temperature: At least 5 degrees F (3 degrees C) above the dew point.

Ensure fresh air entry during application and when drying.

Coverage: 325 sq ft per gal (8 sq m per L).

Physical Properties:

Resin Type: Styrenated acrylic.

Pigment Type: Varies with color.

Solvents: Water, glycol ethers.

Weight: 10.53 to 10.54 lbs per gal (1.26 kg per L)

Solids by Weight: 49.14 to 49.29 percent.

Solids by Volume: 35.89 to 36.12 percent.

Material VOC: Less than 100 ppm (100 grams per L).

Recommended Dry Film Thickness (DFT) per Coat: 1.5 mils (0.038 mm).

Wet Film to Achieve DFT (Unthinned material): 4 mils (0.102 mm)

Shelf Life: 5 years.

Flash Point: 200 degrees F (93 degrees C).

* + - 1. Metallic Paint Collection; Warm Tone Primers: Product Number 337185. Interior and exterior applications. An ideal primer and foundation color for metallic paints. Use under gold and copper metallic colors.
         1. Promotes adhesion on smooth surfaces.
         2. Dries fast and is immediately sandable when dry.
         3. Excellent stain-blocking power.
         4. Tolerates pH levels up to 13.
         5. Suitable for concrete, masonry, non-ferrous metal, galvanized steel, plastic, wallboard, wood, plaster, stucco, and previously coated surfaces.
         6. General Properties:

Tinting: To improve hide and coverage with darker and deeper colors, primer can be tinted to even darker tones with up to 2 oz. of universal colorant per gallon (19 grams per L). Tinting may increase dry times.

Dry Times: Recorded at 77 degrees F (25 degrees C) and 50 percent relative humidity. Lower temperature and/or higher humidity will lengthen the dry and cure times.

Dry to Touch: 30 minutes.

Dry to Handle: 1 hour.

Recoat: 1 hour.

Full cure: 7 days.

Application: Brushed, rolled, or spray applied.

Product is formulated to be used as is.

Temperature Range: 50 to 90 degrees F (10 to 32 degrees C).

Relative Humidity: No greater than 85 percent.

Surface Temperature: At least 5 degrees F (3 degrees C) above the dew point.

Ensure fresh air entry during application and when drying.

Coverage: 325 sq ft per gal (8 sq m per L).

Physical Properties:

Resin Type: Styrenated acrylic.

Pigment Type: Varies with color.

Solvents: Water, glycol ethers.

Weight: 10.53 to 10.54 lbs per gal (1.26 kg per L)

Solids by Weight: 49.14 to 49.29 percent.

Solids by Volume: 35.89 to 36.12 percent.

Material VOC: Less than 100 ppm (100 grams per L).

Recommended Dry Film Thickness (DFT) per Coat: 1.5 mils (0.038 mm).

Wet Film to Achieve DFT (Unthinned material): 4 mils (0.102 mm)

Shelf Life: 5 years.

Flash Point: 200 degrees F (93 degrees C).

* + - 1. Metallic Paint Collection; MasterClear Topcoat: A water-based, one part, self-crosslinking, aliphatic polyurethane/acrylic non-yellowing topcoat. Formulated with both UV absorbers and inhibitors, mar and slip aids, to protect metallic paints without affecting the metallic shimmer.

\*\* NOTE TO SPECIFIER \*\* Delete product number option not required.

* + - * 1. Product Number: ME664. Satin. Sheen Range: 20 to 30.
        2. Product Number: ME662. Semi-Gloss. Sheen Range: 50 to 65.
        3. General Properties:

Abrasion Resistance: Exceeds 3,000 scrub cycles.

Dry Times: Recorded at 70 degrees F (21.1 degrees C) and 50 percent relative humidity. Lower temperature and/or higher humidity will lengthen the dry and cure times.

Recoat Time: 1/2 hour.

Dry to Touch: 1 hour.

Application: Brushed, rolled, or spray applied.

Stir thoroughly before use. Do not shake.

For best results and maximum protection, apply two or more coats for interior use and three or more coats for exterior use.

Temperature Range: 58 to 85 degrees F (14 to 29 degrees C).

Coverage: 320 to 400 sq ft per gal (7.85 to 9.82 sq m per L). Approximately 1.5 mils (0.038 mm) dry film thickness per coat.

Material VOC: Less than 100 ppm (100 grams per L) Compliant under SCAQMD Rule 1113. VOC content for each color is available upon request.

\*\* NOTE TO SPECIFIER \*\* Delete article if not required.

* 1. OXIDIZING PAINTS, PATINAS, AND RUST ACTIVATORS
     1. Basis of Design: Metal Effects Paint Series as manufactured by Modern Masters.

\*\* NOTE TO SPECIFIER \*\* Delete product options not required.

* + - 1. Metal Effects Bronze Finish System: Water-based, modified acrylic paint with a high concentration of real copper and zinc particles. Will tarnish naturally over time, if exposed to proper elements, but can be artificially aged to create a beautiful, authentic green or blue patina finish in minutes using the proper additives.

\*\* NOTE TO SPECIFIER \*\* Delete product number options not required.

* + - * 1. Product Number: ME396. Bronze paint.
        2. Product Number: AM203. Metal Effects Primer.
        3. Product Number: PA902. Blue Patina aging additive.
        4. Product Number: PA901. Green Patina Aging Solution.
        5. General Properties:

Dry Times: Recorded at 70 degrees F (21.1 degrees C) and 50 percent relative humidity. Lower temperature and/or higher humidity will lengthen the dry and cure times.

Recoat Time: 30 minutes.

Dry to touch: 1 hour.

Application: Brushed, rolled, or spray applied onto properly primed, interior or exterior surface; walls, ceilings, columns, trim, doors, furniture, and paintable wallcoverings.

Test product in a small, inconspicuous area before beginning a project to see if the desired results are attained.

Prepare a sample board prior to beginning a project to check color and technique.

Mix paint thoroughly before using.

Application Temperature Range: 55 to 85 degrees F (13 to 29 degrees C).

Coverage: 320 sq ft per gal (7.85 sq m per L).

Approximately 1.5 mils (0.038 mm) dry film thickness per coat.

A minimum of 3 mils (0.076 mm) dry film thickness is required for full color development.

Material VOC:

Metal Effects Bronze Paint: Less than 50 ppm (50 grams per L).

Metal Effects Primer: Less than 100 ppm (100 grams per L).

Metal Effects Permacoat Xtreme: Less than 100 ppm (100 grams per L).

Protective Clear Coating: Metal Effects Permacoat Xtreme, Product Number AM204. Only required if surface is subject to repeated hand contact. Two coats with a cure time of 7 to 10 days.

* + - 1. Metal Effects Copper Finish System: A water-based, modified acrylic paint with a high concentration of real copper and zinc particles. Will tarnish naturally over time, if exposed to proper elements, but can be artificially aged to create a beautiful, authentic green or blue patina finish in minutes using the proper additives.

\*\* NOTE TO SPECIFIER \*\* Delete product number options not required.

* + - * 1. Product Number: ME149. Copper paint.
        2. Product Number: AM203. Metal Effects Primer.
        3. Product Number: PA902. Blue Patina Aging Solution.
        4. Product Number: PA901. Green Patina Aging Solution.
        5. General Properties:

Dry Times: Recorded at 70 degrees F (21.1 degrees C) and 50 percent relative humidity. Lower temperature and/or higher humidity will lengthen the dry and cure times.

Recoat Time: 30 minutes.

Dry to touch: 1 hour.

Application: Brushed, rolled, or spray applied onto properly primed, interior or exterior surface; walls, ceilings, columns, trim, doors, furniture, and paintable wallcoverings.

Test product in a small, inconspicuous area before beginning a project to see if the desired results are attained.

Prepare a sample board prior to beginning a project to check color and technique.

Mix paint thoroughly before using.

Application Temperature Range: 55 to 85 degrees F (13 to 29 degrees C).

Coverage: 320 sq ft per gal (7.85 sq m per L).

Approximately 1.5 mils (0.038 mm) dry film thickness per coat.

A minimum of 3 mils (0.076 mm) dry film thickness is required for full color development.

Material VOC:

Metal Effects Copper Paint: Less than 50 ppm (50 grams per L).

Metal Effects Primer: Less than 100 ppm (100 grams per L).

Metal Effects Permacoat Xtreme: Less than 100 ppm (100 grams per L).

Protective Clear Coating: Metal Effects Permacoat Xtreme, Product Number AM204. Only required if surface is subject to repeated hand contact. Two coats with a cure time of 7 to 10 days.

* + - 1. Metal Effects Rusted Iron Finish: A water-based, modified acrylic paint with a high concentration of real iron particles. It will rust naturally over time, if exposed to the proper elements. The Oxidation process may be artificially accelerated in minutes with the proper additive.

\*\* NOTE TO SPECIFIER \*\* Delete product number options not required.

* + - * 1. Product Number: ME208. Iron Paint.
        2. Product Number: AM203. Metal Effects Primer.
        3. Product Number: PA904. Rust Activator.
        4. General Properties:

Dry Times: Recorded at 70 degrees F (21.1 degrees C) and 50 percent relative humidity. Lower temperature and/or higher humidity will lengthen the dry and cure times.

Recoat Time: 30 minutes.

Dry to touch: 1 hour.

Application: Brushed, rolled, or spray applied onto properly primed, interior or exterior surface; walls, ceilings, columns, trim, doors, furniture, and paintable wallcoverings.

Test product in a small, inconspicuous area before beginning a project to see if the desired results are attained.

Prepare a sample board prior to beginning a project to check color and technique.

Mix paint thoroughly before using.

Application Temperature Range: 55 to 95 degrees F (13 to 35 degrees C).

Coverage: 296 sq ft per gal (7.26 sq m per L).

Approximately 1.5 mils (0.038 mm) dry film thickness per coat.

A minimum of 3 mils (0.076 mm) dry film thickness is required for full color development.

Material VOC:

Metal Effects Iron Paint: Less than 190 ppm (190 grams per L).

Metal Effects Primer: Less than 100 ppm (100 grams per L).

Metal Effects Permacoat Xtreme: Less than 100 ppm (100 grams per L).

Protective Clear Coating: Metal Effects Permacoat Xtreme, Product Number AM204. Only required if surface is subject to repeated hand contact or exterior applications. Two coats with a cure time of 7 to 10 days.

* + - 1. Metal Effects Primer. Product Number AM203. A unique water-based acrylic primer. Formulated to block Metal Effects Patina Aging Solutions and Activators from reaching the metal, wood, or reactive substrate. Prevents the formation of rust or other oxidation products from forming under the paint film. Also blocks out alkali salts, tannins, acid salts, or other unwanted contaminates from 'bleeding through' to the metallic paint film and causing adverse reactions and unwanted color changes in the oxidized finish.
         1. Dry Times: Recorded at 70 degrees F (21.1 degrees C) and 50 percent relative humidity. Lower temperature and/or higher humidity will lengthen the dry and cure times. It is important that Metal Effects Primer is completely dry before applying Metal Effects Oxidizing Paints.

Recoat Time: 30 minutes.

Dry Time: 12 hours after final coat.

* + - * 1. Application: At least two coats of using a brush, roller or spray equipment.

Stir well before use and occasionally during application.

Do not thin.

Temperature Range: 55 to 95 degrees F (13 to 35 degrees C).

Brushing: High-quality brush for water base primer.

Rolling: High-quality 3/8 inch (9 mm) nap roller.

Spraying: HVLP or quality airless spray equipment.

* + - * 1. Coverage: 320 sq ft per gal (7.85 sq m per L).

Approximately 1.5 mils (0.038 mm) dry film thickness per coat.

A minimum of 3 mils (0.076 mm) dry film thickness is required.

* + - * 1. Material VOC: Less than 100 ppm (100 grams per L).
      1. Metal Effects Permacoat Xtreme System: Product Number AM204. An all-in-one water-based, 100 percent acrylic, clear, non-yellowing protective sealer and top coat to use over Metal Effects Rust Activated Iron Paint. Chemically arrests the oxidized metal finish, minimizing further corrosion, and self-crosslinks to create a weather resistant barrier. Highly recommended to seal the Metal Effects Rust finish on interior areas where there may be contact to prevent rub-off and exterior applications to prevent runoff of the finish onto surrounding surfaces. Will form a film over the oxidized surfaces without cracking or yellowing. pH balanced to minimize the rust colors tendency to deepen in color tone when using other non-recommended clear coats.
         1. No hazardous air pollutants.
         2. Dry Times: Recorded at 70 degrees F (21.1 degrees C) and 50 percent relative humidity. Lower temperature and/or higher humidity will lengthen the dry and cure times.

Dry to Touch: 30 minutes.

Recoat Time: 1 hour.

Full Cure: 7 to 10 days.

* + - * 1. Application: Rusted finish must be fully cured prior to application (min. 24 hours).

Brushed, rolled or spray applied.

Brushing: Use a high-quality synthetic bristle brush.

Rolling: Use a high-quality short-nap varnish roller.

Spraying: Use a HVLP gun, conventional cup gun or airless spray system.

Air, surface, and product needs to be above 55 degrees F (13 degrees C) and at least 5 degrees F (3 degrees C) above the dew point before applying.

Avoid applying if rain or snow is expected within 72 hours of application or if temperature is expected to drop below 55 degrees F (13 degrees C) within 72 hours.

First Coat: Equal parts of Permacoat Xtreme with water. Stir well before applying.

Second Coat: Apply Permacoat Xtreme at full strength.

Maximum two coats and dry film thickness of 2.0 mils (0.051 mm) is recommended.

Do not use other sealers or varnishes.

* + - * 1. Coverage: 275 sq ft per gal (6.75 sq m per L). Do not exceed recommended 2 mil (0.051 mm) dry film thickness.
        2. Material VOC: Less than 100 ppm (100 grams per L). Meets SCAQMD Rule 1113.

\*\* NOTE TO SPECIFIER \*\* Delete article if not required.

* 1. THEME PAINT
     1. Basis of Design: Theme Paint Series as manufactured by Modern Masters.

\*\* NOTE TO SPECIFIER \*\* Delete product options not required.

* + - 1. Theme Paint Premixed Colors. Product Number TP10000 Series. A highly specialized line of water base, color saturated, exterior flat paints. Formulated for resistance to ultra violet degradation, combined with highly fade resistant pigments. Available in 17 pre-mixed, light-fast, standard colors.
         1. No hazardous air pollutants.
         2. Formulated for making diluted color washes. Dilutions of approximately 5 parts water to 1 part paint are used for layering and creating unique appearances such as stonework, with a maximum dilution of 10 parts water to 1 part paint.
         3. Tinting: All colors can be intermixed to create custom colors.

Do not use universal colorants to tint or shade product unless color fading is acceptable.

Theme Paint Colorants can be used to tint or shade the pre-mixed colors without affecting lightfastness.

* + - * 1. Dry Times: Recorded at 6 mil (0.152 mm) wet film thickness on a sealed surface at 75 degrees F (23.9 degrees C) and 70 percent relative humidity. Lower temperature and/or higher humidity will lengthen the dry and cure times.

Dry to touch: 30 minutes.

Recoat Time: 1 hour.

* + - * 1. Application: Brush, roller or spray applied onto any paintable, properly primed, interior or exterior surface.

Temperature Range: 50 to 85 degrees F (10 to 29 degrees C).

Stir the paint well before using.

* + - * 1. Coverage: 320 to 400 sq ft per gal (7.85 to 9.82 sq m per L) at 1.5 to 2 mils (0.038 to 0.051 mm) dry film thickness per coat. A minimum of 2 coats are required for hide and full color development.
        2. Material VOC: Less than 50 ppm (50 grams per L). Compliant under SCAQMD Rule 1113. VOC content for each color is available upon request.

\*\* NOTE TO SPECIFIER \*\* Available Theme Paint Premixed Colors are as follows; Burnt Sienna (TP10424), Burnt Umber (TP10425), Carbon Black (TP10426), Hansa Yellow (TP10442), Fire Orange (TP10428), Magenta (TP10429), Medium Green (TP10430), Medium Yellow (TP10431), Moss Yellow (TP10432), Permanent Red (TP10433), Raw Umber (TP10435), Raw Sienna (TP10436), Thalo Blue (TP10437), Thalo Green (TP10438), Ultramarine Blue (TP10499), Violet (TP10440), and Hi-Hide White (TP10453). Delete color options not required.

* + - * 1. Color: \_\_\_\_\_\_\_\_.
        2. Color: As stated in the Finish Schedule on the Drawings.
        3. Color: As determined by the Architect from Manufacturer's standard range.
      1. Theme Paint Flat Tintable Bases Colorants. Product Number TP20000 Series. A highly specialized line of water base, color saturated, exterior flat paints. Formulated for resistance to ultra violet degradation, combined with highly fade resistant pigments. Available in 3 Tintable Bases and 13 light-fast concentrated colorants.

\*\* NOTE TO SPECIFIER \*\* Delete product number options not required.

* + - * 1. Product Number: TP20103. Tintable Base.
        2. Product Number: TP20102. Deep Tint Base.
        3. Product Number: TP20101. Neutral Base.
        4. No hazardous air pollutants.
        5. Formulated for making diluted color washes. Dilutions of approximately 5 parts water to 1 part paint are used for layering and creating unique appearances such as stonework, with a maximum dilution of 10 parts water to 1 part paint.
        6. Tinting: All colors can be intermixed to create custom colors.

Do not use universal colorants to tint or shade product unless color fading is acceptable.

Theme Paint highly fade resistant pigment Colorants must be used to provide resistance to ultra violet degradation.

* + - * 1. Dry Times: Recorded at 6 mil (0.152 mm) wet film thickness on a sealed surface at 75 degrees F (23.9 degrees C) and 70 percent relative humidity. Lower temperature and/or higher humidity will lengthen the dry and cure times.

Dry to touch: 30 minutes.

Recoat Time: 1 hour.

* + - * 1. Application: Brush, roller or spray applied onto any paintable, properly primed, interior or exterior surface.

Temperature Range: 50 to 85 degrees F (10 to 29 degrees C).

Stir the paint well before using.

* + - * 1. Coverage: 320 to 400 sq ft per gal (7.85 to 9.82 sq m per L) at 1.5 to 2 mils (0.038 to 0.051 mm) dry film thickness per coat. A minimum of 2 coats are required for hide and full color development.
        2. Material VOC: Less than 50 ppm (50 grams per L). Compliant under SCAQMD Rule 1113. VOC content for each color is available upon request.

\*\* NOTE TO SPECIFIER \*\* Available Theme Paint Flat tintable colorant are as follows; Bright Red (CF10520), Burnt Umber (CF10518), Carbon Black (CF10510), Orange (CF10509), Raw Umber (CF10513), Red Oxide (CF10514), Rich Red (CF10515), Thalo Blue (CF10511), Thalo Green (CF10512), Violet (CF10512), White (CF10516), Yellow (CF10519), Yellow Oxide (CF10517). Delete color options not required.

* + - * 1. Colors: \_\_\_\_\_\_\_\_.
        2. Colors: As stated in the Finish Schedule on the Drawings.
        3. Colors: As determined by the Architect from Manufacturer's standard range.
      1. Theme Paint Satin Tintable Base Colorants. Product Number TP20000 Series. A highly specialized line of water base, color saturated, exterior satin finish paints. Formulated for resistance to ultra violet degradation, combined with highly fade resistant pigments. Available in 3 Tintable Bases and 13 light-fast concentrated colorants.

\*\* NOTE TO SPECIFIER \*\* Delete product number options not required.

* + - * 1. Product Number: TP20203. Tintable Base.
        2. Product Number: TP20202. Deep Tint Base.
        3. Product Number: TP20201. Neutral Base.
        4. No hazardous air pollutants.
        5. Formulated for making diluted color washes. Dilutions of approximately 5 parts water to 1 part paint are used for layering and creating unique appearances such as stonework, with a maximum dilution of 10 parts water to 1 part paint.
        6. Tinting: All colors can be intermixed to create custom colors.

Do not use universal colorants to tint or shade product unless color fading is acceptable.

Theme Paint highly fade resistant pigment Colorants must be used to provide resistance to ultra violet degradation.

* + - * 1. Dry Times: Recorded at 6 mil (0.152 mm) wet film thickness on a sealed surface at 75 degrees F (23.9 degrees C) and 70 percent relative humidity. Lower temperature and/or higher humidity will lengthen the dry and cure times.

Dry to touch: 30 minutes.

Recoat Time: 1 hour.

* + - * 1. Application: Brush, roller or spray applied onto any paintable, properly primed, interior or exterior surface.

Temperature Range: 50 to 85 degrees F (10 to 29 degrees C).

Stir the paint well before using.

* + - * 1. Coverage: 320 to 400 sq ft per gal (7.85 to 9.82 sq m per L) at 1.5 to 2 mils (0.038 to 0.051 mm) dry film thickness per coat. A minimum of 2 coats are required for hide and full color development.
        2. Material VOC: Less than 50 ppm (50 grams per L). Compliant under SCAQMD Rule 1113. VOC content for each color is available upon request.

\*\* NOTE TO SPECIFIER \*\* Available Theme Paint Flat tintable colorant are as follows; Bright Red (CF10520), Burnt Umber (CF10518), Carbon Black (CF10510), Orange (CF10509), Raw Umber (CF10513), Red Oxide (CF10514), Rich Red (CF10515), Thalo Blue (CF10511), Thalo Green (CF10512), Violet (CF10512), White (CF10516), Yellow (CF10519), Yellow Oxide (CF10517). Delete color options not required.

* + - * 1. Color: \_\_\_\_\_\_\_\_.
        2. Color: As stated in the Finish Schedule on the Drawings.
        3. Color: As determined by the Architect from Manufacturer's standard range.
      1. Theme Paint Semi-Gloss Tintable Colorants. Product Number TP20000 Series. A highly specialized line of water base, color saturated, exterior semi-gloss finish paints. Formulated for resistance to ultra violet degradation, combined with highly fade resistant pigments. Available in 3 Tintable Bases and 13 light-fast concentrated colorants.

\*\* NOTE TO SPECIFIER \*\* Delete product number options not required.

* + - * 1. Tintable Base (TP20303).
        2. Deep Tint Base (TP20302).
        3. Neutral Base (TP20301).
        4. No hazardous air pollutants.
        5. Formulated for making diluted color washes. Dilutions of approximately 5 parts water to 1 part paint are used for layering and creating unique appearances such as stonework, with a maximum dilution of 10 parts water to 1 part paint.
        6. Tinting: All colors can be intermixed to create custom colors.

Do not use universal colorants to tint or shade product unless color fading is acceptable.

Theme Paint highly fade resistant pigment Colorants must be used to provide resistance to ultra violet degradation.

* + - * 1. Dry Times: Recorded at 6 mil (0.152 mm) wet film thickness on a sealed surface at 75 degrees F (23.9 degrees C) and 70 percent relative humidity. Lower temperature and/or higher humidity will lengthen the dry and cure times.

Dry to touch: 30 minutes.

Recoat Time: 1 hour.

* + - * 1. Application: Brush, roller or spray applied onto any paintable, properly primed, interior or exterior surface.

Temperature Range: 50 to 85 degrees F (10 to 29 degrees C).

Stir the paint well before using.

* + - * 1. Coverage: 320 to 400 sq ft per gal (7.85 to 9.82 sq m per L) at 1.5 to 2 mils (0.038 to 0.051 mm) dry film thickness per coat. A minimum of 2 coats are required for hide and full color development.
        2. Material VOC: Less than 50 ppm (50 grams per L). Compliant under SCAQMD Rule 1113. VOC content for each color is available upon request.

\*\* NOTE TO SPECIFIER \*\* Available Theme Paint Flat tintable colorant are as follows; Bright Red (CF10520), Burnt Umber (CF10518), Carbon Black (CF10510), Orange (CF10509), Raw Umber (CF10513), Red Oxide (CF10514), Rich Red (CF10515), Thalo Blue (CF10511), Thalo Green (CF10512), Violet (CF10512), White (CF10516), Yellow (CF10519), Yellow Oxide (CF10517). Delete color options not required.

* + - * 1. Colors: \_\_\_\_\_\_\_\_.
        2. Colors: As stated in the Finish Schedule on the Drawings.
        3. Colors: As determined by the Architect from Manufacturer's standard range.
      1. Theme Paint Exterior Dead Flat Varnish. Product Number TP10454. A premium quality, 100 percent acrylic, non-yellowing, water based clear finish coat, formulated to have the optimum level of clarity with the least amount of sheen. Will remove undesirable variations in sheen created by using higher gloss base coats with theme paint washes or faux finish glazes and allows the finish to maintain that aged effect.
         1. Water resistant, UV resistant and abrasion resistant.
         2. Dry Times: Temperature below 60 degrees F (16 degrees C) and relative humidity above 50 percent may cause slower dry times.

Dry to Touch: 30 minutes.

Recoat Time: 2 hours.

Full Cure: 12 hours.

* + - * 1. Application: Brush, roller or spray applied.

Temperature Range: 60 to 80 degrees F (16 to 27 degrees C).

Relative Humidity: 30 to 60 percent.

Do not apply below 50 degrees F (10 degrees C) or in high humidity conditions.

For most applications thinning is unnecessary.

Stir thoroughly before use. Do Not Shake

* + - * 1. Coverage: 350 to 450 sq ft per gal (8.59 to 11.04 sq per L).
        2. Material VOC: Less than 100 ppm (100 grams per L). Meets SCAQMD Rule 1113.

\*\* NOTE TO SPECIFIER \*\* Delete article if not required.

* 1. LUMINESCENT PAINTS
     1. Basis of Design: Wildfire Paint Line as manufactured by Modern Masters

\*\* NOTE TO SPECIFIER \*\* Delete product options not required.

* + - 1. Wildfire Luminescent Paints. UV visual effects paint for Dark Ride Design/Builders, Haunt Attraction Design/Builders and entertainment industries that utilize UV Blacklight effects, including; TV and Motion Picture Studios, Theatrical Productions, Laser Tag, Blacklight Bowling and Mini-Golf, Night Club venues etc. Formulated to be brightest and truest in color when illuminated by a Wildfire 365nm UV Blacklight.

\*\* NOTE TO SPECIFIER \*\* Delete luminescent paint options and product numbers not required.

* + - * 1. Visible Luminescent Paints:

Product Number: WF143. Bright Green.

Product Number: WF140. Bright Orange.

Product Number: WF141. Bright Red.

Product Number: WF144. Brilliant Yellow.

Product Number: WF146. Deep Blue.

Product Number: WF139. Deep Violet.

Product Number: WF145. Deep Yellow.

Product Number: WF142. Hot Pink.

Product Number: WF147. Magenta.

Product Number: WF191. Optical White.

Product Number: As stated in the Finish Schedule on the Drawings.

Product Number: As determined by the Architect from Manufacturer's standard range.

* + - * 1. Invisible Luminescent Paints:

Product Number: WF203. Invisible Yellow.

Product Number: WF201. Invisible Orange.

Product Number: WF287. Invisible Red.

Product Number: WF192. Invisible Blue.

Product Number: WF297. Invisible Green.

Product Number: As stated in the Finish Schedule on the Drawings.

Product Number: As determined by the Architect from Manufacturer's standard range.

* + - * 1. General Properties:

No hazardous air pollutants.

Mixing and Tinting: All Visible and Invisible Luminescent Paints can be intermixed, or mixed with flat latex paints or Matte Artist Acrylics to create an unlimited color palette, including earth tones and skin tones.

Mix colors together while working under blacklight for best results.

Achieve deeper color tones by intermixing non-fluorescing paints in the same tone or color range. We recommend Modern Masters' JWR Artist Acrylics and Theme Paint Pre-Mixed Colors.

Be sure to check daylight and blacklight results before applying to your project.

Dry Times: Recorded at 70 degrees F (21.1 degrees C) and 50 percent relative humidity. Lower temperature and/or higher humidity will lengthen the dry and cure times. Higher temperatures and/or lower humidity will speed up the dry and cure times.

Dry to touch: 30 minutes.

Recoat Time: 1 hour.

Application Conditions: For interior surfaces only.

Keep away from direct sunlight as the fluorescent pigments will fade in approximately three months or less.

Temperature Range: 50 to 85 degrees F (10 to 29 degrees C).

Application: Brushed, rolled, or sprayed onto any paintable, properly primed, interior surface.

Paints look best when spray applied.

Apply under UV Blacklight to ensure proper color and application techniques are being used to create and develop the expected visual effects.

Coverage: 250 to 300 sq ft per gal (6.13 to 7.36 sq m per L). Fluorescent pigmented coatings are translucent and do not exhibit the same "hiding" characteristics as traditional paints.

Approximately 1.5 mils (0.038 mm) dry film thickness per coat.

A minimum of 3 mils (0.076 mm) dry film thickness is required for full color development.

Material VOC: Less than 100 ppm (100 grams per L). Compliant under SCAQMD Rule 1113, Graphic Arts Coatings category. VOC content for each color is available upon request.

* + - 1. Wildfire Invisible Clear Color. Interior applications only. A unique fluorescent coating of brilliant, color balanced, UV activated paints. Under normal lighting conditions, appears to be a typical, low sheen, protective clear top coat. When UV blacklight is applied Wildfire Invisible Clear Color comes to life with maximum color brilliance.

\*\* NOTE TO SPECIFIER \*\* Delete product number options not required.

* + - * 1. Product Number: WF301. Invisible green.
        2. Product Number: WF302. Invisible red.
        3. Product Number: WF303. Invisible yellow.
        4. Product Number: WF304. Invisible blue.
        5. Product Number: WF305. Invisible white.
        6. Product Number: WF306. Invisible black.
        7. Product number: WF307. Sheen leveler. For use over invisible clear colors only.
        8. General Properties:

No hazardous air pollutants.

Tinting: Cannot be mixed effectively to create custom colors. Subtle shade differences can be achieved by slowly building multiple coats of the same color.

Dry Times: Lower temperature and/or higher humidity will lengthen the dry and cure times. Higher temperatures and/or lower humidity will speed up the dry and cure times.

Recoat Time: 30 minutes.

Dry Time: 1 hour.

Protective Clear Coating: Not necessary.

For total invisibility, apply one or two coats over entire completed project.

Allow project to dry 24 to 48 hours before applying.

Application Conditions: For interior surfaces only. Lower temperatures and/or higher humidity will lengthen the dry and cure times. Higher temperatures and/or lower humidity will speed up the dry and cure times.

Keep away from direct sunlight as fluorescent pigments will fade in approximately 3 months or less.

Temperature Range: 60 to 80 degrees F (16 to 27 degrees C).

Relative Humidity: 30 to 60 percent.

Stir thoroughly before use. Do Not Shake.

Application: Brushed, rolled, or sprayed.

Paint comes ready to use, do not dilute.

For best results apply with HVLP spray equipment, artist brushes or low nap varnish roller.

Apply over a properly primed or painted, low sheen acrylic paint, interior surface.

Maximum brilliance is achieved over lighter colors.

Do Not Use over a slick or glossy surface.

Coverage:

Invisible Clear Color: 200 to 240 sq ft per gal (4.91 to 5.89 sq m per L).

Sheen Leveler: 300 to 400 sq ft per gal (7.36 to 9.82 sq m per L)

Material VOC: Less than 150 ppm (150 grams per L). Compliant under SCAQMD Rule 1113, Graphic Arts Coatings category. VOC content for each color is available upon request.

1. EXECUTION
   1. EXAMINATION
      1. Do not begin installation until substrates have been properly prepared; notify Architect of unsatisfactory conditions before proceeding. If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.
      2. Proceed with work only after conditions have been corrected and approved by all parties, otherwise application of coatings will be considered as an acceptance of surface conditions.
      3. Previously Painted Surfaces: Verify that existing painted surfaces do not contain lead based paints, notify Architect immediately if lead based paints are encountered.

\*\* NOTE TO SPECIFIER \*\* Verify the existence of lead based paints on the project. Buildings constructed after 1978 are less likely to contain lead based paints. If lead based paints are suspected on the project, all removal must be done in accordance with the EPA Renovation, Repair and Painting rule and all applicable state and local regulations. State and local regulations may be more strict than those set under the federal regulations. Verify that Owner has completed a Hazardous Material Assessment Report for the project prior to issuing of Drawings. Concluding that no lead based paints were found on project site, delete paragraph regarding lead based paints.

* 1. SURFACE PREPARATION

\*\* NOTE TO SPECIFIER \*\* Proper product selection, surface preparation, and application affect coating performance. Coating integrity and service life will be reduced because of improperly prepared surfaces. Selection and implementation of proper surface preparation ensures coating adhesion to the substrate and prolongs the service life of the coating system. Selection of the proper method of surface preparation depends on the substrate, the environment, and the expected service life of the coating system. Economics, surface contamination, and the effect on the substrate will also influence the selection of surface preparation methods.  
WARNING! Removal of old paint by sanding, scraping or other means may generate dust or fumes that contain lead. Exposure to lead dust or fumes may cause brain damage or other adverse health effects, especially in children or pregnant women. Controlling exposure to lead or other hazardous substances requires the use of proper protective equipment, such as a properly fitted respirator (NIOSH approved) and proper containment and cleanup. For more information, call the National Lead Information Center at 1-800-424-LEAD (in US) or contact your local health authority. Removal must be done in accordance with EPA Renovation, Repair and Painting Rule and all related state and local regulations. Care should be taken to follow all state and local regulations which may be more strict than those set under the federal RRP Rule.

* + 1. General: Surfaces shall be dry and in sound condition. Remove oil, dust, dirt, loose rust, peeling paint or other contamination to ensure good adhesion.
       1. Remove mildew before painting by washing with a solution of 1 part liquid household bleach and 3 parts of warm water. Apply the solution and scrub the mildewed area. Allow the solution to remain on the surface for 10 minutes. Rinse thoroughly with clean water and allow the surface to dry a minimum of 48 hours before painting. Wear protective glasses or goggles, waterproof gloves, and protective clothing. Quickly wash off any of the mixture that comes in contact with your skin. Do not add detergents or ammonia to the bleach/water solution.
       2. Remove items including but not limited to thermostats, electrical outlets, switch covers and similar items prior to painting. After completing painting operations in each space or area, reinstall items removed using workers skilled in the trades involved.
       3. No exterior painting should be done immediately after a rain, during foggy weather, when rain is predicted, or when the temperature is below 50 degrees F (10 degrees C), unless products are designed specifically for these conditions. On large expanses of metal siding, the air, surface and material temperatures must be 50 degrees F (10 degrees F) or higher to use low temperature products.
    2. Aluminum: Remove all oil, grease, dirt, oxide and other foreign material by cleaning per SSPC-SP1, Solvent Cleaning.
    3. Block (Cinder and Concrete): Remove all loose mortar and foreign material. Surface must be free of laitance, concrete dust, dirt, form release agents, moisture curing membranes, loose cement, and hardeners. Concrete and mortar must be cured at least 30 days at 75 degrees F (24 degrees C). The pH of the surface should be between 6 and 9, unless the products are designed to be used in high pH environments. On tilt-up and poured-in-place concrete, commercial detergents and abrasive blasting may be necessary to prepare the surface. Fill bug holes, air pockets, and other voids with a cement patching compound.
    4. Concrete, SSPC-SP13 or NACE 6: This standard gives requirements for surface preparation of concrete by mechanical, chemical, or thermal methods prior to the application of bonded protective coating or lining systems. The requirements of this standard are applicable to all types of cementitious surfaces including cast-in-place concrete floors and walls, precast slabs, masonry walls, and shotcrete surfaces. An acceptable prepared concrete surface should be free of contaminants, laitance, loosely adhering concrete, and dust, and should provide a sound, uniform substrate suitable for the application of protective coating or lining systems.
    5. Cement Composition Siding/Panels: Remove all surface contamination by washing with an appropriate cleaner, rinse thoroughly and allow to dry. Existing peeled or checked paint should be scraped and sanded to a sound surface. Pressure clean, if needed, with a minimum of 2100 psi pressure to remove all dirt, dust, grease, oil, loose particles, laitance, foreign material, and peeling or defective coatings. Allow the surface to dry thoroughly. The pH of the surface should be between 6 and 9, unless the products are designed to be used in high pH environments.
    6. Copper and Stainless Steel: Remove all oil, grease, dirt, oxide and other foreign material by cleaning per SSPC-SP 2, Hand Tool Cleaning.
    7. Exterior Composition Board (Hardboard): Some composition boards may exude a waxy material that must be removed with a solvent prior to coating. Whether factory primed or unprimed, exterior composition board siding (hardboard) must be cleaned thoroughly and primed with an alkyd primer.
    8. Drywall - Exterior: Must be clean and dry. All nail heads must be set and spackled. Joints must be taped and covered with a joint compound. Spackled nail heads and tape joints must be sanded smooth and all dust removed prior to painting. Exterior surfaces must be spackled with exterior grade compounds.
    9. Drywall - Interior: Must be clean and dry. All nail heads must be set and spackled. Joints must be taped and covered with a joint compound. Spackled nail heads and tape joints must be sanded smooth and all dust removed prior to painting.
    10. Galvanized Metal: Clean per SSPC-SP1 using detergent and water or a degreasing cleaner to remove greases and oils. Apply a test area, priming as required. Allow the coating to dry at least one week before testing. If adhesion is poor, Brush Blast per SSPC-SP7 is necessary to remove these treatments.
    11. Plaster: Must be allowed to dry thoroughly for at least 30 days before painting, unless the products are designed to be used in high pH environments. Room must be ventilated while drying; in cold, damp weather, rooms must be heated. Damaged areas must be repaired with an appropriate patching material. Bare plaster must be cured and hard. Textured, soft, porous, or powdery plaster should be treated with a solution of 1 pint household vinegar to 1 gallon of water. Repeat until the surface is hard, rinse with clear water and allow to dry.
    12. Steel: Structural, Plate, And Similar Items: Should be cleaned by one or more of the surface preparations described below. These methods are used throughout the world for describing methods for cleaning structural steel. Visual standards are available through the Society of Protective Coatings. A brief description of these standards together with numbers by which they can be specified follow.
        1. Solvent Cleaning, SSPC-SP1: Solvent cleaning is a method for removing all visible oil, grease, soil, drawing and cutting compounds, and other soluble contaminants. Solvent cleaning does not remove rust or mill scale. Change rags and cleaning solution frequently so that deposits of oil and grease are not spread over additional areas in the cleaning process. Be sure to allow adequate ventilation.
        2. Hand Tool Cleaning, SSPC-SP2: Hand Tool Cleaning removes all loose mill scale, loose rust, and other detrimental foreign matter. It is not intended that adherent mill scale, rust, and paint be removed by this process. Before hand tool cleaning, remove visible oil, grease, soluble welding residues, and salts by the methods outlined in SSPC-SP1.
        3. Power Tool Cleaning, SSPC-SP3: Power Tool Cleaning removes all loose mill scale, loose rust, and other detrimental foreign matter. It is not intended that adherent mill scale, rust, and paint be removed by this process. Before power tool cleaning, remove visible oil, grease, soluble welding residues, and salts by the methods outlined in SSPC-SP1.
        4. White Metal Blast Cleaning, SSPC-SP5 or NACE 1: A White Metal Blast Cleaned surface, when viewed without magnification, shall be free of all visible oil, grease, dirt, dust, mill scale, rust, paint, oxides, corrosion products, and other foreign matter. Before blast cleaning, visible deposits of oil or grease shall be removed by any of the methods specified in SSPC-SP1 or other agreed upon methods.
        5. Commercial Blast Cleaning, SSPC-SP6 or NACE 3: A Commercial Blast Cleaned surface, when viewed without magnification, shall be free of all visible oil, grease, dirt, dust, mill scale, rust, paint, oxides, corrosion products, and other foreign matter, except for staining. Staining shall be limited to no more than 33 percent of each square inch of surface area and may consist of light shadows, slight streaks, or minor discoloration caused by stains of rust, stains of mill scale, or stains of previously applied paint. Before blast cleaning, visible deposits of oil or grease shall be removed by any of the methods specified in SSPC-SP1 or other agreed upon methods.
        6. Brush-Off Blast Cleaning, SSPC-SP7 or NACE 4: A Brush-Off Blast Cleaned surface, when viewed without magnification, shall be free of all visible oil, grease, dirt, dust, loose mill scale, loose rust, and loose paint. Tightly adherent mill scale, rust, and paint may remain on the surface. Before blast cleaning, visible deposits of oil or grease shall be removed by any of the methods specified in SSPC-SP 1 or other agreed upon methods.
        7. Power Tool Cleaning to Bare Metal, SSPC-SP11: Metallic surfaces that are prepared according to this specification, when viewed without magnification, shall be free of all visible oil, grease, dirt, dust, mill scale, rust, paint, oxide corrosion products, and other foreign matter. Slight residues of rust and paint may be left in the lower portions of pits if the original surface is pitted. Prior to power tool surface preparation, remove visible deposits of oil or grease by any of the methods specified in SSPC-SP1, Solvent Cleaning, or other agreed upon methods.
        8. Near-White Blast Cleaning, SSPC-SP10 or NACE 2: A Near White Blast Cleaned surface, when viewed without magnification, shall be free of all visible oil, grease, dirt, dust, mill scale, rust, paint, oxides, corrosion products, and other foreign matter, except for staining. Staining shall be limited to no more than 5 percent of each square inch of surface area and may consist of light shadows, slight streaks, or minor discoloration caused by stains of rust, stains of mill scale, or stains of previously applied paint. Before blast cleaning, visible deposits of oil or grease shall be removed by any of the methods specified in SSPC-SP1 or other agreed upon methods.
        9. High- and Ultra-High Pressure Water Jetting for Steel and Other Hard Materials: SSPC-SP12 or NACE 5: This standard provides requirements for the use of high- and ultra-high pressure water jetting to achieve various degrees of surface cleanliness. This standard is limited in scope to the use of water only without the addition of solid particles in the stream.
        10. Water Blasting, SSPC-SP12/NACE No. 5: Removal of oil grease dirt, loose rust, loose mill scale, and loose paint by water at pressures of 2,000 to 2,500 psi at a flow of 4 to 14 gallons per minute.
    13. Vinyl Siding, Architectural Plastics, EIFS and Fiberglass: Clean vinyl siding thoroughly by scrubbing with a warm, soapy water solution. Rinse thoroughly. Do not paint vinyl siding with any color darker than the original color.
    14. Stucco: Must be clean and free of any loose stucco. If recommended procedures for applying stucco are followed, and normal drying conditions prevail, the surface may be painted in 30 days. The pH of the surface should be between 6 and 9, unless the products are designed to be used in high pH environments.
    15. Wood: Must be clean and dry. Prime and paint as soon as possible. Knots and pitch streaks must be scraped, sanded, and spot primed before a full priming coat is applied. Patch all nail holes and imperfections with a wood filler or putty and sand smooth.
  1. INSTALLATION
     1. Apply all coatings and materials with the manufacturer's specifications in mind. Mix and thin coatings according to manufacturer's recommendations.
     2. Do not apply to wet or damp surfaces. Wait at least 30 days before applying to new concrete or masonry. Or follow manufacturer's procedures to apply appropriate coatings prior to 30 days. Test new concrete for moisture content. Wait until wood is fully dry after rain or morning fog or dew.
     3. Apply coatings using methods recommended by manufacturer.
     4. Uniformly apply coatings without runs, drips, or sags, without brush marks, and with consistent sheen.
     5. Apply coatings at spreading rate required to achieve the manufacturers recommended dry film thickness.
     6. Regardless of number of coats specified, apply as many coats as necessary for complete hide, and uniform appearance.
     7. Inspection: The coated surface must be inspected and approved by the Architect just prior to the application of each coat.
  2. PROTECTION
     1. Protect finished coatings from damage until completion of project.
     2. Touch-up damaged coatings after substantial completion, following manufacturer's recommendation for touch up or repair of damaged coatings. Repair any defects that will hinder the performance of the coatings.

END OF SECTION