SECTION 09 67 00

FLUID APPLIED FLOORING

Display hidden notes to specifier. (Don't know how? Click Here)

Copyright 2020 - 2020 ARCAT, Inc. - All rights reserved

** NOTE TO SPECIFIER ** LATICRETE International, Inc.; green flooring and facade materials
This section is based on the products of LATICRETE International, Inc., which is located at:
1 LATICRETE Park N.
Bethany, CT 06524-3423
Toll Free Tel: 800-243-4788
Tel: 203-393-0010
Fax: 203-393-1684
Email: request info (technicalservices@laticrete.com)
Web: https://laticrete.com/en/masonry-veneer-installation-system | https://laticrete.com/en/solution-center/for-architects  
 [ Click Here ] for additional information.
LATICRETE is a leading manufacturer of globally proven construction solutions for the building industry. LATICRETE offers a broad range of products and systems covering tile and stone installation and care, masonry installation and care, resinous and decorative floor finishes, concrete construction chemicals, and concrete restoration and care including the LATICRETE SUPERCAP System.
For over 60 years, LATICRETE has been committed to research and development of innovative installation products, building a reputation for superior quality, performance and customer service. LATICRETE methods, materials and technology have been field and laboratory proven by Architects, Engineers, Contractors and Owners. Offering an array of low VOC and sustainable products, LATICRETE products contribute to LEED certification, exceed commercial/residential VOC building requirements, and are backed by the most comprehensive warranties in the industry

- GENERAL

  - SECTION INCLUDES

** NOTE TO SPECIFIER ** Delete items below not required for project.

    - Fluid applied flooring systems of the following types:

      - Low VOC solid color industrial flooring system. (SPARTACOTE GUARD XPL)

      - Low VOC solid color industrial flooring system. (SPARTACOTE GUARD PURE)

      - Solid color industrial flooring system. (SPARTACOTE GUARD SB)

      - Solid color industrial flooring system. (SPARTACOTE GUARD PTC)

      - Solid color industrial flooring system. (SPARTACOTE GUARD UTC)

      - Solid color industrial flooring system. (SPARTACOTE GUARD HB)

      - Low VOC vinyl flake terrazzo industrial resinous flooring system. (SPARTACOTE CHIP XPL)

      - Low VOC vinyl flake terrazzo industrial resinous flooring system. (SPARTACOTE CHIP PURE)

      - Vinyl Flake terrazzo industrial resinous flooring system. (SPARTACOTE CHIP SB)

      - Vinyl Flake terrazzo industrial resinous flooring system. (SPARTACOTE CHIP PTC)

      - Vinyl Flake terrazzo industrial resinous flooring system. (SPARTACOTE CHIP UTC)

      - Vinyl Flake terrazzo industrial resinous flooring system. (SPARTACOTE CHIP HB)

      - Low VOC monolithic quartz flooring system. (SPARTACOTE QUARTZ XPL)

      - Low VOC Monolithic quartz flooring system. (SPARTACOTE QUARTZ PURE)

      - Monolithic quartz flooring system. (SPARTACOTE QUARTZ SB)

      - Monolithic quartz flooring system. (SPARTACOTE QUARTZ PTC)

      - Monolithic quartz flooring system. (SPARTACOTE QUARTZ UTC)

      - Monolithic quartz flooring system. (SPARTACOTE QUARTZ HB)

      - Low VOC decorative metallic concrete coating system. (SPARTACOTE METALLIC XPL)

      - Low VOC decorative metallic concrete coating system. (SPARTACOTE METALLIC PURE)

      - Decorative metallic concrete coating system. (SPARTACOTE METALLIC SB)

      - Decorative metallic concrete coating system. (SPARTACOTE METALLIC PTC)

      - Decorative metallic concrete coating system. (SPARTACOTE METALLIC UTC)

      - Decorative metallic concrete coating system. (SPARTACOTE METALLIC HB)

      - Decorative concrete coating system. (SPARTACOTE STAIN XPL Decorative)

      - Decorative concrete coating system. (SPARTACOTE STAIN PURE)

      - Decorative concrete coating system. (SPARTACOTE STAIN SB)

      - Decorative concrete coating system. (SPARTACOTE STAIN UTC)

      - Decorative concrete coating system. (SPARTACOTE STAIN HB)

      - Low VOC clear concrete coating system. (SPARTACOTE SEAL XPL)

      - Low VOC clear concrete coating system. (SPARTACOTE SEAL PURE)

      - Clear concrete coating system. (SPARTACOTE SEAL SB)

      - Clear concrete coating system. (SPARTACOTE SEAL UTC)

      - Clear concrete coating system. (SPARTACOTE SEAL HB)

      - Monolithic urethane flooring system. (SPARTACOTE Urethane Cement)

      - Monolithic urethane flooring system. (SPARTACOTE Urethane Cement PTC)

      - Monolithic textured resinous flooring system. (SPARTACOTE Troweled Epoxy System)

  - RELATED SECTIONS

** NOTE TO SPECIFIER ** Delete any sections below not relevant to this project; add others as required.

    - Section 07 91 23 - Backer Rods.

    - Section 09 66 00 - Terrazzo Flooring.

  - REFERENCES

** NOTE TO SPECIFIER ** Delete references from the list below that are not actually required by the text of the edited section.

    - ASTM International (ASTM):

      - ASTM C307 - Standard Test Method for Tensile Strength of Chemical-Resistant Mortar, Grouts, and Monolithic Surfacings.

      - ASTM C579 - Standard Test Methods for Compressive Strength of Chemical-Resistant Mortars, Grouts, Monolithic Surfacings, and Polymer Concretes.

      - ASTM C580 - Standard Test Method for Flexural Strength and Modulus of Elasticity of Chemical-Resistant Mortars, Grouts, Monolithic Surfacings, and Polymer Concretes.

      - ASTM C722 - Standard Specification for Chemical-Resistant Monolithic Floor Surfacings.

      - ASTM C811 - Standard Practice for Surface Preparation of Concrete for Application of Chemical-Resistant Resin Monolithic Surfacings.

      - ASTM D570 - Standard Test Method For Evaluation Of The Thermal And Oxidative Stability Of Lubricating Oils Used For Manual Transmissions And Final Drive Axles.

      - ASTM D638 - Standard Test Method For Tensile Properties Of Plastics.

      - ASTM D2240 - Standard Test Method For Rubber Property - Durometer Hardness.

      - ASTM D2369 - Standard Test Method For Volatile Content Of Coatings.

      - ASTM D2794 - Standard Test Method For Resistance Of Organic Coatings To The Effects Of Rapid Deformation (Impact).

      - ASTM D4060 - Standard Test Method For Abrasion Resistance Of Organic Coatings By The Taber Abraser.

      - ASTM D4226 - Standard Test Methods For Impact Resistance Of Rigid Poly(Vinyl Chloride) (PVC) Building Products.

      - ASTM D4263 - Standard Test Method For Indicating Moisture In Concrete By The Plastic Sheet Method.

      - ASTM D4541 - Standard Test Method For Pull-Off Strength Of Coatings Using Portable Adhesion Testers.

      - ASTM D7234 - Standard Test Method For Pull-Off Adhesion Strength Of Coatings On Concrete Using Portable Pull-Off Adhesion Testers.

      - ASTM F2170 - Standard Test Method For Determining Relative Humidity In Concrete Floor Slabs Using In Situ Probes.

    - American National Standards Institute (ANSI):

      - ANSI A326.3 - Test Method for Measuring Dynamic Coefficient of Friction of

      - Hard Surface Flooring Materials.

      - ANSI B101.3 - Test Method For Measuring Wet DCOF Of Common Hard-Surface Floor Materials.

    - Military Specifications and Standards: MIL-D-3134J - Deck Covering Materials.

  - SUBMITTALS

    - Submit under provisions of Section 01 30 00 - Administrative Requirements.

    - Product Data: For each type of product indicated. Include manufacturer's technical data, application instructions, and recommendations.

      - Manufacturer's data sheets on each product to be used.

      - Preparation instructions and recommendations.

      - Storage and handling requirements and recommendations.

      - Typical installation methods.

** NOTE TO SPECIFIER ** Delete if not applicable to product type.

    - Verification Samples: Two representative units of each type, size, pattern and color.

    - Shop Drawings: Include details of materials, construction and finish. Include relationship with adjacent construction.

    - LEED Submittals:

      - Product Data for VOC Content: For liquid-applied flooring components, documentation including printed statement of VOC content.

      - Laboratory Test Reports for VOC Content: For flooring systems, documentation indicating that products comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

    - System Application Guide: Manufacturer's detailed installation instructions for system being installed.

    - Product Schedule: For resinous flooring.

    - Informational Submittals:

      - Installer Certificates: Signed by manufacturer certifying that installers comply with specified requirements.

      - Material Certificates: For each resinous flooring component, from manufacturer.

      - Material Test Reports: For each resinous flooring system.

    - Closeout Submittals: Maintenance data for resinous flooring to include in maintenance manuals

  - QUALITY ASSURANCE

    - Manufacturer Qualifications: Company specializing in manufacturing products specified in this section with a minimum five years documented experience.

    - Installer Qualifications: Engage an installer who is experienced and has a portfolio of successful resinous flooring projects; company specializing in performing Work of this section with minimum two years documented experience with projects of similar scope and complexity.

    - Source Limitations: Obtain primary resinous flooring materials, including primers, resins, hardening agents, grouting coats, and topcoats, from single source from single manufacturer. Provide secondary materials, including patching and fill material, joint sealant, and repair materials, of type and from source recommended by manufacturer of primary materials.

** NOTE TO SPECIFIER ** Include mock-up if the project size or quality warrant the expense. The following is one example of how a mock-up on might be specified. When deciding on the extent of the mock-up, consider all the major different types of work on the project.

    - Mock-Up: Construct a mock-up with actual materials in sufficient time for Architect's review and to not delay construction progress. Locate mock-up as acceptable to Architect. Apply mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

      - Intent of mock-up is to demonstrate quality of workmanship and visual appearance.

      - Apply full-thickness mockups on 48 inch (1219 mm) square floor area selected by Architect.

** NOTE TO SPECIFIER ** Delete subparagraph if no cove base required.

      - Include 48 inch (1219 mm) length of integral cove base with inside and outside corner.

      - Simulate finished lighting conditions for Architect's review of mockups.

      - Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

      - If mock-up is not acceptable, rebuild mock-up until satisfactory results are achieved.

      - Retain mock-up during construction as a standard for comparison with completed work.

      - Do not alter or remove mock-up until work is completed or removal is authorized.

  - PRE-INSTALLATION CONFERENCE

    - Convene a conference approximately two weeks before scheduled commencement of the Work. Attendees shall include Architect, Contractor and trades involved. Agenda shall include schedule, responsibilities, critical path items and approvals.

  - DELIVERY, STORAGE, AND HANDLING

    - Deliver in original packages and containers, with seals unbroken, bearing manufacturer's labels indicating brand name and directions for storage and mixing with other components.

    - Store in strict compliance with manufacturer's written instructions and recommendations.

    - Protect from damage due to weather, excessive temperature, and construction operations.

  - PROJECT CONDITIONS

    - Maintain environmental conditions such as substrate temperature, ambient temperature, moisture, ventilation, and other conditions affecting resinous flooring application within limits recommended by manufacturer for optimum results. Do not install products under environmental conditions outside manufacturer's recommended limits.

    - Lighting: Provide permanent lighting or, if permanent lighting is not in place, simulate permanent lighting conditions during resinous flooring application.

    - Close spaces to traffic during resinous flooring application and for not less than 24 hours after application unless manufacturer recommends a longer period.

  - WARRANTY

    - Manufacturer's Warranty: Provide standard limited warranty against defects in materials.

- PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturer: LATICRETE International, Inc., which is located at: 1 LATICRETE Park N.; Bethany, CT 06524-3423; Toll Free Tel: 800-243-4788; Tel: 203-393-0010; Fax: 203-393-1684; Email: request info (technicalservices@laticrete.com); Web: https://laticrete.com/en/masonry-veneer-installation-system | https://laticrete.com/en/solution-center/for-architects

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

    - Substitutions: Not permitted.

    - Requests for substitutions will be considered in accordance with provisions of Section 01 60 00 - Product Requirements.

** NOTE TO SPECIFIER ** Contact LATICRETE to determine appropriate system and components.

  - HIGH-PERFORMANCE RESINOUS FLOORING

** NOTE TO SPECIFIER ** Delete resinous flooring paragraph not required.

    - Resinous Flooring: Abrasion, impact and chemical resistant, high performance, resin based, fluid applied floor surfacing designed to produce a seamless floor.

    - Resinous Flooring: Abrasion, impact and chemical resistant, high performance, resin based, fluid applied floor surfacing designed to produce a seamless floor and integral cove base.

** NOTE TO SPECIFIER ** When specifying multiple flooring systems in this article, duplicate the paragraph and subparagraphs below for ' System Characteristics' and nest the text as subparagraphs in/under each product paragraph retained.

    - System Characteristics:

** NOTE TO SPECIFIER ** Delete compliance option if not required.

      - Compliance: USDA approved for food-processing environments.

      - Compliance: FDA approved for food-processing environments.

** NOTE TO SPECIFIER ** Delete color and pattern options not required.

      - Color and Pattern: ___________.

      - Color and Pattern: As indicated on the Drawings.

      - Color and Pattern: As selected by Architect from manufacturer's full range.

** NOTE TO SPECIFIER ** The first option for wearing surface below is only available with SPARTACOTE Urethane Cement PTC Monolithic Urethane Flooring System. Delete options for wearing surface not required.

      - Wearing Surface: SPARTACOTE Blended Chip, SPARTACOTE Blended Quartz, 30 mesh kiln dried sand.

      - Wearing Surface: Textured for slip resistance.

      - Wearing Surface: Orange-peel texture.

      - Wearing Surface: Smooth.

      - Wearing Surface: Manufacturer's standard wearing surface.

      - Wearing Surface: As indicated on Drawings.

** NOTE TO SPECIFIER ** Delete aggregate for top coat paragraph if not required.

      - Aggregate for Top Coat: SPARTACOTE GRIP traction additive.

** NOTE TO SPECIFIER ** Increases abrasion resistance. Delete if not required.

        - Abrasion Resistant Additive for Top Coat: DIAMOND TOPP wear coat, lightly textured matte finish.

** NOTE TO SPECIFIER ** Retain subparagraph below to establish criteria for chemical resistance. If retaining, and if criteria apply only to system's topcoat, revise to suit Project.

      - System Chemical Resistance: As indicated on Drawings.

** NOTE TO SPECIFIER ** Delete basis of design paragraphs not required.

    - Basis of Design: SPARTACOTE GUARD XPL Low VOC Solid Color Industrial Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 12 to 20 mils.

      - Base Coat: SPARTACOTE FLEX XPL Pigmented.

        - Resin: Polyaspartic aliphatic polyurea.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Type of Pigment: SPARTACOTE Polyaspartic Pigments.

        - Application Method: Roller, squeegee or broom.

        - Number of, and Thickness of Coats: One coat, 6 to 10 mils.

** NOTE TO SPECIFIER ** Delete color option not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

** NOTE TO SPECIFIER ** Many top-coat options available. Revise paragraphs below as required.

      - Top-Coat: SPARTACOTE FLEX XPL Pigmented.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Type of Pigment: SPARTACOTE Polyaspartic Pigments.

        - Application Method: Roller, squeegee, broom.

        - Number of and Thickness of Coats: One coat, 6 to 10 mils.

** NOTE TO SPECIFIER ** Fill in blank below with color name, ' As indicated on Drawings' or delete line.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Above 400 concrete fracture per ASTM D4541.

        - Tensile Strength: 2,000 to 2,200 () per ASTM D638.

        - Impact Direct/Reverse: Less than 95 in-lb () per ASTM D2794.

        - Abrasion Resistance: 12 to 14 maximum weight loss per ASTM D4060.

        - VOC Content: 30.1 grams per L per ASTM D2369.

        - COF per ANSI A326.3: Dry: 0.99. Wet: 0.39.

    - Basis of Design: SPARTACOTE GUARD PURE Low VOC Solid Color Industrial Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 15 to 20 mils.

      - Base Coat: SPARTACOTE FLEX PURE Pigmented.

        - Resin: Polyaspartic aliphatic polyurea.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Type of Pigment: SPARTACOTE Polyaspartic Pigments.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

** NOTE TO SPECIFIER ** Delete color options not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

** NOTE TO SPECIFIER ** Many top-coat options available. Revise subparagraphs below as required.

      - Top-Coat: SPARTACOTE FLEX PURE Pigmented.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Type of Pigment: SPARTACOTE Polyaspartic Pigments.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

** NOTE TO SPECIFIER ** Delete color options not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Above 400 concrete fracture per ASTM D4541.

        - Tensile Strength: 5,000 to 5,300 per ASTM D638.

        - Impact Direct/Reverse: Less than 95 in-lb per ASTM D2794.

        - Abrasion Resistance: 22 to 28 maximum weight loss per ASTM D4060.

        - VOC Content: 23.3 grams per L per ASTM D2369.

        - COF per ANSI B101.3: Dry: 0.64. Wet: 0.35.

    - Basis of Design Product: SPARTACOTE GUARD SB Solid Color Industrial Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 9 to 12 mils.

      - Base Coat: SPARTACOTE FLEX SB Pigmented.

        - Resin: Polyaspartic aliphatic polyurea.

** NOTE TO SPECIFIER ** Delete option for 72 percent solids formulation if not required.

        - Formulation Description: 72 percent solids.

        - Type of Pigment: SPARTACOTE Polyaspartic Pigments.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

** NOTE TO SPECIFIER ** Delete color options not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

** NOTE TO SPECIFIER ** Many mid- and top-coat options available. Revise subparagraphs as required.

      - Mid-Coat: SPARTACOTE FLEX SB Pigmented.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: 72 percent solids.

        - Type of Pigment: SPARTACOTE Polyaspartic Pigments.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

** NOTE TO SPECIFIER ** Delete color options not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

      - Top-Coat: SPARTACOTE FLEX SB Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: 72 percent solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Above 400 concrete fracture per ASTM D4541.

        - Tensile Strength: 4,500 to 5,000 per ASTM D638.

        - Impact Direct/Reverse: Less than 95 in-lb per ASTM D2794.

        - Abrasion Resistance: 22 to 28 maximum weight loss per ASTM D4060.

        - VOC Content: 23.3 grams per L per ASTM D2369.

        - COF per ANSI B101.3: Dry: 0.72. Wet: 0.36.

        - Pull-Off Strength: 1885 lbs per ASTM D4541.

        - Water Absorption: 0.87 per ASTM D570.

    - Basis of Design Product: SPARTACOTE GUARD PTC Solid Color Industrial Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 20 to 50 mils.

      - Prime Coat: SPARTACOTE General Primer.

        - Resin: Epoxy.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

** NOTE TO SPECIFIER ** Many mid- and top-coat options available. Revise subparagraphs as required.

      - Mid-Coat: SPARTACOTE Surface Build Pigment Base.

        - Resin: Epoxy.

        - Type of Pigment: SPARTACOTE Surface Build Pigments.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

** NOTE TO SPECIFIER ** Delete color options not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

      - Top-Coat: SPARTACOTE FLEX PURE Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: 72 percent solids.

        - Type of Pigment: SPARTACOTE Polyaspartic Pigments.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Cohesive failure in the concrete.

        - Tensile Strength: 2,000 to 2,500 per ASTM D638.

        - Abrasion Resistance: 22 to 28 maximum weight loss per ASTM D4060.

        - VOC Content: 61 grams per L per ASTM D2369.

        - COF per ANSI A326.3: Wet DCOF: 0.39.

    - Basis of Design Product: SPARTACOTE GUARD UTC Solid Color Industrial Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 15 to 50 mils.

      - Prime Coat: SPARTACOTE General Primer.

        - Resin: Epoxy.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

** NOTE TO SPECIFIER ** Many mid- and top-coat options available. Revise subparagraphs as required.

      - Mid-Coat: SPARTACOTE Surface Build Pigment Base.

        - Resin: Epoxy.

        - Type of Pigment: SPARTACOTE Surface Build Pigments.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 40 mils.

** NOTE TO SPECIFIER ** Delete color options not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

      - Top-Coat: SPARTACOTE Urethane Floor Sealer WB.

** NOTE TO SPECIFIER ** Delete option for top coat finish not required.

        - Finish: Matte.

        - Finish: Satin.

        - Finish: As indicated on Drawings.

        - Resin: Urethane.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 6 to 8 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Cohesive failure in the concrete per ASTM D7234.

        - Tensile Strength: 2,500 per ASTM C307.

        - Shore Hardness: 75 to 85 per ASTM D2240.

        - VOC Content: 15 grams per L per ASTM D2369.

        - COF per ANSI B101.3: Dry: 0.64. Wet: 0.35.

    - Basis of Design Product: SPARTACOTE GUARD HB Solid Color Industrial Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 30 to 65 mils.

      - Prime Coat: SPARTACOTE General Primer.

        - Resin: Epoxy.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

** NOTE TO SPECIFIER ** Many mid- and top-coat options available. Revise subparagraphs as required.

      - Mid-Coat: SPARTACOTE Surface Build Pigment Base.

        - Resin: Epoxy.

        - Type of Pigment: SPARTACOTE Surface Build Pigments.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 40 mils.

** NOTE TO SPECIFIER ** Delete color options not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

      - Top-Coat: SPARTACOTE Surface Build Top Coat UV.

        - Resin: Epoxy.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 15 to 20 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Cohesive failure in the concrete per ASTM D7234.

        - Tensile Strength: 2,000 to 2,500 per ASTM C307.

        - Abrasion Resistance: 22 to 28 maximum weight loss per ASTM D4060.

        - VOC Content: 15 grams per L per ASTM D2369.

    - Basis of Design Product: SPARTACOTE CHIP XPL Low VOC Vinyl Flake Terrazzo Industrial Resinous Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 25 to 45 mils.

      - Broadcast Coat: SPARTACOTE FLEX XPL Pigmented.

        - Resin: Polyaspartic aliphatic polyurea.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Type of Pigment: SPARTACOTE polyaspartic pigment.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 6 to 10 mils.

** NOTE TO SPECIFIER ** Delete color options not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

      - Chip Broadcast:

** NOTE TO SPECIFIER ** Delete options for chip type not required.

        - Chip Type: Standard LATICRETE SPARTACOTE Blended Vinyl Chip Blends.

        - Chip Type: As selected by Architect.

        - Application Method: Manual broadcast.

** NOTE TO SPECIFIER ** Delete color options not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

** NOTE TO SPECIFIER ** Many top-coat options available. Revise subparagraphs as required.

      - Top Coat: SPARTACOTE FLEX XPL Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Type of Pigment: SPARTACOTE polyaspartic pigment.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 6 to 10 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Above 400 concrete fracture per ASTM D4541.

        - Tensile Strength: 2,000 to 2,200 per ASTM C307.

        - Impact Direct/Reverse: Less than 95 in-lb per ASTM D2794. Abrasion Resistance: 22 to 28 maximum weight loss per ASTM D4060.

        - VOC Content: 30.1 grams per L per ASTM D2369.

        - COF per ANSI A326.3: Dry: 0.99. Wet: 0.39.

    - Basis of Design Product: SPARTACOTE CHIP PURE Low VOC Vinyl Flake Terrazzo Industrial Resinous Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 25 to 35 mils.

      - Broadcast Coat: SPARTACOTE FLEX PURE Pigmented.

        - Resin: Polyaspartic aliphatic polyurea.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Type of Pigment: SPARTACOTE polyaspartic pigment.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

** NOTE TO SPECIFIER ** Delete color options not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

      - Chip Broadcast:

** NOTE TO SPECIFIER ** Delete options for chip type not required.

        - Chip Type: Standard LATICRETE SPARTACOTE Blended Vinyl Chip Blends.

        - Chip Type: As selected by Architect.

        - Application Method: Manual broadcast.

** NOTE TO SPECIFIER ** Delete color options not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

** NOTE TO SPECIFIER ** Many top-coat options available. Revise subparagraphs as required.

      - Top-Coat: SPARTACOTE FLEX PURE Pigmented.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Above 400 concrete fracture per ASTM D4541.

        - Tensile Strength: 5,000 to 5,300 per ASTM D638.

        - Impact Direct/Reverse: Less than 95 in-lb per ASTM D2794.

        - Abrasion Resistance: 22 to 28 maximum weight loss per ASTM D4060.

        - VOC Content: 23.3 grams per L per ASTM D2369.

        - COF per ANSI A326.3: Dry: 0.64. Wet: 0.35.

    - Basis of Design Product: SPARTACOTE CHIP SB Vinyl Flake Terrazzo Industrial Resinous Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 9 to 12 mils.

      - Base Coat: SPARTACOTE FLEX SB Pigmented.

        - Resin: Polyaspartic aliphatic polyurea.

** NOTE TO SPECIFIER ** Delete option for 72 percent solids formulation if not required.

        - Formulation Description: 72 percent solids.

        - Type of Pigment: SPARTACOTE polyaspartic pigment.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

** NOTE TO SPECIFIER ** Delete color options not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

** NOTE TO SPECIFIER ** Many coating options available. Revise subparagraphs as required.

      - Broadcast Coat: SPARTACOTE FLEX SB Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: 72 percent solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

      - Chip Broadcast:

** NOTE TO SPECIFIER ** Delete options for chip type not required.

        - Chip Type: Standard LATICRETE SPARTACOTE Blended Vinyl Chip Blends.

        - Chip Type: As selected by Architect.

        - Application Method: Manual broadcast.

** NOTE TO SPECIFIER ** Delete color options not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

      - Top-Coat: SPARTACOTE FLEX SB Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: 72 percent solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Above 400 concrete fracture per ASTM D4541.

        - Tensile Strength: 4,500 to 5,000 per ASTM D638.

        - Impact Direct/Reverse: Less than 95 in-lb per ASTM D2794.

        - Abrasion Resistance: 22 to 28 maximum weight loss per ASTM D4060.

        - Pull-Off Strength: 1885 lbs per ASTM D4541.

        - Water Absorption: 0.87 per ASTM D570.

        - COF per ANSI A326.3: Dry: 0.72. Wet: 0.36.

    - Basis of Design Product: SPARTACOTE CHIP PTC Vinyl Flake Terrazzo Industrial Resinous Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 20 to 50 mils.

      - Prime Coat: SPARTACOTE General Primer.

        - Resin: Epoxy.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

** NOTE TO SPECIFIER ** Many coating options available. Revise subparagraphs as required.

      - Broadcast Coat: SPARTACOTE Surface Build Pigment Base.

        - Resin: Epoxy.

        - Type of Pigment: SPARTACOTE Surface Build Pigments.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

** NOTE TO SPECIFIER ** Delete color options not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

      - Chip Broadcast:

        - Name: Standard LATICRETE SPARTACOTE Blended Vinyl Chip Blends or as requested by Architect

        - Application Method: Manual broadcast.

** NOTE TO SPECIFIER ** Delete chip color options not required.

        - Chip Color: ___________.

        - Chip Color: As selected by Architect from manufacturer's full range.

      - Top-Coat: SPARTACOTE FLEX PURE Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Cohesive failure in the concrete.

        - Tensile Strength: 2,000 to 2,500 per ASTM D638.

        - Abrasion Resistance: 22 to 28 maximum weight loss per ASTM D4060.

        - VOC Content: 61 grams per L per ASTM D2369.

    - Basis of Design Product: SPARTACOTE CHIP UTC Vinyl Flake Terrazzo Industrial Resinous Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 35 to 40 mils.

      - Prime Coat: SPARTACOTE General Primer.

        - Resin: Epoxy.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

** NOTE TO SPECIFIER ** Many coating options available. Revise subparagraphs as required.

      - Broadcast Coat: SPARTACOTE Surface Build Pigment Base.

        - Resin: Epoxy.

        - Type of Pigment: SPARTACOTE Surface Build Pigments.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 40 mils.

** NOTE TO SPECIFIER ** Delete color options not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

      - Chip Broadcast:

** NOTE TO SPECIFIER ** Delete options for chip type not required.

        - Chip Type: Standard LATICRETE SPARTACOTE Blended Vinyl Chip Blends.

        - Chip Type: As selected by Architect.

        - Application Method: Manual broadcast.

** NOTE TO SPECIFIER ** Delete chip color options not required.

        - Chip Color: ___________.

        - Chip Color: As selected by Architect from manufacturer's full range.

      - Top-Coat: SPARTACOTE Urethane Floor Sealer WB.

        - Resin: Urethane

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 6 to 8 mils.

** NOTE TO SPECIFIER ** Delete option for top coat finish not required.

        - Finish: Matte.

        - Finish: Satin.

        - Finish: As indicated on Drawings.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Cohesive failure of concrete ASTM D7234.

        - Tensile Strength: 2,500 per ASTM C307.

        - Shore Hardness: 75 to 85 per ASTM D2240.

        - VOC Content: 15grams per L per ASTM D2369.

        - COF per ANSI A326.3: Dry: 0.64. Wet: 0.35.

    - Basis of Design Product: SPARTACOTE CHIP HB Vinyl Flake Terrazzo Industrial Resinous Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 45-85 mils.

      - Prime Coat: SPARTACOTE General Primer.

        - Resin: Epoxy.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

** NOTE TO SPECIFIER ** Many coating options available. Revise subparagraphs as required.

      - Broadcast Coat: SPARTACOTE Surface Build Pigment Base.

        - Resin: Epoxy.

        - Type of Pigment: SPARTACOTE Surface Build Pigments.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 40 mils.

** NOTE TO SPECIFIER ** Fill in blank below with color name, ' As indicated on Drawings' or delete line.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

      - Chip Broadcast:

** NOTE TO SPECIFIER ** Delete options for chip type not required.

        - Chip Type: Standard LATICRETE SPARTACOTE Blended Vinyl Chip Blends.

        - Chip Type: As selected by Architect.

        - Application Method: Manual broadcast.

** NOTE TO SPECIFIER ** Delete chip color options not required.

        - Chip Color: ___________.

        - Chip Color: As selected by Architect from manufacturer's full range.

      - Top-Coat: SPARTACOTE Surface Build Top Coat UV.

        - Resin: Epoxy.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 15 to 20 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Cohesive failure of concrete per ASTM D7234.

        - Tensile Strength: 2,000-2,500 per ASTM C307.

        - Abrasion Resistance: 22 to 28 maximum weight loss per ASTM D4060.

        - VOC Content: 15 grams per L per ASTM D2369.

    - Basis of Design Product: SPARTACOTE QUARTZ XPL Low VOC Monolithic Quartz Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 1/8 to 3/16 inch (3.2 to 4.8 mm).

      - Base/Broadcast Coat: SPARTACOTE FLEX XPL Pigmented.

        - Resin: Polyaspartic aliphatic polyurea.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Type of Pigment: SPARTACOTE polyaspartic pigment.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 6 to 10 mils.

** NOTE TO SPECIFIER ** Delete color options not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

      - Quartz Broadcast:

** NOTE TO SPECIFIER ** Delete options for chip type not required.

        - Quartz Type: Standard LATICRETE SPARTACOTE Blended Vinyl Chip Blends.

        - Quartz Type: As selected by Architect.

        - Application Method: Manual broadcast.

** NOTE TO SPECIFIER ** Delete quartz color options not required.

        - Quartz Color: ___________.

        - Quartz Color: As selected by Architect from manufacturer's full range.

** NOTE TO SPECIFIER ** Many coating options available. Revise subparagraphs as required.

      - Second Broadcast Coat: SPARTACOTE FLEX XPL Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 6 to 10 mils.

      - Quartz Broadcast:

** NOTE TO SPECIFIER ** Delete options for chip type not required.

        - Quartz Type: Standard LATICRETE SPARTACOTE Blended Vinyl Chip Blends.

        - Quartz Type: As selected by Architect.

        - Application Method: Manual broadcast.

** NOTE TO SPECIFIER ** Delete quartz color options not required.

        - Quartz Color: ___________.

        - Quartz Color: As selected by Architect from manufacturer's full range.

      - Grout Coat: SPARTACOTE FLEX XPL Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 6 to 10 mils.

      - Top Coat:

        - Name: SPARTACOTE FLEX XPL Clear

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 6 to 10 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Above 400 concrete fracture per ASTM D4541.

        - Tensile Strength: 4,500 to 5,000 per ASTM D638.

        - Impact Direct/Reverse: Less than 95 in-lb per ASTM D2794.

        - Abrasion Resistance: 22 to 28 maximum weight loss per ASTM D4060.

        - Pull-Off Strength: 1885 lbs per ASTM D4541.

        - Water Absorption: 0.87 per ASTM D570.

        - COF per ANSI B101.3: Dry: 0.70. Wet: 0.53.

    - Basis of Design Product: SPARTACOTE QUARTZ PURE Low VOC Monolithic Quartz Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 1/8 to 3/16 inch (3.2 to 4.8 mm).

** NOTE TO SPECIFIER ** Delete option for base/broadcast coat if not required.

      - Base/Broadcast Coat: SPARTACOTE FLEX PURE Pigmented.

        - Resin: Polyaspartic aliphatic polyurea.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Type of Pigment: SPARTACOTE polyaspartic pigment.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

** NOTE TO SPECIFIER ** Delete color options not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

      - Quartz Broadcast:

** NOTE TO SPECIFIER ** Delete options for chip type not required.

        - Quartz Type: Standard LATICRETE SPARTACOTE Blended Vinyl Chip Blends.

        - Quartz Type: As selected by Architect.

        - Application Method: Manual broadcast.

** NOTE TO SPECIFIER ** Delete quartz color options not required.

        - Quartz Color: ___________.

        - Quartz Color: As selected by Architect from manufacturer's full range.

** NOTE TO SPECIFIER ** Many coating options available. Revise subparagraphs as required.

      - Second Broadcast Coat: SPARTACOTE FLEX PURE Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

      - Quartz Broadcast:

** NOTE TO SPECIFIER ** Delete options for chip type not required.

        - Quartz Type: Standard LATICRETE SPARTACOTE Blended Vinyl Chip Blends.

        - Quartz Type: As selected by Architect.

        - Application Method: Manual broadcast.

** NOTE TO SPECIFIER ** Delete quartz color options not required.

        - Quartz Color: ___________.

        - Quartz Color: As selected by Architect from manufacturer's full range.

        - Quartz Color: As selected by Architect from manufacturer's full range.

      - Grout Coat: SPARTACOTE FLEX PURE Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

      - Top Coat: SPARTACOTE FLEX PURE Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Above 400 concrete fracture per ASTM D4541.

        - Tensile Strength: 4,500 to 5,000 per ASTM D638.

        - Impact Direct/Reverse: Less than 95 in-lb per ASTM D2794.

        - Abrasion Resistance: 22 to 28 maximum weight loss per ASTM D4060.

        - Water Absorption: 0.87 per ASTM D570

        - COF per ANSI B101.3: Dry: 0.70. Wet: 0.53.

    - Basis of Design Product: SPARTACOTE QUARTZ SB Monolithic Quartz Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 1/8 to 3/16 inch (3.2 to 4.8 mm).

** NOTE TO SPECIFIER ** Delete option for base/broadcast coat if not required.

      - Base/Broadcast Coat: SPARTACOTE FLEX SB Pigmented.

        - Resin: Polyaspartic aliphatic polyurea.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Type of Pigment: SPARTACOTE polyaspartic pigment.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

** NOTE TO SPECIFIER ** Fill in blank below with color name, ' As indicated on Drawings' or delete line.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

      - Quartz Broadcast:

** NOTE TO SPECIFIER ** Delete options for chip type not required.

        - Quartz Type: Standard LATICRETE SPARTACOTE Blended Vinyl Chip Blends.

        - Quartz Type: As selected by Architect.

        - Application Method: Manual broadcast.

** NOTE TO SPECIFIER ** Delete quartz color options not required.

        - Quartz Color: ___________.

        - Quartz Color: As selected by Architect from manufacturer's full range.

** NOTE TO SPECIFIER ** Many coating options available. Revise subparagraphs as required.

      - Second Broadcast Coat: SPARTACOTE FLEX SB Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

      - Quartz Broadcast:

** NOTE TO SPECIFIER ** Delete options for chip type not required.

        - Quartz Type: Standard LATICRETE SPARTACOTE Blended Vinyl Chip Blends.

        - Quartz Type: As selected by Architect.

        - Application Method: Manual broadcast.

** NOTE TO SPECIFIER ** Delete quartz color options not required.

        - Quartz Color: ___________.

        - Quartz Color: As selected by Architect from manufacturer's full range.

      - Grout Coat: SPARTACOTE FLEX SB Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

      - Top Coat: SPARTACOTE FLEX SB Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Above 400 concrete fracture per ASTM D4541.

        - Tensile Strength: 4,500 to 5,000 per ASTM D638.

        - Impact Direct/Reverse: Less than 95 in-lb per ASTM D2794.

        - Abrasion Resistance: 22 to 28 maximum weight loss per ASTM D4060.

        - Water Absorption: 0.87 per ASTM D570.

        - COF per ANSI B101.3: Dry: 0.70. Wet: 0.53.

    - Basis of Design Product: SPARTACOTE QUARTZ PTC Monolithic Quartz Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 3/16 to 1/4 inch (4.8 to 6.4 mm).

      - Prime Coat: SPARTACOTE General Primer.

        - Resin: Epoxy.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

** NOTE TO SPECIFIER ** Many coating options available. Revise subparagraphs as required.

      - Broadcast Coat: SPARTACOTE Surface Build Pigment Base.

        - Resin: Epoxy.

        - Type of Pigment: SPARTACOTE Surface Build Pigments.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

** NOTE TO SPECIFIER ** Fill in blank below with color name, ' As indicated on Drawings' or delete line.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

      - Quartz Broadcast:

** NOTE TO SPECIFIER ** Delete options for chip type not required.

        - Quartz Type: Standard LATICRETE SPARTACOTE Blended Vinyl Chip Blends.

        - Quartz Type: As selected by Architect.

        - Application Method: Manual broadcast.

** NOTE TO SPECIFIER ** Delete quartz color options not required.

        - Quartz Color: ___________.

        - Quartz Color: As selected by Architect from manufacturer's full range.

      - Grout Coat: SPARTACOTE FLEX PURE Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

      - Top Coat: SPARTACOTE FLEX PURE Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Cohesive failure in the concrete.

        - Tensile Strength: 2,000 to 2,500 per ASTM D638.

        - Abrasion Resistance: 22 to 28 maximum weight loss per ASTM D4060.

        - VOC Content: 61 grams per L per ASTM D2369.

        - COF per ANSI A326.3: Wet DCOF: 0.39.

    - Basis of Design Product: SPARTACOTE QUARTZ UTC Monolithic Quartz Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 3/16 to 1/4 inch (4.8 to 6.4 mm).

** NOTE TO SPECIFIER ** Delete option for prime coat if not required.

      - Prime Coat: SPARTACOTE General Primer.

        - Resin: Epoxy.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

** NOTE TO SPECIFIER ** Many coating options available. Revise subparagraphs as required.

      - Mid-Coat: SPARTACOTE Surface Build Clear.

        - Resin: Epoxy.

        - Type of Pigment: SPARTACOTE Surface Build Pigments.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 40 mils.

      - Quartz Broadcast:

** NOTE TO SPECIFIER ** Delete options for chip type not required.

        - Quartz Type: Standard LATICRETE SPARTACOTE Blended Vinyl Chip Blends.

        - Quartz Type: As selected by Architect.

        - Application Method: Manual broadcast.

** NOTE TO SPECIFIER ** Delete quartz color options not required.

        - Quartz Color: ___________.

        - Quartz Color: As selected by Architect from manufacturer's full range.

      - Grout Coat: SPARTACOTE Epoxy Top Coat UV.

        - Resin: Epoxy.

        - Type of Pigment: SPARTACOTE Surface Build Pigments.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 15 to 20 mils.

      - Top-Coat: : SPARTACOTE Urethane Floor Sealer WB.

        - Resin: Urethane

        - Application Method: Roller, squeegee, broom.

        - Thickness of Coats: 6 to 8 mils

        - Number, Thickness of Coats: One

** NOTE TO SPECIFIER ** Delete option for top coat finish not required.

        - Finish: Matte.

        - Finish: Satin.

        - Finish: As indicated on Drawings.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Tensile Strength: 2,500 per ASTM C307.

        - Shore Hardness: 75 to 85 per ASTM D2240.

        - VOC Content: 15grams per L per ASTM D2369

        - COF per ANSI B101.3: Dry: 0.64. Wet: 0.35.

    - Basis of Design Product: SPARTACOTE QUARTZ HB Monolithic Quartz Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 3/16 to 1/4 inch (4.8 to 6.4 mm).

** NOTE TO SPECIFIER ** Delete option for prime coat if not required.

      - Prime Coat: SPARTACOTE General Primer.

        - Resin: Epoxy.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

** NOTE TO SPECIFIER ** Many coating options available. Revise subparagraphs as required.

      - Mid-Coat: SPARTACOTE Surface Build Clear.

        - Resin: Epoxy.

        - Type of Pigment: SPARTACOTE Surface Build Pigments.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 40 mils.

      - Quartz Broadcast: Standard LATICRETE SPARTACOTE Blended Quartz Blends or as requested by Architect

        - Application Method: Manual broadcast.

      - Grout Coat: SPARTACOTE Epoxy Top Coat UV.

        - Resin: Epoxy.

        - Type of Pigment: SPARTACOTE Surface Build Pigments.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 15 to 20 mils.

      - Top-Coat: SPARTACOTE Epoxy Top Coat UV.

        - Resin: Urethane

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 6-8 mils.

** NOTE TO SPECIFIER ** Delete option for top coat finish not required.

        - Finish: Matte.

        - Finish: Satin.

        - Finish: As indicated on Drawings.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Cohesive failure of concrete ASTM D7234.

        - Tensile Strength: 2,500 per ASTM C307.

        - Shore Hardness: 75 to 85 per ASTM D2240.

        - VOC Content: 15 grams per L per ASTM D2369.

        - COF per ANSI B101.3: Dry: 0.64. Wet: 0.35.

    - Basis of Design Product: SPARTACOTE METALLIC XPL Low VOC Decorative Metallic Concrete Coating System as manufactured by LATICRETE.

      - Overall System Thickness: 20-30 mils.

      - Base Coat: SPARTACOTE FLEX XPL Pigmented.

        - Resin: Polyaspartic aliphatic polyurea.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Type of Pigment: SPARTACOTE polyaspartic pigment.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 6 to 10 mils.

        - Color: Black.

** NOTE TO SPECIFIER ** Many coating options available. Revise subparagraphs as required.

      - Metallic Coat: SPARTACOTE FLEX XPL Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Type of Pigment: SPARTACOTE Metallic Pigment

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 10 to 18 mils.

** NOTE TO SPECIFIER ** Delete color option not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

      - Top Coat: SPARTACOTE FLEX XPL Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 6 to 10 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Above 400 concrete fracture per ASTM D4541.

        - Tensile Strength: 2,000 to 2,200 per ASTM D638.

        - Impact Direct/Reverse: Less than 95 in-lb per ASTM D2794.

        - Abrasion Resistance: 12 to 14 maximum weight loss per ASTM D4060.

        - VOC Content: 30.1 grams per L per ASTM D2369.

        - COF per ANSI A326.3: Dry: 0.99. Wet: 0.39.

    - Basis of Design Product: SPARTACOTE METALLIC PURE Low VOC Decorative Metallic Concrete Coating System as manufactured by LATICRETE.

      - Overall System Thickness: 30 to 45 mils.

      - Base Coat: SPARTACOTE FLEX PURE Pigmented

        - Resin: Polyaspartic aliphatic polyurea.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Type of Pigment: SPARTACOTE polyaspartic pigment.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

        - Color: Black.

      - Top-Coat: SPARTACOTE FLEX PURE Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Type of Pigment: SPARTACOTE polyaspartic pigment.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 15 to 25 mils.

** NOTE TO SPECIFIER ** Delete color option not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

** NOTE TO SPECIFIER ** Many coating options available. Revise subparagraphs as required.

      - Top-Coat: SPARTACOTE FLEX PURE Clear Pigmented.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

** NOTE TO SPECIFIER ** Delete color option not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Above 400 concrete fracture per ASTM D4541.

        - Tensile Strength: 5,000 to 5,300 per ASTM D638.

        - Impact Direct/Reverse: Less than 95 in-lb per ASTM D2794.

        - Abrasion Resistance: 22 to 28 maximum weight loss per ASTM D4060.

        - VOC Content: 23.3 grams per L per ASTM D2369.

        - COF per ANSI B101.3: Dry: 0.64. Wet: 0.35.

    - Basis of Design Product: SPARTACOTE METALLIC SB Decorative Metallic Concrete Coating System as manufactured by LATICRETE.

      - Overall System Thickness: 10 to 25 mils.

** NOTE TO SPECIFIER ** Delete option for base coat if not required.

      - Base Coat: SPARTACOTE FLEX SB Pigmented.

        - Resin: Polyaspartic aliphatic polyurea.

** NOTE TO SPECIFIER ** Delete option for 72 percent solids formulation if not required.

        - Formulation Description: 72 percent solids.

        - Type of Pigment: SPARTACOTE polyaspartic pigment.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

        - Color: Black.

** NOTE TO SPECIFIER ** Many coating options available. Revise subparagraphs as required.

      - Metallic Coat: SPARTACOTE FLEX SB Pigmented.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: 72 percent solids.

        - Type of Pigment: SPARTACOTE Metallic Pigment

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

** NOTE TO SPECIFIER ** Delete color option not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

      - Top-Coat: SPARTACOTE FLEX SB Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: 72 percent solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Above 400 concrete fracture per ASTM D4541.

        - Tensile Strength: 4,500 to 5,000 per ASTM D638.

        - Impact Direct/Reverse: Less than 95 in-lb per ASTM D2794.

        - Abrasion Resistance: 22 to 28 maximum weight loss per ASTM D4060.

        - Pull-Off Strength: 1885 lbs per ASTM D4541.

        - Water Absorption: 0.87 per ASTM D570.

        - COF per ANSI B101.3: Dry: 0.72. Wet: 0.36.

    - Basis of Design Product: SPARTACOTE METALLIC PTC Decorative Metallic Concrete Coating System as manufactured by LATICRETE.

      - Overall System Thickness: 20 to 50 mils.

      - Prime Coat: SPARTACOTE General Primer.

        - Resin: Epoxy.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

** NOTE TO SPECIFIER ** Many coating options available. Revise subparagraphs as required.

      - Base Coat: SPARTACOTE Surface Build Pigment Base.

        - Resin: Epoxy.

        - Type of Pigment: SPARTACOTE Surface Build Pigments.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

        - Color: Black.

      - Metallic Coat: SPARTACOTE Surface Build Pigment Base.

        - Resin: Epoxy.

        - Type of Pigment: SPARTACOTE Metallic Pigment

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

** NOTE TO SPECIFIER ** Delete color option not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

      - Top-Coat: SPARTACOTE FLEX PURE Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Cohesive failure in the concrete.

        - Tensile Strength: 2,000 to 2,500 per ASTM D638.

        - Abrasion Resistance: 22 to 28 maximum weight loss per ASTM D4060.

        - VOC Content: 61 grams per L per ASTM D2369.

        - COF per ANSI A326.3: Wet DCOF: 0.39.

    - Basis of Design Product: SPARTACOTE METALLIC UTC Decorative Metallic Concrete Coating System as manufactured by LATICRETE.

      - Overall System Thickness: 15 to 50 mils.

** NOTE TO SPECIFIER ** Delete option for prime coat if not required.

      - Prime Coat: SPARTACOTE General Primer.

        - Resin: Epoxy.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

** NOTE TO SPECIFIER ** Many coating options available. Revise subparagraphs as required.

      - Base Coat: SPARTACOTE Surface Build Pigment Base.

        - Resin: Epoxy.

        - Type of Pigment: SPARTACOTE Surface Build Pigments.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 40 mils.

        - Color: BLACK

      - Metallic Coat: SPARTACOTE Surface Build Clear.

        - Resin: Epoxy.

        - Type of Additive: SPARTACOTE Metallic Pigments.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 40 mils.

** NOTE TO SPECIFIER ** Delete color option not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

      - Top-Coat: SPARTACOTE Urethane Floor Sealer WB.

        - Resin: Urethane

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 6 to 8 mils.

** NOTE TO SPECIFIER ** Delete option for top coat finish not required.

        - Finish: Matte.

        - Finish: Satin.

        - Finish: As indicated on Drawings.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Cohesive failure of concrete ASTM D7234.

        - Tensile Strength: 2,500 per ASTM C307.

        - Shore Hardness: 75 to 85 per ASTM D2240.

        - VOC Content: 15 grams per L per ASTM D2369.

        - COF per ANSI B101.3: Dry: 0.64. Wet: 0.35.

    - Basis of Design Product: SPARTACOTE METALLIC HB Decorative Metallic Concrete Coating System as manufactured by LATICRETE.

      - Overall System Thickness: 30 to 65 mils.

** NOTE TO SPECIFIER ** Delete option for prime coat if not required.

      - Prime Coat: SPARTACOTE General Primer.

        - Resin: Epoxy.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

** NOTE TO SPECIFIER ** Many coating options available. Revise subparagraphs as required.

      - Base Coat: SPARTACOTE Surface Build Pigment Base.

        - Resin: Epoxy.

        - Type of Pigment: SPARTACOTE Surface Build Pigments.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 40 mils.

        - Number, Thickness of Coats: One

        - Color: Black.

      - Metallic Coat: SPARTACOTE Surface Build Clear.

        - Resin: Epoxy.

        - Type of Pigment: SPARTACOTE Metallic Pigments.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 40 mils.

** NOTE TO SPECIFIER ** Delete color option not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

      - Top Coat: SPARTACOTE Surface Build Top Coat UV.

        - Resin: Epoxy.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Thickness of Coats: 15 to 20 mils

        - Number, Thickness of Coats: One

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Cohesive failure of concrete per ASTM D7234.

        - Tensile Strength: 2,000-2,500 per ASTM C307.

        - Abrasion Resistance: 22 to 28 maximum weight loss per ASTM D4060.

        - VOC Content: 15 grams per L per ASTM D2369.

    - Basis of Design Product: SPARTACOTE STAIN XPL Dyed Concrete Resinous Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 12 to 20 mils.

** NOTE TO SPECIFIER ** Delete option for dye coat if not required.

      - Dye Coat: SPARTACOTE VIVID DYE.

        - Product: Concrete Dye

** NOTE TO SPECIFIER ** Delete one or both options for dilution liquids if not required.

        - Dilution Liquids: Water.

        - Dilution Liquids: Acetone.

        - Application Method: Airless backpack pump sprayer or solvent-resistant sprayer.

        - Approximate Coverage : 400 sq ft per gallon.

        - Mixing Ratio: 5 oz of dye concentrate per 1 gallon dilutent.

        - Number if Coats: As recommended by manufacturer.

** NOTE TO SPECIFIER ** Delete color option not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

** NOTE TO SPECIFIER ** Many coating options available. Revise subparagraphs as required.

      - Seal-Coat: SPARTACOTE FLEX XPL Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Application Method: Roller, broom or squeegee.

        - Number, Thickness of Coats: One coat, 6 to 10 mils.

      - Top-Coat: SPARTACOTE FLEX XPL Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Application Method: Roller, broom or squeegee.

        - Number, Thickness of Coats: One coat, 6 to 10 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Above 400 concrete fracture per ASTM D4541.

        - Tensile Strength: 2,000 to 2,200 per ASTM D638.

        - Impact Direct/Reverse: Less than 95 in-lb per ASTM D2794.

        - Abrasion Resistance: 12 to 14 maximum weight loss per ASTM D4060.

        - VOC Content: 30.1 grams per L per ASTM D2369.

        - COF per ANSI A326.3: Dry: 0.99. Wet: 0.39.

    - Basis of Design Product: SPARTACOTE STAIN PURE Dyed Concrete Resinous Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 10 to 20 mils.

** NOTE TO SPECIFIER ** Delete option for concrete dye coat if not required.

      - Concrete Dye Coat: SPARTACOTE VIVID DYE.

        - Product: Concrete Dye

** NOTE TO SPECIFIER ** Delete one or both options for dilution liquids if not required.

        - Dilution Liquids: Water.

        - Dilution Liquids: Acetone.

        - Application Method: Airless backpack pump sprayer or solvent-resistant sprayer

        - Approximate Coverage: 400 sq ft per gallon.

        - Mixing Ratio: 5 oz of dye concentrate per 1 gallon diluent.

        - Number if Coats: As recommended by manufacturer.

** NOTE TO SPECIFIER ** Delete color option not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

** NOTE TO SPECIFIER ** Many coating options available. Revise subparagraphs as required.

      - Seal-Coat: SPARTACOTE WB Epoxy Primer.

        - Resin: Water Based Epoxy

        - Formulation Description: 40 percent solids.

        - Application Method: Roller or squeegee.

        - Number, Thickness of Coats: One coat, 4 to 8 mils.

      - Top-Coat: SPARTACOTE FLEX PURE Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, or broom.

** NOTE TO SPECIFIER ** Delete options for number of coats not required.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

        - Number, Thickness of Coats: Two, 8 to 10 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Above 400 concrete fracture per ASTM D4541.

        - Tensile Strength: 5,000 to 5,300 per ASTM D638.

        - Impact Direct/Reverse: Less than 95 in-lb per ASTM D2794.

        - Abrasion Resistance: 22 to 28 maximum weight loss per ASTM D4060.

        - VOC Content: 61 grams per L per ASTM D2369.

        - COF per ANSI B101.3: Dry: 0.64. Wet: 0.35.

    - Basis of Design Product: SPARTACOTE STAIN SB Dyed Concrete Resinous Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 6 to 16 mils.

** NOTE TO SPECIFIER ** Delete option for concrete dye coat if not required.

      - Concrete Dye Coat: SPARTACOTE VIVID DYE.

        - Product: Concrete Dye

** NOTE TO SPECIFIER ** Delete one or both options for dilution liquids if not required.

        - Dilution Liquids: Water.

        - Dilution Liquids: Acetone.

        - Application Method: Airless backpack pump sprayer or solvent-resistant sprayer

        - Approximate Coverage: 400 sq ft per gallon.

        - Mixing Ratio: 5 oz of dye concentrate per 1 gallon dilutent.

        - Number if Coats: As recommended by manufacturer.

** NOTE TO SPECIFIER ** Delete color option not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

** NOTE TO SPECIFIER ** Many coating options available. Revise subparagraphs as required.

      - Seal-Coat: SPARTACOTE FLEX SB Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: Solvent based.

        - Application Method: Roller, broom or squeegee.

        - Number, Thickness of Coats: One coat, 3 to 8 mils.

      - Top-Coat: SPARTACOTE FLEX SB Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: Solvent based.

        - Application Method: Roller, broom or squeegee.

        - Number, Thickness of Coats: One coat, 3 to 8 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Above 400 concrete fracture per ASTM D4541.

        - Tensile Strength: 4,500 to 5,000 per ASTM D638.

        - Impact Direct/Reverse: Less than 95 in-lb. per ASTM D2794.

        - Abrasion Resistance: 22 to 28 maximum weight loss per ASTM D4060.

        - VOC Content: 266 grams per L per ASTM D2369.

        - COF per ANSI B101.3: Dry: 0.72. Wet: 0.36.

    - Basis of Design Product: SPARTACOTE STAIN UTC Decorative Concrete Coating System as manufactured by LATICRETE.

      - Overall System Thickness: 15 to 50 mils.

** NOTE TO SPECIFIER ** Delete option for dye coat if not required.

      - Dye Coat: SPARTACOTE VIVID DYE.

        - Product: Concrete Dye

** NOTE TO SPECIFIER ** Delete one or both options for dilution liquids if not required.

        - Dilution Liquids: Water.

        - Dilution Liquids: Acetone.

        - Application Method: Airless backpack pump sprayer or solvent-resistant sprayer

        - Approximate Coverage: 400 sq ft per gallon.

        - Mixing Ratio: 5 oz of dye concentrate per 1 gallon diluent.

        - Number if Coats: As recommended by manufacturer.

** NOTE TO SPECIFIER ** Delete color option not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

      - Prime Coat: SPARTACOTE General Primer.

        - Resin: Epoxy.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

** NOTE TO SPECIFIER ** Many mid- and top-coat options available. Revise subparagraphs as required.

      - Mid-Coat: SPARTACOTE Surface Build Clear.

        - Resin: Epoxy.

        - Type of Pigment: SPARTACOTE Surface Build Pigments.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 40 mils.

      - Top-Coat: SPARTACOTE Urethane Floor Sealer WB.

        - Resin: Urethane

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 6 to 8 mils.

** NOTE TO SPECIFIER ** Delete option for top coat finish not required.

        - Finish: Matte.

        - Finish: Satin.

        - Finish: As indicated on Drawings.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Cohesive failure of concrete ASTM D7234.

        - Tensile Strength: 2,500 per ASTM C307.

        - Shore Hardness: 75 to 85 per ASTM D2240.

        - VOC Content: 15 grams per L per ASTM D2369.

        - COF per ANSI B101.3: Dry: 0.64. Wet: 0.35.

    - Basis of Design Product: SPARTACOTE STAIN HB Dyed Concrete Resinous Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 26 to 65 mils.

** NOTE TO SPECIFIER ** Delete option for dye coat if not required.

      - Dye Coat: SPARTACOTE VIVID DYE.

        - Product: Concrete Dye

** NOTE TO SPECIFIER ** Delete one or both options for dilution liquids if not required.

        - Dilution Liquids: Water.

        - Dilution Liquids: Acetone.

        - Application Method: Airless backpack pump sprayer or solvent-resistant sprayer

        - Approximate Coverage: 400 sq ft per gallon.

        - Mixing Ratio: 5 oz of dye concentrate per 1 gallon diluent.

        - Number if Coats: As recommended by manufacturer.

** NOTE TO SPECIFIER ** Delete color option not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

      - Prime Coat: SPARTACOTE General Primer.

        - Resin: Epoxy.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

** NOTE TO SPECIFIER ** Many mid- and top-coat options available. Revise subparagraphs as required.

      - Mid-Coat: SPARTACOTE Surface Build Clear.

        - Resin: Epoxy.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 40 mils.

      - Top-Coat: SPARTACOTE Surface Build Top Coat UV.

        - Resin: Epoxy.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 15 to 20 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Cohesive failure of concrete per ASTM D7234.

        - Tensile Strength: 2,000-2,500 per ASTM C307.

        - Abrasion Resistance: 22 to 28 maximum weight loss per ASTM D4060.

        - VOC Content: .15 grams per L per ASTM D2369.

    - Basis of Design Product: SPARTACOTE SEAL XPL Low VOC Clear Concrete Coating System as manufactured by LATICRETE.

      - Overall System Thickness: 12 to 20 mils.

** NOTE TO SPECIFIER ** Delete option for base coat if not required.

        - Resin: Polyaspartic aliphatic polyurea.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 6 to 10 mils.

** NOTE TO SPECIFIER ** Many top-coat options available. Revise subparagraphs as required.

      - Top Coat: SPARTACOTE FLEX XPL Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 6 to 10 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Above 400 concrete fracture per ASTM D4541.

        - Tensile Strength: 2,000-2,200 per ASTM D638.

        - Impact Direct/Reverse: Less than 95 in-lb per ASTM D2794.

        - Abrasion Resistance: 12 to 14 maximum weight loss per ASTM D4060.

        - VOC Content: 30.1 grams per L per ASTM D2369.

        - COF per ANSI A326.3: Dry: 0.99. Wet: 0.39.

    - Basis of Design Product: SPARTACOTE SEAL PURE Low VOC Clear Concrete Coating System as manufactured by LATICRETE.

      - Overall System Thickness: 15 to 20 mils.

** NOTE TO SPECIFIER ** Delete option for base coat if not required.

      - Base Coat: SPARTACOTE FLEX PURE Clear.

        - Resin: Polyaspartic aliphatic polyurea.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

** NOTE TO SPECIFIER ** Many top-coat options available. Revise subparagraphs as required.

      - Top-Coat: SPARTACOTE FLEX PURE Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 10 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Above 400 concrete fracture per ASTM D4541.

        - Tensile Strength: 5,000 to 5,300 per ASTM D638.

        - Impact Direct/Reverse: Less than 95 in-lb per ASTM D2794.

        - Abrasion Resistance: 22 to 28 maximum weight loss per ASTM D4060.

        - VOC Content: 23.3 grams per L per ASTM D2369.

        - COF per ANSI B101.3: Dry: 0.64. Wet: 0.35.

    - Basis of Design Product: SPARTACOTE SEAL SB Clear Concrete Coating System as manufactured by LATICRETE.

      - Overall System Thickness: 9 to 12 mils.

** NOTE TO SPECIFIER ** Delete option for base coat if not required.

      - Base Coat: SPARTACOTE FLEX SB Clear.

        - Resin: Polyaspartic aliphatic polyurea.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

** NOTE TO SPECIFIER ** Many top-coat options available. Revise subparagraphs as required.

      - Top-Coat: SPARTACOTE FLEX SB Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: 72 percent solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Above 400 concrete fracture per ASTM D4541.

        - Tensile Strength: 4,500 to 5,000 per ASTM D638.

        - Impact Direct/Reverse: Less than 95 in-lb per ASTM D2794.

        - Abrasion Resistance: 22 to 28 maximum weight loss per ASTM D4060.

        - Pull-Off Strength: 1885 lb per ASTM D4541.

        - Water Absorption: 0.87 per ASTM D570.

        - COF per ANSI B101.3: Dry: 0.72. Wet: 0.36.

    - Basis of Design Product: SPARTACOTE SEAL UTC Clear Concrete Coating System as manufactured by LATICRETE.

      - Overall System Thickness: 15 to 50 mils.

** NOTE TO SPECIFIER ** Delete option for prime coat if not required.

      - Concrete Dye Coat: SPARTACOTE VIVID DYE.

      - Prime Coat: SPARTACOTE Urethane Primer WB.

        - Resin: Epoxy.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

** NOTE TO SPECIFIER ** Many top-coat options available. Revise subparagraphs as required.

      - Top-Coat: SPARTACOTE Urethane Floor Sealer WB.

        - Resin: Urethane

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 6 to 8 mils.

** NOTE TO SPECIFIER ** Delete option for top coat finish not required.

        - Finish: Matte.

        - Finish: Satin.

        - Finish: As indicated on Drawings.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Cohesive failure of concrete ASTM D7234.

        - Tensile Strength: 2,500 per ASTM C307.

        - Shore Hardness: 75 to 85 per ASTM D2240.

        - VOC Content: 15 grams per L per ASTM D2369.

        - COF per ANSI B101.3: Dry: 0.64. Wet: 0.35.

    - Basis of Design Product: SPARTACOTE SEAL HB Clear Concrete Coating System as manufactured by LATICRETE.

      - Overall System Thickness: 30 to 65mils.

** NOTE TO SPECIFIER ** Delete option for prime coat if not required.

      - Prime Coat: SPARTACOTE General Primer.

        - Resin: Epoxy.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mils.

** NOTE TO SPECIFIER ** Many top-coat options available. Revise subparagraphs as required.

      - Mid-Coat: SPARTACOTE Surface Build Top Coat UV.

        - Resin: Epoxy.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 8 to 40 mils.

      - Top-Coat: SPARTACOTE Surface Build Top Coat UV.

        - Resin: Epoxy.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee, broom.

        - Number, Thickness of Coats: One coat, 15 to 20 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Adhesion: Cohesive failure of concrete per ASTM D7234.

        - Tensile Strength: 2,000 to 2,500 per ASTM C307.

        - Abrasion Resistance: 22 to 28 maximum weight loss per ASTM D4060.

        - VOC Content: 15 grams per L per ASTM D2369.

** NOTE TO SPECIFIER ** Delete option for cove base if not required.

      - Cove Base: SPARTACOTE Cove Gel.

        - Resin: Epoxy.

** NOTE TO SPECIFIER ** Delete option for high solids formulation if not required.

        - Formulation Description: High solids.

        - Primer: SPARTACOTE General Primer.

        - Application Method: Trowel, roller.

        - Thickness of Coats: 1/8 x 1 inch (3.2 x 25 mm) radius.

** NOTE TO SPECIFIER ** Delete options for cove height not required.

        - Cove Height: 4 inches (102 mm).

        - Cove Height: 6 inches (152 mm).

        - Cove Height: As indicated on Drawings.

    - Basis of Design Product: SPARTACOTE Urethane Cement Monolithic Urethane Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 3/8 inch (9.5 mm).

      - Cove Base: SPARTACOTE Urethane Cement Cove Base.

        - Resin: Polyurethane.

** NOTE TO SPECIFIER ** Delete color option not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

** NOTE TO SPECIFIER ** Delete option for polyurethane/cementitious formulation if not required.

        - Formulation Description: Polyurethane/cementitious mixture.

        - Application Method: Hand trowel, cove trowel, mohair roller.

        - Number, Thickness of Coats: One coat, 3/16 inch (4.8 mm)

      - Base / Broadcast Coat: SPARTACOTE Urethane Cement ATS.

        - Resin: Polyurethane.

** NOTE TO SPECIFIER ** Delete color option not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

** NOTE TO SPECIFIER ** Delete option for polyurethane/cementitious formulation if not required.

        - Formulation Description: Polyurethane/cementitious mixture.

        - Application Method: Trowel, squeegee, or gauge rake.

        - Number, Thickness of Coats: One coat, 1/8 to 1/4 inch (3.2 to 6.4 mm).

** NOTE TO SPECIFIER ** Many top-coat options available. Revise subparagraphs as required.

      - Broadcast Media:

** NOTE TO SPECIFIER ** Delete options for broadcast media type not required.

        - Broadcast Media Type: Standard LATICRETE SPARTACOTE Blended Quartz Blends.

        - Broadcast Media Type: Standard LATICRETE SPARTACOTE Blended Chip Blends.

        - Broadcast Media Type: 30 mesh cleaned, kiln dried sand.

        - Broadcast Media Type: As indicated on Drawings.

        - Application Method: Manual broadcast.

      - Top-Coat: SPARTACOTE Urethane Cement Topcoat.

        - Resin: Polyurethane

        - Formulation Description: Polyurethane/cementitious mixture.

        - Application Method: Trowel, squeegee, or gauge rake.

** NOTE TO SPECIFIER ** Delete color option not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

        - Number, Thickness of Coats: One coat, 1/8 inch (3.2 mm).

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Compressive Strength: 6,250 psi (43 MPa) per ASTM C579.

        - Tensile Strength: 1,750 psi (12.06 MPa) per ASTM C307.

        - Flexural Strength: 3,000 psi (20.68 MPa) per ASTM C580.

        - Impact Strength: Less than 140 in-lbf (1613 gram-force meter) per ASTM D4226.

    - Basis of Design Product: SPARTACOTE Urethane Cement PTC Monolithic Urethane Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 3/8 inch (9.5 mm).

      - Cove Base: SPARTACOTE Urethane Cement Cove Base.

        - Resin: Polyurethane

** NOTE TO SPECIFIER ** Delete option for polyurethane/cementitious formulation if not required.

        - Formulation Description: Polyurethane/cementitious mixture.

        - Application Method: Hand trowel, cove trowel, mohair roller.

** NOTE TO SPECIFIER ** Delete color option not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

        - Number, Thickness of Coats: One coat, 3/16 inch (4.8 mm).

      - Base / Broadcast Coat: SPARTACOTE Urethane Cement ATS

        - Resin: Polyurethane

** NOTE TO SPECIFIER ** Delete option for polyurethane/cementitious formulation if not required.

        - Formulation Description: Polyurethane/cementitious mixture.

        - Application Method: Trowel, squeegee, or gauge rake.

** NOTE TO SPECIFIER ** Delete color option not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

        - Number, Thickness of Coats: One coat, 1/8 to 1/4 inch (3.2 to 6.4 mm).

** NOTE TO SPECIFIER ** Many top-coat options available. Revise subparagraphs as required.

      - Broadcast Media:

** NOTE TO SPECIFIER ** Delete options for broadcast media type not required.

        - Broadcast Media Type: Standard LATICRETE SPARTACOTE Blended Quartz Blends.

        - Broadcast Media Type: Standard LATICRETE SPARTACOTE Blended Chip Blends.

        - Broadcast Media Type: 30 mesh cleaned, kiln dried sand.

        - Broadcast Media Type: As indicated on Drawings.

        - Application Method: Manual broadcast.

      - Top Coat: SPARTACOTE FLEX XPL.

** NOTE TO SPECIFIER ** Delete option for top coat not required.

        - Top Coat Type: Pigmented.

        - Top Coat Type: Clear.

        - Top Coat Type: As indicated on Drawings.

        - Resin: Polyaspartic aliphatic polyurea.

** NOTE TO SPECIFIER ** Delete color option not required.

        - Color: ___________.

        - Color: As selected by Architect from manufacturer's full range.

        - Formulation Description: High solids anti-microbial coating

        - Traction Additive: SPARTACOTE GRIP (40 Grit)

        - Application Method: Roller, squeegee.

        - Number, Thickness of Coats: One coat, 8 mils.

        - Traction Additive: Mixed in at 3 oz (by volume) per gallon.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Compressive Strength: 6,250 psi (43 MPa) per ASTM C579.

        - Tensile Strength: 1,750 psi (12.06 MPa) per ASTM C307.

        - Flexural Strength: 3,000 psi (20.68 MPa) per ASTM C580.

        - Impact Strength: Less than 140 in-lbf (1613 gram-force meter) per ASTM D4226.

    - Basis of Design Product: SPARTACOTE Troweled Epoxy System Monolithic Textured Resinous Flooring System as manufactured by LATICRETE.

      - Overall System Thickness: 209 to 275 mils.

      - Primer Coat: SPARTACOTE General Primer.

        - Resin: Epoxy.

** NOTE TO SPECIFIER ** Delete option for 100 percent solids formulation if not required.

        - Formulation Description: 100 percent solids.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 3 to 4 mil WFT.

** NOTE TO SPECIFIER ** Many top-coat options available. Revise subparagraphs as required.

      - Body Coat: SPARTACOTE Surface Build Pigment Base.

        - Resin: Epoxy.

        - Pigment: SPARTACOTE Surface Build Pigments.

        - Application Method: Trowel, squeegee or screed.

        - Number, Thickness of Coats: One coat, 3/16 to 1/4 inch (4.8 to 6.4 mm) build.

** NOTE TO SPECIFIER ** Fill in blank below with color name, ' As indicated on Drawings' or delete line.

        - Color of Pigment: ___________.

        - Color of Pigment: As selected by Architect from manufacturer's full range.

      - Broadcast Media: Angular Sand/ Quartz.

** NOTE TO SPECIFIER ** Fill in blank below with angular sand/quartz designation or delete line.

        - Angular Sand/Quartz Type: ___________.

        - Angular Sand/Quartz Type: As indicated on Drawings.

        - Application Method: Mix broadcast media directly into pigmented resin.

        - Mixing Ratio: 84 oz Part A (Pre-Pigmented); 44 oz Part B; 100 lbs. Angular Sand

      - Grout Coat: SPARTACOTE Surface Build Pigment Base.

        - Resin: Epoxy.

        - Pigment: SPARTACOTE Surface Build Pigments.

        - Application Method: Roller, squeegee or broom.

        - Thickness of Coats: 15 mils WFT

        - Number, Thickness of Coats: One coat, 15 mils WFT.

** NOTE TO SPECIFIER ** Fill in blank below with color name, ' As indicated on Drawings' or delete line.

        - Color of Pigment: ___________.

        - Color of Pigment: As selected by Architect from manufacturer's full range.

      - Top Coat: SPARTACOTE FLEX XPL Clear.

        - Resin: Polyaspartic aliphatic polyurea.

        - Formulation Description: High solids.

        - Application Method: Roller, squeegee or broom.

        - Number, Thickness of Coats: One coat, 6 to 10 mils.

      - System Physical Properties (ASTM C722, MIL-D-3134): Without traction additives.

        - Compressive Strength: 6,000 psi (41 MPa) per ASTM C579.

        - Tensile Strength: 2,200 psi (15 MPa) per ASTM D638.

        - Flexural Strength: 1,800 psi (12MPa) per ASTM C580 Inch Pounds.

        - Abrasion Resistance: 33 mg maximum weight loss per ASTM D4060.

        - Shore D Hardness: 80 to 90 per ASTM D2240.

        - Tensile Bond Strength: Cohesive failure of concrete per ASTM D7234.

  - ACCESSORlES

** NOTE TO SPECIFIER ** Retain first paragraph below if primer is required. Some systems are self-priming. Some manufacturers offer alternative primers. Also retain first paragraph below if waterproofing membrane is required. Waterproofing membranes may be self-priming, or primers may be required over waterproofing membranes. Delete if not required.

    - Vapor Membrane: LATICRETE SPARTACOTE Moisture Vapor Barrier for concrete slabs exhibiting elevated moisture vapor emission rates (less than 75 percent RH). For faster return to surface VAPOR BAN ER can be used.

** NOTE TO SPECIFIER ** Delete subparagraph below if not required.

      - Formulation Description: 100 percent Solids Chemically Enhanced Epoxy

** NOTE TO SPECIFIER ** Retain one of the following two paragraphs, either for FLEX XPL CLININCAL PLUS or FLEX PURE CLINICAL PLUS. Delete paragraphs for antimicrobial protection if not required.

    - Antimicrobial Protection: SPARTACOTE FLEX XPL CLINICAL PLUS. Equipped with antimicrobial technology which remains active for the lifetime of the floor coating, even when damaged or worn.

    - Antimicrobial Protection: SPARTACOTE FLEX PURE CLINICAL PLUS. Equipped with antimicrobial technology which remains active for the lifetime of the floor coating, even when damaged or worn.

** NOTE TO SPECIFIER ** Retain first paragraph below if a reinforcing membrane is required for crack control or delete if not required. Before retaining paragraph below, verify availability for systems selected with manufacturer. Primer may be required if reinforcing membrane is applied to entire substrate surface.

    - Patching and Fill Material: SPARTACOTE FAST FIX or resinous product of or approved by resinous flooring manufacturer and recommended by manufacturer for application indicated.

    - Joint Filler Material: LATICRETE L and M JOINT-TITE 750 flexible polyuria joint filler or similar product.

    - Traction Additive: SPARTACOTE GRIP traction additive from LATICRETE or similar material available in 40, 60, and 100 mesh sizes.

    - Wear Coat Additive: DIAMOND-TOPP additive from LATICRETE or similar material.

** NOTE TO SPECIFIER ** Insert requirements for metal or plastic cove caps for integral cove base or other materials required for resinous flooring systems selected. Delete if not required.

    - Cove Caps: ___________________.

- EXECUTION

  - EXAMINATION AND PREPARATION

    - Prepare substrates using the methods recommended by the manufacturer for achieving best result for the substrates under project conditions.

** NOTE TO SPECIFIER ** Retain subparagraphs below for concrete substrates. Insert requirements for other substrates to suit Project. Delete if not required.

      - Concrete Substrates: Provide sound concrete surfaces free of laitance, glaze, efflorescence, curing compounds, form-release agents, dust, dirt, grease, oil, and other contaminants incompatible with resinous flooring.

        - Roughen concrete substrates as follows:

** NOTE TO SPECIFIER ** Retain one of two subparagraphs below.

          - Mechanically profile surfaces with an apparatus that abrades the concrete surface to a profile as specified by system application guide.

          - Comply withASTM C811requirements unless manufacturer's written instructions are more stringent.

        - Repair damaged and deteriorated concrete according to resinous flooring manufacturer's written instructions.

** NOTE TO SPECIFIER ** Excessive moisture vapor can cause adhesion failure of systems installed on slabs-on-grade. Delete subparagraphs below if moisture testing is not required.

        - Moisture Testing: Verify concrete substrates are dry and moisture-vapor emissions levels acceptable according to manufacturer's written instructions.

** NOTE TO SPECIFIER ** For applying impermeable resinous flooring systems, 3 lb of water/1000 sq ft (1.36 kg of water/92.9 sq m) of slab area in 24 hrs is considered a safe moisture-vapor-emission rate. Consult manufacturer for appropriate rates for permeable systems that allow moisture vapor to continue through the systems once cured. Modify the following subparagraphs as required.

          - Perform plastic sheet test,ASTM D4263. Proceed with application only after testing indicates absence of moisture in substrates.

          - Perform relative humidity test using in situ probes, ASTM F2170. Proceed with installation only after substrates have a maximum 75 percent relative humidity level measurement.

        - Alkalinity and Adhesion Testing: Verify that concrete substrates have pH within acceptable range. Perform tests recommended by manufacturer. Proceed with application only after substrates pass testing.

      - Resinous Materials: Mix components and prepare materials according to resinous flooring manufacturer's written instructions.

** NOTE TO SPECIFIER ** Insert requirements for patching and fill material to slope existing substrates to drains in subparagraph below as required. Some manufacturers use patching and fill material to fill control joints and other nonmoving cracks. Revise two subparagraphs below to suit systems selected.

        - Use patching and fill material to fill holes and depressions in substrates according to manufacturer's written instructions.

        - Treat control joints, nonmoving substrate cracks according to manufacturer's written instructions to prevent cracks from reflecting through resinous flooring.

    - Do not proceed with installation until substrates have been prepared using the methods recommended by the manufacturer and deviations from manufacturer's recommended tolerances are corrected. Commencement of installation constitutes acceptance of conditions.

    - If preparation is the responsibility of another installer, notify Architect in writing of deviations from manufacturer's recommended installation tolerances and conditions

  - INSTALLATION

    - Install in accordance with manufacturer's instructions, approved submittals and in proper relationship with adjacent construction. Apply components of resinous flooring system according to manufacturer's written instructions to produce a uniform, monolithic wearing surface of thickness indicated.

      - Coordinate application of components to provide optimum adhesion of resinous flooring system to substrate, and optimum inter-coat adhesion.

      - Cure resinous flooring components according to manufacturer's written instructions. Prevent contamination during application and curing processes.

** NOTE TO SPECIFIER ** Resinous flooring may require flooring materials be placed over joints, cured, saw-cut and then resealed; verify procedure with manufacturer. Detail joints on Drawings and revise below to suit Project. Delete subparagraph below if expansion or isolation joints in floor not required.

      - At substrate expansion and isolation joints, comply with resinous flooring manufacturer's written instructions.

** NOTE TO SPECIFIER ** Retain first paragraph below if waterproofing membrane is required. Waterproofing membranes may not require a primer; verify requirements for resinous flooring systems selected. Delete first paragraph below if only self-priming systems are required.

      - Apply vapor reduction coating, where indicated on Drawings, in thickness as recommended by manufacturer.

** NOTE TO SPECIFIER ** Delete the following subparagraph if not required.

      - Apply vapor reduction coating to substrates.

** NOTE TO SPECIFIER ** Insert requirements for installing metal or plastic cove caps if required in subparagraph below. Modify cove base height as required. Delete if integral cove base not required.

      - Integral Cove Base: Where indicated on Drawings, apply cove base mix to wall surfaces before applying flooring according to manufacturer's written instructions and details; including those for taping, mixing, priming, and troweling, sanding, and top coating of cove base. Round internal and external corners.

        - Integral Cove Base Product: SPARTACOTE Cove Gel or manufacturer approved substitute.

** NOTE TO SPECIFIER ** Subparagraph below is for troweled or screeded systems. Indicate thickness of self-leveling systems in Part 2 or insert below. Delete if self-leveling systems not required.

      - Apply primer and body coats in thickness indicated for flooring system.

** NOTE TO SPECIFIER ** Delete subparagraph below if not required.

      - Apply topcoats in number indicated for flooring system and at spreading rates recommended in writing by manufacturer.

  - FIELD QUALITY CONTROL

** NOTE TO SPECIFIER ** With Owner's written permission, retain paragraph below to ensure compliance with thickness requirements. Core sampling requires repairing damage caused by testing.

    - Core Sampling: At the direction of Owner and at locations designated by Owner, take one core sample per 1000 sq. ft. (92.9 sq. m) of resinous flooring, or portion of, to verify thickness. For each sample that fails to comply with requirements, take two additional samples. Repair damage caused by coring and correct deficiencies.

** NOTE TO SPECIFIER ** Delete if size or nature of Project does not warrant material sampling. If retaining, revise to suit Project.

    - Material Sampling: Owner may at any time and any number of times during resinous flooring application require material samples for testing for compliance with requirements.

  - CLEANING AND PROTECTION

    - Clean and products in accordance with the manufacturer's recommendations.

    - Protect resinous flooring from damage and wear during the remainder of construction period. Use protective methods and materials, including temporary covering, recommended in writing by resinous flooring manufacturer.

    - Touch-up, repair or replace damaged products before Substantial Completion.

END OF SECTION