SECTION 01 60 00

PRODUCT REQUIREMENTS

Display hidden notes to specifier. (Don't know how? [Click Here](https://www.arcat.com/sd/display_hidden_notes.shtml))

*Copyright 2015 - 2025 ARCAT, Inc. - All rights reserved*

\*\* NOTE TO SPECIFIER \*\* This is a generic ARCAT specification, provided in the style and format of all ARCAT manufacturer's specifications. The Notes to Specifier are intended to provide guidance in editing the text. Delete and add text as required for your individual project.

1. GENERAL
	1. SECTION INCLUDES

\*\* NOTE TO SPECIFIER \*\* Delete items below not required for project.

* + 1. Manufacturers: Provide products from one manufacturer for each type or kind as applicable. Provide secondary materials as acceptable to manufacturers of primary materials.
		2. Product Selection: Provide products selected or equal approved by Architect. Products submitted for substitution shall be submitted with complete documentation, and include construction costs of substitution including related work.
		3. Substitutions: Request for substitution must be in writing. Conditions for substitution include:
			1. An 'or equal' phrase in the specifications.
			2. Specified material cannot be coordinated with other work.
			3. Specified material is not acceptable to authorities having jurisdiction.
			4. Substantial advantage is offered to the Owner in terms of cost, time, or other valuable consideration.
		4. Substitution Requests: Substitutions shall be submitted prior to award of contract, unless otherwise acceptable. Approval of shop drawings, product data, or samples containing substitutions is not an approval of a substitution unless an item is clearly presented as a substitution at the time of submittal.
1. PRODUCTS - Not applicable to this Section
2. EXECUTION - Not applicable to this Section

END OF SECTION