SECTION 08 42 33

REVOLVING DOORS

Display hidden notes to specifier. (Don't know how? Click Here)

Copyright 2012 - 2026 ARCAT, Inc. - All rights reserved

** NOTE TO SPECIFIER ** ASSA ABLOY Entrance Systems; automatic revolving doors.
This section is based on the products of ASSA ABLOY Entrance Systems, which is located at:
1900 Airport Rd.
Monroe, NC 28110
Toll Free Tel: 877-SPEC-123 
Fax: 704-290-5555
Email: request info (specdesk@besam-usa.com)
Web: https://www.assaabloyentrance.com/us/en/solutions/products/automatic-doors  
 [ Click Here ] for additional information.
ASSA ABLOY Entrance Systems is the world's most comprehensive supplier of entrance automation solutions. We take an integrative approach to the flow of people and goods, creating solutions with the best possible balance of cost, quality and lifetime performance.
At our disposal is a strong portfolio of well-established brands that have been the market leaders in their fields for decades to form a complete offering for the front, back and interior of your building.
For pedestrian door solutions, look to the ASSA ABLOY Entrance Systems brand for a complete line of automatic sliding, swing, revolving and manual ICU/CCU doors. Contact the ASSA ABLOY Entrance Systems architectural SpecDesk for assistance with plan review, spec development, code clarification and CEU programs. Our team also provides nationwide installation as well as service of all brands of automatic doors, planned maintenance contracts and AAADM inspections.

- GENERAL

  - SECTION INCLUDES

** NOTE TO SPECIFIER ** Delete items below not required for project.

    - Revolving Door Types:

      - Revolving doors. 2 wing. (RD600 UniTurn)

      - High Capacity revolving doors. 3 wing. (RD700-3)

      - Manual revolving doors. 3 wing (RD100-3 Series)

      - Manual revolving doors. 4 wing (RD100-4 Series)

      - Automatic revolving doors. 3 wing (RD200-3 Series)

      - Automatic revolving doors. 4 wing (RD200-4 Series)

      - Access control revolving doors 3 wing. (RD400-3 Series)

      - Access control revolving doors 4 wing. (RD400-4 Series)

  - RELATED SECTIONS

** NOTE TO SPECIFIER ** Delete any sections below not relevant to this project; add others as required.

    - Section 07 91 23 - Backer Rods.

    - Section 08 41 13 - Aluminum-Framed Entrances and Storefronts.

    - Section 08 70 00 - Hardware.

    - Section 11 14 19 - Portable Posts and Railings.

    - Section 08 83 13 - Mirrored Glass Glazing.

    - Division 16 - Electrical.

  - REFERENCES

** NOTE TO SPECIFIER ** Delete references from the list below that are not actually required by the text of the edited section.

    - American Architectural Manufacturers Association (AAMA): AAMA 611 Voluntary Specification for Anodized Architectural Aluminum.

    - American Society for Testing and Materials (ASTM):

      - ASTM B221 Standard Specification for Aluminum and Aluminum Alloy Extruded Bars, Rods, Wire, Profiles and Tubes.

      - ASTM B209 Standard Specification for Aluminum and Aluminum Alloy Sheet and Plate.

    - American Association of Automatic Door Manufacturers (AAADM).

    - American National Standards Institute (ANSI):

      - ANSI A117.1 - Accessible and Usable Buildings and Facilities.

      - ANSI Z97.1 - Safety Glazing Material Used in Buildings.

    - ANSI/BHMA A156.27 - American National Standard for Power and Manual Operated Revolving Pedestrian Doors.

    - German Institute for Standardization (DIN): DIN 18650 Automatic Door Standard.

    - National Association of Architectural Metal Manufacturers (NAAMM): Metal Finishes Manual for Architectural Metal Products.

    - National Fire Protection Association (NFPA):

      - NFPA 70 - National Electrical Code.

      - NFPA 101 - Life Safety Code.

    - International Code Council (ICC).

      - IBC: International Building Code.

      - CBC: California Building Code.

    - Underwriters Laboratories Inc. (UL).

  - SUBMITTALS

    - Submit under provisions of Section 01 30 00 - Administrative Requirements.

    - Product Data: Submit manufacturer's product data sheets, including installation details, material descriptions, dimensions of individual components and profiles, fabrication, operational descriptions and finishes:

      - Preparation instructions and recommendations.

      - Storage and handling requirements and recommendations.

      - Installation methods.

    - Shop Drawings: Submit manufacturer's shop drawings, including elevations, sections and details, indicating dimensions, materials, and fabrication of doors, enclosure wall, canopy, operator, activation sensors, safety sensors, anchors, hardware, finish, options and accessories.

    - Manufacturer's Project References: Submit list of successfully completed projects including project name and location, name of architect, and type and quantity of doors manufactured.

    - Test Reports: Submit certified test reports from UL, cUL, and ICBO indicating doors comply with specified performance requirements.

    - Manufacturer's Field Reports: Submit manufacturer's field reports from AAADM certified technician of inspection and approval of doors for compliance with ANSI/BHMA 156.27 after completion of installation.

    - Operation and Maintenance Manual: Submit manufacturer's operation and maintenance manual. Include spare parts list.

** NOTE TO SPECIFIER ** Delete selection samples if selections have already been made.

    - Selection Samples: Submit two sets of samples showing manufacturer's standard range of available finishes.

    - Verification Samples: For each product specified, two samples, representing finishes to be installed.

** NOTE TO SPECIFIER ** Informational submittals for LEED projects. Delete if not required.

    - LEED Submittals: Manufacturer's product information and applicable sustainability program credits that are available to contribute towards a LEED rated project certification.

      - Credit MR 4.1 and 4.2: Manufacturer's or fabricator's certificate indicating percentage of post-consumer recycled content by weight and pre-consumer recycled content by weight for each product specified under this section.

  - QUALITY ASSURANCE

    - Manufacturer's Qualifications:

      - Continuously engaged in manufacturing of doors of similar type to that specified, with a minimum of 5 years successful experience.

** NOTE TO SPECIFIER ** Does not apply to manual door applications. Delete if not required.

      - Member: American Association of Automatic Door Manufacturers (AAADM).

    - Installer's Qualifications:

      - Minimum of 3 years' successful experience in installation of similar doors.

      - Local certified ASSA ABLOY Entrance Systems distributor.

** NOTE TO SPECIFIER ** Does not apply to manual door applications. Delete if not required.

      - Certification: American Association of Automatic Door Manufacturers (AAADM) certified.

** NOTE TO SPECIFIER ** Conditions of warranty may be contingent on approval. Delete if not required.

      - Approved by manufacturer.

    - Single Source Requirements: To the greatest extent possible provide products specified in this section from a single manufacturer.

  - DELIVERY, STORAGE, AND HANDLING

    - Delivery: Deliver materials to site protected from damage.

    - Storage: Store materials in clean, dry area indoors in manufacturer's unopened packaging until ready for installation and in accordance with manufacturer's instructions.

    - Handling: Protect materials and finish from damage during handling and installation.

  - PROJECT CONDITIONS

    - Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results. Do not install products under environmental conditions outside manufacturer's absolute limits.

  - MAINTENANCE SERVICE

    - The manufacturer is to offer a dispatch procedure that is available 24 hours per day, 365 days per year to facilitate proper service capability.

      - A manufacturer's designated service contact is to obtain malfunction information and dispatch appropriate service provider to project location.

      - Toll free phone number, 1-877-237-2687, prominently displayed on the header of each operator.

      - A geographically assigned installation provider is to be trained and certified to provide maintenance service.

  - COORDINATION AND SCHEDULING

    - Conference: Convene a pre-installation conference to establish procedures to maintain optimum working conditions and to coordinate this work with related and adjacent work.

      - Coordinate sizes and locations of recesses in concrete if applicable.

    - Field Measurements: Verify actual dimensions of openings to receive revolving door entrances by field measurements before fabrication and indicate on shop drawings.

  - WARRANTY

    - Warranty: Manufacturer's standard warranty against defects in materials and workmanship. The warranty is to be one (1) year from date of installation.

      - Warranty Period: One (1) year.

      - During the warranty period a factory-trained technician is to perform service and affect repairs. A safety inspection is to be performed after each adjustment or repair and a completed inspection form is to be submitted to the Owner.

- PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturer: ASSA ABLOY Entrance Systems, which is located at:
1900 Airport Rd.
Monroe, NC 28110
Toll Free Tel: 877-SPEC-123 
Fax: 704-290-5555
Email: request info (specdesk@besam-usa.com);Web: https://www.assaabloyentrance.com/us/en/solutions/products/automatic-doors

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs: coordinate with requirements of Division 1 section on product options and substitutions.

    - Substitutions: Not permitted.

    - Requests for substitutions will be considered in accordance with the provisions of Section 01 60 00 - Product Requirements.

** NOTE TO SPECIFIER ** ASSA ABLOY RD600 UniTurn 2-wing revolving doors have drastically changed the industry's approach to revolving door automation. RD600 UniTurn welcomes people into a building with an inviting entryway. By eliminating the need for a center shaft, we've been able to create a much larger door compartment area than traditional revolving doors. The increased space is capable of accommodating shopping and luggage carts, wheelchairs, stretchers and even crowds with ease - up to 5,880 people per hour. Our RD600 UniTurn is the safest revolving door in the world, ideal for high-traffic entrances. ASSA ABLOY's two-wing design securely seals the entrance when the unit is closed, eliminating the need for costly additional security doors. Delete if not required.

  - TWO WING REVOLVING DOORS (RD600 UNITURN)

    - Basis of Design: Model RD600 UniTurn Series. Two wing, automatic revolving door entrances as manufactured by ASSA ABLOY Entrance Systems.

      - Entrances: Aluminum framed revolving doors, enclosure walls and canopy; equipped with overhead concealed electro-mechanical, microprocessor controlled, revolving door control system.

      - Rotation: Counterclockwise.

      - Emergency Breakaway Capability: Full breakout.

      - Mounting: Fixed to finished floor surface. Floor preparation and finishing work can be completed before installation. No bearings or fittings below floor level are required.

** NOTE TO SPECIFIER ** Delete height options not required. Custom heights are available.

      - Height: ___________.

      - Height: As indicated on Drawings.

      - Height: Standard, 8 ft 4 inches (2540 mm).

** NOTE TO SPECIFIER ** Delete diameters not required. Custom diameters are not available.

      - Nominal Inside Diameter: As indicated on Drawings.

      - Nominal Inside Diameter: 12 ft.

        - Outside Diameter: 12 ft 1-1/4 inches (3589 mm).

      - Nominal Inside Diameter: 14 ft.

        - Outside Diameter: 14 ft 7/8 inches (4289 mm).

      - Nominal Inside Diameter: 16 ft.

        - Outside Diameter: 16 ft 1/2 inches (4889 mm).

      - Nominal Inside Diameter: 18 ft.

        - Outside Diameter: 17 ft 15/16 inch (5206 mm).

      - Slow Speed Push Plates: Two handicapped "push to slow" push plates. When the push plate is pressed, the rotation speed will be reduced.

    - Performance Requirements:

      - Comply with specified performance requirements, as demonstrated by testing manufacturer's corresponding standard systems.

      - Compliance: ANSI/BHMA A156.27 American National Standard for Power and Manual Operated Revolving Pedestrian Doors.

      - Thermal Movements: Allow for thermal movements resulting from maximum change in ambient and surface temperatures by preventing buckling, opening of joints, overstressing of components, failure of joint sealants, failure of connections, and other detrimental effects.

      - Engineering Calculations: Based on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

      - Operating Temperature Range: -4 to 122 degrees F (-20 to 50 degrees C).

      - Breakout Force Requirements: Provide a mechanism allowing emergency breakout of door panels when a maximum force of 130 lbs (570 N) applied 3 inches (75 mm) from the outer edge of the door panel and 40 inches (1020 mm) above the floor, unless otherwise allowed by ANSI/BHMA A156.27.

      - Control Mechanism: Rotating door panel speed is to be adjustable to the maximum allowable revolutions per minute (RPM) as specified by ANSI/BHMA A156.27.

    - Components:

      - Circular Enclosure Walls and Canopy Framing:

        - Aluminum Extrusions Framing Wall Thickness: 0.125 inches (3.2 mm).

        - Framing for Enclosure Walls and Canopy: Formed to the required radius.

        - Internal Structural Support: I-beam construction. A minimum of 8 vertical structural posts.

        - Outside Diameter of Enclosure Walls: Fixed.

      - Rotating Wings: Aluminum extrusion, Two-wing configuration.

      - Emergency Escape Doors:

        - Configuration: Perimeter driven, no center shaft, revolving door with two double acting swing door panels.

        - Emergency Breakaway: Door panels break out in the egress direction.

** NOTE TO SPECIFIER ** Delete door type not required.

        - Door Type: One pair of equal sized, double acting swing doors across the center of the opening. Door wings to be electro-mechanically locked in position.

        - Door Type: One pair of equal sized, power operated bi-parting sliding doors across the center of the opening. Sliding doors to be electro-mechanically locked in position. Provide remote activation switch for sliding door operation.

      - Weather Stripping: Continuous horizontal and vertical seals during the rotating mode and the non-rotating closed position to ensure limited air infiltration.

        - Seal Type: Natural horsehair and synthetic fiber brush seals.

      - Canopy: Manufacturer's standard canopy construction, size and layout matching diameter of enclosure walls, with formed metal panel sides of material and finish matching enclosure walls, unless otherwise indicated.

        - Canopy Roof Structure Coverage: 5/8 inch (16 mm) laminated wood covered with waterproof EPDM membrane, and a water diversion system to drain water.

        - Center Panels: Removable and serve as access hatches.

** NOTE TO SPECIFIER ** Delete roof options not required. Consult ASSA ABLOY SpecDesk for roof options.

        - Roof: ______________.

        - Roof: As indicated on Drawings.

        - Roof: Aluminum sheet roof. Finish: As indicated on Drawings.

** NOTE TO SPECIFIER ** Delete ceiling panels options not required. Consult ASSA ABLOY SpecDesk for custom ceiling finish options. White laminate faced insulation board is standard.

      - Rotating Ceiling: 5/8 inch (16 mm) laminate faced insulation board.

        - Ceiling Panels: White laminate faced insulation board, 5/8 inch (16 mm) thick.

        - Ceiling Panels: Colored laminate faced insulation board panels.

** NOTE TO SPECIFIER ** Delete color option not required.

          - Color: _____________.

          - Color: As indicated on Drawings.

        - Ceiling Panels: Simulated stainless steel laminate faced insulation board panels.

** NOTE TO SPECIFIER ** Delete finish option not required.

          - Stainless Steel Finish: _____________.

          - Stainless Steel Finish: As indicated on Drawings.

        - Ceiling Panels: Anodized clear aluminum laminate faced insulation board panels.

** NOTE TO SPECIFIER ** Delete aluminum finish option not required.

          - Aluminum Finish: _____________.

          - Aluminum Finish: As indicated on Drawings.

      - Ceiling Light Fixtures: 5 watt, 3000K LED MR16 lamp, 12 VAC/DC.

        - Flush mounted ceiling light fixtures in quantity as indicated.

        - Light Activation Control: Via a program selection switch or from optional remote location.

        - Not Acceptable: 203-220 VAC, AC light fixtures.

** NOTE TO SPECIFIER ** Delete Fixtures per entrance option not required. 10 fixtures for 12 and 14 ft diameter revolving door entrances. 12 fixtures for 16 and 18 ft diameter revolving door entrance.

        - Fixtures per 12 ft and 14 ft diameter revolving doors: 10.

        - Fixtures per 16 ft and 18 ft diameter revolving doors: 12.

      - Glazing: Comply with ANSI Z97.1. Thickness: As indicated.

        - Rotating Section and Double Acting Swing Doors: 1/4 inch (6 mm) clear laminated glass.

        - Curved Walls and Rotating Doors: 5/16 inch (8 mm) clear laminated glass formed to the required radius to assure a weather seal throughout enclosure.

        - Not Acceptable:

          - Flat glass and flat segmented glass in the enclosure walls.

          - Butt glazed panels.

          - Plastic glazing material.

** NOTE TO SPECIFIER ** Consult ASSA ABLOY SpecDesk for heater options and details. Fill in blank below or delete line as applicable. Delete options for heaters if not required.

      - Heaters: ______________.

      - Heaters: As indicated on Drawings.

      - Heaters: None.

    - Operators and Controls:

      - Power Supply: 208-230 V, 20 amp, 60 Hz.

      - Controls: Microprocessor based "plug-in type" electronics with self-diagnostics and digital display status indicator.

        - Digital Display Status Indicator: Data indicating door status, source or probable cause plus remedy. Location: On interior left of curved outside wall system.

      - Drive Assembly: Perimeter-drive with two 1/4 HP DC motors attached to the internal rotating structural framing system.

        - Motor Drive Wheels: Rotate on a fixed ring. Move ceiling and rotating wing assembly uniformly.

        - Positive Braking and Stopping: Two, magnetic disc brake and wheel assemblies.

        - Not Acceptable: Doors with center shaft or centrally AC motor driven gear/chain/belt mechanisms.

    - Activation and Safety Control Devices:

      - Activation Units: Concealed in the fixed ceiling area directly above throat opening.

        - Activation: By manufacturer's flush-mounted concealed motion sensors.

          - Motion Sensors: Solid state infrared technology.

          - Two activation units per throat opening.

          - Not Acceptable: Surface mounted motion detectors

          - Automatic Operation: Activation unit signal activates and revolves door for one turn. Doors then return to the closed position with perimeter display wings closing the throat openings to the enclosure.

      - Safety Control Devices:

        - Primary or Secondary Safety Devices:

          - Located vertically on the outer edge of rotating wing and at the entrances.

          - Located horizontally on the wing panels.

        - Vertical Safety Sensors:

          - Zone Supervised No-Touch Photocell Direct Reflection (PDR) Sensors:

            - Two Sensors: Cover area immediately adjacent to enclosure wall leading edges and include zone-supervision.

              - Activation in the Programmed Safety Zone: Will cause the door to stop.

            - Two Rotating Sensors: On leading edges of the rotating wings.

              - Activation will cause the door to stop.

          - Compressible Safety Switches.

            - Two switches on the leading edges of the rotating wings.

              - Activation will cause the door to stop.

        - Horizontal Safety Sensors:

          - Four, No-Touch Infrared Sensors: Located in the ceiling covering the rotating door panel.

            - Activation: Object detection within 8 inches (175 to203 mm) from the wing panel surface will cause door rotation to stop.

              - Door resumes normal speed once the object is removed.

          - Four Compressible Safety Switches: On the bottom edge of the wing panels. Activation will cause the door rotation to stop.

        - Emergency Stop Push Button: On the curved enclosure per ANSI/BHMA A156.27. When the button is pressed, door rotation stops.

      - Micro-Processor Control Unit (MCU): Supervision of systems must be performed by the MCU by conducting continuous "self-monitoring".

        - Malfunction of Any Device: Causes the door to stop. The error code is to be indicated on diagnostic display of the MCU.

        - Power Loss or Fire Alarm Input: Monitored by the MCU and its emergency battery unit.

          - Emergency Battery Activation: Revolving door rotates to the emergency position.

          - Not Acceptable:

            - Doors that do not rotate to the emergency position.

            - Doors without the "self-monitoring function".

    - Hardware:

      - Locking System:

        - Selector Switch is Placed in Position 1: Revolving door will cycle and rest in full closed and lock position.

          - Locking System: Utilizes magnetic brakes and motor drive units; controlled by the Master Control Unit (MCU).

          - Electro-Mechanical Lock: Must be completely automatic and controlled by the MCU through the selector switch.

        - Two Rotating Brakes: Provide instantaneous braking of revolving door.

** NOTE TO SPECIFIER ** Delete dead bolt if not required.

        - Dead Bolt: Electro-mechanical lock sets a hardened 1/2 inch (13 mm) diameter dead bolt between the fixed wall structure and the rotating door sections of the revolving door.

      - Program Control Device (PCD):

        - Mounts on the interior left vertical jamb of the curved wall.

          - Eight Function Capability: Includes locked in closed position, entry/exit with start from closed position, entry/exit with start from open position, continuous rotation, exit only with start from open position, exit only with start from closed position, manual operation/forward, manual operation/reverse, and summer position.

        - Entry code access. Does not require key operation during normal door use.

        - Circular Buffer Memory: Records the last 600 operational events of the door system.

          - Visual Displays: Notify the user when to perform planned maintenance if the real time clock and climate control systems are activated and if the manual key lockout is in effect.

        - Real Time Clock: Three (3) programmable day schedules, Ten operation modes per day schedule, weekly schedules and 16 exceptions for holidays.

        - Accommodates remote diagnostics via an optional modem and client supplied telephone/data line.

** NOTE TO SPECIFIER ** The ASSA ABLOY RD700-3 creates a spacious and welcoming entrance that can accommodate shopping carts, luggage rolling bags and wheelchairs with ease. The full rotating ceiling ensures even lighting and eliminates brush marks. With large convenient compartment areas, the ASSA ABLOY RD700-3 is an ideal solution for entrances with continuous, high-volume pedestrian traffic. Hidden sensors allow for an uncluttered presentation and clean lines throughout. The RD700-3's patented drive mechanism is located in the periphery of the drum, reducing stress on the drive itself and resulting in lower maintenance costs. Delete if not required.

  - THREE WING HIGH CAPACITY REVOLVING DOORS (RD700-3)

    - Basis of Design: Model RD700-3. Three Wing, High Capacity Automatic Revolving Door Entrances as manufactured by ASSA ABLOY Entrance Systems.

      - Entrances: Aluminum framed revolving doors, overhead concealed electro-mechanical, microprocessor controlled, revolving door control system. Center shaft revolving door entrance with aluminum framed doors, enclosure walls, and canopy.

      - Rotation: Counterclockwise.

      - Emergency Breakaway Capability: Full breakout. Door panels are to break out in the direction of the egress.

      - Mounting: Fixed to finished floor surface. Floor preparation and finishing work can be completed before installation. No bearings or fittings below floor level are required.

** NOTE TO SPECIFIER ** Delete fascia height options not required. Custom heights available from 13 to 49 inches.

      - Fascia Height: ___________.

      - Fascia Height: As indicated on Drawings.

      - Fascia Height: 13-3/8 inches (340 mm).

** NOTE TO SPECIFIER ** Delete fascia type options not required. Non-insulate is standard.

      - Fascia Type: As indicated on Drawings.

      - Fascia Type: Standard, non-insulated.

      - Fascia Type: Insulated.

** NOTE TO SPECIFIER ** Delete internal height options not required. Custom heights available from 78 to 102 inches. 7 ft 2-5/8 inches (2200 mm) is standard.

      - Internal Height: ___________.

      - Internal Height: As indicated on Drawings.

      - Internal Height: 7 ft 2-5/8 inches (2200 mm).

** NOTE TO SPECIFIER ** Delete diameter options not required. Custom diameters are not available.

      - Nominal Inside Diameter: As indicated on Drawings.

      - Nominal Inside Diameter: 14 ft.

      - Nominal Inside Diameter: 16 ft.

      - Nominal Inside Diameter: 18 ft.

      - Nominal Inside Diameter: 20 ft.

      - Slow Speed Push Plates: Two handicapped "push to slow" push plates. When the push plate is pressed, the rotation speed will be reduced.

** NOTE TO SPECIFIER ** Delete optional night closing door if not required. It provides an elegant solution for optimum security.

      - Night Closing Door (NCD).

** NOTE TO SPECIFIER ** Delete door type not required.

        - Door Type: As indicated on Drawings.

        - Door Type: Bi-parting manual slide door.

        - Door Type: Single slide manual slide door.

        - In Emergency Situations: Door wings are released immediately and then folded to allow for emergency egress.

        - In the Open Position: The NCD's one-door-leaf solution fits securely and close to the outer wall sections without obstructing traffic, and parks safely on the opposite side to closing mullion. The door can be slid closed, sealing off the entrance for security at night or after business hours.

    - Performance Requirements:

      - Comply with specified performance requirements, as demonstrated by testing manufacturer's corresponding standard systems.

      - Compliance: ANSI/BHMA A156.27 American National Standard for Power and Manual Operated Revolving Pedestrian Doors.

      - Thermal Movements: Allow for thermal movements resulting from maximum change in ambient and surface temperatures by preventing buckling, opening of joints, overstressing of components, failure of joint sealants, failure of connections, and other detrimental effects.

      - Engineering Calculations: Based on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

      - Operating Temperature Range: -4 to 122 degrees F (-20 to 50 degrees C).

      - Breakout Force Requirements: Provide a mechanism allowing emergency breakout of door panels when a maximum force of 130 lbs (570 N) applied 3 inches (75 mm) from the outer edge of the door panel and 40 inches (1020 mm) above the floor, unless otherwise allowed by ANSI/BHMA A156.27.

      - Control Mechanism: Rotating door panel speed is to be adjustable to the maximum allowable revolutions per minute (RPM) as specified by ANSI/BHMA A156.27.

    - Components:

      - Circular Enclosure Walls and Canopy Framing:

        - Not Acceptable:

          - Segmented walls and canopy.

          - Metal-wrapped wood or other material substrates.

        - Slim Line Aluminum Extrusions Wall Thickness: 0.125 inches (3 mm).

        - Framing for the Enclosure Walls and Canopy: Formed to the required radius.

        - Internal Structural Support: 0.125 inch (3.2 mm) slim line aluminum.

        - Outside Diameter of Enclosure Walls: Fixed.

      - Rotating Wings: Aluminum extrusion, three-wing configuration.

      - Center Post: Slim profile design, extruded aluminum. Finish: Match door wings.

      - Weather Stripping: Continuous horizontal and vertical seals during the rotating mode and the non-rotating closed position to ensure limited air infiltration.

        - Seal Type: Natural horsehair and synthetic fiber brush seals.

      - Emergency Escape Doors: In rotating wing sections.

        - Three, Double Acting Swing Doors:

          - Door Wings: Electro-magnetic locking; holds door panels in a closed position.

          - Electro-Magnetic Locking Device: Located at the leading edge of each door wing to provide positive, secure latching of door wings.

      - Canopy: Manufacturer's standard canopy construction, size and layout matching diameter of enclosure walls, with formed metal panel sides of material and finish matching enclosure walls, unless otherwise indicated

        - Canopy Roof Structure Coverage: 5/8 inch (16 mm) laminated wood covered with waterproof EPDM membrane, and a water diversion system to drain water.

        - Panels: Removable and serve as access hatches.

** NOTE TO SPECIFIER ** Delete Roof options not required, Consult ASSA ABLOY SpecDesk for roof options.

        - Roof: ______________.

        - Roof: As indicated on Drawings.

        - Roof: Aluminum sheet roof. Finish as indicated on Drawings.

** NOTE TO SPECIFIER ** Delete ceiling panels options not required. Consult ASSA ABLOY SpecDesk for custom ceiling finish options. White laminate faced insulation board is standard.

      - Rotating Ceiling: 5/8 inch (16 mm) laminate faced insulation board. Panels must be removable and serve as access hatches.

        - Ceiling Panels: White laminate faced insulation board, 5/8 inch (16 mm) thick.

        - Ceiling Panels: Colored laminate faced insulation board panels.

** NOTE TO SPECIFIER ** Delete color option not required.

          - Color: _____________.

          - Color: As indicated on Drawings.

        - Ceiling Panels: Simulated stainless steel laminate faced insulation board panels.

** NOTE TO SPECIFIER ** Delete finish option not required.

          - Stainless Steel Finish: _____________.

          - Stainless Steel Finish: As indicated on Drawings.

        - Ceiling Panels: Anodized clear aluminum laminate faced insulation board panels.

** NOTE TO SPECIFIER ** Delete aluminum finish option not required.

          - Aluminum Finish: _____________.

          - Aluminum Finish: As indicated on Drawings.

        - Ceiling Panels: Formed stainless steel pan panels.

** NOTE TO SPECIFIER ** Delete formed stainless steel pan panel option if not required.

          - Stainless Steel Pan Panels: As indicated on Drawings.

        - Ceiling Panels: Formed aluminum pan panels.

** NOTE TO SPECIFIER ** Delete formed aluminum pan panel option if not required.

          - Aluminum Pan Panels: As indicated on Drawings.

      - Ceiling Light Fixtures: 5 watt, 3000K LED MR16 lamp, 12 VAC/DC.

        - Flush mounted ceiling light fixtures in quantity as indicated.

        - Light Activation Control: Via a program selection switch or from optional remote location.

        - Not Acceptable: 203-220 VAC, AC light fixtures.

** NOTE TO SPECIFIER ** Delete Fixtures per entrance option not required.2 fixtures for 14, 16 and 18 ft diameter revolving doors. 15 fixtures for 20 ft diameter revolving door.

        - Fixtures per 14, 16 and 18 ft diameter revolving doors: 12.

        - Fixtures per 20 ft diameter revolving door: 15.

      - Glazing: Comply with ANSI Z97.1. Thickness: As indicated.

        - Rotating Section and Double Acting Swing Doors: 1/4 inch (6 mm) clear laminated glass.

        - Curved Walls: 5/16 inch (8 mm) clear laminated glass formed to the required radius to assure a weather seal throughout enclosure.

        - Not Acceptable:

          - Flat glass and flat segmented glass in the enclosure walls.

          - Butt glazed panels.

          - Plastic glazing material.

    - Operators and Controls:

      - Power Supply: 208-230 V, 20 amp, 60 Hz.

      - Controls: Microprocessor based "plug-in type" electronics with self-diagnostics and digital display status indicator.

        - Digital Display Status Indicator: Data indicating door status, source or probable cause plus remedy. Location: On interior left of curved outside wall system.

      - Drive Assembly: Perimeter-drive with two 1/4 HP DC motors attached to the internal rotating structural framing system.

        - Motor Drive Wheels: Rotate on a fixed ring. Move ceiling and rotating wing assembly uniformly.

        - Motors: With internal brake mechanism that gradually slows the revolving door.

        - Not Acceptable: Doors with center shaft or centrally AC motor driven gear/chain/belt mechanisms.

      - Emergency Braking System: Instantaneous, electro-mechanical self-adjusting brake.

    - Activation and Safety Control Devices:

      - Activation Units: Concealed in the fixed ceiling area directly above throat opening.

        - Activation: By manufacturer's flush-mounted concealed motion sensors.

          - Motion Sensors: Solid state infrared technology.

          - Two activation units per throat opening.

          - Not Acceptable: Surface mounted motion detectors

        - Automatic Operation: Signal from activation device activates unit and revolves door for one turn and then returns door wings to third-point position.

      - Safety Control Devices:

        - Primary and Secondary Safety Devices:

          - Located vertically on outer edge of the rotating wing at the entrances.

          - Located horizontally on the wing panels.

        - Vertical Safety Sensors:

          - Zone Supervised No-Touch Photocell Direct Reflection (PDR) Sensors:

            - Two Sensors: Cover area immediately adjacent to enclosure wall leading edges and include zone-supervision.

              - Activation in the Programmed Safety Zone: Will cause the door to stop.

            - Two Rotating Sensors: On leading edges of the rotating wings.

              - Activation will cause the door to stop.

          - Compressible Safety Switches.

            - Two switches on the leading edges of the rotating wings.

              - Activation is to cause the door to stop.

        - Horizontal Safety Sensors:

          - Two, No-Touch Sensors: Located at the top of each door wing.

            - Outer Sensor Activation: Causes door to stop

            - Inner Sensor Activation: Slows the door to 0.5 rpm.

          - Compressible Safety Switches: On the bottom edge of the trailing wing panels in each compartment.

            - Activation: Cause the door to stop.

        - Other Safety Sensing Devices: Force-sensitive door leaves

          - Upon Activation: Automatically stop the door rotation.

        - Emergency Stop Push Button: When the button is pressed, door rotation stops.

        - Slow Speed Push Plates: Two, handicapped "push to slow" push plates.

          - When pressed, the rotation speed will be reduced.

      - Emergency Operation:

        - Loss of Power and Fire Alarm Input: Initiates release of electro-magnetic lock allowing door panels to be manually pushed to the emergency egress position.

      - Micro-Processor Control System: Supervision of systems must be performed by the system by conducting continuous "self-monitoring".

        - Malfunction of Any Device: Causes the door to stop. The error code is to be indicated on the diagnostic display.

        - Not Acceptable: Doors without the "self-monitoring function".

    - Hardware:

      - Locking System:

        - Selector Switch is Placed in the "Off" Position: Revolving door will cycle and rest in full closed and lock position.

        - Locking System: Internal electro-mechanical lock. It must be completely automatic and be controlled through the selector switch.

** NOTE TO SPECIFIER ** Delete additional/optional mechanical locking if not required.

        - Mechanical Locking: Provide capability to lock doors with 2 manual keyed deadbolts; provide dust proof floor strike.

          - Location: Extend bolt from bottom of door wing into floor.

** NOTE TO SPECIFIER ** Delete keyed cylinders options if not required.

          - Keyed Cylinders: As indicated on Drawings.

          - Keyed Cylinders: Manufacturer's standard keyed cylinder.

          - Keyed Cylinders: As specified in Division 8.

          - Keyed Cylinders: Custom, by others as indicated on Drawings.

** NOTE TO SPECIFIER ** Delete if not required.

        - Night Closing Door: Lockable.

      - Program Control Device (PCD):

        - Mounts on the interior left vertical jamb of the curved wall.

          - Six Function Capability: Includes locked in closed position, entry/exit with activation by motion sensor, continuous rotation, manual override - forward and reverse, autostart, and summer position.

        - Entry code access. Does not require key operation during normal door use.

          - Includes key switch for additional security.

        - Buffer Memory: A function of the microprocessor that records the last 600 operational events of the door system.

          - Visual Displays: Notify the user when to perform planned maintenance if the real time clock and climate control systems are activated and if the manual key lockout is in effect.

        - Real Time Clock: Three (3) programmable day schedules, Ten operation modes per day schedule, weekly schedules and 16 exceptions for holidays.

        - Accommodates remote diagnostics via an optional modem and client supplied telephone/data line.

** NOTE TO SPECIFIER ** The RD series 3-wing revolving door package provides space for wheeled traffic as well as excellent energy efficiency. Our three-wing revolving doors are a popular choice for facilities with a large, continuous traffic flow. The compact sizes are ideal for hotels, hospitals and office buildings while larger sizes are perfect for supermarkets, hospitals, hotels, airports, retail and office buildings. Delete article if not required.

  - THREE WING AUTOMATIC REVOLVING DOORS (RD200-3 SERIES)

    - Basis of Design: Model RD200-3 Series. Three Wing Automatic Revolving Doors as manufactured by ASSA ABLOY Entrance Systems.

      - Operation: Automatic, two-way pedestrian traffic.

      - Entrances: Aluminum framed revolving doors, overhead concealed electro-mechanical, microprocessor controlled, revolving door control system. Center shaft revolving door entrance with aluminum framed doors, enclosure walls and canopy.

      - Rotation: Counterclockwise.

      - Emergency Breakaway Capability: Double acting door panels that break out in the direction of egress.

      - Door Speed Reduction Switches: Two per unit, to assist with wheelchair access.

** NOTE TO SPECIFIER ** Delete fascia heights not required. Custom heights available from 13 to 49 inches. 13-3/8 inches (340 mm) is standard.

      - Fascia Height: ___________.

      - Fascia Height: As indicated on Drawings.

      - Fascia Height: 13-3/8 inches (340 mm).

** NOTE TO SPECIFIER ** Delete fascia type not required.

      - Fascia Type: As indicated on Drawings.

      - Fascia Type: Standard, non-insulated.

      - Fascia Type: Insulated.

** NOTE TO SPECIFIER ** Delete internal height options not required. Custom heights available from 78 to 102 inches. 7 ft 2-5/8 inches (2200 mm) is standard.

      - Internal Height: ___________.

      - Internal Height: As indicated on Drawings.

      - Internal Height: Standard, 7 ft 2-5/8 inches (2200 mm).

** NOTE TO SPECIFIER ** Delete diameters not required. Custom diameters are not available.

      - Nominal Inside Diameter: As indicated on Drawings.

      - Nominal Inside Diameter: 8 ft.

      - Nominal Inside Diameter: 9 ft.

      - Nominal Inside Diameter: 10 ft.

      - Nominal Inside Diameter: 12 ft.

    - Performance Requirements:

      - Comply with specified performance requirements, as demonstrated by testing manufacturer's corresponding standard systems.

      - Compliance: ANSI/BHMA A156.27 American National Standard for Power and Manual Operated Revolving Pedestrian Doors.

      - Thermal Movements: Allow for thermal movements resulting from maximum change in ambient and surface temperatures by preventing buckling, opening of joints, overstressing of components, failure of joint sealants, failure of connections, and other detrimental effects.

      - Engineering Calculations: Based on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

      - Operating Temperature Range: -4 to 122 degrees F (-20 to 50 degrees C).

      - Breakout Force Requirements: Provide a mechanism allowing emergency breakout of door panels when a maximum force of 130 lbs (570 N) applied 3 inches (75 mm) from the outer edge of the door panel and 40 inches (1020 mm) above the floor, unless otherwise allowed by ANSI/BHMA A156.27.

      - Control Mechanism: Rotating door panel speed is to be adjustable to the maximum allowable revolutions per minute (RPM) as specified by ANSI/BHMA A156.27.

    - Components:

      - Circular Enclosure Walls and Canopy Framing:

        - Not Acceptable:

          - Segmented walls and canopy.

          - Metal-wrapped wood or other material substrates.

        - Slim Line Aluminum Extrusions Wall Thickness: 0.125 inches (3 mm).

        - Framing for the Enclosure Walls and Canopy: Formed to the required radius.

        - Internal Structural Support: 0.125 inch (3.2 mm) slim line aluminum.

        - Outside Diameter of Enclosure Walls: Fixed.

      - Rotating Wings: Aluminum extrusion, three-wing configuration.

      - Weather Stripping: Continuous horizontal and vertical seals during the rotating mode and the non-rotating closed position to ensure limited air infiltration.

        - Seal Type: Natural horsehair and synthetic fiber brush seals.

      - Emergency Escape Doors: Three double acting swing doors.

        - Door Wings: Electro-magnetic locking that holds the door panels in a closed position.

      - Canopy: Manufacturer's standard canopy construction, size and layout matching diameter of enclosure walls, with formed metal panel sides of material and finish matching enclosure walls, unless otherwise indicated.

        - Canopy Roof Structure Coverage: 5/8 inch (16 mm) laminated wood covered with waterproof EPDM membrane, and a water diversion system to drain water.

** NOTE TO SPECIFIER ** Delete Roof options not required, Consult ASSA ABLOY SpecDesk for roof options.

        - Roof: ______________.

        - Roof: As indicated on Drawings.

        - Roof: Aluminum sheet roof. Finish as indicated on Drawings.

** NOTE TO SPECIFIER ** Delete ceiling panels options not required. Consult ASSA ABLOY SpecDesk for custom ceiling finish options. White laminate faced insulation board is standard.

      - Ceiling: 5/8 inch (16 mm) laminate faced insulation board. Panels must be removable and serve as access hatches.

        - Ceiling Panels: White laminate faced insulation board, 5/8 inch (16 mm) thick.

        - Ceiling Panels: Colored laminate faced insulation board panels.

** NOTE TO SPECIFIER ** Delete color option not required.

          - Color: _____________.

          - Color: As indicated on Drawings.

        - Ceiling Panels: Simulated stainless steel laminate faced insulation board panels.

** NOTE TO SPECIFIER ** Delete finish option not required.

          - Stainless Steel Finish: _____________.

          - Stainless Steel Finish: As indicated on Drawings.

        - Ceiling Panels: Anodized clear aluminum laminate faced insulation board panels.

** NOTE TO SPECIFIER ** Delete aluminum finish option not required.

          - Aluminum Finish: _____________.

          - Aluminum Finish: As indicated on Drawings.

        - Ceiling Panels: Formed stainless steel pan panels.

** NOTE TO SPECIFIER ** Delete formed stainless steel pan panel option if not required.

          - Stainless Steel Pan Panels: As indicated on Drawings.

        - Ceiling Panels: Formed aluminum pan panels.

** NOTE TO SPECIFIER ** Delete formed aluminum pan panel option if not required.

          - Aluminum Pan Panels: As indicated on Drawings.

      - Ceiling Light Fixtures: 5 watt, 3000K LED MR16 lamp, 12 VAC/DC.

        - Flush mounted ceiling light fixtures in quantity as indicated.

        - Light Activation Control: Via a program selection switch or from optional remote location.

        - Not Acceptable: 203-220 VAC, AC light fixtures.

** NOTE TO SPECIFIER ** Delete Fixtures per entrance option not required. fixtures for 8, 9, and 10 ft diameter revolving door entrances. 12 fixtures for 12 ft diameter revolving door entrance.

        - Fixtures per 8, 9 and 10 ft diameter revolving doors: 6.

        - Fixtures per 12 ft diameter revolving door: 12.

      - Glazing: Comply with ANSI Z97.1. Thickness: As indicated.

        - Rotating Section and Double Acting Swing Doors: 1/4 inch (6 mm) clear laminated glass.

        - Curved Walls: 5/16 inch (8 mm) clear laminated glass formed to the required radius to assure a weather seal throughout enclosure.

        - Not Acceptable:

          - Flat glass and flat segmented glass in the enclosure walls.

          - Butt glazed panels.

          - Plastic glazing material.

    - Operators and Controls:

      - Power Supply: 208-230 V, 20 amp, 60 Hz.

      - Controls: Microprocessor based "plug-in type" electronics with self-diagnostics and digital display status indicator.

        - Digital display status indicator: Data indicating door status, source or probable cause plus remedy. Location: On interior left of curved outside wall system.

      - Drive Assembly: Worm gear reducer with one 1/4 HP DC permanent magnet motor.

        - Allows manual rotation, when there is no power to the motor.

        - Will not permit door speed to be overridden beyond the set operational speed.

    - Activation And Safety Control Devices:

      - Activation Units: Concealed in the fixed ceiling area directly above throat opening.

        - Activation: By manufacturer's flush-mounted concealed motion sensors.

          - Motion Sensors: Solid state infrared technology.

          - One unit per opening for units with diameter under 12 ft (3658 mm).

          - Two units per opening for units with diameter of 12 ft (3658 mm).

          - Automatic Operation: Activation unit signal activates and revolves door for one turn. Doors then return to the closed position with perimeter display wings closing the throat openings to the enclosure.

      - Safety Control Devices:

        - Primary or Secondary Safety Devices:

          - Located vertically on the outer edge of the rotating wing and at the entrances.

          - Located horizontally on the wing panels.

        - Safety Switches: Include touchless, Photocell Direct Reflection (PDR) and compressible safety switches.

        - Vertical Safety Sensors:

          - No-Touch Photocell Direct Reflection (PDR) Sensors:

            - Two Sensors: Placed in the fixed ceiling ring at the right side of each door opening.

              - Activation will cause the door to stop.

          - Compressible Safety Switches.

            - Two switches on the outer drum wall entrances.

              - Activation will cause the door to stop.

        - Horizontal Safety Sensors:

          - Two, No-Touch Infrared Sensors: :Located at the top of each door wing.

            - Activation: Cause the door to stop.

          - One Compressible Safety Switch: Placed on the bottom edge of each of the wing panels.

            - Activation: Cause the door to stop.

        - Emergency Stop Push Button. When the button is pressed, door rotation stops.

        - Slow Speed Push Plates: Two handicapped "push to slow" push plates.

          - When the plate is pressed, door rotation speed will be reduced.

      - Emergency Operation: Loss of power or fire alarm input initiates release of the electro-magnetic lock allowing door panels to be manually pushed to the emergency egress position; book-fold position.

      - Micro-Processor Control Unit (MCU): Supervision of systems must be performed by the MCU by conducting continuous "self-monitoring".

        - Malfunction of Any Device: Causes the door to stop. The error code is to be indicated on the diagnostic display of the MCU.

        - Not Acceptable: Doors without the "self-monitoring function".

      - Program Control Device (PCD):

        - Mounts on the interior vertical jamb of the curved wall.

          - Three (3) Function Capability: Includes locked in closed position, entry/exit with activation by motion sensor, continuous rotation.

        - Entry Code Access. Does not require key operation during normal door use. Key Switch: For additional security.

        - Buffer Memory: A function of the microprocessor. Records the last 600 operational events of the door system.

        - Visual Displays: Notify users of operational codes, and when planned maintenance should be performed, if the real time clock and climate control systems are activated and if the manual key lockout is in effect.

        - Real Time Clock: Three (3) programmable day schedules, Ten (10) operation modes per day schedule, weekly schedules and sixteen (16) exceptions for holidays.

        - Accommodates remote diagnostics via an optional modem and client supplied telephone/data line.

    - Hardware:

      - Locking System:

        - Selector Switch is Placed in the "Off" Position: Revolving door will cycle and rest in full closed and lock position.

          - Electro-Mechanical Lock: Must be completely automatic and controlled by the MCU through the selector switch.

          - Locking of Revolving Door: By an internal electro-mechanical.

**** NOTE TO SPECIFIER ** The RD200-4 series four-wing revolving door system is attractive and inviting in appearance and allow for one group of people to enter and another to exit your facility simultaneously. Our four-wing revolving doors allow one group of people to enter, and another to exit your facility. Four-wing units are attractive and inviting in appearance, and allows one group of people to enter, and another to exit your facility simultaneously. And with this practical design, there are always two seals to provide an effective barrier against outside elements to provide climate control. Delete article if not required.

  - FOUR WING AUTOMATIC REVOLVING DOORS (RD200-4 SERIES)

    - Basis of Design: Model RD200-4 Series. Four Wing Automatic Revolving Doors as manufactured by ASSA ABLOY Entrance Systems.

      - Operation: Automatic, two-way pedestrian traffic.

      - Entrances: Aluminum framed revolving doors, overhead concealed electro-mechanical, microprocessor controlled, revolving door control system. Center shaft revolving door entrance with aluminum framed doors, enclosure walls and canopy.

      - Rotation: Counterclockwise.

      - Emergency Breakaway Capability: Double acting door panels that break out in the direction of egress.

      - Door Speed Reduction Switches: Two per unit, to assist with wheelchair access.

** NOTE TO SPECIFIER ** Delete fascia heights not required. Custom heights are available from 13 to 49 inches. 13-3/8 inches (340 mm) is standard.

      - Fascia Height: ___________.

      - Fascia Height: As indicated on Drawings.

      - Fascia Height: 13-3/8 inches (340 mm).

** NOTE TO SPECIFIER ** Delete fascia type not required.

      - Fascia Type: As indicated on Drawings.

      - Fascia Type: Standard, non-insulated.

      - Fascia Type: Insulated.

** NOTE TO SPECIFIER ** Delete internal height options not required. Custom heights available from 78 to 102 inches. 7 ft 2-5/8 inches (2200 mm) is standard.

      - Internal Height: ___________.

      - Internal Height: As indicated on Drawings.

      - Internal Height: Standard, 7 ft 2-5/8 inches (2200 mm).

** NOTE TO SPECIFIER ** Delete diameter options not required. Custom diameters are not available.

      - Nominal Inside Diameter: As indicated on Drawings.

      - Nominal Inside Diameter: 8 ft.

      - Nominal Inside Diameter: 9 ft.

      - Nominal Inside Diameter: 10 ft.

      - Nominal Inside Diameter: 12 ft.

    - Performance Requirements:

      - Comply with specified performance requirements, as demonstrated by testing manufacturer's corresponding standard systems.

      - Compliance: ANSI/BHMA A156.27 American National Standard for Power and Manual Operated Revolving Pedestrian Doors.

      - Thermal Movements: Allow for thermal movements resulting from maximum change in ambient and surface temperatures by preventing buckling, opening of joints, overstressing of components, failure of joint sealants, failure of connections, and other detrimental effects.

      - Engineering Calculations: Based on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

      - Operating Temperature Range: -4 to 122 degrees F (-20 to 50 degrees C).

      - Breakout Force Requirements: Provide a mechanism allowing emergency breakout of door panels when a maximum force of 130 lbs (570 N) applied 3 inches (75 mm) from the outer edge of the door panel and 40 inches (1020 mm) above the floor, unless otherwise allowed by ANSI/BHMA A156.27.

      - Control Mechanism: Rotating door panel speed is to be adjustable to the maximum allowable revolutions per minute (RPM) as specified by ANSI/BHMA A156.27.

    - Components:

      - Circular Enclosure Walls and Canopy Framing:

        - Not Acceptable:

          - Segmented walls and canopy.

          - Metal-wrapped wood or other material substrates.

        - Slim Line Aluminum Extrusions Wall Thickness: 0.125 inches (3 mm).

        - Framing For Enclosure Walls and Canopy: Formed to the required radius.

        - Internal Structural Support: 0.125 inch (3.2 mm) slim line aluminum.

        - Outside Diameter of Enclosure Walls: Fixed.

      - Rotating Wings: Aluminum extrusion, Four-wing configuration.

      - Weather Stripping: Continuous horizontal and vertical seals during the rotating mode and the non-rotating closed position to ensure limited air infiltration.

        - Seal Type: Natural horsehair and synthetic fiber brush seals.

      - Emergency Escape Doors: Four double acting swing doors.

        - Door Wings: Electro-magnetic locking that holds the door panels in a closed position.

      - Canopy: Manufacturer's standard canopy construction, size and layout matching diameter of enclosure walls, with formed metal panel sides of material and finish matching enclosure walls, unless otherwise indicated.

        - Canopy Roof Structure Coverage: 5/8 inch (16 mm) laminated wood covered with waterproof EPDM membrane, and a water diversion system to drain water.

** NOTE TO SPECIFIER ** Delete Roof options not required, Consult ASSA ABLOY SpecDesk for roof options.

        - Roof: ______________.

        - Roof: As indicated on Drawings.

        - Roof: Aluminum sheet roof. Finish as indicated on Drawings.

** NOTE TO SPECIFIER ** Delete ceiling panels options not required. Consult ASSA ABLOY SpecDesk for custom ceiling finish options. White laminate faced insulation board is standard.

      - Ceiling: 5/8 inch (16 mm) laminate faced insulation board. Panels must be removable and serve as access hatches.

        - Ceiling Panels: White laminate faced insulation board, 5/8 inch (16 mm) thick.

        - Ceiling Panels: Colored laminate faced insulation board panels.

** NOTE TO SPECIFIER ** Delete color option not required.

          - Color: _____________.

          - Color: As indicated on Drawings.

        - Ceiling Panels: Simulated stainless steel laminate faced insulation board panels.

** NOTE TO SPECIFIER ** Delete finish option not required.

          - Stainless Steel Finish: _____________.

          - Stainless Steel Finish: As indicated on Drawings.

        - Ceiling Panels: Anodized clear aluminum laminate faced insulation board panels.

** NOTE TO SPECIFIER ** Delete aluminum finish option not required.

          - Aluminum Finish: _____________.

          - Aluminum Finish: As indicated on Drawings.

        - Ceiling Panels: Formed stainless steel pan panels.

** NOTE TO SPECIFIER ** Delete formed stainless steel pan panel option if not required.

          - Stainless Steel Pan Panels: As indicated on Drawings.

        - Ceiling Panels: Formed aluminum pan panels.

** NOTE TO SPECIFIER ** Delete formed aluminum pan panel option if not required.

          - Aluminum Pan Panels: As indicated on Drawings.

      - Ceiling Light Fixtures: 5 watt, 3000K LED MR16 lamp, 12 VAC/DC.

        - Flush mounted ceiling light fixtures in quantity as indicated.

        - Light Activation Control: Via a program selection switch or from optional remote location.

        - Not Acceptable: 203-220 VAC, AC light fixtures.

** NOTE TO SPECIFIER ** Delete Fixtures per entrance option not required. 6 fixtures for 8, 9, and 10 ft diameter revolving door entrances. 12 fixtures for 12 ft diameter revolving door entrance.

        - Fixtures per 8, 9 and 10 ft diameter revolving doors: 6.

        - Fixtures per 12 ft diameter revolving door: 12.

      - Glazing: Comply with ANSI Z97.1. Thickness: As indicated.

        - Rotating Section and Double Acting Swing Doors: 1/4 inch (6 mm) clear laminated glass.

        - Curved Walls: 5/16 inch (8 mm) clear laminated glass formed to the required radius to assure a weather seal throughout enclosure.

        - Not Acceptable:

          - Flat glass and flat segmented glass in the enclosure walls.

          - Butt glazed panels.

          - Plastic glazing material.

    - Operators and Controls:

      - Power Supply: 208-230 V, 20 amp, 60 Hz.

      - Controls: Microprocessor based "plug-in type" electronics with self-diagnostics and digital display status indicator.

        - Digital Display Status Indicator: Data indicating door status, source or probable cause plus remedy. Location: On interior left of curved outside wall system.

      - Drive Assembly: Worm gear reducer with one 1/4 HP DC permanent magnet motor.

        - Allows manual rotation, when there is no power to the motor.

        - Will not permit door speed to be overridden beyond the set operational speed.

    - Activation And Safety Control Devices:

      - Activation Units: Concealed in the fixed ceiling area directly above throat opening.

        - Activation: By manufacturer's flush-mounted concealed motion sensors.

          - Motion Sensors: Solid state infrared technology.

          - One unit per opening for units with diameter under 12 ft (3658 mm).

          - Two units per opening for units with diameter equal to 12 ft (3658 mm).

          - Automatic Operation: Activation unit signal activates and revolves door for one turn. Doors then return to the closed position with perimeter display wings closing the throat openings to the enclosure.

      - Safety Control Devices:

        - Primary or Secondary Safety Devices:

          - Located vertically on the outer edge of rotating wing and at the entrances.

          - Located horizontally on the wing panels.

        - Safety Switches: Include touchless, Photocell Direct Reflection (PDR) and compressible safety switches.

        - Vertical Safety Sensors:

          - No-Touch Photocell Direct Reflection (PDR) Sensors:

            - Two Sensors: Placed in the fixed ceiling ring at the right side of each door opening.

              - Activation will cause the door to stop.

          - Compressible Safety Switches.

            - Two switches on the outer drum wall entrances.

              - Activation will cause the door to stop.

        - Horizontal Safety Sensors:

          - Two, No-Touch Infrared Sensors: Located at the top of each door wing.

            - Activation: Cause the door to stop.

          - One Compressible Safety Switch: Placed on the bottom edge of each of the wing panels.

            - Activation: Cause the door to stop.

        - Emergency Stop Push Button. When the button is pressed, door rotation stops.

        - Slow Speed Push Plates: Two handicapped "push to slow" push plates.

          - When the plate is pressed, door rotation speed will be reduced.

      - Emergency Operation: Loss of power or fire alarm input initiates release of the electro-magnetic lock allowing door panels to be manually pushed to the emergency egress position; book-fold position.

      - Micro-Processor Control Unit (MCU): Supervision of systems must be performed by the MCU by conducting continuous "self-monitoring".

        - Malfunction of Any Device: Causes the door to stop. The error code is to be indicated on the diagnostic display of the MCU.

        - Not Acceptable: Doors without the "self-monitoring function".

      - Program Control Device (PCD):

        - Mounts on the interior vertical jamb of the curved wall.

          - Three Function Capability: Includes locked in closed position, entry/exit with activation by motion sensor, continuous rotation.

        - Entry Code Access. Does not require key operation during normal door use. Key Switch: For additional security.

        - Buffer Memory: A function of the microprocessor. Records the last 600 operational events of the door system.

        - Visual Displays: Notify users of operational codes, and when planned maintenance should be performed, if the real time clock and climate control systems are activated and if the manual key lockout is in effect.

        - Real Time Clock: Three (3) programmable day schedules, Ten (10) operation modes per day schedule, weekly schedules and sixteen (16) exceptions for holidays.

        - Accommodates remote diagnostics via an optional modem and client supplied telephone/data line.

    - Hardware:

      - Locking System:

        - Selector Switch is Placed in the "Off" Position: Revolving door will cycle and rest in full closed and lock position.

          - Electro-Mechanical Lock: Must be completely automatic and controlled by the MCU through the selector switch.

          - Locking of Revolving Door: By an internal electro-mechanical lock.

** NOTE TO SPECIFIER ** The RD00-3 3-wing access control revolving door systems offer fully automated entrance control for interior or exterior use. Delete article if not required.

  - ACCESS CONTROL THREE WING REVOLVING DOORS (MODEL RD400-3)

    - Basis of Design: Model RD400-3. Three Wing Revolving Doors as manufactured by ASSA ABLOY Entrance Systems. One way access control.

** NOTE TO SPECIFIER ** Delete operation options not required.

      - Operation: As indicated on Drawings.

      - Operation: One-way access control operation; access controlled entry, free exit. One access control device required.

      - Operation: One-way access control operation: no entry, access controlled exit. One access control device required.

      - Entrances: Aluminum framed revolving doors, overhead concealed electro-mechanical, microprocessor controlled, revolving door control system. Center shaft revolving door entrance with aluminum framed doors, enclosure walls and canopy.

      - Rotation: Counterclockwise.

      - Emergency Breakaway Capability: 3 double acting door panels is to break out in the direction of egress.

        - Emergency Escape Doors:

          - Door wings have electro-magnetic locking that holds the door panels in a closed position.

          - In the rotating wing section.

      - Door Speed Reduction Switches: Two per unit, to assist with wheelchair access.

** NOTE TO SPECIFIER ** Delete diameters not required. Custom diameters are not available.

      - Nominal Inside Diameter: As indicated on Drawings.

      - Nominal Inside Diameter: 7 ft.

      - Nominal Inside Diameter: 8 ft.

** NOTE TO SPECIFIER ** Delete internal height options not required. Custom heights available from 78 to 102 inches. 7 ft 2-5/8 inches (2200 mm) is standard.

      - Internal Height: ___________.

      - Internal Height: As indicated on Drawings.

      - Internal Height: Standard, 7 ft 2-5/8 inches (2200 mm).

      - Overall Height: 7 ft 10-1/2 inch (2451 mm).

      - Security-Type Operation: Activation door entrance by access control device.

      - Anti-Tailgating: Overhead sensors monitor passage of authorized users.

        - Detects unauthorized users attempting passage in a separate quadrant as an authorized user enters.

        - Unauthorized User Detected:

          - Door will stop revolving preventing entry of either user.

          - A voice annunciator will announce "security violation".

          - Door reverses, backing unauthorized user into the area they came from.

          - Door then resumes allowing the authorized user to enter.

    - Performance Requirements:

      - Comply with specified performance requirements, as demonstrated by testing manufacturer's corresponding standard systems.

      - Compliance: ANSI/BHMA A156.27 American National Standard for Power and Manual Operated Revolving Pedestrian Doors.

      - Thermal Movements: Allow for thermal movements resulting from maximum change in ambient and surface temperatures by preventing buckling, opening of joints, overstressing of components, failure of joint sealants, failure of connections, and other detrimental effects.

      - Engineering Calculations: Based on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

      - Operating Temperature Range: -4 to 122 degrees F (-20 to 50 degrees C).

      - Breakout Force Requirements: Provide a mechanism allowing emergency breakout of door panels when a maximum force of 130 lbs (570 N) applied 3 inches (75 mm) from the outer edge of the door panel and 40 inches (1020 mm) above the floor, unless otherwise allowed by ANSI/BHMA A156.27.

      - Control Mechanism: Rotating door panel speed is to be adjustable to the maximum allowable revolutions per minute (RPM) as specified by ANSI/BHMA A156.27.

    - Components:

      - Circular Enclosure Walls and Canopy Framing:

        - Narrow Stile Aluminum Extrusions: Wall Thickness: 0.125 inches (3.2 mm).

        - Framing For Enclosure Walls and Canopy: Formed to the required radius.

        - Internal Structural Support: 0.125 inch (3.2 mm) slim line aluminum.

        - Outside Diameter of Enclosure Walls: Fixed.

        - Not Acceptable:

          - Segmented walls and canopy.

          - Metal-wrapped wood or other material substrates.

      - Rotating Wings: Aluminum extrusion, Three-wing configuration.

      - Weather Stripping: Continuous horizontal and vertical seals during the rotating mode and the non-rotating closed position to ensure limited air infiltration.

        - Seal Type: Natural horsehair and synthetic fiber brush seals.

      - Canopy: Manufacturer's standard canopy construction, size and layout matching diameter of enclosure walls, with formed metal panel sides of material and finish matching enclosure walls, unless otherwise indicated.

        - Canopy Roof Structure Coverage: 5/8 inch (16 mm) laminated wood covered with waterproof EPDM membrane, and a water diversion system to drain water.

** NOTE TO SPECIFIER ** Delete roof options not required, Consult ASSA ABLOY SpecDesk for roof options.

        - Roof: ______________.

        - Roof: As indicated on Drawings.

        - Roof: Aluminum sheet roof. Finish as indicated on Drawings.

** NOTE TO SPECIFIER ** Delete ceiling panels options not required. Consult ASSA ABLOY SpecDesk for custom ceiling finish options. White laminate faced insulation board is standard.

      - Ceiling: 5/8 inch (16 mm) laminate faced insulation board. Panels must be removable and serve as access hatches.

        - Ceiling Panels: White laminate faced insulation board, 5/8 inch (16 mm) thick.

        - Ceiling Panels: Colored laminate faced insulation board panels.

** NOTE TO SPECIFIER ** Delete color option not required.

          - Color: _____________.

          - Color: As indicated on Drawings.

        - Ceiling Panels: Simulated stainless steel laminate faced insulation board panels.

** NOTE TO SPECIFIER ** Delete finish option not required.

          - Stainless Steel Finish: _____________.

          - Stainless Steel Finish: As indicated on Drawings.

        - Ceiling Panels: Anodized clear aluminum laminate faced insulation board panels.

** NOTE TO SPECIFIER ** Delete aluminum finish option not required.

          - Aluminum Finish: _____________.

          - Aluminum Finish: As indicated on Drawings.

        - Ceiling Panels: Formed stainless steel pan panels.

** NOTE TO SPECIFIER ** Delete formed stainless steel pan panel option if not required.

          - Stainless Steel Pan Panels: As indicated on Drawings.

        - Ceiling Panels: Formed aluminum pan panels.

** NOTE TO SPECIFIER ** Delete formed aluminum pan panel option if not required.

          - Aluminum Pan Panels: As indicated on Drawings.

      - Ceiling Light Fixtures: 5 watt, 3000K LED MR16 lamp, 12 VAC/DC.

        - Flush mounted ceiling light fixtures in quantity as indicated.

        - Light Activation Control: Via a program selection switch or from optional remote location.

        - Not Acceptable: 203-220 VAC, AC light fixtures.

        - Quanity: Six (6) LED light fixtures.

      - Glazing: Comply with ANSI Z97.1. Thickness: As indicated.

        - Rotating Section and Double Acting Swing Doors: 1/4 inch (6 mm) clear laminated glass.

        - Curved Walls: 5/16 inch (8 mm) clear laminated glass formed to the required radius to assure a weather seal throughout enclosure.

        - Not Acceptable:

          - Flat glass and flat segmented glass in the enclosure walls.

          - Butt glazed panels.

          - Plastic glazing material.

    - Operators and Controls:

      - Power Requirements: 110-220 VAC, 20 Amp, 60 HZ line.

** NOTE TO SPECIFIER ** The following UPS battery is optional and provides continuous power to the revolving door.

        - UPS battery backup to provide power that will allow continuous operation of revolving door for up to one (1) hour. The UPS battery backup system is to support USB, HTTP, DMI, and SNMP protocol for remote monitoring.

      - Controls: Microprocessor based "plug-in type" electronics with self-diagnostics and digital display status indicator.

        - Digital Display Status Indicator: Data indicating door status, source or probable cause plus remedy. Location: On interior left of curved outside wall system.

      - Drive Assembly: Worm gear reducer with one 1/4 HP DC permanent magnet motor.

        - Allows manual rotation, when there is no power to the motor.

        - Will not permit door speed to be overridden beyond the set operational speed.

    - Activation And Safety Control Devices:

      - Activation Units: Refer to Program Control Device (PCD) for modes of operation not controlled by the access control devices.

        - Revolving Door: Activated by access control devices allowing the following type of operation; access control devices by others.

        - Automatic Operation: Signal from the access control device activates the unit and revolves the door up to one turn and then returns door wings to quarter-point position.

      - Safety Control Devices:

        - Primary and Secondary Safety Devices.

          - Located vertically at the entrances and force-sensitive door leaves.

        - Vertical Safety Sensors:

          - Two, total compressible safety switches on outer drum wall entrances.

            - Activation: Causes the door to stop and reverse.

        - Force-Sensitive Door Leaves:

          - When obstacle prohibits or slows rotation of the door, at a value higher than the pre-set resistance of the door, rotation will stall and cease for 3 seconds.

          - If no obstacle is detected after 3 seconds, the rotation of the door will resume.

        - Emergency Stop Push Button: When the button is pressed, door rotation stops.

      - Emergency Operation: Loss of power or fire alarm input initiates release of the electro-magnetic lock allowing door panels to be manually pushed to the emergency egress position; book-fold position.

      - Micro-Processor Control Unit (MCU): Supervision of systems must be performed by the MCU by conducting continuous "self-monitoring".

        - Malfunction of Any Device: Causes the door to stop. The error code is to be indicated on the diagnostic display of the MCU.

        - Not Acceptable: Doors without the "self-monitoring function".

      - Program Control Device (PCD):

        - Mounts on the interior left vertical jamb of the curved wall.

          - Seven Function Capability: Includes locked in closed position, entry/exit with activation by access control device (one-way or two-way operation as specified), free entry/free exit, no entry/free exit, and manual operation; forward/reverse.

        - Entry Code Access: Does not require key operation during normal door use.

        - Buffer Memory: A function of the microprocessor. Records the last 600 operational events of the door system.

        - Visual Displays: Notify user of operational codes.

        - Real Time Clock: Three (3) programmable day schedules, Ten (10) operation modes per day schedule, weekly schedules and sixteen (16) exceptions for holidays.

    - Hardware:

      - Locking System:

        - Selector Switch is Placed in the "Off" Position: Revolving door will cycle and rest in full closed and lock position.

          - Electro-Mechanical Lock: Must be completely automatic and controlled by the MCU through the selector switch.

          - Locking of Revolving Door: By an internal electro-mechanical lock.

** NOTE TO SPECIFIER ** Delete additional/optional mechanical locking if not required.

        - Mechanical Locking: Provide capability to lock doors with two manual keyed deadbolts. Provide dust proof floor strike.

          - Location: Extend bolt from bottom of door wing into floor.

** NOTE TO SPECIFIER ** Delete keyed cylinder options not required.

          - Keyed Cylinders: As indicated on Drawings.

          - Keyed Cylinders: Manufacturer's standard keyed cylinder.

          - Keyed Cylinders: As specified in Division 8.

          - Keyed Cylinders: Custom, by others as indicated on Drawings.

** NOTE TO SPECIFIER ** The RD400-4 four-wing access control revolving door systems offer fully automated entrance control for interior or exterior use. Incorporating all of the principle advantages of revolving door systems - such as barrier and draft-free access, noise reduction and energy efficiency - the RD400-4 provides a level of control and flexibility that conventional doors simply cannot match. In addition, the RD400-4 offers a cost-effective alternative to conventional monitoring systems and manned security stations. The RD400-4 can be connected to any access control system, direct or remote, such as key cards, code locks, biometrics, and voice recognition. Delete article if not required.

  - ACCESS CONTROL FOUR WING REVOLVING DOORS (RD400-4 SERIES)

    - Basis of Design: Model RD400-4 Series. Four Wing Revolving Doors, as manufactured by ASSA ABLOY Entrance Systems.

** NOTE TO SPECIFIER ** Delete operation not required.

      - Operation: As indicated on Drawings.

      - Operation: One way access control to allow controlled entrance, free egress. One access control device required.

      - Operation: One-way access control operation: No entry, access controlled exit. One access control device required.

      - Operation: Two way access control to allow both controlled entrance and controlled egress. Two access control devices required.

      - Entrances: Aluminum framed, overhead concealed electro-mechanical, microprocessor controlled, revolving door control system. Center shaft revolving door entrance with aluminum framed doors, enclosure walls and canopy.

      - Rotation: Counterclockwise.

      - Emergency Breakaway Capability: 4 double acting door panels is to break out in the direction of egress.

        - Emergency Escape Doors:

          - Door wings have electro-magnetic locking that holds the door panels in a closed position.

          - In the rotating wing section.

      - Door Speed Reduction Switches: Two per unit, to assist with wheelchair access.

** NOTE TO SPECIFIER ** Delete diameters not required. Custom diameters are not available.

      - Nominal Inside Diameter: As indicated on Drawings.

      - Nominal Inside Diameter: 6 ft.

      - Nominal Inside Diameter: 7 ft.

      - Nominal Inside Diameter: 8 ft.

** NOTE TO SPECIFIER ** Delete internal height options not required. Custom heights available from 78 to 102 inches. 7 ft 2-5/8 inches (2200 mm) is standard.

      - Internal Height: ___________.

      - Internal Height: As indicated on Drawings.

      - Internal Height: Standard, 7 ft 2-5/8 inches (2200 mm).

      - Overall Height: 7 ft 10-1/2 inch (2451 mm).

      - Security-Type Operation: Activation door entrance by access control device.

      - Anti-Tailgating: Overhead sensors monitor passage of authorized users.

        - Detects unauthorized users attempting passage in a separate quadrant as an authorized user enters.

        - Unauthorized User Detected:

          - Door will stop revolving preventing entry of either user.

          - A voice annunciator will announce "security violation".

          - Door reverses, backing unauthorized user into the area they came from.

          - Door then resumes allowing the authorized user to enter.

** NOTE TO SPECIFIER ** Delete if not required. Anti-piggy backing is optional. Anti-piggy backing is not available in a 3-wing revolving door configuration. Anti-tailgating detects an unauthorized user attempting passage in a separate quadrant, and anti-piggybacking recognizes more than one person in the same quadrant. Both conditions initiate door reversal, which backs the offenders out of the door. Delete if not required.

      - Anti-Tailgating/Anti-Piggy Backing: ASSA ABLOY SPT360 overhead monitoring sensor system. Monitors passage of authorized users. Sensors Location: In ceiling of secure compartments.

        - Suspicious Activity:

          - Piggybacking: Two people in the same quadrant.

          - Tailgating: An unauthorized person attempting to use a separate quadrant.

        - When Suspicious Activity is Detected: The door stops revolving, preventing entry of unauthorized users.

          - A Voice Annunciator: Announces "security violation."

        - UPS battery backup to provide continuous power to the SPT360 Anti-Tailgate/Anti-Piggyback sensor system.

          - Power Requirements: 110 VAC, 20 Amp, 60 HZ line.

    - Performance Requirements:

      - Comply with specified performance requirements, as demonstrated by testing manufacturer's corresponding standard systems.

      - Compliance: ANSI/BHMA A156.27 American National Standard for Power and Manual Operated Revolving Pedestrian Doors.

      - Thermal Movements: Allow for thermal movements resulting from maximum change in ambient and surface temperatures by preventing buckling, opening of joints, overstressing of components, failure of joint sealants, failure of connections, and other detrimental effects.

      - Engineering Calculations: Based on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

      - Operating Temperature Range: -4 to 122 degrees F (-20 to 50 degrees C).

      - Breakout Force Requirements: Provide a mechanism allowing emergency breakout of door panels when a maximum force of 130 lbs (570 N) applied 3 inches (75 mm) from the outer edge of the door panel and 40 inches (1020 mm) above the floor, unless otherwise allowed by ANSI/BHMA A156.27.

      - Control Mechanism: Rotating door panel speed is to be adjustable to the maximum allowable revolutions per minute (RPM) as specified by ANSI/BHMA A156.27.

    - Components:

      - Circular Enclosure Walls and Canopy Framing:

        - Narrow Stile Aluminum Extrusions: Wall Thickness: 0.125 inches (3.2 mm).

        - Framing For Enclosure Walls and Canopy: Formed to the required radius.

        - Internal Structural Support: 0.125 inch (3.2 mm) slim line aluminum.

        - Outside Diameter of Enclosure Walls: Fixed.

        - Not Acceptable:

          - Segmented walls and canopy.

          - Metal-wrapped wood or other material substrates.

      - Rotating Wings: Aluminum extrusion, Four-wing configuration.

      - Weather Stripping: Continuous horizontal and vertical seals during the rotating mode and the non-rotating closed position to ensure limited air infiltration.

        - Seal Type: Natural horsehair and synthetic fiber brush seals.

      - Canopy: Manufacturer's standard canopy construction, size and layout matching diameter of enclosure walls, with formed metal panel sides of material and finish matching enclosure walls, unless otherwise indicated.

        - Canopy Roof Structure Coverage: 5/8 inch (16 mm) laminated wood covered with waterproof EPDM membrane, and a water diversion system to drain water.

** NOTE TO SPECIFIER ** Delete Roof options not required, Consult ASSA ABLOY SpecDesk for roof options.

        - Roof: ______________.

        - Roof: As indicated on Drawings.

        - Roof: Aluminum sheet roof. Finish as indicated on Drawings.

** NOTE TO SPECIFIER ** Delete ceiling panels options not required. Consult ASSA ABLOY SpecDesk for custom ceiling finish options. White laminate faced insulation board is standard.

      - Ceiling: 5/8 inch (16 mm) laminate faced insulation board. Panels must be removable and serve as access hatches.

        - Ceiling Panels: White laminate faced insulation board, 5/8 inch (16 mm) thick.

        - Ceiling Panels: Colored laminate faced insulation board panels.

** NOTE TO SPECIFIER ** Delete color option not required.

          - Color: _____________.

          - Color: As indicated on Drawings.

        - Ceiling Panels: Simulated stainless steel laminate faced insulation board panels.

** NOTE TO SPECIFIER ** Delete finish option not required.

          - Stainless Steel Finish: _____________.

          - Stainless Steel Finish: As indicated on Drawings.

        - Ceiling Panels: Anodized clear aluminum laminate faced insulation board panels.

** NOTE TO SPECIFIER ** Delete aluminum finish option not required.

          - Aluminum Finish: _____________.

          - Aluminum Finish: As indicated on Drawings.

        - Ceiling Panels: Formed stainless steel pan panels.

** NOTE TO SPECIFIER ** Delete formed stainless steel pan panel option if not required.

          - Stainless Steel Pan Panels: As indicated on Drawings.

        - Ceiling Panels: Formed aluminum pan panels.

** NOTE TO SPECIFIER ** Delete formed aluminum pan panel option if not required.

          - Aluminum Pan Panels: As indicated on Drawings.

      - Ceiling Light Fixtures: 5 watt, 3000K LED MR16 lamp, 12 VAC/DC.

        - Flush mounted ceiling light fixtures in quantity as indicated.

        - Light Activation Control: Via a program selection switch or from optional remote location.

        - Not Acceptable: 203-220 VAC, AC light fixtures.

        - Quanity: Six (6) LED light fixtures.

      - Glazing: Comply with ANSI Z97.1. Thickness: As indicated.

        - Rotating Section and Double Acting Swing Doors: 1/4 inch (6 mm) clear laminated glass.

        - Curved Walls: 5/16 inch (8 mm) clear laminated glass formed to the required radius to assure a weather seal throughout enclosure.

        - Not Acceptable:

          - Flat glass and flat segmented glass in the enclosure walls.

          - Butt glazed panels.

          - Plastic glazing material.

    - Operators and Controls:

      - Power Requirements: 110-220 VAC, 20 Amp, 60 HZ line.

** NOTE TO SPECIFIER ** The following UPS battery is optional and provides continuous power to the revolving door.

        - UPS battery backup to provide power that will allow continuous operation of revolving door for up to one (1) hour. The UPS battery backup system is to support USB, HTTP, DMI, and SNMP protocol for remote monitoring.

      - Controls: Microprocessor based "plug-in type" electronics with self-diagnostics and digital display status indicator.

        - Digital Display Status Indicator: Data indicating door status, source or probable cause plus remedy. Location: On interior left of curved outside wall system.

      - Drive Assembly: Worm gear reducer with one 1/4 HP DC permanent magnet motor.

        - Allows manual rotation, when there is no power to the motor.

        - Will not permit door speed to be overridden beyond the set operational speed.

    - Activation And Safety Control Devices:

      - Activation Units: Refer to Program Control Device (PCD) for modes of operation not controlled by the access control devices.

        - Revolving Door: Activated by access control devices allowing the following type of operation; access control devices by others.

        - Automatic Operation: Signal from the access control device activates the unit and revolves the door up to one turn and then returns door wings to quarter-point position.

      - Safety Control Devices:

        - Primary and Secondary Safety Devices

          - Located vertically at the entrances and force-sensitive door leaves.

        - Vertical Safety Sensors:

          - Two (2) total compressible safety switches on outer drum wall entrances.

            - Activation: Causes the door to stop and reverse.

        - Force-Sensitive Door Leaves:

          - When obstacle prohibits or slows rotation of the door, at a value higher than the pre-set resistance of the door, rotation will stall and cease for 3 seconds.

          - If no obstacle is detected after 3 seconds, the rotation of the door will resume.

        - Emergency Stop Push Button: When the button is pressed, door rotation stops.

      - Emergency Operation: Loss of power or fire alarm input initiates release of the electro-magnetic lock allowing door panels to be manually pushed to the emergency egress position; book-fold position.

      - Micro-Processor Control Unit (MCU): Supervision of systems must be performed by the MCU by conducting continuous "self-monitoring".

        - Malfunction of Any Device: Causes the door to stop. The error code is to be indicated on the diagnostic display of the MCU.

        - Not Acceptable: Doors without the "self-monitoring function".

      - Program Control Device (PCD):

        - Mounts on the interior left vertical jamb of the curved wall.

          - Seven Function Capability: Includes locked in closed position, entry/exit with activation by access control device (one-way or two-way operation as specified), free entry/free exit, no entry/free exit, and manual operation; forward/reverse.

        - Entry Code Access: Does not require key operation during normal door use.

        - Buffer Memory: A function of the microprocessor. Records the last 600 operational events of the door system.

        - Visual Displays: Notify user of operational codes.

        - Real Time Clock: Three (3) programmable day schedules, Ten operation modes per day schedule, weekly schedules and 16 exceptions for holidays.

    - Hardware:

      - Locking System:

        - Selector Switch is Placed in the "Off" Position: Revolving door will cycle and rest in full closed and lock position.

          - Electro-Mechanical Lock: Must be completely automatic and controlled by the MCU through the selector switch.

          - Locking of Revolving Door: By an internal electro-mechanical lock.

** NOTE TO SPECIFIER ** Delete additional/optional mechanical locking if not required.

        - Mechanical Locking: Provide capability to lock doors with two manual keyed deadbolts. Provide dust proof floor strike.

          - Location: Extend bolt from bottom of door wing into floor.

** NOTE TO SPECIFIER ** Delete keyed cylinder options not required.

          - Keyed Cylinders: As indicated on Drawings.

          - Keyed Cylinders: Manufacturer's standard keyed cylinder.

          - Keyed Cylinders: As specified in Division 8.

          - Keyed Cylinders: Custom, by others as indicated on Drawings.

** NOTE TO SPECIFIER ** The newest member of the revolving door range, the ASSA ABLOY RD100-3, is a manually initiated -wing revolving door with power assist. With a simple push needed to start, the RD100-3 then adapts to the pace of users, which increases comfort and reduces energy consumption. Delete article if not required.

  - THREE WING MANUAL REVOLVING DOORS (MODEL RD100-3)

    - Basis of Design: Model RD100-3. Three Wing Manual Revolving Doors, as manufactured by ASSA ABLOY Entrance Systems.

      - Operation: Manual, two-way pedestrian traffic.

      - Entrances: Center shaft revolving door entrance with aluminum framed doors, enclosure walls and canopy.

      - Rotation: Counterclockwise.

      - Emergency Breakaway Capability: Double acting door panels that break out in the direction of egress.

      - Canopy Height: 7-7/8 inches (198 mm).

** NOTE TO SPECIFIER ** Delete diameters not required. Custom diameters are not available.

      - Nominal Inside Diameter: As indicated on Drawings.

      - Nominal Inside Diameter: 7 ft.

      - Nominal Inside Diameter: 8 ft.

      - Total Height: 94-1/2 inches (2400 mm).

      - Inside Height: 86-1/2 inches (2197 mm).

    - Performance Requirements:

      - Comply with specified performance requirements, as demonstrated by testing manufacturer's corresponding standard systems.

      - Compliance: ANSI/BHMA A156.27 American National Standard for Power and Manual Operated Revolving Pedestrian Doors.

      - Thermal Movements: Allow for thermal movements resulting from maximum change in ambient and surface temperatures by preventing buckling, opening of joints, overstressing of components, failure of joint sealants, failure of connections, and other detrimental effects.

      - Engineering Calculations: Based on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

      - Operating Temperature Range: -4 to 122 degrees F (-20 to 50 degrees C).

      - Breakout Force Requirements: Provide a mechanism allowing emergency breakout of door panels when a maximum force of 130 lbs (570 N) applied 3 inches (75 mm) from the outer edge of the door panel and 40 inches (1020 mm) above the floor, unless otherwise allowed by ANSI/BHMA A156.27.

    - Components:

      - Circular Enclosure Walls and Canopy Framing:

        - Slim Line Aluminum Extrusions Wall Thickness: 0.125 inches (3 mm).

        - Framing for the Enclosure Walls and Canopy: Formed to the required radius.

        - Internal Structural Support: 0.125 inch (3.2 mm) slim line aluminum.

        - Outside Diameter of Enclosure Walls: Fixed.

        - Not Acceptable:

          - Segmented walls and canopy.

          - Metal-wrapped wood or other material substrates.

      - Rotating Wings: Aluminum extrusion, three-wing configuration.

      - Weather Stripping: Continuous horizontal and vertical seals during the rotating mode and the non-rotating closed position to ensure limited air infiltration.

        - Seal Type: Natural horsehair and synthetic fiber brush seals with an internal EPDM fin.

      - Emergency Escape Doors: Three double acting swing doors.

        - Door Wings: Mechanical breakout mechanism that holds the door panels in a closed position.

      - Canopy: Manufacturer's standard canopy construction, size and layout matching diameter of enclosure walls, with formed metal panel sides of material and finish matching enclosure walls, unless otherwise indicated.

        - Canopy Roof Structure Coverage: 5/8 inch (16 mm) laminated wood covered with waterproof EPDM membrane, and a water diversion system to drain water.

** NOTE TO SPECIFIER ** Delete Roof options not required. Consult ASSA ABLOY SpecDesk for roof options.

        - Roof: ______________.

        - Roof: As indicated on Drawings.

        - Roof: Aluminum sheet roof. Finish as indicated on Drawings.

** NOTE TO SPECIFIER ** Delete ceiling panels options not required. Consult ASSA ABLOY SpecDesk for custom ceiling finish options.

        - Ceiling Panels: Formed aluminum pan panels.

** NOTE TO SPECIFIER ** Delete formed aluminum pan panel option if not required.

          - Aluminum Pan Panels: As indicated on Drawings.

          - Aluminum Pan Panels: White powder coat finish.

          - Aluminum Pan Panels: Powder coat finish to match architect's sample.

          - Aluminum Pan Panels: Clear anodized finish.

        - Ceiling Panels: Formed stainless steel pan panels.

** NOTE TO SPECIFIER ** Delete formed stainless steel pan panel option if not required.

          - Stainless Steel Pan Panels: As indicated on Drawings.

          - Stainless Steel Pan Panels: #4 satin finish.

          - Stainless Steel Pan Panels: #8 mirrorlike, reflective, non-directional finish.

      - Ceiling Light Fixtures: 5 watt, 3000K LED MR16 lamp, 12 VAC/DC.

        - Flush mounted ceiling light fixtures in quantity as indicated.

        - Light Activation Control: Via a program selection switch or from optional remote location.

        - Not Acceptable: 203-220 VAC, AC light fixtures.

** NOTE TO SPECIFIER ** Delete Fixtures per entrance option not required. 6 fixtures for 8, 9, and 10 ft diameter revolving door entrances. 12 fixtures for 12 ft diameter revolving door entrance.

        - Quantity: Six (6) LED light fixtures.

      - Glazing: Comply with ANSI Z97.1. Thickness: As indicated.

        - Rotating Section and Double Acting Swing Doors: 1/4 inch (6 mm) clear laminated glass.

        - Curved Walls: 5/16 inch (8 mm) clear laminated glass formed to the required radius to assure a weather seal throughout enclosure.

        - Not Acceptable:

          - Flat glass and flat segmented glass in the enclosure walls.

          - Butt glazed panels.

          - Plastic glazing material.

    - Operators and Controls:

      - Power Supply: 208-230 V, 20 amp, 60 Hz.

      - ASSA ABLOY Smart Assist will moderate the speed of the drive unit to limit manual rotation speed regardless of stack pressure or wind speed. The drive unit will provide supplemental force to allow easy manual use of the door.

      - Automatic Repositioning System: Returns the door wings to a home position after each use of the revolving door.

    - Hardware:

      - Locking System:

        - Locking: Revolver system is locked with 2 sliding floor bolts with key cylinders.

      - Push Bars: Horizontal or vertical, 1-inch diameter stainless steel bar.

** NOTE TO SPECIFIER ** The newest member of the revolving door range, the ASSA ABLOY RD100-4, is a manually initiated 4-wing revolving door with power assist. With a simple push needed to start, the RD100-4 then adapts to the pace of users, which increases comfort and reduces energy consumption. Delete article if not required.

  - FOUR WING MANUAL REVOLVING DOORS (MODEL RD100-4)

    - Basis of Design: Model RD100-4. Four Wing Manual Revolving Doors, as manufactured by ASSA ABLOY Entrance Systems.

      - Operation: Manual, two-way pedestrian traffic.

      - Entrances: Center shaft revolving door entrance with aluminum framed doors, enclosure walls and canopy.

      - Rotation: Counterclockwise.

      - Emergency Breakaway Capability: Double acting door panels that break out in the direction of egress.

      - Canopy Height: 7-7/8 inches (198 mm).

** NOTE TO SPECIFIER ** Delete diameters not required. Custom diameters are not available.

      - Nominal Inside Diameter: As indicated on Drawings.

      - Nominal Inside Diameter: 6 ft.

      - Nominal Inside Diameter: 7 ft.

      - Nominal Inside Diameter: 8 ft.

      - Total Height: 94-1/2 inches (2400 mm).

      - Inside Height: 86-1/2 inches (2197 mm).

    - Performance Requirements:

      - Comply with specified performance requirements, as demonstrated by testing manufacturer's corresponding standard systems.

      - Compliance: ANSI/BHMA A156.27 American National Standard for Power and Manual Operated Revolving Pedestrian Doors.

      - Thermal Movements: Allow for thermal movements resulting from maximum change in ambient and surface temperatures by preventing buckling, opening of joints, overstressing of components, failure of joint sealants, failure of connections, and other detrimental effects.

      - Engineering Calculations: Based on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

      - Operating Temperature Range: -4 to 122 degrees F (-20 to 50 degrees C).

      - Breakout Force Requirements: Provide a mechanism allowing emergency breakout of door panels when a maximum force of 130 lbs (570 N) applied 3 inches (75 mm) from the outer edge of the door panel and 40 inches (1020 mm) above the floor, unless otherwise allowed by ANSI/BHMA A156.27.

    - Components:

      - Circular Enclosure Walls and Canopy Framing:

        - Slim Line Aluminum Extrusions Wall Thickness: 0.125 inches (3 mm).

        - Framing for the Enclosure Walls and Canopy: Formed to the required radius.

        - Internal Structural Support: 0.125 inch (3.2 mm) slim line aluminum.

        - Outside Diameter of Enclosure Walls: Fixed.

        - Not Acceptable:

          - Segmented walls and canopy.

          - Metal-wrapped wood or other material substrates.

      - Rotating Wings: Aluminum extrusion, four-wing configuration.

      - Weather Stripping: Continuous horizontal and vertical seals during the rotating mode and the non-rotating closed position to ensure limited air infiltration.

        - Seal Type: Natural horsehair and synthetic fiber brush seals with an internal EPDM fin.

      - Emergency Escape Doors: Four double acting swing doors.

        - Door Wings: Mechanical breakout mechanism that holds the door panels in a closed position.

      - Canopy: Manufacturer's standard canopy construction, size and layout matching diameter of enclosure walls, with formed metal panel sides of material and finish matching enclosure walls, unless otherwise indicated.

        - Canopy Roof Structure Coverage: 5/8 inch (16 mm) laminated wood covered with waterproof EPDM membrane, and a water diversion system to drain water.

** NOTE TO SPECIFIER ** Delete roof options not required. Consult ASSA ABLOY SpecDesk for roof options.

        - Roof: ______________.

        - Roof: As indicated on Drawings.

        - Roof: Aluminum sheet roof. Finish as indicated on Drawings.

** NOTE TO SPECIFIER ** Delete ceiling panels options not required. Consult ASSA ABLOY SpecDesk for custom ceiling finish options.

        - Ceiling Panels: Formed aluminum pan panels.

** NOTE TO SPECIFIER ** Delete formed aluminum pan panel option if not required.

          - Aluminum Pan Panels: As indicated on Drawings.

          - Aluminum Pan Panels: White powder coat finish.

          - Aluminum Pan Panels: Powder coat finish to match architect's sample.

          - Aluminum Pan Panels: Clear anodized finish.

        - Ceiling Panels: Formed stainless steel pan panels.

** NOTE TO SPECIFIER ** Delete formed stainless steel pan panel option if not required.

          - Stainless Steel Pan Panels: As indicated on Drawings.

          - Stainless Steel Pan Panels: #4 satin finish.

          - Stainless Steel Pan Panels: #8 mirrorlike, reflective, non-directional finish.

      - Ceiling Light Fixtures: 5 watt, 3000K LED MR16 lamp, 12 VAC/DC.

        - Flush mounted ceiling light fixtures in quantity as indicated.

        - Light Activation Control: Via a program selection switch or from optional remote location.

        - Not Acceptable: 203-220 VAC, AC light fixtures.

** NOTE TO SPECIFIER ** Delete fixtures per entrance option not required. 6 fixtures for 8, 9, and 10 ft diameter revolving door entrances. 12 fixtures for 12 ft diameter revolving door entrance.

        - Quantity: Six (6) LED light fixtures.

      - Glazing: Comply with ANSI Z97.1. Thickness: As indicated.

        - Rotating Section and Double Acting Swing Doors: 1/4 inch (6 mm) clear laminated glass.

        - Curved Walls: 5/16 inch (8 mm) clear laminated glass formed to the required radius to assure a weather seal throughout enclosure.

        - Not Acceptable:

          - Flat glass and flat segmented glass in the enclosure walls.

          - Butt glazed panels.

          - Plastic glazing material.

    - Operators and Controls:

      - Power Supply: 208-230 V, 20 amp, 60 Hz.

      - ASSA ABLOY Smart Assist will moderate the speed of the drive unit to limit manual rotation speed regardless of stack pressure or wind speed. The drive unit will provide supplemental force to allow easy manual use of the door.

      - Automatic Repositioning System: Returns the door wings to a home position after each use of the revolving door.

    - Hardware:

      - Locking System:

        - Locking: Revolver system is locked with 2 sliding floor bolts with key cylinders.

      - Push Bars: Horizontal or vertical, 1-inch diameter stainless steel bar.

  - FINISHES

    - Finish Requirements: Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

    - Curved Enclosures:

** NOTE TO SPECIFIER ** Delete Curved Enclosure Finish options not required. Consult ASSA ABLOY SpecDesk for custom finish options.

      - Curved Enclosure Finish: ____________.

      - Curved Enclosure Finish: As indicated on Drawings.

      - Curved Enclosure Finish: Anodized finish, Clear, AAMA AA-M12C22A41, Class I, 0.018 mm.

      - Curved Enclosure Finish: Anodized finish, Dark Bronze, AAMA AA-M12C22A44, Class I, 0.018 mm.

      - Curved Enclosure Finish: Custom anodized finish.

** NOTE TO SPECIFIER ** Delete color options not required. Consult ASSA ABLOY SpecDesk for custom color options.

        - Color: _______________.

        - Color: As indicated on Drawings.

        - Color: To match architect's sample.

      - Curved Enclosure Finish: Powder coat.

** NOTE TO SPECIFIER ** Delete color options not required. Consult ASSA ABLOY SpecDesk for custom color options.

        - Color: _______________.

        - Color: As indicated on Drawings.

        - Color: To match architect's sample.

      - Curved Enclosure Finish: Kynar finish, 2 coats.

** NOTE TO SPECIFIER ** Delete color options not required. Consult ASSA ABLOY SpecDesk for custom color options.

        - Color: _______________.

        - Color: As indicated on Drawings.

        - Color: To match architect's sample.

      - Curved Enclosure Finish: Kynar finish, 3 coats.

** NOTE TO SPECIFIER ** Delete color options not required. Consult ASSA ABLOY SpecDesk for custom color options.

        - Color: _______________.

        - Color: As indicated on Drawings.

        - Color: To match architect's sample.

      - Curved Enclosure Finish: Clad Finish, as indicated on Drawings.

      - Curved Enclosure Finish: Clad Finish, to match architects' sample.

      - Curved Enclosure Finish: Clad Finish, stainless steel with No. 4 satin finish. Protective coatings by others.

      - Curved Enclosure Finish: Clad Finish, stainless steel with No. 8 mirrorlike, reflective, non-directional finish. Protective coatings by others.

      - Curved Enclosure Finish: Clad Finish, bronze with a satin finish. Protective coatings by others.

      - Curved Enclosure Finish: Clad Finish, bronze with a polished, non-directional finish. Protective coatings by others.

      - Curved Enclosure Finish: Clad Finish, Brass with a satin finish. Protective coatings by others.

      - Curved Enclosure Finish: Clad Finish, Brass with a polished, non-directional finish. Protective coatings by others.

** NOTE TO SPECIFIER ** Delete rotating enclosure finish options not required. Typically, the curved enclosure (above) and the rotating enclosure (below) are specified to receive the same finish. Consult ASSA ABLOY SpecDesk for custom finish options.

    - Rotating Enclosures:

      - Rotating Enclosure Finish: Custom, ____________.

      - Rotating Enclosure Finish: As indicated on Drawings.

      - Rotating Enclosure Finish: Anodized finish, Clear, AAMA AA-M12C22A41, Class I, 0.018 mm.

      - Rotating Enclosure Finish: Anodized finish, Dark Bronze, AAMA AA-M12C22A44, Class I, 0.018 mm.

      - Rotating Enclosure Finish: Custom anodized finish.

** NOTE TO SPECIFIER ** Delete color options not required. Consult ASSA ABLOY SpecDesk for custom color options.

        - Color: _______________.

        - Color: As indicated on Drawings.

        - Color: To match architect's sample.

      - Rotating Enclosure Finish: Powder coat.

** NOTE TO SPECIFIER ** Delete color options not required. Consult ASSA ABLOY SpecDesk for custom color options.

        - Color: _______________.

        - Color: As indicated on Drawings.

        - Color: To match architect's sample.

      - Rotating Enclosure Finish: Kynar finish, 2 coats.

** NOTE TO SPECIFIER ** Delete color options not required. Consult ASSA ABLOY SpecDesk for custom color options.

        - Color: _______________.

        - Color: As indicated on Drawings.

        - Color: To match architect's sample.

      - Rotating Enclosure Finish: Kynar finish, 3 coats.

** NOTE TO SPECIFIER ** Delete color options not required. Consult ASSA ABLOY SpecDesk for custom color options.

        - Color: _______________.

        - Color: As indicated on Drawings.

        - Color: To match architect's sample.

      - Rotating Enclosure Finish: Clad Finish, as indicated on Drawings.

      - Rotating Enclosure Finish: Clad Finish, to match architects' sample.

      - Rotating Enclosure Finish: Clad Finish, stainless steel with No. 4 satin finish. Protective coatings by others.

      - Rotating Enclosure Finish: Clad Finish, stainless steel with No. 8 mirrorlike, reflective, non-directional finish. Protective coatings by others.

      - Rotating Enclosure Finish: Clad Finish, bronze with a satin finish. Protective coatings by others.

      - Rotating Enclosure Finish: Clad Finish, bronze with a polished, non-directional finish. Protective coatings by others.

      - Rotating Enclosure Finish: Clad Finish, brass with a satin finish. Protective coatings by others.

      - Rotating Enclosure Finish: Clad Finish, brass with a polished, non-directional finish. Protective coatings by others.

- EXECUTION

  - PREPARATION

    - Examine and measure areas to receive revolving doors.

    - Do not proceed with installation until substrates have been prepared and deviations from manufacturer's recommended tolerances are corrected. Commencement of installation constitutes acceptance of conditions.

      - Doors and Frames: With Installer present, for compliance with requirements for installation tolerances, wall and floor construction, and conditions affecting performance.

      - Rough-In: For electrical source to verify actual locations of wiring connections.

  - INSTALLATION

    - Install doors in accordance with manufacturer's instructions and ANSI/BHMA 156.27.

      - Fit frame joints to produce hairline joints free of burrs and distortion. Rigidly secure non-movement joints. Seal joints watertight.

      - Install exterior doors to be weathertight in closed position.

      - Do not install damaged components.

    - General: Separate aluminum from other metal surfaces with bituminous coatings or other means approved by Architect.

      - Entrances: Install revolving door entrances plumb and true in alignment with established lines and grades without warp or rack of framing members and doors. Anchor securely in place.

        - Install revolving door entrances in accordance with manufacturer's printed instructions and recommendations.

        - Install surface mounted hardware using concealed fasteners to the greatest extent possible.

        - Install components to drain water passing joints, condensation occurring within framing members, and moisture migrating within the assembly to exterior.

      - Door Operators: Connect door operators to electrical power distribution system.

      - Glazing: Glaze revolving door entrances in accordance with the Glass Association of North America (GANA) Glazing Manual, published recommendations of glass product manufacturer, and published instructions of automatic entrance system manufacturer.

      - Sealants: Provide weather tight installation.

        - Set sill members, flashings, and framing members in full bed of sealant.

        - Seal perimeter of framing members with sealant.

      - Signage: Apply signage on both sides of each door as required by ANSI/BHMA A156.27 and manufacturers installation instructions.

  - FIELD QUALITY CONTROL

    - Manufacturer's Field Services:

      - Manufacturer's representative is to provide technical assistance and guidance for installation of doors.

      - Before placing doors in operation, technician is to inspect and approve doors for compliance with ANSI/BHMA 156.27. Certified technician is to be approved by manufacturer.

  - ADJUSTING

    - Adjust door operators, controls and hardware for smooth and safe operation and for weather tight closure. Adjust doors in compliance with ANSI/BHMA A156.27.

  - DEMONSTRATION AND TRAINING

    - Engage a factory-authorized representative to train Owner's maintenance personnel to adjust, operate, and maintain safe operation of the revolving door entrance.

  - CLEANING AND PROTECTION

    - Clean adjacent surfaces soiled by door installation. Clean glass and metal surfaces promptly after installation in accordance with manufacturer's instructions. Remove excess sealants, compounds, dirt and other substances. Use cleaning materials, methods approved by manufacturer to prevent damage to glass or finish.

    - Protect installed doors and finish to ensure that, except for normal weathering, doors and finish will be without damage or deterioration at time of substantial completion. Protect the exposed aluminum surfaces from damage.

    - Touch-up, repair or replace damaged products before Substantial Completion.

      - Repair minor damages to finish in accordance with the manufacturer's instructions and as approved by Architect.

END OF SECTION