SECTION 10 57 00

COAT RACK SYSTEMS

Display hidden notes to specifier. (Don't know how? Click Here)

Copyright 2021 - 2023 ARCAT, Inc. - All rights reserved

** NOTE TO SPECIFIER ** HangSafe Hooks; coat hooks, coat racks, shelving.
This section is based on the products of HangSafe Hooks, which is located at:
165 E. State Hwy. CC
Nixa, MO 65714
Toll Free: 888-803-7403
Phone: 417-725-8900
Email: sales@hangsafehooks.com
Web: www.hangsafehooks.com
[ Click Here ] for additional information.
We provide flat-profile, virtually unbreakable coat hooks and fully-assembled, wall mounted coat racks for interior or exterior use. Specifying HangSafe Hooks for your project is simple. In addition to the resources below, contact us for custom design assistance.

- GENERAL

  - SECTION INCLUDES

** NOTE TO SPECIFIER ** Delete items below not required for project.

    - HangSafe Vibrant Rack System: Coat and Backpack Hooks mounted on high density recycled polyethene mounting boards.

    - HangSafe Rack System: Coat and Backpack Hooks mounted on solid wood mounting boards.

  - RELATED SECTIONS

** NOTE TO SPECIFIER ** Delete any sections below not relevant to this project; add others as required.

    - Section 04 20 00 - Unit Masonry.

    - Section 06 10 00 - Rough Carpentry.

    - Section 09 28 13 - Cementitious Backing Boards.

  - SUBMITTALS

    - Submit under provisions of Section 01 30 00 - Administrative Requirements.

    - Product Data:

      - Manufacturer's data sheets on each product to be used.

      - Preparation instructions and recommendations.

      - Storage and handling requirements and recommendations.

      - Typical installation methods.

    - Shop Drawings: For each section. Include spacing of mounting holes.

  - QUALITY ASSURANCE

    - Source Limitations: Provide each type of product from a single manufacturing source to ensure uniformity.

  - DELIVERY, STORAGE, AND HANDLING

    - Store and handle in strict compliance with manufacturer's written instructions and recommendations.

    - Protect from damage due to weather, excessive temperature, and construction operations.

  - PROJECT CONDITIONS

    - Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results.

    - Do not install products under environmental conditions outside manufacturer's recommended limits.

  - WARRANTY

    - Manufacturer's Warranty: All products are covered under manufacturer's lifetime warranty. Replacements provided free of charge.

- PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturer: HangSafe Hooks, which is located at: 165 E. Hwy. CC; Nixa, MO 65714; Toll Free Tel: 888-803-7403; Tel: 417-725-8900; Fax: 417-725-8901; Email: request info (sales@hangsafehooks.com); Web: https://www.hangsafehooks.com.

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

    - Substitutions: Not permitted.

    - Requests for substitutions will be considered in accordance with the provisions of Section 01 60 00 - Product Requirements.

** NOTE TO SPECIFIER ** Delete article if not required.

  - HANGSAFE VIBRANT RACK SYSTEMS

    - Coat and Backpack HangSafe Hooks Pre-Assembled on Vibrant Recycled High-Density Polyethylene Rack.

      - Application: Indoor or outdoor.

      - HangSafe Hooks: Polycarbonate plastic with polished rounded ends and eased edges.

** NOTE TO SPECIFIER ** Hook spacing of 5-1/3 inches is the most economical choice, 6.4 inch spacing allows for bigger backpacks and bulky coats (most popular choice), 8 inch spacing is for larger coats and heavy backpacks. 10-2/3 inch spacing is the most spacious option. Custom center-to-center spacing is available from 5-1/8 to 20-7/8 inches (130 to 530 mm) in 1/8 inch (3 mm) increments. Delete hook spacings not required.

      - HangSafe Hook Spacing: 5-1/3 inches (135 mm) O.C.

      - HangSafe Hook Spacing: 6.4 inches (162 mm) O.C.

      - HangSafe Hook Spacing: 8 inches (203 mm) O.C.

      - HangSafe Hook Spacing: 10-2/3 inches (270 mm) O.C.

      - Custom HangSafe Hook Spacing: ___ inches (___mm) O.C.

      - HangSafe Hooks Pre-Assembled to HangSafe Vibrant Rack by: No. 14 by 2 inch (51 mm) stainless steel Philips oval head screws and finishing washers.

      - Vibrant Rack: High-density recycled polyethylene with solid color throughout and UV inhibitors, approximately 1-9/16 x 3-1/2 inches (40 x 89 mm).

** NOTE TO SPECIFIER ** Delete colors not required.

      - Vibrant Rack Color: Antique Mahogany.

      - Vibrant Rack Color: Aqua Blue.

      - Vibrant Rack Color: Birchwood.

      - Vibrant Rack Color: Black.

      - Vibrant Rack Color: Cardinal Red.

      - Vibrant Rack Color: Cedar.

      - Vibrant Rack Color: Driftwood.

      - Vibrant Rack Color: Dark Brown.

      - Vibrant Rack Color: Dark Green.

      - Vibrant Rack Color: Ivory.

      - Vibrant Rack Color: Light Brown.

      - Vibrant Rack Color: Light Grey.

      - Vibrant Rack Color: Lime Green.

      - Vibrant Rack Color: Maroon.

      - Vibrant Rack Color: Orange.

      - Vibrant Rack Color: Patriot Blue.

      - Vibrant Rack Color: Purple.

      - Vibrant Rack Color: Royal Blue.

      - Vibrant Rack Color: Slat Grey.

      - Vibrant Rack Color: White.

      - Vibrant Rack Color: Yellow.

** NOTE TO SPECIFIER ** Each hook is labeled with a number on the backside; this is done to help with organization. Delete if not required.

      - Individual Hook Numbering: Required.

** NOTE TO SPECIFIER ** Delete article if not required.

  - HANGSAFE RACK SYSTEM

    - Coat and Backpack HangSafe Hooks Pre-Assembled to Solid Wood Rack.

      - Application: Indoor only.

      - HangSafe Hooks: Polycarbonate plastic with polished rounded ends and eased edges.

** NOTE TO SPECIFIER ** Hook spacing of 5-1/3 inches is the most economical choice, 6.4 inch spacing allows for bigger backpacks and bulky coats (most popular choice), 8 inch spacing is for larger coats and heavy backpacks. 10-2/3 inch spacing is the most spacious option. Custom center-to-center spacing is available from 5-1/8 to 20-7/8 inches (130 to 530 mm) in 1/8 inch (3 mm) increments. Delete hook spacings not required.

      - HangSafe Hook Spacing: 5-1/3 inches (135 mm) O.C.

      - HangSafe Hook Spacing: 6.4 inches (162 mm) O.C.

      - HangSafe Hook Spacing: 8 inches (203 mm) O.C.

      - HangSafe Hook Spacing: 10-2/3 inches (270 mm) O.C.

      - Custom HangSafe Hook Spacing: ___ inches (___mm) O.C.

      - HangSafe Hooks Pre-Assembled to Solid Wood Rack by: No. 14 by 2 inch (51 mm) stainless steel Philips oval head screws and finishing washers.

      - HangSafe Solid Wood Racks:

        - Hard Maple HangSafe Rack: Approximately 1-9/16 x 3-1/2 inches (40 x 89 mm) made from two layers of 3/4 inch (19 mm).

          - Finish: Stain: Two protective coats of polyurethane.

            - Rack Color: Clear natural.

          - Finish: Paint: Two coats of commercial-grade abrasion-resistant paint in satin sheen.

            - Rack Color: Paint to match.

        - Solid Oak HangSafe Rack: Approximately 1-9/16 x 3-1/2 inches (40 x 89 mm) made from two layers of 3/4 inch (19 mm).

          - Finish: Stain: Two protective coats of polyurethane.

** NOTE TO SPECIFIER ** Delete stain colors not required.

            - Rack Color: Cherry.

            - Rack Color: Classic Grey.

            - Rack Color: Dark Walnut.

            - Rack Color: Ebony.

            - Rack Color: English Chestnut.

            - Rack Color: Golden Oak.

            - Rack Color: Natural.

            - Rack Color: Pickled Oak.

            - Rack Color: Red Mahogany.

          - Finish: Paint: Two coats of commercial-grade abrasion-resistant paint in satin sheen.

            - Rack Color: Paint to match.

** NOTE TO SPECIFIER ** Each hook is labeled with a number on the backside; this is done to help with organization. Delete if not required.

        - Individual Hook Numbering: Required.

- EXECUTION

  - INSTALLATION

    - Install in accordance with manufacturer's written instructions, approved submittals and in proper relationship with adjacent construction.

      - Tighten attachments to eliminate all movement.

      - For HangSafe Solid Wood Racks: Place the finishing button in the mounting pocket with provided wood glue.

      - For HangSafe Vibrant Racks: Place the finishing button in the mounting pocket.

  - CLEANING AND PROTECTION

    - Clean and protect products in accordance with the manufacturer's recommendations.

    - Touch-up, repair or replace damaged products before Substantial Completion.

END OF SECTION