SECTION 09 65 19

RESILIENT TILE FLOORING - FLOATING INTERIOR VINYL FLOORING

Display hidden notes to specifier. (Don't know how? Click Here)

Copyright 2025 - 2025 ARCAT, Inc. - All rights reserved

** NOTE TO SPECIFIER ** NewTechWood America Inc.; composite decking.
This section is based on the products of NewTechWood America Inc., which is located at:
16680 Air Center Blvd.
Houston, TX 77032
Toll Free Tel: 866-728-5273
Tel: 281-570-6450
Fax: 281-661-1167
Email: request info (inquiry@newtechwood.com)
Web: https://www.newtechwood.com  
 [ Click Here ] for additional information.
NewTechWood is a pioneer in the development and manufacture of composite decking, siding, deck tiles, railing, and other outdoor products. Since its beginnings in 2004, NewTechWood has been on the cutting edge in wood plastic composite technology, to develop products that bring beauty and practicality to spaces worldwide.
NewTechWood has earned a worldwide reputation for our manufacture of attractive, innovative, and dependable wood plastic composite materials in a range of great color.
NewTechWood is determined to provide its homeowners with unparalleled performance and satisfaction.

- GENERAL

  - SECTION INCLUDES

** NOTE TO SPECIFIER ** Delete items below not required for project.

    - Floating interior vinyl flooring.

  - RELATED SECTIONS

** NOTE TO SPECIFIER ** Delete any sections below not relevant to this project; add others as required.

    - Section __ __ __ - ____________..

  - REFERENCES

    - ASTM International (ASTM):

      - ASTM E90 - Standard Test Method for Laboratory Measurement of Airborne Sound Transmission Loss of Building Partitions and Elements.

      - ASTM E413 - Classification for Rating Sound Insulation.

      - ASTM E492 - Standard Test Method for Laboratory Measurement of Impact Sound Transmission Through Floor-Ceiling Assemblies Using the Tapping Machine.

      - ASTM E989 - Standard Classification for Determination of Single-Number Metrics for Impact Noise.

      - ASTM F1914 - Standard Test Methods for Short-Term Indentation and Residual Indentation of Resilient Floor Covering.

    - European Standards (EN):

      - EN 71 - Safety of toys.

      - EN 438 - High-pressure decorative laminates (HPL). Sheets based on thermosetting resins (Usually called Laminates).

      - EN 660 - Resilient floor coverings - Determination of wear resistance - Part 2: Frick-Taber test.

      - EN 717 - Wood-based panels. Determination of formaldehyde release - Formaldehyde emission by the chamber method.

      - EN 13329 - Laminate floor coverings - Elements with a surface layer based on aminoplastic thermosetting resins - Specifications, requirements and test methods.

      - EN 13893 - Resilient, laminate and textile floor coverings - Measurement of dynamic coefficient of friction on dry floor surfaces.

      - EN 16094 - Martindale Micro-Scratch Testing.

      - EN 16511 - Modular mechanical locked floor coverings (MMF) - Specification, requirements and test method for multilayer modular panels for floating installation.

      - EN 1815 - Resilient and laminate floor coverings - Assessment of static electrical propensity.

    - International Organization for Standardization (ISO):

      - ISO 105 - Textiles - Tests for color fastness.

      - ISO 4918 - Resilient, textile and laminate floor coverings - Castor chair test.

      - ISO 10140 - Acoustics - Laboratory measurement of sound insulation of building elements.

      - ISO 10582 - Resilient floor coverings - Heterogeneous poly(vinyl chloride) floor covering - specifications.

      - ISO 23997 - Resilient floor coverings - Determination of mass per unit area.

      - ISO 23999 - Resilient floor coverings - Determination of dimensional stability and curling after exposure to heat.

      - ISO 24340 - Resilient floor coverings - Determination of thickness of layers.

      - ISO 24342 - Resilient floor coverings - Determination of thickness of layers.

      - ISO 24343 - Resilient and laminate floor coverings - Determination of indentation and residual indentation.

      - ISO 24346 - Resilient floor coverings - Determination of overall thickness.

      - ISO 26987 - Resilient floor coverings - Determination of overall thickness.

  - SUBMITTALS

    - Submit under the provisions of Section 01 30 00.

    - Product Data:

      - Manufacturer's data sheets on each product to be used.

        - Includes but not limited to:

          - Spec-Data product information sheets.

          - Catalog cut-sheets.

          - Color charts.

          - Safety Data Sheets (SDS).

          - Building code evaluation reports.

          - Sample warranty forms.

      - Preparation instructions and recommendations.

      - Storage and handling requirements and recommendations.

      - Typical installation methods.

      - Maintenance methods.

    - LEED Submittals: Manufacturer's sustainable design information for obtaining credits toward LEED Certification of this Project by use of specified products.

** NOTE TO SPECIFIER ** Delete if not applicable to product type.

    - Verification Samples: Two representative units of each type, size, pattern, and color.

    - Shop Drawings: Include details of materials, construction, and finish. Include relationship with adjacent construction.

  - QUALITY ASSURANCE

    - Manufacturer Qualifications: Company specializing in manufacturing products specified in this section with a minimum of five years' documented experience.

    - Installer Qualifications: Company specializing in performing Work of this section with minimum two years documented experience with projects of similar scope and complexity.

    - Source Limitations: Provide each type of product from a single manufacturing source to ensure uniformity.

** NOTE TO SPECIFIER ** Include mock-up if the project size or quality warrant the expense. The following is one example of how a mock-up might be specified. When deciding on the extent of the mock-up, consider all the major different types of work on the project.

    - Mock-Up: Construct a mock-up with actual materials in sufficient time for Architect's review and to not delay construction progress. Locate mock-up as acceptable to Architect and provide temporary foundations and support.

      - The intent of a mock-up is to demonstrate quality of workmanship and visual appearance.

      - If the mock-up is not acceptable, rebuild the mock-up until satisfactory results are achieved.

      - Retain mock-up during construction as a standard for comparison with completed work.

      - Do not alter or remove mock-up until work is completed or removal is authorized.

  - PRE-INSTALLATION CONFERENCE

    - Convene a conference approximately two weeks before the scheduled commencement of the Work. Attendees shall include Architect, Contractor and trades involved. The agenda shall include schedule, responsibilities, critical path items and approvals.

  - DELIVERY, STORAGE, AND HANDLING

    - Store and handle in strict compliance with manufacturer's written instructions and recommendations.

    - Protect from damage due to weather, excessive temperature, and construction operations.

  - PROJECT CONDITIONS

    - Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results. Do not install products under environmental conditions outside manufacturer's recommended limits.

  - WARRANTY

    - Manufacturer's standard limited warranty unless indicated otherwise.

- PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturer: NewTechWood America Inc., which is located at:
16680 Air Center Blvd.
Houston, TX 77032
Toll Free Tel: 866-728-5273
Tel: 281-570-6450
Fax: 281-661-1167
Email: request info (inquiry@newtechwood.com);Web: https://www.newtechwood.com

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs: coordinate with requirements of Division 1 section on product options and substitutions.

    - Substitutions: Not permitted.

    - Requests for substitutions will be considered in accordance with the provisions of Section 01 60 00.

** NOTE TO SPECIFIER ** Delete article if not required.

  - FLOATING INTERIOR VINYL FLOORING

** NOTE TO SPECIFIER ** Everlux 7 mm Series is the premium interior flooring solution for residential and commercial spaces. Made with composite materials and designed for durability, this floor delivers the perfect blend of functionality and style. The quality of our flooring makes it durable for daily use, as well as unconventional usage in residential bathrooms, kitchens, laundry, or utility rooms. Indoor Air Comfort Gold Certification ensures that our products follow low product emission guidelines and display a commitment to quality and contribution to a healthy indoor environment.

    - Basis of Design: Everlux 7 mm Series Floating Interior Flooring. A no-gap installation process, ensuring a dust-free environment while making installation quick and simple.

      - Properties:

        - Product will not absorb or be damaged by water.

        - Impact Sound Insulation Class; ASTM E492 and ASTM E989: 73.

        - Airborne Sound Transmission Loss Test Class; ASTM E90 and ASTM E413: 72.

        - Exposed Surface: Embossed-in-Register textured.

      - Material: Virgin material only.

        - Thickness, Surface: 0.020 inches (0.5 mm).

          - UV Protection Coating.

          - High Density Wear Resistant Layer.

          - Decor Film.

        - Thickness, Core: 0.216 inches (5.5 mm).

          - Stone Plastic Composite (SPC).

        - Thickness, Base: 0.039 inches (1 mm).

          - Shock Absorption Underlayment. IXPE.

      - Density: 2.41 lbs per sq ft (11.8 kg per sq m).

      - Assembly:

        - Long Side Connections: 2G angling system. Tongue into groove, folding down.

        - Short Side: 5G angling system. Tongue into the groove, folding down.

      - Perimeter Gap: 1/4 inch (6 mm) wide. Thermal expansion / contraction allowance.

** NOTE TO SPECIFIER ** Delete model and colorways not required.

      - Model: SPC-55 Everlux Basic.

        - Plank Dimensions (WxL): 7-1/16 x 48-1/6 inches (180 x 1220 mm).

        - Thickness: 0.276 inches (7.0 mm).

        - Colorways: Swamp Ash.

        - Colorways: Glacier Mist.

        - Colorways: Clawson Oak.

        - Colorways: Bison.

        - Colorways: Aged Hazelnut.

        - Colorways: Hickory.

      - Model: SPC-7 Everlux Select.

        - Plank Dimensions (WxL): 8-7/8 x 71-5/8 inches (225 x 1820 mm).

        - Thickness: 0.276 inches (7.0 mm).

        - Colorways: Camel Cedar.

        - Colorways: Clamshell Gray.

        - Colorways: Elephant Gray.

        - Colorways: Grizzly Bear Brown.

        - Colorways: Mongoose Taupe.

        - Colorways: Sidewinder Sand.

      - Model: SPC-8 Everlux Premium.

        - Plank Dimensions (WxL): 9 x 60 inches (228 x 1524 mm).

        - Thickness: 0.276 inches (7.0 mm).

        - Colorways: Alice Desert Brown.

        - Colorways: Camila Rustic Gray.

        - Colorways: Kylie Rich Brown.

        - Colorways: Giselle Ice Gray.

        - Colorways: Sabrina Pale Beige.

        - Colorways: Teresa Wheat Brown.

    - Flooring Accessories:

** NOTE TO SPECIFIER ** Delete accessories not required.

      - T Molding (TMO): Used for the butt joining of two separated floor panels.

      - Reducer / End Cap (ECR01): Used for the installation to cover the edge of the floor panels.

      - End Molding (EMO).

      - Quarter Round Base Molding (QUR): Used to skirt the perimeter gap skirt between the wall and the planks.

      - Stair Tread (SRD).

      - Spc Flush Stair Nose Trim (SNE01).

      - Overlap Stair Nose Trim (SNE02).

    - Standards Compliance:

      - Squareness: (0.15 mm) or less per IS0 24342.

      - Straightness: (0.15 mm) or less per IS0 24342.

      - Overall Thickness: Plus or minus (0.20 mm) per 1S0 24346.

      - Wear Layer Thickness: Plus or minus (0.03 mm) per IS0 24340.

      - Dimensional Stability (6 hrs at 80 degrees C): Less than 0.10 percent per IS0 23999.

      - Curling after 6 hrs at 80 degrees C: (1.2 mm) or less per IS0 23999.

      - Density: (1.9 grams per cu cm) or greater per IS0 23997.

      - Residual Indentation: (0. 10 mm) or less per IS0 24343-1.

      - Residual Indentation: 8 percent or less per ASTM-1914.

      - Ply Adhesion (Film + Back Pad): (60 N per 50 mm) per IS0 10582.

      - Locking Strength of Click Joint: Greater than (120 N per 50 mm) per EN 16511.

      - Vertical Buckle Strength: Greater than (120 N per 40 mm).

      - Effect of Caster Chair With Pad: 15000 per IS0 4918.

      - Effect of Caster Chair Without Pad: 25000 per IS0 4918.

      - Gaps Between Tiles: (0.10 mm or less) per EN 16511.

      - Height Difference Between Tiles: 0.10 mm or less per EN 16511.

      - Abrasion Resistance: Greater than 1200 Cycles per EN 13329 /E.

      - Abrasion Resistance: Group T per EN 660-2.

      - Scratch Resistance: (9 N) per greater per Scleromer.

      - Micro-Scratch Resistance: MSR-A2/Bl or less per EN 16094.

      - Thermal Expansion: Less than 0.15 percent (10 to 45 degrees C).

      - Reaction to Fire: Bf-s1 per EN 13501-1.

      - Electric Resistance: Body Voltage to be 2.0 KV or less per EN 1815.

      - Electric Antistatic Resistance: Antistatic per EN 1815.

      - Staining and Resistance to Chemicals: Class O per 1S0 26987.

      - FIatness of Tiles: Per EN 16511.

        - Cupping fw, Convex: 0.15 percent.

        - Cupping fw, Concave: 0.10 percent.

        - Cupping fi, Convex: 0.5 percent.

        - Cupping fi, Concave: 0.25 percent.

      - Resistance to Staining: Per BS EN 438. Rating: 5. No Change: (Group 1).

      - Air Comfort: Pass.

      - Floor Score: Pass.

      - French VOC Label: A+.

      - Acoustic: Delta Lw to be 19 db or larger per ISO 10140.

      - Color Fastness: From Delta 6 to 8 per ISO 105.

      - TVOC: (0.5 mg per cu m) or less per CDHP/EHLB Standard.

      - Slip Resistance:

        - Wet 35 per BS 7976.

        - R10 per Din 51130.

        - DS per EN 13893.

      - Toxicity: Not Toxic per EN 71.

      - Formaldehyde: EO per EN 717.

- EXECUTION

  - EXAMINATION

    - Do not begin installation until the substrates have been properly constructed and prepared.

    - If substrate preparation is the responsibility of another installer, notify Architect in writing of unsatisfactory preparation before proceeding.

  - PREPARATION

    - Clean surfaces thoroughly prior to installation.

    - Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

  - INSTALLATION

    - Install in accordance with manufacturer's instructions, approved submittals, and in proper relationship with adjacent construction.

  - FIELD QUALITY CONTROL

    - Field Inspection: Coordinate field inspection in accordance with appropriate sections in Division 01.

  - CLEANING AND PROTECTION

    - Clean products in accordance with the manufacturer's recommendations.

    - Touch-up, repair or replace damaged products before Substantial Completion.

END OF SECTION